|  | gPhone#116 |  |  |  | iOSG#023 |  |  |  | iGrav#029 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Wave | Delta | RMS | Phase (°) | RMS (°) | Delta | RMS | Phase (°) | RMS (°) | Delta | RMS | Phase (°) | RMS (°) |
| Q1 | 1.141 | 0.0011 | -0.459 | 0.057 | 1.14490 | 0.00019 | -0.3001 | 0.0096 | 1.14455 | 0.00018 | -0.2834 | 0.0092 |
| O1 | 1.1475 | 0.00019 | 0.1466 | 0.0094 | 1.14795 | 0.00003 | 0.2042 | 0.0016 | 1.14769 | 0.00003 | 0.2121 | 0.0015 |
| NO1 | 1.1554 | 0.0031 | 0.67 | 0.15 | 1.15713 | 0.00052 | 0.4054 | 0.0257 | 1.15704 | 0.00050 | 0.412 | 0.025 |
| K1 | 1.13693 | 0.00013 | 0.1563 | 0.0068 | 1.13636 | 0.00002 | 0.3772 | 0.0012 | 1.13605 | 0.00002 | 0.3881 | 0.0011 |
| J1 | 1.1830 | 0.0030 | -0.04 | 0.14 | 1.16265 | 0.00051 | 0.0635 | 0.0251 | 1.16261 | 0.00049 | 0.074 | 0.024 |
| OO1 | 1.149 | 0.0033 | 0.58 | 0.16 | 1.16057 | 0.00056 | 0.2762 | 0.0275 | 1.15962 | 0.00053 | 0.280 | 0.026 |
| NU1 | 1.220 | 0.019 | 1.31 | 0.90 | 1.2113 | 0.0033 | 0.2692 | 0.1552 | 1.2114 | 0.0032 | 0.07 | 0.15 |
| 2(KM)P1 | 0.98 | 0.123 | -8.74 | 7.56 | 1.369 | 0.022 | -5.6039 | 0.918 | 1.382 | 0.021 | -5.62 | 0.87 |
| 3N2 | 1.30 | 0.068 | 18.31 | 2.99 | 1.2059 | 0.0088 | 4.4029 | 0.4157 | 1.1931 | 0.0089 | 4.26 | 0.43 |
| 2N2 | 1.168 | 0.0116 | 3.87 | 0.57 | 1.1683 | 0.0015 | 3.8742 | 0.0738 | 1.1665 | 0.0015 | 3.952 | 0.075 |
| MUE2 | 1.1642 | 0.0079 | 2.80 | 0.39 | 1.1529 | 0.0010 | 3.1254 | 0.0505 | 1.1538 | 0.0010 | 3.208 | 0.051 |
| N2 | 1.176 | 0.0014 | 3.623 | 0.069 | 1.17778 | 0.00018 | 3.3596 | 0.0088 | 1.17744 | 0.00018 | 3.3886 | 0.0089 |
| NUE2 | 1.1898 | 0.0066 | 4.14 | 0.32 | 1.18248 | 0.00085 | 3.0124 | 0.041 | 1.18244 | 0.00086 | 3.091 | 0.042 |
| M2 | 1.18589 | 0.00013 | 2.412 | 0.0064 | 1.18612 | 0.00002 | 2.3884 | 0.0008 | 1.18584 | 0.00002 | 2.4081 | 0.0008 |
| L2 | 1.1828 | 0.0025 | 1.23 | 0.12 | 1.17715 | 0.00033 | 0.9494 | 0.016 | 1.17692 | 0.00033 | 0.963 | 0.016 |
| S2 | 1.19126 | 0.00025 | 1.144 | 0.012 | 1.18824 | 0.00003 | 0.9759 | 0.0015 | 1.18801 | 0.00003 | 0.997 | 0.0016 |
| ZETA2 | 1.72 | 0.084 | -12.77 | 2.81 | 1.367 | 0.011 | -11.8293 | 0.4526 | 1.369 | 0.011 | -11.19 | 0.46 |
| ETA2 | 1.28 | 0.025 | -4.50 | 1.10 | 1.1898 | 0.0031 | -2.6496 | 0.152 | 1.1896 | 0.0032 | -2.60 | 0.15 |
| 2S2 | 1.52 | 0.12 | 29.12 | 4.71 | 1.533 | 0.016 | -0.0313 | 0.5986 | 1.513 | 0.016 | -0.97 | 0.61 |
| 2K2 | 0.807 | 0.064 | 1.97 | 4.57 | 1.2330 | 0.0083 | 7.6316 | 0.3853 | 1.2356 | 0.0084 | 7.39 | 0.39 |
| 2KN2 | 2.00 | 0.23 | 8.7 | 6.59 | 1.115 | 0.030 | 1.0805 | 1.5387 | 1.146 | 0.030 | 0.63 | 1.52 |
| M2N3 | 0.76 | 0.42 | 103.01 | 31.99 | 1.274 | 0.039 | 11.0998 | 1.7496 | 1.205 | 0.045 | 9.97 | 2.15 |
| MMUE3 | 0.97 | 0.36 | 61.7 | 21.2322 | 1.447 | 0.033 | -0.4691 | 1.308 | 1.355 | 0.038 | -1.68 | 1.62 |
| MN3 | 1.083 | 0.069 | -7.58 | 3.67 | 1.0864 | 0.0063 | 2.3488 | 0.3347 | 1.0829 | 0.0074 | 1.82 | 0.39 |
| MNUE3 | 1.57 | 0.33 | -37.0 | 12.18 | 1.307 | 0.031 | 4.3999 | 1.3408 | 1.252 | 0.035 | 3.28 | 1.62 |
| M3 | 1.0878 | 0.0095 | -0.86 | 0.50 | 1.0639 | 0.00088 | 0.957 | 0.0472 | 1.0644 | 0.0010 | 0.869 | 0.055 |
| RMSE | 17.3 nm/s2 |  |  |  | 3.62 nm/s2 |  |  |  | 3.54 nm/s2 |  |  |  |
| Pres. Admit. | -2.79 ± 0.030 nm/s2/hPa |  |  |  | -2.78 ± 0.018 nm/s2/hPa |  |  |  | -2.80 ± 0.017 nm/s2/hPa |  |  |  |

Table S1: Results (Delta factor and Phase) and RMS errors of the unfiltered tidal analyses obtained with ET34-X-V80 software (Schuller, 2020) for the gPh#116 gravimeter and two Superconducting gravimeters collocated at J9 gravity Observatory (Strasbourg-France); Air-Pressure admittance and root mean square error (RMSE) of the observations are listed too. The results are used for the relative calibration of the gPh#116; the largest tidal waves are highlighted in bold.