Supplement 2
ROTEM® Delta device performed tests
· EXTEM S (EXTEM, activated extrinsic pathway with tissue factor) 
· FIBTEM S (FIBTEM, activated extrinsic pathway with tissue factor in the presence of the platelet inhibitor cytochalasin D)
· clotting time (CT; the time from coagulation activation to a 2 mm clot firmness, measured in seconds)
· alpha angle (α, measured in degrees)
· clot formation time (CFT; the time from 2 to 20 mm clot firmness, measured in seconds)
· clot amplitude 10 minutes after CT clot formation time (A10, measured in mm)
· maximum clot firmness (MCF; the maximum signal amplitude reflecting clot strength, measured in mm)
· maximum lysis (ML; the percentage of MCF decrease during measurement)

