| Appendix 1. LA ICP-MS parameters. |  |  |  |
| --- | --- | --- | --- |
| Spot size | [μm] | 70 |
| Fluence | [J/cm2] | 3.1 |
| Frequency | [Hz] | 5 |
| He flow rate | [mL/min] | 700 |
| N2 | [mL/min] | 5 |
| ICP |  |  |
| Scan type |  | MS/MS |
| RF Power | [W] | 1550 |
| RF Matching | [V] | 1.8 |
| Sample Depth | [mm] | 3 |
| Carrier Gas (Ar) | [L/min] | 0.78 |
| Nebulizer Pump | [rps] | 0 |
| Extract 1 | [V] | -115 |
| Extract 2 | [V] | -250 |
| Omega Bias | [V] | -150 |
| Omega Lens | [V] | 14 |
| Q1 Entrance | [V] | 0 |
| Q1 Exit | [V] | 0 |
| Cell Focus | [V] | 0 |
| Cell Entrance | [V] | -150 |
| Cell Exit | [V] | -100 |
| Deflect | [V] | 3 |
| Plate Bias | [V] | -70 |
| Q1 Mass Gain |  | 133 |
| Q1 Mass Offset |  | 127 |
| Q1 Axis Gain |  | 1.0005 |
| Q1 Axis Offset |  | 0.07 |
| Q1 Bias | [V] | 2 |
| Q1 Prefilter Bias | [V] | -40 |
| Q1 Postfilter Bias | [V] | -2 |
| He Flow Rate | [mL/min] | 6.7 |
| 4th Gas Flow Rate | [%] | 32 |
| 4th Gas Flow Rate | [mL/min] | ~ 0.2 |
| OctP Bias | [V] | -4 |
| OctP RF | [V] | 200 |
| Energy Discrimination | [V] | -20 |