Integrated in vitro models for hepatic safety and metabolism: Evaluation of a Liver-Chip and Liver Spheroid

Alison J. Foster1*, Bhavik Chouhan2*, Sophie L. Regan1, Helen Rollison1, Sara Amberntsson2, Linda C. Andersson2, Abhishek Srivastava1, Malin Darnell2, Jonathan Cairns4, Stanley E. Lazic4, Kyung-Jin Jang3, Debora B. Petropolis3, Konstantia Kodella3, Jonathan E. Rubins3, Dominic Williams1, Geraldine A. Hamilton3, Lorna Ewart1, Paul Morgan1

1, 2 Drug Safety and Metabolism and 4Discovery Sciences, IMED Biotech Unit, AstraZeneca, Cambridge, UK and Gothenburg, Sweden

3Emulate, Inc., 27, Drydock Ave, Boston, MA 02210, US

*contributed equally to this work

Table of Contents

SUPPLEMENTARY METHODS	4

1.	Materials	4

2.	Liver-Chip and liver spheroid cell culture media and method summay	4

2.1.	Liver-Chip hepatocyte plating media (CHPM):	4

2.2.	Liver-Chip hepatocyte maintenance media (HMM):	4

2.3.	Liver-Chip LSEC iXCell endothelial growth medium (LSECGM):	4

2.4.	Liver-Chip LSEC CSC dosing media (LSEC CSC):	5

2.5.	Liver spheroid hepatocyte plating media (HPM):	5

2.6.	Liver spheroid hepatocyte culture media (HCM):	5

Supplementary Table 1. Summary of the incubation and dosing conditions and the sampling times for each model	5

3.	Determination of rates of CYP probe substrate metabolite formation	6

3.1.	Liver spheroids:	6

3.2.	Liver-Chips:	6

Supplementary Table 2. MS parameters for determination individual CYP metabolites in the liver spheroid samples	7

Supplementary Table 3. MS parameters for determination individual CYP metabolites in the Liver-Chip samples	8

4.	APAP and FIAU metabolite identification	9

Supplementary Table 4. Retention time, accurate mass, elemental composition and mass error for FIAU and the indented metabolites M1/M2 (loss of 6.9830), M3 (loss of Iodine), and M4/M5 (glucuronide conjugate).	10

Supplementary Table 5. MS parameters for determination FIAU metabolites in the Liver-Chip samples	11

5.	Quantification of APAP metabolites	12

5.1.	Liver spheroids:	12

5.2.	Liver-Chips:	12

Supplementary Table 6. MS parameters for determination Parent (APAP and FIAU) and APAP metabolites in the liver spheroid samples	13

Supplementary Table 7. MS parameters for determination APAP and metabolites in the Liver-Chip samples	14

Supplementary Table 8. Method A, APAP-glucuronide and APAP-sulfate	15

Supplementary Table 9. Method B, APAP-GSH conjugate	16

Supplementary Table 10. Method C, APAP-Cysteine Conjugate	17

Supplementary Table 11. Lower Limit of Quantification in quantitative measurement on Xevo TQ-S	18

6.	Determination of miR-122 levels	19

SUPPLEMENTARY RESULTS	20

Supplementary Table 12. Summary of biomarker changes observed following exposure to APAP and FIAU	20

SUPPLEMENTARY FIGURES	21

Supplementary Figure 1	21

Supplementary Figure 2	22

Supplementary Figure 3	23

Supplementary Figure 4	24

# SUPPLEMENTARY METHODS

# Materials

Human hepatocytes (PHH) were obtained from QPS, Newark, DE, USA. Human liver sinusoidal epithelial cells (LSECs) and iXCell media components were obtained from iXCells Biotechnologies, San Diego, CA, USA. Human NPCs, were obtained from BioIVT, Baltimore, MD, USA. CellTiter-Glo® Assay was obtained from Promega, Madison, WI, US. Alpha-glutathione-S-transferase (α-GST) ELISA kit was obtained from TecoMedical Group, Sissach, Switzerland. Human albumin ELISA Quantitation Set was obtained from Bethyl Laboratories, Montgomery, TX, USA. Fungin was obtained from InvivoGen, San Diego, CA, USA. Foetal Bovine Serum (FBS), for the liver spheroids was obtained from Pepparedsleden 1, Mölndal, Sweden. FBS for the Liver-Chip model, Insulin-Transferrin-Selenium (100x), cryopreserved hepatocyte recovery medium (CM7000) and fibronectin were obtained from Thermo Fisher Scientific, Loughborough, UK. Matrigel® Matrix was obtained from Corning, Bedford, MA USA. Cell Systems (CSC) LSEC media and components were obtained from Cell Systems, Kirkland, WA, USA. Collagen type 1 and UltraAmp 96-well PCR plates were obtained from VWR International, Leicester, UK. miRNeasy 96-well Kits, QlAzol Lysis reagent and synthetic cel-miR-39-3p, were obtained from QIAgen, Sollentuna, Sweden. RT and PCR primers, cel-miR-39, TaqMan® miRNA reverse transcription kit, MicroAmp Optical 384 Well-Reaction Plate and TaqMan® Universal PCR Master Mix were obtained from Applied Biosystems, Foster City, CA. Liver-Chips, Pods, ER1 and ER2 were obtained from Emulate, Inc., Boston, MA, US. All other reagents, APAP, FIAU and the Ultra-low adhesion (ULA) 96-well plates, were obtained from Sigma-Aldrich Company Ltd (Poole, Dorset, UK or St. Louis, MO, USA) or Toronto Research Chemicals Inc, North York, Canada.

# Liver-Chip and liver spheroid cell culture media and method summay

  - Liver-Chip hepatocyte plating media (CHPM): Williams E Media (WEM) containing phenol red, 1% penicillin/streptomycin, 1% L-glutamax, 0.1% fungin, 4 µg/ml insulin, 0.05 mg/ml ascorbic acid, 1 µM dexamethasone and 5% FBS.

  - Liver-Chip hepatocyte maintenance media (HMM): WEM without phenol red containing 1% penicillin/streptomycin, 1% L-glutamax; 0.1% fungin, 1% ITS+premix, 0.05 mg/ml ascorbic acid, 0.1 µM dexamethasone and 2% FBS.

  - Liver-Chip LSEC iXCell endothelial growth medium (LSECGM): endothelial cell basal media containing 5% FBS, 1% endothelial cell growth supplement and 1% penicillin/streptomycin).

  - Liver-Chip LSEC CSC dosing media (LSEC CSC): (LSEC CSC media containing 1% penicillin/streptomycin, 2% culture boost, 0.1% fungin and 2% FBS)

  - Liver spheroid hepatocyte plating media (HPM): WEM without phenol red containing 10% FBS, 1% L-glutamine-penicillin-streptomycin, 1% Insulin-Transferrin-Selenium and 0.1 µM dexamethasone.

  - Liver spheroid hepatocyte culture media (HCM): WEM without phenol red, 1% L-glutamine-penicillin-streptomycin, 1% Insulin-Transferrin-Selenium and 0.1 µM dexamethasone.

## Supplementary Table 1. Summary of the incubation and dosing conditions and the sampling times for each model

|  | Liver-Chip | Liver spheroids |
| --- | --- | --- |
| Hepatocytes seeded | 7 days prior to first dose; 50 µl of 3.5 x 106 cells/ml | 7 days prior to first dose, 1350 cells/well |
| NPCs seeded | LSECs, 5 days prior to first dose, cells/chip; 20 µl of 3.4 x 106 cells/ml | Crude mixed NPCs, 7 days prior to first dose, 150 cells/well |
| Flow rate | 30 µl/h | n/a |
| Volume/well | n/a | 100 µl |
| Media change | Complete replacement with freshly prepared dose solution every 3 days (day 3, day 6 and day 9) | 50% replacement with freshly prepared dose solution in serum free media every 3 or 4 days (day 4 and day 7) |
| Sample collection | 24 h sample collected on days 1, 3, 7 and 10 | 24 h sample collected on day 1; 72 h sample collected on days 3, 7 and 10 |
| DMSO (final concentration) | 0.1% | 0.1% |
| FBS (final concentration) during compound dosing | 2% | 1.25% on day 0. With subsequent 50% dose solution replacement in serum free media, 0.625% and 0.3125% on days 4 and 7 |
| APAP final concentrations | 0, 100, 300, 1000, 3000, 10,000 µM | 0, 100, 200, 300, 1000, 3000, 5000, 10,000 µM |
| FIAU final concentrations | 0, 0.1, 1, 10, 30, 100 and/or 300 µM | 0, 0.3, 1, 3, 10, 30, 100, 300 µM |
| CYP probe substrate cocktail Both models: phenacetin 30 µM (CYP1A2); diclofenac 10 µM (CYP2C9); S-mephenytoin 35 µM (CYP2C19); bufuralol 5 µM (CYP2D6) and midazolam 3 µM (CYP3A4). Liver-Chips only: chlorzoxazone 100 µM (CYP2E1 probe substrate) and testosterone 200 µM (CYP3A4 alternative probe). | 24 h at 30 µl/h, on days 0-1; days 2-3; days 6-7 and days 9-10 | 24 h on days 0-1, days 3-4; days 7-8 and days 10-11 |
| ATP analysis | Day 10 only | Day 1, 3, 7 and 10 |
| Albumin, α-GST, miR-122 analysis | Day 1, 3, 7 and 10 | Day 1, 3, 7 and 10 |

# Determination of rates of CYP probe substrate metabolite formation

  - Liver spheroids: Thawed quenched samples were first centrifuged at 4000 g for 20 min and then diluted 1:3 with mQ-H2O prior to quantification on a triple-quadrupole mass spectrometer (Xevo TQ-S; Waters, Milford, MA, USA) equipped with an Acquity ultraperformance liquid chromatography (UPLC) I-Class system (Waters Corporation, MA, USA). The MS system was equipped with an electrospray ionization source and settings were as follows: capillary voltage 0.5 kV; desolvation temperature 600°C; cone gas flow 150 l/h; nebulizer gas 7.0 bar; collision gas flow 0.15 ml/min. MSMS optimization was performed for all the metabolites and conditions are specified in Supplementary Table 2. Separation was performed using a Waters Acquity UPLC® HSS T3 column (50 mm×2.1 mm, 1.8 μm) fitted with a column heater set to 40°C. The mobile phase consisted of solvent A (0.1% formic acid in mQ-H2O) and solvent B (0.1% formic acid in acetonitrile). The elution profile was: 0.2% B, 0.00 to 0.3 min; linear gradient to 95% B, 0.31 to 1.3 min; isocratic hold, 1.31 to 1.8 min; re-equilibration 5% B, 1.81 to 1.85 min. The flow rate was 1.0 ml/min. The injection volume was 2 µl.

  - Liver-Chips: Aliquots of the thawed quenched samples were centrifuged at 3500 rpm, 5 min then diluted 1:2 with mQ-H2O prior to analysis on an Acquity UPLC system fitted with a Waters Atlantis® T3 3 µm 2.1 x 50 mm column and coupled to a Xevo TQ-S. The mobile phase was identical to that used for the liver spheroids above. The elution profile was: 5% B, 0.00 to 0.3 min; linear gradient to 40% B, 0.31 to 2.5 min; linear gradient to 99% B, 2.51 to 3.0 min isocratic hold, 3.0 to 4.0 min; re-equilibration 5% B, 4.01 to 5.0 min. The flow rate was 0.8 ml/min and the injection volume was 1-5 µl. Quantitation of the metabolites was achieved by MSMS detection in positive ionization mode. The MS operating conditions were as follows: capillary voltage, 1.3 kV; source offset, 60 V; Desolvation temperature, 500°C; desolvation gas (nitrogen; 800 l/h) and cone gas (nitrogen; 150 1000 l/h); collision gas (argon) at a flow rate of 0.15 ml/min. The MS parameters for determination individual CYP probe substrate derived metabolites are given in Supplementary Table 3.

## Supplementary Table 2. MS parameters for determination individual CYP metabolites in the liver spheroid samples

| CYP Isoform | Substrate | Metabolite | MRM (Parent→Daughter) m/z | Dwell (s) | Cone voltage (V) | Collision energy (V) |
| --- | --- | --- | --- | --- | --- | --- |
| CYP1A2 | Phenacetin | Acetaminophen | 152.01→109.96 | 0.01 | 40 | 16 |
| CYP2C9 | Diclofenac | 4-Hydroxy-diclofenac | 311.93→229.83 | 0.01 | 26 | 34 |
| CYP2C19 | S-Mephenytoin | 4-Hydroxy-mephenytoin | 235.02→149.95 | 0.01 | 5 | 16 |
| CYP2D6 | Bufuralol | 1-Hydroxy-bufuralol | 278.14→158.85 | 0.01 | 26 | 22 |
| CYP3A4/5 | Midazolam | 1-Hydroxy-midazolam | 342.21→202.87 | 0.01 | 12 | 22 |
| CYP2E1 | Chlorzoxazone | 6-Hydroxy-chlorzoxazone | 183.77→119.79 | 0.04 | 50 | 16 |

## Supplementary Table 3. MS parameters for determination individual CYP metabolites in the Liver-Chip samples

| CYP Isoform | Substrate | Metabolite | MRM (Parent→Daughter) m/z | Dwell (s) | Cone voltage (V) | Collision energy (V) |
| --- | --- | --- | --- | --- | --- | --- |
| CYP1A2 | Phenacetin | Acetaminophen | 152.02→109.96 | 0.03 | 15 | 15 |
| CYP2C9 | Diclofenac | 4-Hydroxy-diclofenac | 312.13→230.09 | 0.05 | 15 | 40 |
| CYP2C19 | S-Mephenytoin | 4-Hydroxy-mephenytoin | 235.07→150.09 | 0.03 | 32 | 18 |
| CYP2D6 | Bufuralol | 1-Hydroxy-bufuralol | 278.16→186.12 | 0.04 | 55 | 20 |
| CYP3A4/5 | Midazolam | 1-Hydroxy-midazolam | 342.05→168.24 | 0.04 | 75 | 40 |
| CYP3A4/5 | Testosterone | 6-Hydroxy-testosterone | 305.20→269.10 | 0.05 | 21 | 10 |
| CYP2E1 | Chlorzoxazone | 6-Hydroxy-chlorzoxazone | 183.97→119.87 | 0.05 | 10 | 20 |
| CYP2E1 | Chlorzoxazone | 6-Hydroxy-chlorzoxazone-glucuronide | 360.07→183.97 | 0.05 | 10 | 20 |

# APAP and FIAU metabolite identification

Thawed liver spheroid samples were first quenched either 1:3 (APAP samples) or 1:2 (FIAU samples) with acetonitrile containing 0.8% formic acid and 15 nM  5,5-diethyl-1,3-diphenyl-2-iminobarbituric acid, and then further diluted either 1:3 (APAP samples) or 1:1 (FIAU samples) with mQ-H2O. Metabolite identification was then performed on an Acquity UPLC coupled with Xevo G2 S Q TOF instrument (Waters, UK) and an electrospray ionization source. The system was run in sensitivity mode with a cone voltage of 20 V, capillary voltage of 0.5 kV, source temperature 120 °C and desolvation temperature 600°C. Mass accuracy was corrected using a lock mass solution, leucine-enkephaline (m/z 556.2771), 200 pg/ml in acetonitrile: mQ-H2O (50:50 v/v) containing 0.1% formic acid. Full scan (m/z range 80-1200) centroid MS data was acquired using a fixed collision energy of 4 eV. Separation was performed with a Waters Acquity UPLC® HSS T3 column (100 mm×2.1 mm, 1.8 μm) equipped with a column heater set to 40°C. The mobile phase consisted of solvent A (0.1% formic acid in mQ-H2O) and solvent B (acetonitrile). The elution profile for the APAP metabolite identification was: linear gradient 1% B to 15% B, 0.00 to 5.00 min; linear gradient 15% B to 60% B, 5.01 to 6.00 min; linear gradient 60% B to 98% B, 6.01 to 6.7 min; re-equilibration 1% B, 6.71 to 7.00 min. The elution profile for FIAU metabolite was: linear gradient 5% B to 45% B, 0.00 to 5.00 min; linear gradient 45% B to 60% B, 5.01 to 6.00 min; linear gradient 60% B to 98% B, 6.01 to 6.7 min; re-equilibration 1% B, 6.71 to 7.00 min. The flow rate was 0.5 ml/min. Retention time, accurate mass and mass error for the FIAU metabolites are specified in Supplementary Table 4. MSMS optimization for determination of FIAU metabolites are specified in Supplementary Table 5

## Supplementary Table 4. Retention time, accurate mass, elemental composition and mass error for FIAU and the indented metabolites M1/M2 (loss of 6.9830), M3 (loss of Iodine), and M4/M5 (glucuronide conjugate).

|  | Retention time (min) | Accurate mass | Elemental composition | Mass error (ppm) |
| --- | --- | --- | --- | --- |
| M1 | 0.66 | 366.0760 | C12H16FN3O7S | -3.0 |
| M2 | 0.88 | 366.0767 | C12H16FN3O7S | -1.1 |
| M3 | 1.09 | 247.0722 | C9H11FN2O5 | -3.2 |
| M4 | 1.51 | 549.0008 | C15H18FIN2O11 | -1.7 |
| M5 | 1.69 | 549.0007 | C15H18FIN2O11 | -1.9 |
| FIAU | 1.91 | 372.9689 | C9H10FIN2O5 | -2.0 |

## Supplementary Table 5. MS parameters for determination FIAU metabolites in the Liver-Chip samples

| Metabolite | MRM (Parent→Daughter) m/z | Dwell (s) | Cone voltage (V) | Collision energy (V) |
| --- | --- | --- | --- | --- |
| M1; Des-Iodo | 247.0 → 113.0 | 0.020 | 9 | 20 |
| M2; Cysteine conjugate | 366.0 → 279.0 | 0.070 | 10 | 20 |
| FIAU | 372.9 → 238.7 | 0.010 | 10 | 20 |
| FIAU-P (1) | 452.9 → 214.8 | 0.020 | 10 | 10 |
| M3, M4; Glucuronide conjugate | 549.00 → 238.79 | 0.020 | 10 | 10 |
| Verapamil (IS) | 455.1 → 165.20 | 0.020 | 15 | 25 |

# Quantification of APAP metabolites

  - Liver spheroids: Thawed samples were first quenched 1:3 with acetonitrile containing 0.8% formic acid and 15 nM  5,5-diethyl-1,3-diphenyl-2-iminobarbituric acid, and after that further diluted, first with 1:3 with mQ-H2O and after that with acetonitrile: mQ-H2O (19:81 v/v) containing 0.15% formic acid and 2.8 nM 5,5-diethyl-1,3-diphenyl-2-iminobarbituric acid.  UPLC-MS/MS analysis was performed as described for determination of rates of CYP probe substrate metabolite formation with a modified gradient: 0.2% B, 0.00 to 0.3 min; linear gradient to 15% B, 0.31 to 1.8 min; isocratic hold, 1.81 to 2.4 min; 5% B, 2.41 to 2.46 min; re-equilibration to 0.2% B 2.47 to 3 min. MSMS optimization was performed for all the metabolites as per conditions specified in Supplementary Table 6.

  - Liver-Chips: Thawed samples were first quenched with acetonitrile (containing 20 nM verapamil). In order to facilitate the detection, three different processing and LC methods were used here, method (A) for glucuronide and sulfate conjugate of APAP, (B) for APAP-GSH conjugate and method (C) for APAP-cysteine conjugate (Supplementary Tables 8-10). MSMS optimization was performed and conditions are specified in Supplementary Tables 7.

## Supplementary Table 6. MS parameters for determination Parent (APAP and FIAU) and APAP metabolites in the liver spheroid samples

| Metabolite | MRM (Parent→Daughter) m/z | Dwell (s) | Cone voltage (V) | Collision energy (V) |
| --- | --- | --- | --- | --- |
| APAP | 152.01→109.96 | 0.014 | 40 | 16 |
| APAP-glucuronide | 328.20→152.15 | 0.014 | 15 | 20 |
| APAP-sulfate | 229.93→149.89 | 0.014 | 10 | 22 |
| APAP-GSH | 457.16→139.97 | 0.014 | 50 | 40 |
| FIAU | 371.04→350.95 | 0.040 | 40 | 10 |
| 5,5-diethyl-1,3-diphenyl-2-iminobarbituric acid (IS) | 336.21→195.00 | 0.014 | 40 | 16 |

## Supplementary Table 7. MS parameters for determination APAP and metabolites in the Liver-Chip samples

| Metabolite | MRM (Parent→Daughter) m/z | Dwell (s) | Cone voltage (V) | Collision energy (V) |
| --- | --- | --- | --- | --- |
| APAP-cys | 271.00→139.89 | 0.05 | 50 | 35 |
| APAP | 152.02→109.96 | 0.001 | 15 | 15 |
| APAP-glucuronide | 328.20→152.15 | 0.05 | 15 | 20 |
| APAP-sulfate | 232.05→152.00 | 0.05 | 25 | 10 |
| APAP-GSH | 457.06→139.89 | 0.05 | 50 | 35 |
| Verapamil (IS) | 455.20→165.21 | 0.02 | 15 | 25 |

## Supplementary Table 8. Method A, APAP-glucuronide and APAP-sulfate

| Processing | - Liver chip samples for APAP dosing of 100, 300 and 1000 µM were diluted 10-fold by mixing 10 µl sample with 90 µl ultrapure water - Liver chip samples for APAP dosing of 3000 and 10000 µM were first diluted 100-fold by mixing 10 µl sample with 90 µL media and then further diluted 10-fold with ultrapure water - 10 μl of diluted samples above were mixed with 30μl stop solution - 120 μl ultrapure water was added to above mix and 1-5 μl injected to LC-MS for analysis. |  |  |
| --- | --- | --- | --- |
| Column | Acquity UPLC HSS T3 1.8µm, 2.1X50mm |  |  |
| Solvent A | Water + 0.1% Formic acid |  |  |
| Solvent B | ACN + 0.1% Formic acid |  |  |
| Flow rate | 1 ml/min |  |  |
| Gradient | Time (min) | %A | %B |
|  | 0 | 99.8 | 0.2 |
|  | 0.3 | 99.8 | 0.2 |
|  | 1.8 | 85 | 15 |
|  | 1.81 | 5 | 95 |
|  | 2.4 | 5 | 95 |
|  | 2.41 | 99.8 | 0.2 |
|  | 3 | 99.8 | 0.2 |

## Supplementary Table 9. Method B, APAP-GSH conjugate

| Processing | - 10 μl of Liver-chip sample was mixed with 30 μl stop solution - 120 μl ultrapure water was added to above mix and 1-5 μl injected to LC-MS for analysis. |  |  |
| --- | --- | --- | --- |
| Column | Waters Atlantis® T3, 3µm, 2.1X50mm |  |  |
| Solvent A | Water + 0.1% Formic acid |  |  |
| Solvent B | ACN + 0.1% Formic acid |  |  |
| Flow rate | 1 ml/min |  |  |
| Gradient | Time (min) | %A | %B |
|  | 0 | 99.8 | 0.2 |
|  | 0.3 | 99.8 | 0.2 |
|  | 1.8 | 85 | 15 |
|  | 1.81 | 5 | 95 |
|  | 2.4 | 5 | 95 |
|  | 2.41 | 99.8 | 0.2 |
|  | 3 | 99.8 | 0.2 |

## Supplementary Table 10. Method C, APAP-Cysteine Conjugate

| Processing | - Liver chip samples were first diluted 25-fold by mixing 10 µl sample with 240 µl media. - 10 μl of above sample was mixed with 30 μl stop solution - 120 μl ultrapure water was added to above mix and 1-5 μl injected to LC-MS for analysis. |  |  |
| --- | --- | --- | --- |
| Column | Waters Atlantis® T3, 3µm, 2.1X50mm |  |  |
| Solvent A | Water + 0.1% Formic acid |  |  |
| Solvent B | ACN + 0.1% Formic acid |  |  |
| Flow rate | 0.85 ml/min |  |  |
| Gradient | Time (min) | %A | %B |
|  | 0 | 99.9 | 0.1 |
|  | 0.4 | 99.9 | 0.1 |
|  | 0.6 | 90 | 10 |
|  | 1 | 60 | 40 |
|  | 1.3 | 30 | 70 |
|  | 1.31 | 5 | 95 |
|  | 1.7 | 5 | 95 |
|  | 1.71 | 99.9 | 0.1 |
|  | 2 | 99.9 | 0.1 |

## Supplementary Table 11. Lower Limit of Quantification in quantitative measurement on Xevo TQ-S

| Analyte | Lower Limit of Quantification (nmol/L) |
| --- | --- |
| CYP activity |  |
| Paracetamol | 19.5 |
| Hydroxy-diclofenac | 9.77 |
| Hydroxy-bufuralol | 9.77 |
| Hydroxy-midazolam | 19.5 |
| Hydroxy-mephenytoin | 78.1 |
| APAP metabolism |  |
| APAP | 12200 |
| APAP-glucuronide | 2440 |
| APAP-sulphate | 488 |
| APAP-GSH | 24.4 |
| FIAU |  |
| FIAU | 137 |

# Determination of miR-122 levels

miRNA extraction was performed using an miRNeasy 96 kit (Qiagen) following the manufacturer's instructions with minor modifications. Briefly, nucleoproteins were dissociated by adding 250 µl QIAzol reagent to 50 µl cell-culture media. Chloroform (50 µl) and 10 µl 50 fM Cel-miR-39 were added and samples mixed vigorously prior to centrifugation (5600 g, 4°C, 15 min). The upper aqueous phase (120 µl aliquot) was mixed with 180 µl ethanol prior to completion of the manufacturer's washing procedure. miRNA was eluted with 45 µl RNase-free water and stored at -80C.

Complementary DNA (cDNA) was synthesised using a TaqMan® miRNA reverse transcription kit (Applied Biosystems) following the manufacturer's instructions with minor modifications. Total miRNA extract (5.71 µl) was mixed with 8 µl RT reaction master mix and 3.43 µl stem-loop RT primer (5X) in a total volume of 17.14 µl. cDNA for human miR-122 and cel-miR-39 were prepared in separate reactions using a thermal cycler (from Eppendorf or MJ Research) prior to storage at -20C.

Thawed cDNA (17.14 µl) was diluted 1:1 with nuclease-free water. A Biomerk NXP pipetting robot (Beckman coulter) then mixed 7 µl qPCR reaction mix (TaqMan® universal PCR master mix (2X), TaqMan® target assay gene (20x), RNase-free water) and 3 µl diluted cDNA sample in triplicate for each of Cel-miR-39 and human miR-122. The qRT-PCR was performed on a Quantstudio 7 Flex Real-Time PCR (Applied Biosystems) system.

# SUPPLEMENTARY RESULTS

The effects observed on biomarker levels following exposure to APAP and FIAU in the Liver-Chip and liver spheroid models is summarised in Supplementary Table 12 below.

## Supplementary Table 12. Summary of biomarker changes observed following exposure to APAP and FIAU

Liver-Chip APAP

|  | Day 1 | Day 3 | Day 7 | Day 10 |
| --- | --- | --- | --- | --- |
| Albumin | + | + | + | + |
| miR-122 | - | + | + | - |
| α-GST | - | + | - | - |
| ATP | n/a | n/a | n/a | + |

Liver-Chip FIAU

|  | Day 1 | Day 3 | Day 7 | Day 10 |
| --- | --- | --- | --- | --- |
| Albumin | - | - | + | + |
| miR-122 | - | - | - | - |
| α-GST | - | - | - | - |
| ATP | n/a | n/a | n/a | + |

+  Albumin or ATP EC50 recorded; α-GST ≥ 0.4 µg/million cells/day Or ≥ 5x fold change miR-122

-  no albumin or ATP EC50 recorded, α-GST ≤ 0.4 µg/million cells/day Or ≤ 5x fold change miR-122

Liver spheroid APAP

|  | Day 1 | Day 3 | Day 7 | Day 10 |
| --- | --- | --- | --- | --- |
| Albumin | - | - | + | + |
| miR-122 | - | + | + | + |
| α-GST | - | - | + | + |
| ATP | - | + | + | + |

Liver spheroid FIAU

|  | Day 1 | Day 3 | Day 7 | Day 10 |
| --- | --- | --- | --- | --- |
| Albumin | - | - | - | + |
| miR-122 | - | - | + | + |
| α-GST | - | - | + | + |
| ATP | n/a | n/a | n/a | + |

+  Albumin or ATP EC50 recorded; α-GST ≥ 2 fold Or ≥ 5x fold change miR-122

-  no albumin or ATP EC50 recorded, α-GST ≤ 2 fold Or ≤ 5x fold change miR-122

# SUPPLEMENTARY FIGURES

# Supplementary Figure 1

Supplementary Fig. 1 Hepatocyte albumin levels in vehicle alone treated Liver-Chips (A) and liver spheroids (B). Samples were collected on day 1 (day 8), day 3 (day 10), day 7 (day 14) and day 10 (day 17) post commencement of dosing with vehicle (post-seeding of PHH) in both systems. Media was replenished every 3 days for the Liver-Chips and every 3-4 days for the liver spheroids. Data are from 3 or 4 separate experiments

# Supplementary Figure 2

Supplemental Fig. 2 Metabolism of Fialuridine in liver spheroids: Liver spheroids were incubated with 300 µM FIAU for 24 h for identification of FIAU des-iodo, des-iodo cysteine and FIAU glucuronide conjugate by LCMS analysis

# Supplementary Figure 3

Supplemental Fig. 3 Metabolism of Fialuridine in Liver-Chips: Liver-Chips were incubated with 300 µM FIAU for 24 h prior to collection of samples from the top (hepatocyte) channel for identification of FIAU des-iodo, des-iodo cysteine and FIAU glucuronide conjugates by LCMS analysis

# Supplementary Figure 4

Supplementary Fig. 4 % Total variation in response in both biomarker release and metabolite formation in the Liver-Chip and liver spheroid models exposed to 0-10,000 µM APAP or 0-100 µM FIAU. The RV is the variation remaining after removing the effects of compound, day, and experiment; i.e. it is the noise remaining after removing the known experimental effects and is a measure of technical reproducibility. The residual variation was calculated for each outcome separately and for APAP and FIAU separately. Lower variation represents a more reproducible assay. Each point is an outcome and the same outcome tested in both assays is connected with a line (note that some points are plotted on top of each other)