Multiresidue antibiotic-metabolite quantification method using ultra-performance liquid chromatography coupled with tandem mass spectrometry for environmental and public  exposure estimation

Analytical and Bioanalytical Chemistry

Elizabeth Holton, Barbara Kasprzyk-Hordern

Department of Chemistry, University of Bath, Bath, BA2 7AY, UK

2.4.1. Liquid chromatography (supplementary information)

Table S1 Chemical information, ordered by class

Table S2 Chromatographic and validation parameters for solids analyses in mobile phase, ordered by retention time (in full)

Table S3 Liquid chromatography and mass spectrometry setup

Table S4a Chromatographic and validation parameters: Matrix retention times for aqueous analyses, ordered by retention time

Table S4b Chromatographic and validation parameters: Matrix retention times for solids analyses, ordered by retention time

Table S5a Chromatographic and validation parameters: Matrix ion ratios for aqueous analyses, ordered by retention time

Table S5b Chromatographic and validation parameters: Matrix ion ratios for solids analyses, ordered by retention time

Table S6 Mass spectrometry parameters, ordered by retention time

Table S7 Equations for calculating concentration, instrument performance, and method performance

Table S8 Method recovery from urban matrices, ordered by drug class

Table S9 Method detection and quantification limits per matrix, ordered by retention time

Table S10 Compound structural information, grouped by drug class and corresponding drug metabolites (9 pages)

Figure S1 Weighting schemes

Figure S2 Split calibration ranges

Figure S3 Overlaid chromatograms, scaled by relative intensity, highlighting regions by chemical class

Figure S4 Overlaid chromatograms, scaled by relative intensity

2.4.1. Liquid chromatography (supplementary information)

The chromatography was optimised in terms of mobile phase composition, needle washes, sample composition, flow rate, and inlet gradient (Online resource T2).

A starting mobile phase of water/methanol with 0.1% formic acid produced the strongest ionisation across the range of analytes in positive ESI mode. Outperforming other buffers such as ammonium acetate (5mM NH4OAc) with 0.3 % acetic acid, and ammonium fluoride (1mM NH4F). The preparation of water and methanol was also tested at several ratios for the aqueous (A) line, such as 80:20 and 60:40 H2O:MeOH. The best separation and organic purge was achieved using 95:5 H2O:MeOH with 0.1 % formic acid (mobile phase A) and 100 % MeOH (mobile phase B).

Strong and weak needle washes were selected to compliment the system. The strong wash used was 1:1:1:1 MeOH:ACN:IPA:H2O + 0.1 % formic acid and the weak wash was prepared to mimic the starting mobile phase (95:5 H2O:MeOH). The injection volume was 20 µL, via a partial loop injection.

Five ratios were assessed for the sample make-up (0:100, 20:80, 40:60, 60:40, and 80:20 H2O:MeOH). At high concentrations of organic modifier, the effects of longitudinal diffusion were reduced, which increased analyte velocity and sharpened peaks. But as analyte retention decreased, peak splitting occurred upon solvent mixing. Sample composition performed best at 60:40 but was prepared at 80:20 H2O:MeOH to enable samples to be co-analysed with pre-established methods.

The method flow rate was tested across the range of 0.04 - 0.3 mL min-1. The best results, in terms of system pressure, peak separation, and peak shape; were determined at 0.2 mL min-1.

Numerous elution profiles were tested to maximise overall peak separation whilst retaining Gaussian shape. Starting conditions were: 0 % B, held for 1 min; followed by an 8.5 min gradient to 40 % B; 3.5 min gradient to 100 % B; 3 min hold; finally returning to 0 % B (0.5 min) to re-equilibrate for 2.5 min. Two gradients were utilised; operating at a gradual rate during aqueous-based elution (0-40 % B), followed by a much steeper gradient towards the high-organic hold (40-100 % B). The former enhanced the initial peak separation, and the latter vastly shortened the overall chromatographic period. The re-equilibration hold (2.5 min), plus LC pre-injection liquid handling (needle wash cycles, sample aspiration, etc. approx. 0.5 min), was optimised as the minimum acceptable duration: equivalent to >5 column volumes. System pressures consistently reached equilibrium over this duration and analyte carryover was negligible. The total run time was 19 min. Figure 2 shows the distribution of peaks relative to the inlet gradient and internal standard retention times (top); as well as the example chromatographs, organised by drug class (bottom).

| Table S1 Chemical information, ordered by class groupings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Grouping |  | Chemical | Abbrev | Class A |  | Class B |  | CAS No. |  | Salt form θ |  | Molec. Formula |  | M.I. mass |  | Supplier |  |
| Sulfonamide & |  | Sulfadiazine | SDZ | Sulfonamide |  | Parent |  | 68-35-9 |  |  |  | C10H10N4O2S |  | 250.05 |  | Sigma-Aldrich |  |
| Trimethoprim |  | Sulfapyridine | SPY | Sulfonamide |  | Parent |  | 144-83-2 |  |  |  | C11H11N3O2S |  | 249.06 |  | Sigma-Aldrich |  |
|  |  | Sulfamethoxazole | SMX | Sulfonamide |  | Parent |  | 723-46-6 |  |  |  | C10H11N3O3S |  | 253.05 |  | Sigma-Aldrich |  |
|  |  | Sulfasalazine | SLZ | Sulfonamides |  | Parent |  | 599-79-1 |  |  |  | C18H14N4O5S |  | 398.07 |  | Sigma-Aldrich |  |
|  |  | Trimethoprim | TMP | Trimethoprim |  | Parent |  | 738-70-5 |  |  |  | C14H18N4O3 |  | 290.14 |  | Sigma-Aldrich |  |
|  |  | N-acetyl sulfadiazine | aSDZ | Sulfonamide |  | Metabolite |  | 127-74-2 |  |  |  | C12H12N4O3S |  | 292.06 |  | TRC |  |
|  |  | N-acetyl sulfapyridine | aSPY | Sulfonamide |  | Metabolite |  | 19077-98-6 |  |  |  | C13H13N3O3S |  | 291.07 |  | TRC |  |
|  |  | N-acetyl sulfamethoxazole | aSMX | Sulfonamide |  | Metabolite |  | 21312-10-7 |  |  |  | C12H13N3O4S |  | 295.06 |  | TRC |  |
|  |  | 4-hydroxy-trimethoprim | hTMP | Trimethoprim |  | Metabolite |  | 112678-48-5 |  |  |  | C14H18N4O4 |  | 306.13 |  | TRC |  |
| Macrolide |  | Azithromycin | AZM | Macrolide |  | Parent |  | 83905-01-5 |  |  |  | C38H72N2O12 |  | 748.51 |  | LCG |  |
| & Lincomycin |  | Erythromycin | ERY | Macrolide |  | Parent |  | 114-07-8 |  |  |  | C37H67NO13 |  | 733.46 |  | Sigma-Aldrich |  |
|  |  | Clarithromycin | CLR | Macrolide |  | Parent |  | 81103-11-9 |  |  |  | C38H69NO13 |  | 747.48 |  | Sigma-Aldrich |  |
|  |  | Clindamycin | CLI | Lincomycin |  | Parent |  | 18323-44-9 |  | Hydrochloride |  | C18H33ClN2O5S |  | 424.18 |  | Sigma-Aldrich |  |
|  |  | N-desmethyl azithromycin | dmAZM | Macrolide |  | Metabolite |  | 172617-84-4 |  |  |  | C37H70N2O12 |  | 734.49 |  | TRC |  |
|  |  | N-desmethyl erythromycin A | dmERY | Macrolide |  | Metabolite |  | 992-62-1 |  |  |  | ‎C36H65NO13 |  | 719.45 |  | TRC |  |
|  |  | N-desmethyl clarithromycin | dmCLR | Macrolide |  | Metabolite |  | 101666-68-6 |  |  |  | C37H67NO13 |  | 733.46 |  | TRC |  |
|  |  | N-desmethyl clindamycin | dmCLI | Lincomycin |  | Metabolite |  | 22431-45-4 |  |  |  | C17H31ClN2O5S |  | 410.16 |  | TRC |  |
| β-LACTAMS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penicillin |  | Amoxicillin | AMX | Penicillin |  | Parent |  | 26787-78-0 |  |  |  | C16H19N3O5S |  | 365.10 |  | Fluka |  |
|  |  | Ampicillin | AMP | Penicillin |  | Parent |  | 69-53-4 |  | Trihydrate |  | C16H19N3O4S |  | 349.11 |  | Fluka |  |
|  |  | Flucloxacillin | FLX | Penicillin |  | Parent |  | 5250-39-5 |  | Sodium |  | C19H17ClFN3O5S |  | 453.06 |  | Fluka |  |
|  |  | Penicillin G | PenG | Penicillin |  | Parent |  | 113-98-4 |  | Sodium |  | C16H18N2O4S |  | 334.10 |  | Fluka |  |
|  |  | Penicillin V | PenV | Penicillin |  | Parent |  | 132-98-9 |  | Potassium |  | C16H18N2O5S |  | 350.09 |  | Sigma-Aldrich |  |
|  |  | Amoxicilloic acid | AMXa | Penicillin |  | Metabolite |  | 42947-63-7 ¥ |  | Trisodium salt |  | C16H21N3O6S |  | 383.12 |  | TRC |  |
|  |  | Ampicilloic acid | AMPa | Penicillin |  | Metabolite |  | 32746-94-4 |  |  |  | C16H21N3O5S |  | 367.12 |  | TRC |  |
|  |  | Penicilloic G acid | PenGa | Penicillin |  | Metabolite |  | 11039-68-2 |  |  |  | C9H14N2O5S |  | 262.06 |  | TRC |  |
| Cefalosporin |  | Cefalexin | LEX | Cefalosporin |  | Parent |  | 23325-78-2 |  | Monohydrate |  | C16H17N3O4S |  | 347.09 |  | Fluka |  |
|  |  | Cefixime | CFM | Cefalosporin |  | Parent |  | 79350-37-1 |  | Trihydrate |  | C16H15N5O7S2 |  | 453.04 |  | Fluka |  |
|  |  | Ceftiofur | CTF | Cefalosporin |  | Parent |  | 104010-37-9 |  |  |  | ‎C19H17N5O7S3 |  | 523.03 |  | Fluka |  |
|  |  | Ceftriaxone | CRO | Cefalosporin |  | Parent |  | 104376-79-6 |  | Disodium hemi(heptahydrate) |  | C18H18N8O7S3 |  | 554.05 |  | Sigma-Aldrich |  |
| Monobactam |  | Aztreonam | ATM | Monobactam |  | Parent |  | 78110-38-0 |  |  |  | C13H17N5O8S2 |  | 435.05 |  | TRC |  |
| Carbapenem |  | Imipenem | IPM | Carbapenem |  | Parent |  | 64221-86-9 |  |  |  | C12H17N3O4S |  | 299.09 |  | Sigma-Aldrich |  |
|  |  | Meropenem | MEM | Carbapenem |  | Parent |  | 119478-56-7 |  | Trihydrate |  | C17H25N3O5S |  | 383.15 |  | Sigma-Aldrich |  |
| Quinolone |  | Besifloxacin | BSF | Quinolone |  | Parent |  | 405165-61-9 |  | Hydrochloride |  | C19H21ClFN3O3 |  | 393.13 |  | MCE |  |
|  |  | Ciprofloxacin | CIP | Quinolone |  | Parent/Metab. |  | 85721-33-1 |  |  |  | C17H18FN3O3 |  | 331.13 |  | Fluka |  |
|  |  | Danofloxacin | DFX | Quinolone |  | Parent |  | 119478-55-6 |  | Mesylate |  | C19H20FN3O3 |  | 357.15 |  | LCG |  |
|  |  | Enrofloxacin | ENR | Quinolone |  | Parent |  | 93106-60-6 |  |  |  | C19H22FN3O3 |  | 359.16 |  | Sigma-Aldrich |  |
|  |  | Flumequine | FLU | Quinolone |  | Parent |  | 42835-25-6 |  |  |  | C14H12FNO3 |  | 261.08 |  | Fluka |  |
|  |  | Gatifloxacin | GAT | Quinolone |  | Parent |  | 112811-59-3 |  |  |  | C19H22FN3O4 |  | 375.16 |  | TRC |  |
|  |  | Lomefloxacin | LOM | Quinolone |  | Parent |  | 98079-52-8 |  | Hydrochloride |  | C17H19F2N3O3 |  | 351.14 |  | Sigma-Aldrich |  |
|  |  | Moxifloxacin | MXF | Quinolone |  | Parent |  | 268545-13-7 |  | Hydrochloride |  | C21H24FN3O4 |  | 401.18 |  | MCE |  |
|  |  | Nadifloxacin | NAD | Quinolone |  | Parent |  | 124858-35-1 |  |  |  | C19H21FN2O4 |  | 360.15 |  | MCE |  |
|  |  | Nalidixic acid | NAL | Quinolone |  | Parent |  | 389-08-2 |  | Sodium |  | C12H12N2O3 |  | 232.08 |  | Sigma-Aldrich |  |
|  |  | Norfloxacin | NOR | Quinolone |  | Parent |  | 70458-96-7 |  |  |  | C16H18FN3O3 |  | 319.13 |  | Sigma-Aldrich |  |
|  |  | Ofloxacin (Levofloxacin) * | OFX | Quinolone |  | Parent |  | 82419-36-1 |  |  |  | C18H20FN3O4 |  | 361.14 |  | Sigma-Aldrich |  |
|  |  | Prulifloxacin | PFLX | Quinolone |  | Parent (prodrug) |  | 123447-62-1 |  |  |  | C21H20FN3O6S |  | 461.11 |  | Sigma-Aldrich |  |
| Grouping |  | Chemical | Abbrev | Class A |  | Class B |  | CAS No. |  | Salt form θ |  | Molec. Formula |  | M.I. mass |  | Supplier |  |
|  |  | Sarafloxacin | SRF | Quinolone |  | Parent |  | 91296-87-6 |  | Hydrochloride |  | C20H17F2N3O3 |  | 385.12 |  | Sigma-Aldrich |  |
|  |  | Desethylene ciprofloxacin | deCIP | Quinolone |  | Metabolite |  | 528851-31-2 |  | Hydrochloride |  | C15H16FN3O3 |  | 305.12 |  | TRC |  |
|  |  | Hydroxy-norfloxacin | hNOR | Quinolone |  | Metabolite |  | 109142-49-6 |  |  |  | C16H18FN3O4 |  | 335.13 |  | TRC |  |
|  |  | Ofloxacin N-oxide | OFXo | Quinolone |  | Metabolite |  | 104721-52-0 |  | Acetic acid salt |  | C18H20FN3O5 |  | 377.14 |  | TRC |  |
|  |  | Desmethyl-ofloxacin | dmOFX | Quinolone |  | Metabolite |  | 82419-52-1 |  |  |  | C17H18FN3O4 |  | 347.13 |  | TRC |  |
|  |  | Ulifloxacin | UFX | Quinolone |  | Metabolite |  | 112984-60-8 |  |  |  | C16H16FN3O3S |  | 349.09 |  | TRC |  |
| TB (1st line) |  | Isoniazid | INH | Isoniazid |  | Parent |  | 54-85-3 |  |  |  | C6H7N3O |  | 137.06 |  | Sigma-Aldrich |  |
|  |  | Pyrazinamide | PZA | Pyrazinamide |  | Parent |  | 98-96-4 |  |  |  | C5H5N3O |  | 123.04 |  | Sigma-Aldrich |  |
|  |  | Ethambutol | EMB | Ethambutol |  | Parent |  | 74-55-5 |  | Dihydrochloride |  | C10H24N2O2 |  | 204.18 |  | Sigma-Aldrich |  |
|  |  | Rifampicin | RMP | Rifamycin |  | Parent |  | 13292-46-1 |  |  |  | C43H58N4O12 |  | 822.41 |  | Sigma-Aldrich |  |
|  |  | Rifabutin | RFB | Rifamycin |  | Parent |  | 72559-06-9 |  |  |  | C46H62N4O11 |  | 846.44 |  | Sigma-Aldrich |  |
|  |  | Isonicotinic acid | INa | Isoniazid |  | Metabolite |  | 55-22-1 |  |  |  | C6H5NO2 |  | 123.03 |  | Sigma-Aldrich |  |
|  |  | Acetyl-isoniazid | aINH | Isoniazid |  | Metabolite |  | 1078-38-2 |  |  |  | C8H9N3O2 |  | 179.07 |  | Sigma-Aldrich |  |
|  |  | 5-Hydroxy-pyrazinoic acid | hPZA | Pyrazinamide |  | Metabolite |  | 34604-60-9 |  |  |  | C5H4N2O3 |  | 140.02 |  | Sigma-Aldrich |  |
|  |  | 25-desacetyl rifampicin | daRMP | Rifamycin |  | Metabolite |  | 16783-99-6 |  |  |  | C41H56N4O11 |  | 780.39 |  | Sigma-Aldrich |  |
|  |  | 25-O-desacetyl rifabutin | daRFB | Rifamycin |  | Metabolite |  | 100324-63-8 |  |  |  | C44H60N4O10 |  | 804.43 |  | TRC |  |
| TB (MDR) |  | Capreomycin IA ≠ | CAPIa | Aminoglycoside |  | Parent |  | 1405-37-4 |  | Sulfate |  | C25H44N14O8 |  | 668.35 |  | TRC |  |
|  |  | Capreomycin IB ≠ | CAPIb | Aminoglycoside |  | Parent |  | 1405-37-4 |  | Sulfate |  | C25H44N14O7 |  | 652.35 |  | TRC |  |
|  |  | Gentamycin C1 ≠ | GEN1 | Aminoglycoside |  | Parent |  | 1405-41-0 |  | Sulfate salt hydrate |  | C21H43N5O7 |  | 477.32 |  | Fluka |  |
|  |  | Gentamycin C1a ≠ | GEN1a | Aminoglycoside |  | Parent |  | 1405-41-0 |  | Sulfate salt hydrate |  | C19H39N5O7 |  | 449.28 |  | Fluka |  |
|  |  | Gentamycin C2 C2a C2b ≠ | GEN2 | Aminoglycoside |  | Parent |  | 1405-41-0 |  | Sulfate salt hydrate |  | C20H43N5O7 |  | 465.32 |  | Fluka |  |
|  |  | Kanamycin A ≠ | KAN | Aminoglycoside |  | Parent |  | 25389-94-0 |  | Sulfate |  | C18H36N4O11 |  | 484.24 |  | Sigma-Aldrich |  |
|  |  | Streptomycin A ≠ | STR | Aminoglycoside |  | Parent |  | 3810-74-0 |  | Sulfate |  | C21H39N7O12 |  | 581.27 |  | Sigma-Aldrich |  |
|  |  | D-cycloserine | DCS | Isoxazole |  | Parent/Metab. |  | 68-41-7 |  |  |  | C3H6N2O2 |  | 102.04 |  | TRC |  |
| TB (other) |  | Delamanid | DMD | Nitroimidazole |  | Parent |  | 681492-22-8 |  |  |  | C25H25F3N4O6 |  | 534.17 |  | Sigma-Aldrich |  |
|  |  | Bedaquiline | BDQ | Diarylquinoline |  | Parent |  | 843663-66-1 |  |  |  | C32H31BrN2O2 |  | 554.16 |  | Sigma-Aldrich |  |
|  |  | Linezolid | LZD | Oxazolidinone |  | Parent |  | 165800-03-3 |  |  |  | C16H20FN3O4 |  | 337.14 |  | Sigma-Aldrich |  |
|  |  | Thalidomide | THAL | Thalidomide |  | Parent |  | 50-35-1 |  |  |  | C13H10N2O4 |  | 258.06 |  | Sigma-Aldrich |  |
| OTHER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amphenicol |  | Chloramphenicol | CHL | Amphenicol |  | Parent |  | 56-75-7 |  |  |  | C11H12Cl2N2O5 |  | 322.01 |  | Sigma-Aldrich |  |
|  |  | Florfenicol | FLO | Amphenicol |  | Parent |  | 73231-34-2 |  |  |  | C12H14Cl2FNO4S |  | 357.00 |  | MCE |  |
|  |  | 2-Amino-1-(4-nitrophenyl)-1,3-propanediol | ANP | Amphenicol |  | Metabolite |  | 2964-48-9 |  |  |  | C9H12N2O4 |  | 212.08 |  | Sigma-Aldrich |  |
| Cycline |  | Doxycycline | DOX | Cycline |  | Parent |  | 24390-14-5 |  | Hyclate |  | C22H24N2O8 |  | 444.15 |  | Sigma-Aldrich |  |
|  |  | Oxytetracycline | OTC | Cycline |  | Parent |  | 2058-46-0 |  | Hydrochloride |  | C22H24N2O9 |  | 460.15 |  | TRC |  |
|  |  | Tetracycline | TET | Cycline |  | Parent |  | 64-75-5 |  | Hydrochloride |  | C22H24N2O8 |  | 444.15 |  | Sigma-Aldrich |  |
| Nitrofuran |  | Nitrofurantoin | NIT | Nitrofuran |  | Parent |  | 67-20-9 |  |  |  | C8H6N4O5 |  | 238.03 |  | Sigma-Aldrich |  |
|  |  | 1-(2-nitrobenzylidenamino)-2,4-imidazolidinedione | NPAHD | Nitrofuran |  | Metabolite |  | 623145-57-3 |  |  |  | C10H8N4O4 |  | 248.05 |  | TRC |  |
| Azole |  | Metronidazole | MTZ | Azole |  | Parent |  | 443-48-1 |  |  |  | C6H9N3O3 |  | 171.06 |  | Sigma-Aldrich |  |
|  |  | Ketoconazole | KTC | Azole |  | Parent |  | 65277-42-1 |  |  |  | C26H28Cl2N4O4 |  | 530.15 |  | Sigma-Aldrich |  |
|  |  | Hydroxy-metronidazole | hMTZ | Azole |  | Metabolite |  | 1215071-08-1 |  |  |  | C6H9N3O4 |  | 187.06 |  | TRC |  |
|  |  | Deacetyl-ketoconazole | daKTC | Azole |  | Metabolite |  | 67914-61-8 |  |  |  | C24H26Cl2N4O3 |  | 488.14 |  | TRC |  |
| Antiretroviral |  | Emtricitabine | FTC | ARV |  | Parent |  | 143491-57-0 |  |  |  | C8H10FN3O3S |  | 247.04 |  | TRC |  |
|  |  | Lamivudine | 3TC | ARV |  | Parent |  | 134678-17-4 |  |  |  | C8H11N3O3S |  | 229.05 |  | TRC |  |

Monoisotopic mass (M.I. mass), multi-drug resistant (MDR), tuberculosis (TB), nucleoside reverse transcriptase inhibitor (NRTI)

LC-MS method is not chiral (*); one standard used for all forms within the drug complex (≠); CAS for chiral free acid (¥); salt corrections considered in all calculations, i.e., analysis of the free base (θ)

| Table S2 Chromatographic and validation parameters for solids analyses in mobile phase, ordered by retention time (grey text: parameters are equivalent for aqueous and solid analyses) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Weighted linear calibration curves (µg L-1) and associated r2 value |  |  |  |  |  |  |  |  |  |  |  | Absolute and relative retention times (min) ≠ |  |  |  |  |  |  |  | Ion Ratio (by range, µg L-1) |  |
| # | Chemical | Abbrev | Range 1 | r2 | Range 2 | r2 | Range 3 | r2 |  |  |  |  | STD tR(abs) |  |  | STD tR(rel) |  | Corresponding ISTD |  | ISTD tR(abs) |  |  | 0-100 | 100-1000 |
| 1 | Gentamycin C1 | GEN1 | 9.400-150 | 0.807 | 150-375 | 0.975 | - | - |  |  |  |  | 0.52±0.1 |  |  | 6.30±0.6 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | #N/A | #N/A |
| 2 | Gentamycin C1a | GEN1a | 6.900-55 | 0.964 | 55-275 | 0.955 | - | - |  |  |  |  | 0.54±0.1 |  |  | 6.05±0.6 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | #N/A | #N/A |
| 3 | Gentamycin C2 C2a C2b | GEN2 | 17.500-140 | 0.920 | 140-350 | 0.986 | - | - |  |  |  |  | 0.54±0.1 |  |  | 6.08±0.9 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | #N/A | #N/A |
| 4 | Kanamycin A | KAN | 11.875-95 | 0.927 | 95-950 | 0.992 | - | - |  |  |  |  | 0.54±0.1 |  |  | 6.02±0.6 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | #N/A | #N/A |
| 5 | Capreomycin IA | CAPIa | 22.071-441 | 0.964 | - | - | - | - |  |  |  |  | 0.55±0.1 |  |  | 5.97±0.6 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | #N/A | #N/A |
| 6 | Capreomycin IB | CAPIb | 22.071-441 | 0.965 | - | - | - | - |  |  |  |  | 0.56±0.1 |  |  | 5.86±0.6 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | #N/A | #N/A |
| 7 | Streptomycin A | STR | 40.000-800 | 0.979 | - | - | - | - |  |  |  |  | 0.57±0.1 |  |  | 5.69±0.6 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | #N/A | #N/A |
| 8 | Ethambutol | EMB | 0.010-100 | 0.999 | 100-200 | 0.996 | 200-1000 | 0.994 |  |  |  |  | 0.65±0.1 |  |  | 5.02±0.5 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | #N/A | #N/A |
| 9 | D-cycloserine | DCS | 1.000-750 | 0.997 | - | - | - | - |  |  |  |  | 0.66±0.1 |  |  | 4.94±0.5 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | 0.3±0.05 | 0.3±0.04 |
| 10 | Imipenem | IPM | 5.000-500 | 0.993 | - | - | - | - |  |  |  |  | 0.72±0.1 |  |  | 4.57±0.5 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | 1.2±0.2 | 1.0±0.1 |
| 11 | Isoniazid | INH | 0.500-200 | 0.997 | 200-1800 | 0.995 | - | - |  |  |  |  | 0.74±0.1 |  |  | 4.33±0.4 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | 7.9±0.8 | 8.8±0.9 |
| 12 | Isonicotinic acid | INa | 0.500-200 | 0.999 | 200-3000 | 0.995 | - | - |  |  |  |  | 0.75±0.1 |  |  | 4.48±0.4 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | 3.9±0.6 | 3.8±0.4 |
| 13 | Acetyl-isoniazid | aINH | 0.500-100 | 0.992 | 100-1000 | 0.996 | - | - |  |  |  |  | 0.79±0.1 |  |  | 4.12±0.4 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | 0.5±0.1 | 0.5±0.1 |
| 14 | 5-Hydroxy-pyrazinoic acid | hPZA | 1.000-750 | 0.998 | - | - | - | - |  |  |  |  | 0.84±0.2 |  |  | 3.98±0.8 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | 4.5±1.8 | 14.2±1.4 |
| 15 | Pyrazinamide | PZA | 1.250-1000 | 0.998 | - | - | - | - |  |  |  |  | 1.47±0.4 |  |  | 2.47±1.0 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | 1.0±0.1 | 1.3±0.1 |
| 16 | 2-Amino-1-(4-nitrophenyl)-1,3-propanediol | ANP | 5.000-25 | 0.997 | 25-100 | 0.996 | 100-1000 | 0.997 |  |  |  |  | 2.05±0.2 |  |  | 1.59±0.2 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | 2.4±0.4 | 2.4±0.2 |
| 17 | Lamivudine | 3TC | 1.000-1000 | 0.995 | - | - | - | - |  |  |  |  | 2.30±0.6 |  |  | 1.66±0.3 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | 6.3±0.9 | 7.4±0.7 |
| 18 | Hydroxy-metronidazole | hMTZ | 0.100-100 | 0.995 | 100-750 | 0.998 | - | - |  |  |  |  | 2.32±0.2 |  |  | 1.40±0.1 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | 1.4±0.2 | 1.3±0.1 |
| 19 | Metronidazole | MTZ | 0.100-500 | 0.997 | 500-1000 | 0.997 | - | - |  |  |  |  | 3.30±0.3 |  |  | 0.99±0.1 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | 1.8±0.3 | 1.8±0.2 |
| 20 | Amoxicilloic acid | AMXa | 1.000-1000 | 0.998 | - | - | - | - |  |  |  |  | 3.50±0.3 |  |  | 2.00±0.2 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  |  | 1.3±0.3 | 1.3±0.1 |
| 21 | Emtricitabine | FTC | 0.500-200 | 0.996 | 50-1000 | 0.998 | 1000-3000 | 0.985 |  |  |  |  | 3.63±0.4 |  |  | 0.90±0.1 |  | Metronidazole D4 |  | 3.25±0.3 |  |  | 12.4±2.5 | 13.2±1.3 |
| 22 | Sulfadiazine | SDZ | 0.050-1000 | 0.999 | - | - | - | - |  |  |  |  | 3.70±0.4 |  |  | 1.74±0.2 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  |  | 0.9±0.1 | 0.9±0.1 |
| 23 | Amoxicillin | AMX | 5.000-100 | 0.995 | 100-1000 | 0.997 | - | - |  |  |  |  | 3.85±0.4 |  |  | 1.81±0.2 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  |  | 3.3±0.7 | 2.9±0.3 |
| 24 | Sulfapyridine | SPY | 0.010-1000 | 0.999 | - | - | - | - |  |  |  |  | 4.50±0.5 |  |  | 1.47±0.1 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  |  | 1.2±0.1 | 1.2±0.1 |
| 25 | Meropenem | MEM | 5.000-500 | 0.992 | - | - | - | - |  |  |  |  | 5.24±0.5 |  |  | 1.13±0.1 |  | Trimethoprim D9 |  | 5.91±0.6 |  |  | 6.3±0.9 | 6.2±0.6 |
| 26 | N-acetyl sulfadiazine | aSDZ | 0.070-25 | 0.996 | 25-750 | 0.998 | - | - |  |  |  |  | 5.54±0.6 |  |  | 1.26±0.1 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  |  | 1.5±0.3 | 1.5±0.2 |
| 27 | Nitrofurantoin | NIT | 5.000-1000 | 0.998 | - | - | - | - |  |  |  |  | 5.54±0.6 |  |  | 1.00±0.1 |  | Nitrofurantoin 13C3 |  | 5.54±0.6 |  |  | 1.8±0.3 | 1.9±0.2 |
| 28 | Aztreonam | ATM | 1.000-750 | 0.996 | - | - | - | - |  |  |  |  | 5.85±0.6 |  |  | 1.01±0.1 |  | Trimethoprim D9 |  | 5.91±0.6 |  |  | 0.9±0.2 | 0.8±0.1 |
| 29 | Ampicilloic acid | AMPa | 0.500-750 | 0.997 | - | - | - | - |  |  |  |  | 6.01±0.6 |  |  | 1.16±0.1 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  |  | 2.0±0.4 | 1.8±0.2 |
| 30 | Trimethoprim | TMP | 0.500-500 | 0.996 | - | - | - | - |  |  |  |  | 6.01±0.6 |  |  | 0.98±0.1 |  | Trimethoprim D9 |  | 5.91±0.6 |  |  | 0.9±0.1 | 0.9±0.1 |
| 31 | 4-hydroxy-trimethoprim | hTMP | 0.013-63 | 0.996 | 63-95 | 0.994 | - | - |  |  |  |  | 6.15±0.6 |  |  | 0.96±0.1 |  | Trimethoprim D9 |  | 5.91±0.6 |  |  | 3.9±0.4 | 3.9±0.4 |
| 32 | N-acetyl sulfapyridine | aSPY | 0.500-25 | 0.996 | 25-750 | 0.997 | - | - |  |  |  |  | 6.19±0.6 |  |  | 1.13±0.1 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  |  | 0.9±0.1 | 0.9±0.1 |
| 33 | Tetracycline | TET | 0.500-200 | 0.996 | 200-500 | 0.995 | - | - |  |  |  |  | 6.55±0.7 |  |  | 1.03±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  |  | 2.3±0.5 | 2.1±0.2 |
| 34 | Ofloxacin (Levofloxacin) | OFX | 0.100-750 | 0.995 | - | - | - | - |  |  |  |  | 6.59±0.7 |  |  | 1.00±0.1 |  | Ofloxacin D3 |  | 6.58±0.7 |  |  | 1.1±0.2 | 1.0±0.1 |
| 35 | Desethylene ciprofloxacin | deCIP | 0.500-100 | 0.998 | 100-500 | 0.999 | - | - |  |  |  |  | 6.71±0.7 |  |  | 1.01±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  |  | 2.6±0.5 | 2.4±0.2 |
| 36 | Oxytetracycline | OTC | 1.000-200 | 0.998 | 200-500 | 0.994 | - | - |  |  |  |  | 6.77±0.7 |  |  | 1.00±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  |  | 3.9±0.8 | 3.8±0.4 |
| 37 | Desmethyl-ofloxacin | dmOFX | 0.500-50 | 0.994 | 50-750 | 0.994 | - | - |  |  |  |  | 6.82±0.7 |  |  | 0.99±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  |  | 1.2±0.2 | 1.1±0.1 |
| 38 | Ceftriaxone | CRO | 25.000-1000 | 0.994 | - | - | - | - |  |  |  |  | 6.82±0.7 |  |  | 0.86±0.1 |  | Trimethoprim D9 |  | 5.91±0.6 |  |  | 0.8±0.2 | 0.8±0.2 |
| 39 | Cefalexin | LEX | 1.250-100 | 0.994 | 100-750 | 0.997 | - | - |  |  |  |  | 6.92±0.7 |  |  | 0.85±0.1 |  | Trimethoprim D9 |  | 5.91±0.6 |  |  | 0.9±0.2 | 0.9±0.1 |
| 40 | Florfenicol | FLO | 10.000-200 | 0.988 | 200-750 | 0.996 | - | - |  |  |  |  | 6.92±0.7 |  |  | 1.24±0.1 |  | Chloramphenicol D5 |  | 8.60±0.9 |  |  | 4.9±1.0 | 5.5±0.8 |
| 41 | Norfloxacin | NOR | 0.010-200 | 0.992 | 200-500 | 0.993 | 500-1000 | 0.983 |  |  |  |  | 7.00±0.7 |  |  | 0.97±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  |  | 1.4±0.3 | 1.3±0.1 |
| 42 | Sulfamethoxazole | SMX | 0.010-200 | 0.995 | 200-1000 | 0.997 | - | - |  |  |  |  | 7.02±0.7 |  |  | 0.99±0.1 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  |  | 1.3±0.3 | 1.2±0.1 |
| 43 | Ciprofloxacin | CIP | 0.500-400 | 0.996 | - | - | - | - |  |  |  |  | 7.14±0.7 |  |  | 0.95±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  |  | 4.0±0.6 | 5.1±0.8 |
| Table S2 continued |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # | Chemical | Abbrev | Range 1 | r2 | Range 2 | r2 | Range 3 |  | r2 |  |  |  |  | STD tR(abs) |  |  | STD tR(rel) |  | Corresponding ISTD |  | ISTD tR(abs) |  | 0-100 | 100-1000 |
| 44 | Enrofloxacin | ENR | 0.100-100 | 0.992 | 100-750 | 0.992 | - |  | - |  |  |  |  | 7.20±0.7 |  |  | 0.94±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  | 2.4±0.5 | 2.5±0.2 |
| 45 | Danofloxacin | DFX | 5.000-750 | 0.997 | - | - | - |  | - |  |  |  |  | 7.34±0.7 |  |  | 0.92±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  | 3.1±1.6 | 11.4±3.4 |
| 46 | Lomefloxacin | LOM | 0.100-500 | 0.997 | - | - | - |  | - |  |  |  |  | 7.44±0.7 |  |  | 0.91±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  | 2.2±0.4 | 2.2±0.2 |
| 47 | Ampicillin | AMP | 5.000-1000 | 0.998 | - | - | - |  | - |  |  |  |  | 7.49±0.7 |  |  | 0.93±0.1 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  | 0.2±0.03 | 0.2±0.02 |
| 48 | Thalidomide | THAL | 1.000-100 | 0.998 | 100-750 | 0.998 | - |  | - |  |  |  |  | 7.87±0.8 |  |  | 0.75±0.1 |  | Trimethoprim D9 |  | 5.91±0.6 |  | 2.4±0.2 | 2.3±0.2 |
| 49 | Ulifloxacin | UFX | 5.000-500 | 0.986 | - | - | - |  | - |  |  |  |  | 7.90±0.8 |  |  | 0.86±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  | 1.0±0.2 | 1.1±0.1 |
| 50 | Sarafloxacin | SRF | 0.500-1000 | 0.998 | - | - | - |  | - |  |  |  |  | 7.92±0.8 |  |  | 0.85±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  | 0.6±0.1 | 0.4±0.1 |
| 51 | Ofloxacin N-oxide | OFXo | 12.000-75 | 0.995 | 75-1000 | 0.995 | - |  | - |  |  |  |  | 8.07±0.8 |  |  | 0.84±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  | 0.9±0.2 | 0.9±0.1 |
| 52 | 1-(2-nitrobenzylidenamino)-2,4-imidazolidinedione | NPAHD | 0.100-200 | 0.994 | 200-1000 | 0.997 | - |  | - |  |  |  |  | 8.11±0.8 |  |  | 1.06±0.1 |  | Chloramphenicol D5 |  | 8.60±0.9 |  | 1.9±0.4 | 1.8±0.2 |
| 53 | Cefixime | CFM | 5.000-750 | 0.996 | - | - | - |  | - |  |  |  |  | 8.20±0.8 |  |  | 0.72±0.1 |  | Trimethoprim D9 |  | 5.91±0.6 |  | 2.7±0.4 | 2.2±0.3 |
| 54 | Gatifloxacin | GAT | 0.010-500 | 0.996 | - | - | - |  | - |  |  |  |  | 8.32±0.8 |  |  | 0.81±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  | 1.5±0.3 | 1.6±0.2 |
| 55 | Chloramphenicol | CHL | 0.500-200 | 0.997 | 200-1000 | 0.998 | - |  | - |  |  |  |  | 8.69±0.9 |  |  | 0.99±0.1 |  | Chloramphenicol D5 |  | 8.60±0.9 |  | 0.5±0.1 | 0.6±0.1 |
| 56 | N-acetyl sulfamethoxazole | aSMX | 0.063-475 | 0.997 | 475-1500 | 0.997 | - |  | - |  |  |  |  | 8.90±0.9 |  |  | 0.78±0.1 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  | 0.8±0.2 | 0.8±0.1 |
| 57 | Linezolid | LZD | 0.100-1000 | 0.994 | - | - | - |  | - |  |  |  |  | 8.93±0.9 |  |  | 0.96±0.1 |  | Chloramphenicol D5 |  | 8.60±0.9 |  | 1.4±0.3 | 1.4±0.1 |
| 58 | Moxifloxacin | MXF | 1.250-500 | 0.997 | - | - | - |  | - |  |  |  |  | 9.14±0.9 |  |  | 0.74±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  | 2.1±0.4 | 1.8±0.3 |
| 59 | Hydroxy-norfloxacin | hNOR | 1.000-750 | 0.987 | - | - | - |  | - |  |  |  |  | 9.82±1.0 |  |  | 0.69±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  | 0.9±0.2 | 0.9±0.1 |
| 60 | Penicilloic G acid | PenGa | 0.500-750 | 0.997 | - | - | - |  | - |  |  |  |  | 9.94±1.0 |  |  | 0.70±0.1 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  | 1.0±0.2 | 1.0±0.1 |
| 61 | Prulifloxacin | PFLX | 1.000-400 | 0.997 | - | - | - |  | - |  |  |  |  | 10.18±1.0 |  |  | 0.66±0.1 |  | Desmethyl-ofloxacin D8 |  | 6.76±0.7 |  | 1.2±0.2 | 1.1±0.1 |
| 62 | Azithromycin | AZM | 0.050-1000 | 0.999 | - | - | - |  | - |  |  |  |  | 10.22±1.0 |  |  | 1.19±0.1 |  | Clarithromycin D3 |  | 12.15±1.2 |  | 1.4±0.3 | 1.1±0.1 |
| 63 | N-desmethyl azithromycin | dmAZM | 1.250-400 | 0.991 | - | - | - |  | - |  |  |  |  | 10.29±1.0 |  |  | 1.18±0.1 |  | Clarithromycin D3 |  | 12.15±1.2 |  | 1.1±0.3 | 1.1±0.1 |
| 64 | Ceftiofur | CTF | 0.500-200 | 0.997 | - | - | - |  | - |  |  |  |  | 10.45±1.0 |  |  | 1.16±0.1 |  | Clarithromycin D3 |  | 12.15±1.2 |  | 1.9±0.4 | 1.8±0.2 |
| 65 | Deacetyl-ketoconazole | daKTC | 1.250-200 | 0.993 | 200-500 | 0.995 | - |  | - |  |  |  |  | 10.49±1.0 |  |  | 1.09±0.1 |  | Flumequine 13C3 |  | 11.42±1.1 |  | 1.7±0.5 | 1.7±0.2 |
| 66 | Doxycycline | DOX | 1.250-1000 | 0.991 | - | - | - |  | - |  |  |  |  | 10.77±1.1 |  |  | 1.15±0.1 |  | Rifabutin D7 |  | 12.48±1.2 |  | 0.8±0.2 | 0.8±0.1 |
| 67 | Clindamycin | CLI | 0.500-1000 | 0.993 | - | - | - |  | - |  |  |  |  | 11.09±1.1 |  |  | 1.03±0.1 |  | Flumequine 13C3 |  | 11.42±1.1 |  | 63.8±12.8 | 74.5±7.4 |
| 68 | Nalidixic acid | NAL | 0.010-500 | 0.998 | - | - | - |  | - |  |  |  |  | 11.14±1.1 |  |  | 1.03±0.1 |  | Flumequine 13C3 |  | 11.42±1.1 |  | 1.7±0.2 | 1.7±0.2 |
| 69 | Besifloxacin | BSF | 1.250-750 | 0.988 | - | - | - |  | - |  |  |  |  | 11.18±1.1 |  |  | 1.02±0.1 |  | Flumequine 13C3 |  | 11.42±1.1 |  | 2.5±0.4 | 2.0±0.3 |
| 70 | N-desmethyl clindamycin | dmCLI | 0.005-200 | 0.994 | - | - | - |  | - |  |  |  |  | 11.26±1.1 |  |  | 1.01±0.1 |  | Flumequine 13C3 |  | 11.42±1.1 |  | 12.7±1.9 | 11.6±2.3 |
| 71 | Penicillin G | PenG | 0.500-500 | 0.994 | - | - | - |  | - |  |  |  |  | 11.32±1.1 |  |  | 0.61±0.1 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  | 1.3±0.5 | 0.9±0.5 |
| 72 | Flumequine | FLU | 0.010-200 | 0.996 | 200-1000 | 0.997 | - |  | - |  |  |  |  | 11.45±1.1 |  |  | 1.00±0.1 |  | Flumequine 13C3 |  | 11.42±1.1 |  | 2.9±0.4 | 2.8±0.3 |
| 73 | Penicillin V | PenV | 10.00-1000 | 0.992 | - | - | - |  | - |  |  |  |  | 11.72±1.2 |  |  | 0.59±0.1 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  | 4.4±0.9 | 4.4±0.7 |
| 74 | Erythromycin | ERY | 0.005-200 | 0.997 | - | - | - |  | - |  |  |  |  | 11.74±1.2 |  |  | 1.03±0.1 |  | Clarithromycin D3 |  | 12.15±1.2 |  | 3.7±0.6 | 3.8±0.4 |
| 75 | N-demethyl erythromycin | dmERY | 0.034-136 | 0.999 | - | - | - |  | - |  |  |  |  | 11.74±1.2 |  |  | 1.03±0.1 |  | Clarithromycin D3 |  | 12.15±1.2 |  | 3.6±1.3 | 15.7±3.9 |
| 76 | Ketoconazole | KTC | 0.500-200 | 0.997 | - | - | - |  | - |  |  |  |  | 11.81±1.2 |  |  | 1.00±0.1 |  | Ketoconazole D3 |  | 12.31±1.2 |  | 5.8±1.2 | 5.8±1.2 |
| 77 | Nadifloxacin | NAD | 1.000-400 | 0.969 | - | - | - |  | - |  |  |  |  | 11.86±1.2 |  |  | 0.96±0.1 |  | Flumequine 13C3 |  | 11.42±1.1 |  | 1.0±0.1 | 1.0±0.1 |
| 78 | Flucloxacillin | FLX | 0.500-1000 | 0.992 | - | - | - |  | - |  |  |  |  | 12.09±1.2 |  |  | 0.95±0.1 |  | Flumequine 13C3 |  | 11.42±1.1 |  | 3.5±0.9 | 3.7±0.6 |
| 79 | N-desmethyl clarithromycin | dmCLR | 0.017-1250 | 0.998 | 1250-2000 | 0.981 | - |  | - |  |  |  |  | 12.15±1.2 |  |  | 1.00±0.1 |  | Clarithromycin D3 |  | 12.15±1.2 |  | 4.4±0.9 | 4.1±0.4 |
| 80 | Clarithromycin | CLR | 0.005-200 | 0.997 | 200-3000 | 0.998 | - |  | - |  |  |  |  | 12.15±1.2 |  |  | 1.00±0.1 |  | Clarithromycin D3 |  | 12.15±1.2 |  | 8.2±1.6 | 8.1±0.8 |
| 81 | Sulfasalazine | SLZ | 5.000-1000 | 0.997 | - | - | - |  | - |  |  |  |  | 12.19±1.2 |  |  | 0.57±0.1 |  | Sulfamethoxazole D4 |  | 6.97±0.7 |  | 1.4±0.3 | 1.2±0.1 |
| 82 | Delamanid | DMD | 25.000-750 | 0.997 | - | - | - |  | - |  |  |  |  | 12.31±1.2 |  |  | 0.90±0.1 |  | Clarithromycin D3 |  | 12.15±1.2 |  | 39.4±11.8 | 38.2±5.7 |
| 83 | 25-O-desacetyl rifabutin | daRFB | 0.100-100 | 0.996 | 100-750 | 0.980 | - |  | - |  |  |  |  | 12.34±1.2 |  |  | 1.01±0.1 |  | Rifabutin D7 |  | 12.48±1.2 |  | 2.2±0.6 | 2.2±0.3 |
| 84 | 25-desacetyl rifampicin | daRMP | 5.000-500 | 0.937 | - | - | - |  | - |  |  |  |  | 12.43±1.2 |  |  | 1.00±0.1 |  | Rifabutin D7 |  | 12.48±1.2 |  | 2.0±0.4 | 1.8±0.2 |
| 85 | Rifabutin | RFB | 0.500-400 | 0.996 | - | - | - |  | - |  |  |  |  | 12.49±1.2 |  |  | 1.00±0.1 |  | Rifabutin D7 |  | 12.48±1.2 |  | 1.4±0.3 | 1.5±0.2 |
| 86 | Rifampicin | RMP | 1.250-1000 | 0.989 | - | - | - |  | - |  |  |  |  | 12.57±1.3 |  |  | 0.99±0.1 |  | Rifabutin D7 |  | 12.48±1.2 |  | 1.7±0.5 | 1.7±0.3 |
| 87 | Bedaquiline | BDQ | 5.000-400 | 0.778 | - | - | - |  | - |  |  |  |  | 13.07±1.3 |  |  | 0.95±0.1 |  | Rifabutin D7 |  | 12.48±1.2 |  | #N/A | #N/A |

| Table S3 Liquid chromatography and mass spectrometry instrumentation setup |  |
| --- | --- |
| Instrumentation |  |  |
| Liquid chromatography | Waters, ACQUITY UPLC ™ system (Waters, UK) |  |
| Column | Waters, ACQUITY UPLC BEH C18 (50 × 2.1mm, 1.7μm) |  |
| Mass spectrometry | Xevo TQD (Waters, UK) |  |
| Source | Electrospray ionisation (ESI) |  |
| Coordinating LC-MS system | MassLynx (Waters, UK) |  |
| Liquid chromatography |  |  |
| Needle wash (strong) | 1:1:1:1 MeOH:ACN:IPA:H2O + 0.1 % formic acid |  |
| Needle wash (weak) | 95:5 H2O:MeOH |  |
| Mobile phase A | 95:5 H2O:MeOH with 0.1% formic acid |  |
| Mobile phase B | MeOH (100%) |  |
| Injection | 20 µL, 80:20 H2O:MeOH, partial-loop |  |
| Inlet gradient elution | 19 min method: 0-1min (0% B), 1-9.5min (0-40% B), 9.5-13min (40-100% B), 13-16min (100% B), 16-16.5min (100-0% B), 16.5-19min (0% B) |  |
| Flow rate | 0.2 mL min-1 |  |
| Column temperature | 25°C |  |
| Mass spectrometry |  |  |
| Nebulizing gas | Nitrogen |  |
| Desolvation gas | N2 (1000 L/hr; 400°C) |  |
| Collision gas | Argon (99.999%) |  |
| Capillary voltage | 3.8 kV |  |
| Analyses mode | Positive |  |
| Acquisition mode | Multiple reaction monitoring (MRM) |  |
| Acquisition rate | 10 scans sec-1 |  |
| Mass resolution * | 0.75 Da |  |
| Data processing |  |  |
| Processing software | TargetLynx V4.1 (Waters Lab Informatics, UK) |  |
| Triple quadrupole detector (TQD); bridged ethylene hybrid (BEH); ultrahigh performance liquid chromatography (UPLC) |  |
| (*) Resolution value approximated based on an analyte m/z of 200 |  |

| Table S4a Chromatographic and validation parameters: Matrix retention times for aqueous analyses, ordered by retention time |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Absolute and relative tR in mobile phase (min) ≠ |  | Absolute and relative tR in clean aqueous samples (min) ≠ |  | Absolute and relative tR in dirty aqueous samples (min) ≠ |  |  |  |
| # | Chemical | Abbrev | tR(abs) | tR(rel) | tR(abs) | tR(rel) | tR(abs) | tR(rel) |  |  |
| 1 | Gentamycin C1 | GEN1 | 0.52±0.1 | 6.30±0.6 | 0.76±0.1 | 4.63±0.5 | 0.68±0.1 | 5.35±1.3 |  |  |
| 2 | Gentamycin C1a | GEN1a | 0.54±0.1 | 6.05±0.6 | 0.74±0.1 | 4.75±0.5 | 0.75±0.1 | 4.78±0.7 |  |  |
| 3 | Gentamycin C2 C2a C2b | GEN2 | 0.54±0.1 | 6.08±0.9 | 0.75±0.1 | 4.67±0.5 | 0.76±0.1 | 4.68±0.5 |  |  |
| 4 | Kanamycin A | KAN | 0.54±0.1 | 6.02±0.6 | 0.72±0.1 | 4.85±0.5 | 0.81±0.1 | 4.33±0.4 |  |  |
| 5 | Capreomycin IA | CAPIa | 0.55±0.1 | 5.97±0.6 | 0.76±0.1 | 4.60±0.5 | 0.82±0.2 | 4.36±0.7 |  |  |
| 6 | Capreomycin IB | CAPIb | 0.56±0.1 | 5.86±0.6 | 0.78±0.1 | 4.54±0.5 | 0.83±0.1 | 4.27±0.6 |  |  |
| 7 | Streptomycin A | STR | 0.57±0.1 | 5.69±0.6 | 0.67±0.1 | 5.25±0.5 | 0.72±0.1 | 4.89±0.5 |  |  |
| 8 | Ethambutol | EMB | 0.65±0.1 | 5.02±0.5 | 0.69±0.1 | 5.07±0.5 | 0.74±0.1 | 4.77±0.5 |  |  |
| 9 | D-cycloserine | DCS | 0.66±0.1 | 4.94±0.5 | 0.68±0.1 | 5.14±0.5 | 0.70±0.1 | 5.02±0.5 |  |  |
| 10 | Imipenem | IPM | 0.72±0.1 | 4.57±0.5 | 0.74±0.1 | 4.75±0.5 | 0.77±0.1 | 4.55±0.5 |  |  |
| 11 | Isoniazid | INH | 0.74±0.1 | 0.98±0.1 | 0.85±0.1 | 1.01±0.1 | 1.53±0.2 | 0.56±0.1 |  |  |
| 12 | Isonicotinic acid | INa | 0.75±0.1 | 0.96±0.1 | 0.82±0.1 | 0.99±0.1 | 0.85±0.1 | 1.01±0.2 |  |  |
| 13 | Acetyl-isoniazid | aINH | 0.79±0.1 | 0.94±0.1 | 0.84±0.1 | 0.97±0.2 | 0.83±0.1 | 1.02±0.2 |  |  |
| 14 | 5-Hydroxy-pyrazinoic acid | hPZA | 0.84±0.2 | 3.98±0.8 | 0.86±0.2 | 4.20±0.6 | 0.81±0.2 | 4.40±0.7 |  |  |
| 15 | Pyrazinamide | PZA | 1.47±0.4 | 2.47±1.0 | 2.05±0.3 | 1.84±0.6 | 1.70±0.2 | 2.05±0.2 |  |  |
| 16 | 2-Amino-1-(4-nitrophenyl)-1,3-propanediol | ANP | 2.05±0.2 | 1.59±0.2 | 2.32±0.2 | 1.51±0.2 | 2.31±0.2 | 1.52±0.2 |  |  |
| 17 | Lamivudine | 3TC | 2.30±0.6 | 1.66±0.3 | 1.95±0.2 | 1.85±0.2 | 1.93±0.2 | 1.80±0.2 |  |  |
| 18 | Hydroxy-metronidazole | hMTZ | 2.32±0.2 | 1.40±0.1 | 2.64±0.3 | 1.33±0.1 | 2.63±0.3 | 1.33±0.1 |  |  |
| 19 | Metronidazole | MTZ | 3.30±0.3 | 0.99±0.1 | 3.55±0.4 | 0.98±0.1 | 3.56±0.4 | 0.98±0.1 |  |  |
| 20 | Amoxicilloic acid | AMXa | 3.50±0.3 | 1.10±0.1 | 3.71±0.4 | 1.11±0.1 | 3.68±0.4 | 1.13±0.1 |  |  |
| 21 | Emtricitabine | FTC | 3.63±0.4 | 0.90±0.1 | 3.84±0.4 | 0.91±0.1 | 3.87±0.4 | 0.91±0.1 |  |  |
| 22 | Sulfadiazine | SDZ | 3.70±0.4 | 1.74±0.2 | 4.03±0.4 | 1.81±0.2 | 4.05±0.4 | 1.79±0.2 |  |  |
| 23 | Amoxicillin | AMX | 3.85±0.4 | 0.99±0.1 | 4.39±0.4 | 1.00±0.1 | 4.11±0.4 | 1.00±0.1 |  |  |
| 24 | Sulfapyridine | SPY | 4.50±0.5 | 1.47±0.1 | 4.75±0.5 | 1.52±0.2 | 4.75±0.5 | 1.52±0.2 |  |  |
| 25 | Meropenem | MEM | 5.24±0.5 | 1.13±0.1 | 5.41±0.5 | 1.13±0.1 | 5.54±0.6 | 1.12±0.1 |  |  |
| 26 | N-acetyl sulfadiazine | aSDZ | 5.54±0.6 | 1.26±0.1 | 5.86±0.6 | 1.24±0.1 | 5.89±0.6 | 1.23±0.1 |  |  |
| 27 | Nitrofurantoin | NIT | 5.54±0.6 | 1.00±0.1 | 5.96±0.6 | 1.00±0.1 | 5.70±0.6 | 1.01±0.1 |  |  |
| 28 | Aztreonam | ATM | 5.85±0.6 | 1.01±0.1 | 6.03±0.6 | 1.01±0.1 | 6.00±0.6 | 1.02±0.1 |  |  |
| 29 | Ampicilloic acid | AMPa | 6.01±0.6 | 1.24±0.1 | 6.30±0.6 | 1.20±0.1 | 6.28±0.6 | 1.20±0.1 |  |  |
| 30 | Trimethoprim | TMP | 6.01±0.6 | 0.98±0.1 | 6.24±0.6 | 0.98±0.1 | 6.23±0.6 | 0.75±0.1 |  |  |
| 31 | 4-hydroxy-trimethoprim | hTMP | 6.15±0.6 | 0.96±0.1 | 6.39±0.6 | 0.96±0.1 | 6.37±0.6 | 0.96±0.1 |  |  |
| 32 | N-acetyl sulfapyridine | aSPY | 6.19±0.6 | 1.13±0.1 | 6.40±0.6 | 1.13±0.1 | 6.38±0.6 | 1.13±0.1 |  |  |
| 33 | Tetracycline | TET | 6.55±0.7 | 1.64±0.3 | 6.79±0.7 | 1.62±0.2 | 6.79±0.7 | 1.62±0.2 |  |  |
| 34 | Ofloxacin (Levofloxacin) | OFX | 6.59±0.7 | 1.00±0.1 | 6.79±0.7 | 1.00±0.1 | 6.79±0.7 | 1.00±0.1 |  |  |
| 35 | Desethylene ciprofloxacin | deCIP | 6.71±0.7 | 1.01±0.1 | 6.93±0.7 | 1.03±0.1 | 6.93±0.7 | 1.03±0.1 |  |  |
| 36 | Oxytetracycline | OTC | 6.77±0.7 | 1.02±0.1 | 7.03±0.7 | 1.02±0.1 | 7.10±0.7 | 1.01±0.1 |  |  |
| 37 | Desmethyl-ofloxacin | dmOFX | 6.82±0.7 | 0.99±0.1 | 7.02±0.7 | 0.99±0.1 | 7.02±0.7 | 0.99±0.1 |  |  |
| 38 | Ceftriaxone | CRO | 6.82±0.7 | 1.01±0.1 | 6.83±0.7 | 1.04±0.1 | 6.80±0.7 | 1.04±0.1 |  |  |
| 39 | Cefalexin | LEX | 6.92±0.7 | 0.99±0.1 | 7.15±0.7 | 0.99±0.1 | 7.14±0.7 | 0.99±0.1 |  |  |
| 40 | Florfenicol | FLO | 6.92±0.7 | 1.24±0.1 | 7.20±0.7 | 1.24±0.1 | 7.18±0.7 | 1.24±0.1 |  |  |
| 41 | Norfloxacin | NOR | 7.00±0.7 | 0.97±0.1 | 7.11±0.7 | 0.98±0.1 | 7.11±0.7 | 0.98±0.1 |  |  |
| 42 | Sulfamethoxazole | SMX | 7.02±0.7 | 0.99±0.1 | 7.26±0.7 | 0.99±0.1 | 7.24±0.7 | 0.99±0.1 |  |  |
| 43 | Ciprofloxacin | CIP | 7.14±0.7 | 0.95±0.1 | 7.31±0.7 | 0.98±0.1 | 7.32±0.7 | 0.98±0.1 |  |  |
| 44 | Enrofloxacin | ENR | 7.20±0.7 | 0.94±0.1 | 7.42±0.7 | 0.96±0.1 | 7.42±0.7 | 0.96±0.1 |  |  |
| 45 | Danofloxacin | DFX | 7.34±0.7 | 0.92±0.1 | 7.65±0.8 | 0.93±0.1 | 7.55±0.8 | 0.92±0.1 |  |  |
| 46 | Lomefloxacin | LOM | 7.44±0.7 | 0.91±0.1 | 7.61±0.8 | 0.94±0.1 | 7.60±0.8 | 0.94±0.1 |  |  |
| 47 | Ampicillin | AMP | 7.49±0.7 | 0.99±0.1 | 7.76±0.8 | 0.98±0.1 | 7.75±0.8 | 0.97±0.1 |  |  |
| 48 | Thalidomide | THAL | 7.87±0.8 | 0.75±0.1 | 8.11±0.8 | 0.75±0.1 | 8.07±0.8 | 0.88±0.1 |  |  |
| 49 | Ulifloxacin | UFX | 7.90±0.8 | 0.86±0.1 | 8.13±0.8 | 0.88±0.1 | 8.18±0.8 | 0.87±0.1 |  |  |
| 50 | Sarafloxacin | SRF | 7.92±0.8 | 0.85±0.1 | 8.11±0.8 | 0.88±0.1 | 8.14±0.8 | 0.88±0.1 |  |  |
| 51 | Ofloxacin N-oxide | OFXo | 8.07±0.8 | 0.84±0.1 | 8.27±0.8 | 0.84±0.1 | 8.27±0.8 | 0.84±0.1 |  |  |
| 52 | 1-(2-nitrobenzylidenamino)-2,4-imidazolidinedione | NPAHD | 8.11±0.8 | 1.06±0.1 | 8.38±0.8 | 1.07±0.1 | 8.51±0.9 | 1.05±0.1 |  |  |
| 53 | Cefixime | CFM | 8.20±0.8 | 0.72±0.1 | 8.36±0.8 | 0.73±0.1 | 8.28±0.8 | 0.80±0.1 |  |  |
| 54 | Gatifloxacin | GAT | 8.32±0.8 | 0.81±0.1 | 8.49±0.8 | 0.84±0.1 | 8.51±0.9 | 0.84±0.1 |  |  |
| 55 | Chloramphenicol | CHL | 8.69±0.9 | 0.99±0.1 | 9.04±0.9 | 0.99±0.1 | 9.03±0.9 | 0.99±0.1 |  |  |
| 56 | N-acetyl sulfamethoxazole | aSMX | 8.90±0.9 | 0.78±0.1 | 9.13±0.9 | 0.79±0.1 | 9.09±0.9 | 0.79±0.1 |  |  |
| 57 | Linezolid | LZD | 8.93±0.9 | 0.96±0.1 | 9.19±0.9 | 0.97±0.1 | 9.14±0.9 | 0.98±0.1 |  |  |
| 58 | Moxifloxacin | MXF | 9.14±0.9 | 0.74±0.1 | 9.36±0.9 | 0.76±0.1 | 9.41±0.9 | 0.74±0.1 |  |  |
| 59 | Hydroxy-norfloxacin | hNOR | 9.82±1.0 | 0.69±0.1 | 10.07±1.0 | 0.71±0.1 | 10.05±1.0 | 0.71±0.1 |  |  |
| 60 | Penicilloic G acid | PenGa | 9.94±1.0 | 1.14±0.1 | 10.15±1.0 | 1.13±0.1 | 10.07±1.0 | 1.13±0.1 |  |  |
| 61 | Prulifloxacin | PFLX | 10.18±1.0 | 0.66±0.1 | 10.58±1.1 | 0.67±0.1 | 10.49±1.0 | 0.67±0.1 |  |  |
| 62 | Azithromycin | AZM | 10.22±1.0 | 1.15±0.1 | 10.51±1.1 | 1.06±0.1 | 10.58±1.1 | 1.07±0.1 |  |  |
| 63 | N-desmethyl azithromycin | dmAZM | 10.29±1.0 | 1.14±0.1 | 10.57±1.1 | 1.05±0.1 | 10.65±1.1 | 1.10±0.1 |  |  |
| 64 | Ceftiofur | CTF | 10.45±1.0 | 0.93±0.1 | 10.64±1.1 | 1.07±0.1 | 10.62±1.1 | 1.09±0.1 |  |  |
| 65 | Deacetyl-ketoconazole | daKTC | 10.49±1.0 | 1.12±0.1 | 10.91±1.1 | 1.06±0.1 | 10.88±1.1 | 1.06±0.1 |  |  |
| 66 | Doxycycline | DOX | 10.77±1.1 | 1.00±0.1 | 10.98±1.1 | 1.00±0.1 | 11.06±1.1 | 1.00±0.1 |  |  |
| 67 | Clindamycin | CLI | 11.09±1.1 | 1.06±0.1 | 11.32±1.1 | 1.05±0.1 | 11.33±1.1 | 1.06±0.1 |  |  |
| 68 | Nalidixic acid | NAL | 11.14±1.1 | 1.03±0.1 | 11.27±1.1 | 1.03±0.1 | 11.24±1.1 | 1.03±0.1 |  |  |
| 69 | Besifloxacin | BSF | 11.18±1.1 | 1.02±0.1 | 11.32±1.1 | 1.02±0.1 | 11.43±1.1 | 1.01±0.1 |  |  |
| 70 | N-desmethyl clindamycin | dmCLI | 11.26±1.1 | 1.04±0.1 | 11.41±1.1 | 1.04±0.1 | 11.50±1.1 | 1.04±0.1 |  |  |
| 71 | Penicillin G | PenG | 11.32±1.1 | 1.00±0.1 | 11.47±1.1 | 1.00±0.1 | 11.44±1.1 | 1.00±0.1 |  |  |
| Table S4a continued |  |  |  |  |  |  |  |  |  |  |
| # | Chemical | Abbrev | mP tR(abs) | mP tR(rel) | Clean tR(abs) | Clean tR(rel) | Dirty tR(abs) | Dirty tR(rel) |  |  |
| 72 | Flumequine | FLU | 11.45±1.1 | 1.00±0.1 | 11.55±1.2 | 1.00±0.1 | 11.55±1.2 | 1.00±0.1 |  |  |
| 73 | Penicillin V | PenV | 11.72±1.2 | 0.96±0.1 | 11.88±1.2 | 0.97±0.1 | 11.86±1.2 | 0.97±0.1 |  |  |
| 74 | Erythromycin | ERY | 11.74±1.2 | 1.00±0.1 | 11.87±1.2 | 1.00±0.1 | 12.01±1.2 | 1.00±0.1 |  |  |
| 75 | N-demethyl erythromycin | dmERY | 11.74±1.2 | 1.00±0.1 | 11.86±1.2 | 1.00±0.1 | 12.02±1.2 | 1.00±0.1 |  |  |
| 76 | Ketoconazole | KTC | 11.81±1.2 | 1.00±0.1 | 11.94±1.2 | 0.97±0.2 | 12.11±1.2 | 1.00±0.1 |  |  |
| 77 | Nadifloxacin | NAD | 11.86±1.2 | 0.96±0.1 | 11.99±1.2 | 0.96±0.1 | 11.95±1.2 | 0.97±0.1 |  |  |
| 78 | Flucloxacillin | FLX | 12.09±1.2 | 0.95±0.1 | 12.18±1.2 | 0.95±0.1 | 11.98±1.2 | 0.96±0.1 |  |  |
| 79 | N-desmethyl clarithromycin | dmCLR | 12.15±1.2 | 1.00±0.1 | 12.27±1.2 | 1.00±0.1 | 12.50±1.3 | 1.00±0.1 |  |  |
| 80 | Clarithromycin | CLR | 12.15±1.2 | 1.00±0.1 | 12.27±1.2 | 1.00±0.1 | 12.50±1.2 | 1.00±0.1 |  |  |
| 81 | Sulfasalazine | SLZ | 12.19±1.2 | 1.00±0.1 | 12.30±1.2 | 1.00±0.1 | 12.27±1.2 | 1.00±0.1 |  |  |
| 82 | Delamanid | DMD | 12.31±1.2 | 1.01±0.1 | 12.44±1.2 | 1.02±0.1 | 12.52±1.3 | 1.03±0.1 |  |  |
| 83 | 25-O-desacetyl rifabutin | daRFB | 12.34±1.2 | 1.01±0.1 | 12.47±1.2 | 1.01±0.1 | 12.72±1.3 | 1.01±0.1 |  |  |
| 84 | 25-desacetyl rifampicin | daRMP | 12.43±1.2 | 1.00±0.1 | 12.67±1.3 | 1.00±0.1 | 12.86±1.3 | 1.00±0.1 |  |  |
| 85 | Rifabutin | RFB | 12.49±1.2 | 1.00±0.1 | 12.62±1.3 | 1.00±0.1 | 12.87±1.3 | 1.00±0.1 |  |  |
| 86 | Rifampicin | RMP | 12.57±1.3 | 0.99±0.1 | 12.72±1.3 | 0.99±0.1 | 12.93±1.3 | 1.00±0.1 |  |  |
| 87 | Bedaquiline | BDQ | 13.07±1.3 | 0.95±0.1 | 13.18±1.3 | 0.96±0.1 | 13.65±1.4 | 0.97±0.1 |  |  |

| Table S4b Chromatographic and validation parameters: Matrix retention times for solids analyses, ordered by retention time |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Absolute and relative tR in mobile phase (min) ≠ |  | Absolute and relative tR in influent SPM (min) ≠ |  | Absolute and relative tR in river sediment samples (min) ≠ |  |  |  |
| # | Chemical | Abbrev | tR(abs) | tR(rel) | tR(abs) | tR(rel) | tR(abs) | tR(rel) |  |  |
| 1 | Gentamycin C1 | GEN1 | 0.52±0.1 | 6.30±0.6 | 0.89±0.1 | 3.74±0.4 | 0.89±0.1 | 3.74±0.4 |  |  |
| 2 | Gentamycin C1a | GEN1a | 0.54±0.1 | 6.05±0.6 | 0.77±0.2 | 4.17±1.0 | 0.77±0.2 | 4.17±1.0 |  |  |
| 3 | Gentamycin C2 C2a C2b | GEN2 | 0.54±0.1 | 6.08±0.9 | 0.77±0.2 | 4.52±1.1 | 0.77±0.2 | 4.52±1.1 |  |  |
| 4 | Kanamycin A | KAN | 0.54±0.1 | 6.02±0.6 | 0.85±0.1 | 3.93±0.6 | 0.85±0.1 | 3.93±0.6 |  |  |
| 5 | Capreomycin IA | CAPIa | 0.55±0.1 | 5.97±0.6 | 0.81±0.1 | 4.07±0.4 | 0.81±0.1 | 4.07±0.4 |  |  |
| 6 | Capreomycin IB | CAPIb | 0.56±0.1 | 5.86±0.6 | 0.80±0.1 | 4.14±0.4 | 0.80±0.1 | 4.14±0.4 |  |  |
| 7 | Streptomycin A | STR | 0.57±0.1 | 5.69±0.6 | 0.77±0.1 | 4.32±0.4 | 0.77±0.1 | 4.32±0.4 |  |  |
| 8 | Ethambutol | EMB | 0.65±0.1 | 5.02±0.5 | 0.78±0.1 | 4.22±0.4 | 0.78±0.2 | 4.31±1.3 |  |  |
| 9 | D-cycloserine | DCS | 0.66±0.1 | 4.94±0.5 | 0.74±0.1 | 4.44±0.4 | 0.74±0.1 | 4.44±0.4 |  |  |
| 10 | Imipenem | IPM | 0.72±0.1 | 4.57±0.5 | 2.04±0.2 | 1.62±0.2 | 2.04±0.2 | 1.62±0.2 |  |  |
| 11 | Isoniazid | INH | 0.74±0.1 | 4.33±0.4 | 1.32±0.1 | 2.49±0.2 | 1.32±0.1 | 2.49±0.2 |  |  |
| 12 | Isonicotinic acid | INa | 0.75±0.1 | 4.48±0.4 | 0.97±0.1 | 3.35±0.3 | 0.97±0.1 | 3.35±0.3 |  |  |
| 13 | Acetyl-isoniazid | aINH | 0.79±0.1 | 4.12±0.4 | 0.88±0.1 | 3.75±0.4 | 0.88±0.1 | 3.75±0.4 |  |  |
| 14 | 5-Hydroxy-pyrazinoic acid | hPZA | 0.84±0.2 | 3.98±0.8 | 0.92±0.2 | 3.68±0.7 | 1.38±0.1 | 2.34±0.2 |  |  |
| 15 | Pyrazinamide | PZA | 1.47±0.4 | 2.47±1.0 | 1.12±0.2 | 3.02±0.5 | 1.21±0.4 | 2.81±0.7 |  |  |
| 16 | 2-Amino-1-(4-nitrophenyl)-1,3-propanediol | ANP | 2.05±0.2 | 1.59±0.2 | 2.00±0.2 | 1.64±0.2 | 2.00±0.2 | 1.64±0.2 |  |  |
| 17 | Lamivudine | 3TC | 2.30±0.6 | 1.66±0.3 | 1.55±0.2 | 2.08±0.2 | 1.55±0.2 | 2.08±0.2 |  |  |
| 18 | Hydroxy-metronidazole | hMTZ | 2.32±0.2 | 1.40±0.1 | 2.22±0.2 | 1.47±0.1 | 2.22±0.2 | 1.47±0.1 |  |  |
| 19 | Metronidazole | MTZ | 3.30±0.3 | 0.99±0.1 | 3.32±0.3 | 0.98±0.1 | 3.32±0.3 | 0.98±0.1 |  |  |
| 20 | Amoxicilloic acid | AMXa | 3.50±0.3 | 2.00±0.2 | #N/A | #N/A | #N/A | #N/A |  |  |
| 21 | Emtricitabine | FTC | 3.63±0.4 | 0.90±0.1 | 3.61±0.4 | 0.90±0.1 | 3.61±0.4 | 0.90±0.1 |  |  |
| 22 | Sulfadiazine | SDZ | 3.70±0.4 | 1.74±0.2 | 3.99±0.6 | 1.77±0.2 | 3.85±0.4 | 1.80±0.2 |  |  |
| 23 | Amoxicillin | AMX | 3.85±0.4 | 1.81±0.2 | 6.44±0.6 | #N/A | 6.44±0.6 | #N/A |  |  |
| 24 | Sulfapyridine | SPY | 4.50±0.5 | 1.47±0.1 | 4.53±0.5 | 1.53±0.2 | 4.53±0.5 | 1.53±0.2 |  |  |
| 25 | Meropenem | MEM | 5.24±0.5 | 1.13±0.1 | 5.79±0.6 | 1.01±0.1 | 5.79±0.6 | 1.01±0.1 |  |  |
| 26 | N-acetyl sulfadiazine | aSDZ | 5.54±0.6 | 1.26±0.1 | 5.49±0.5 | 1.26±0.1 | 5.49±0.5 | 1.26±0.1 |  |  |
| 27 | Nitrofurantoin | NIT | 5.54±0.6 | 1.00±0.1 | 5.47±0.5 | 1.00±0.1 | 5.47±0.5 | 1.00±0.1 |  |  |
| 28 | Aztreonam | ATM | 5.85±0.6 | 1.01±0.1 | 6.61±0.7 | 0.88±0.1 | 6.61±0.7 | 0.88±0.1 |  |  |
| 29 | Ampicilloic acid | AMPa | 6.01±0.6 | 1.16±0.1 | 7.27±0.7 | 1.02±0.1 | 7.27±0.7 | 1.02±0.1 |  |  |
| 30 | Trimethoprim | TMP | 6.01±0.6 | 0.98±0.1 | 5.94±0.6 | 0.98±0.1 | 5.94±0.6 | 0.98±0.1 |  |  |
| 31 | 4-hydroxy-trimethoprim | hTMP | 6.15±0.6 | 0.96±0.1 | 6.12±0.6 | 0.95±0.1 | 6.12±0.6 | 0.95±0.1 |  |  |
| 32 | N-acetyl sulfapyridine | aSPY | 6.19±0.6 | 1.13±0.1 | 6.17±0.6 | 1.13±0.1 | 6.17±0.6 | 1.13±0.1 |  |  |
| 33 | Tetracycline | TET | 6.55±0.7 | 1.03±0.1 | 6.61±0.7 | 1.01±0.1 | 6.61±0.7 | 1.01±0.1 |  |  |
| 34 | Ofloxacin (Levofloxacin) | OFX | 6.59±0.7 | 1.00±0.1 | 6.46±0.6 | 1.00±0.1 | 6.46±0.6 | 1.00±0.1 |  |  |
| 35 | Desethylene ciprofloxacin | deCIP | 6.71±0.7 | 1.01±0.1 | 6.57±0.7 | 1.01±0.1 | 6.57±0.7 | 1.01±0.1 |  |  |
| 36 | Oxytetracycline | OTC | 6.77±0.7 | 1.00±0.1 | 6.89±0.7 | 0.97±0.1 | 6.89±0.7 | 0.97±0.1 |  |  |
| 37 | Desmethyl-ofloxacin | dmOFX | 6.82±0.7 | 0.99±0.1 | 6.68±0.7 | 0.99±0.1 | 6.68±0.7 | 0.99±0.1 |  |  |
| 38 | Ceftriaxone | CRO | 6.82±0.7 | 0.86±0.1 | #N/A | #N/A | #N/A | #N/A |  |  |
| 39 | Cefalexin | LEX | 6.92±0.7 | 0.85±0.1 | #N/A | #N/A | #N/A | #N/A |  |  |
| 40 | Florfenicol | FLO | 6.92±0.7 | 1.24±0.1 | 6.94±0.7 | 1.26±0.1 | 6.94±0.7 | 1.26±0.1 |  |  |
| 41 | Norfloxacin | NOR | 7.00±0.7 | 0.97±0.1 | 6.76±0.7 | 0.98±0.1 | 6.76±0.7 | 0.98±0.1 |  |  |
| 42 | Sulfamethoxazole | SMX | 7.02±0.7 | 0.99±0.1 | 6.98±0.7 | 0.99±0.1 | 6.98±0.7 | 0.99±0.1 |  |  |
| 43 | Ciprofloxacin | CIP | 7.14±0.7 | 0.95±0.1 | 6.97±0.7 | 0.95±0.1 | 6.97±0.7 | 0.95±0.1 |  |  |
| 44 | Enrofloxacin | ENR | 7.20±0.7 | 0.94±0.1 | 7.07±0.7 | 0.94±0.1 | 7.07±0.7 | 0.94±0.1 |  |  |
| 45 | Danofloxacin | DFX | 7.34±0.7 | 0.92±0.1 | 7.19±0.7 | 0.92±0.1 | 7.19±0.7 | 0.92±0.1 |  |  |
| 46 | Lomefloxacin | LOM | 7.44±0.7 | 0.91±0.1 | 7.28±0.7 | 0.91±0.1 | 7.28±0.7 | 0.91±0.1 |  |  |
| 47 | Ampicillin | AMP | 7.49±0.7 | 0.93±0.1 | 7.45±0.7 | 0.93±0.1 | 7.45±0.7 | 0.93±0.1 |  |  |
| 48 | Thalidomide | THAL | 7.87±0.8 | 0.75±0.1 | 7.81±0.8 | 0.75±0.1 | 7.81±0.8 | 0.75±0.1 |  |  |
| 49 | Ulifloxacin | UFX | 7.90±0.8 | 0.86±0.1 | 7.76±0.8 | 0.86±0.1 | 7.76±0.8 | 0.86±0.1 |  |  |
| 50 | Sarafloxacin | SRF | 7.92±0.8 | 0.85±0.1 | 7.78±0.8 | 0.85±0.1 | 7.78±0.8 | 0.85±0.1 |  |  |
| 51 | Ofloxacin N-oxide | OFXo | 8.07±0.8 | 0.84±0.1 | 7.92±0.8 | 0.84±0.1 | 7.92±0.8 | 0.84±0.1 |  |  |
| 52 | 1-(2-nitrobenzylidenamino)-2,4-imidazolidinedione | NPAHD | 8.11±0.8 | 1.06±0.1 | 8.05±0.8 | 1.09±0.1 | 8.05±0.8 | 1.09±0.1 |  |  |
| 53 | Cefixime | CFM | 8.20±0.8 | 0.72±0.1 | 8.07±0.8 | 0.72±0.1 | 8.07±0.8 | 0.72±0.1 |  |  |
| 54 | Gatifloxacin | GAT | 8.32±0.8 | 0.81±0.1 | 8.16±0.8 | 0.82±0.1 | 8.16±0.8 | 0.82±0.1 |  |  |
| 55 | Chloramphenicol | CHL | 8.69±0.9 | 0.99±0.1 | 8.74±0.9 | 1.00±0.1 | 8.74±0.9 | 1.00±0.1 |  |  |
| 56 | N-acetyl sulfamethoxazole | aSMX | 8.90±0.9 | 0.78±0.1 | 8.85±0.9 | 0.78±0.1 | 8.85±0.9 | 0.78±0.1 |  |  |
| 57 | Linezolid | LZD | 8.93±0.9 | 0.96±0.1 | 8.90±0.9 | 0.98±0.1 | 8.90±0.9 | 0.98±0.1 |  |  |
| 58 | Moxifloxacin | MXF | 9.14±0.9 | 0.74±0.1 | 9.00±0.9 | 0.74±0.1 | 9.00±0.9 | 0.74±0.1 |  |  |
| 59 | Hydroxy-norfloxacin | hNOR | 9.82±1.0 | 0.69±0.1 | 9.71±1.0 | 0.70±0.1 | 9.71±1.0 | 0.70±0.1 |  |  |
| 60 | Penicilloic G acid | PenGa | 9.94±1.0 | 0.70±0.1 | 10.36±1.0 | 1.08±0.1 | 10.36±1.0 | 1.08±0.1 |  |  |
| 61 | Prulifloxacin | PFLX | 10.18±1.0 | 0.66±0.1 | 10.45±1.0 | 0.67±0.1 | 10.45±1.0 | 0.67±0.1 |  |  |
| 62 | Azithromycin | AZM | 10.22±1.0 | 1.19±0.1 | 10.18±1.0 | 1.20±0.1 | 10.18±1.0 | 1.20±0.1 |  |  |
| 63 | N-desmethyl azithromycin | dmAZM | 10.29±1.0 | 1.18±0.1 | 10.80±1.1 | 1.13±0.1 | 10.80±1.1 | 1.13±0.1 |  |  |
| 64 | Ceftiofur | CTF | 10.45±1.0 | 1.16±0.1 | 10.21±1.0 | 1.20±0.1 | 10.21±1.0 | 1.20±0.1 |  |  |
| 65 | Deacetyl-ketoconazole | daKTC | 10.49±1.0 | 1.09±0.1 | 10.70±1.1 | 1.07±0.1 | 10.70±1.1 | 1.07±0.1 |  |  |
| 66 | Doxycycline | DOX | 10.77±1.1 | 1.15±0.1 | 11.11±1.1 | 1.13±0.1 | 11.11±1.1 | 1.13±0.1 |  |  |
| 67 | Clindamycin | CLI | 11.09±1.1 | 1.03±0.1 | 11.07±1.1 | 1.03±0.1 | 11.07±1.1 | 1.03±0.1 |  |  |
| 68 | Nalidixic acid | NAL | 11.14±1.1 | 1.03±0.1 | 11.08±1.1 | 1.03±0.1 | 11.08±1.1 | 1.03±0.1 |  |  |
| 69 | Besifloxacin | BSF | 11.18±1.1 | 1.02±0.1 | 11.43±1.1 | 1.00±0.1 | 11.43±1.1 | 1.00±0.1 |  |  |
| 70 | N-desmethyl clindamycin | dmCLI | 11.26±1.1 | 1.01±0.1 | 11.27±1.1 | 1.01±0.1 | 11.27±1.1 | 1.01±0.1 |  |  |
| 71 | Penicillin G | PenG | 11.32±1.1 | 0.61±0.1 | 11.44±1.1 | 0.61±0.1 | 11.44±1.1 | 0.61±0.1 |  |  |
| Table S4b continued |  |  |  |  |  |  |  |  |  |  |
| # | Chemical | Abbrev | mP tR(abs) | mP tR(rel) | Clean tR(abs) | Clean tR(rel) | Dirty tR(abs) | Dirty tR(rel) |  |  |
| 72 | Flumequine | FLU | 11.45±1.1 | 1.00±0.1 | 11.41±1.1 | 1.00±0.1 | 11.41±1.1 | 1.00±0.1 |  |  |
| 73 | Penicillin V | PenV | 11.72±1.2 | 0.59±0.1 | 12.03±1.2 | 0.57±0.1 | 12.03±1.2 | 0.57±0.1 |  |  |
| 74 | Erythromycin | ERY | 11.74±1.2 | 1.03±0.1 | 11.67±1.2 | 1.05±0.1 | 11.67±1.2 | 1.05±0.1 |  |  |
| 75 | N-demethyl erythromycin | dmERY | 11.74±1.2 | 1.03±0.1 | 11.78±1.2 | 1.04±0.1 | 11.78±1.2 | 1.04±0.1 |  |  |
| 76 | Ketoconazole | KTC | 11.81±1.2 | 1.00±0.1 | 11.85±1.2 | 1.00±0.1 | 11.85±1.2 | 1.00±0.1 |  |  |
| 77 | Nadifloxacin | NAD | 11.86±1.2 | 0.96±0.1 | 11.90±1.2 | 0.96±0.1 | 11.90±1.2 | 0.96±0.1 |  |  |
| 78 | Flucloxacillin | FLX | 12.09±1.2 | 0.95±0.1 | 12.15±1.2 | 0.94±0.1 | 12.15±1.2 | 0.94±0.1 |  |  |
| 79 | N-desmethyl clarithromycin | dmCLR | 12.15±1.2 | 1.00±0.1 | 12.23±1.2 | 1.00±0.1 | 12.23±1.2 | 1.00±0.1 |  |  |
| 80 | Clarithromycin | CLR | 12.15±1.2 | 1.00±0.1 | 12.23±1.2 | 1.00±0.1 | 12.23±1.2 | 1.00±0.1 |  |  |
| 81 | Sulfasalazine | SLZ | 12.19±1.2 | 0.57±0.1 | 12.23±1.2 | 0.57±0.1 | 12.23±1.2 | 0.57±0.1 |  |  |
| 82 | Delamanid | DMD | 12.31±1.2 | 0.90±0.1 | 12.47±1.2 | 0.98±0.1 | 12.47±1.2 | 0.98±0.1 |  |  |
| 83 | 25-O-desacetyl rifabutin | daRFB | 12.34±1.2 | 1.01±0.1 | 12.42±1.2 | 1.01±0.1 | 12.42±1.2 | 1.01±0.1 |  |  |
| 84 | 25-desacetyl rifampicin | daRMP | 12.43±1.2 | 1.00±0.1 | 12.63±1.3 | 1.00±0.1 | 12.63±1.3 | 1.00±0.1 |  |  |
| 85 | Rifabutin | RFB | 12.49±1.2 | 1.00±0.1 | 12.57±1.3 | 1.00±0.1 | 12.57±1.3 | 1.00±0.1 |  |  |
| 86 | Rifampicin | RMP | 12.57±1.3 | 0.99±0.1 | 12.62±1.3 | 1.00±0.1 | 12.62±1.3 | 1.00±0.1 |  |  |
| 87 | Bedaquiline | BDQ | 13.07±1.3 | 0.95±0.1 | 13.21±1.3 | 0.95±0.1 | 13.21±1.3 | 0.95±0.1 |  |  |

| Table S5a Chromatographic and validation parameters: Ion ratios for aqueous analyses, ordered by retention time |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Ion Ratio (PI1/PI2) in mobile phase |  | Ion Ratio (PI1/PI2) in clean samples |  | Ion Ratio (PI1/PI2) in dirty samples |  |
| # | Chemical | Abbrev | 0-100 µg L-1 | 100-1000 µg L-1 | 0-100 µg L-1 | 100-1000 µg L-1 | 0-100 µg L-1 | 100-1000 µg L-1 |
| 1 | Gentamycin C1 | GEN1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 2 | Gentamycin C1a | GEN1a | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 3 | Gentamycin C2 C2a C2b | GEN2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 4 | Kanamycin A | KAN | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 5 | Capreomycin IA | CAPIa | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 6 | Capreomycin IB | CAPIb | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 7 | Streptomycin A | STR | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 8 | Ethambutol | EMB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 9 | D-cycloserine | DCS | 0.32±0.05 | 0.30±0.04 | #N/A | #N/A | #N/A | #N/A |
| 10 | Imipenem | IPM | 1.2±0.2 | 1.0±0.1 | 1.2±0.4 | 1.2±0.4 | 1.4±0.5 | 1.0±0.4 |
| 11 | Isoniazid | INH | 7.9±0.8 | 8.8±0.9 | 4.2±1.0 | 6.0±0.6 | 8.2±1.2 | 8.0±0.8 |
| 12 | Isonicotinic acid | INa | 3.9±0.6 | 3.8±0.4 | 4.5±1.8 | 3.7±1.1 | 3.8±1.0 | 3.7±0.9 |
| 13 | Acetyl-isoniazid | aINH | 0.5±0.1 | 0.52±0.06 | 0.4±0.1 | 0.47±0.05 | 0.26±0.04 | 0.4±0.1 |
| 14 | 5-Hydroxy-pyrazinoic acid | hPZA | 0.15±0.05 | 0.07±0.02 | 0.12±0.04 | 0.10±0.03 | 0.16±0.04 | 0.13±0.02 |
| 15 | Pyrazinamide | PZA | 1.0±0.1 | 0.77±0.08 | 0.7±0.1 | 0.4±0.1 | 0.26±0.06 | 0.29±0.03 |
| 16 | 2-Amino-1-(4-nitrophenyl)-1,3-propanediol | ANP | 2.4±0.4 | 2.4±0.2 | 2.3±0.3 | 2.4±0.2 | 2.3±0.3 | 2.3±0.2 |
| 17 | Lamivudine | 3TC | 6.3±0.9 | 7.4±0.7 | 3.8±0.6 | 4.0±0.4 | 4.1±0.6 | 4.5±0.4 |
| 18 | Hydroxy-metronidazole | hMTZ | 1.4±0.2 | 1.3±0.1 | 1.3±0.1 | 1.3±0.1 | 1.3±0.1 | 1.3±0.1 |
| 19 | Metronidazole | MTZ | 1.8±0.3 | 1.8±0.2 | 1.8±0.2 | 1.8±0.2 | 1.8±0.2 | 1.8±0.2 |
| 20 | Amoxicilloic acid | AMXa | 1.3±0.3 | 1.3±0.1 | 1.1±0.2 | 1.2±0.3 | 1.0±0.3 | 1.1±0.3 |
| 21 | Emtricitabine | FTC | 12.4±2.5 | 13.2±1.3 | 10.8±3.8 | 12.5±1.9 | 12.0±3.0 | 12.4±1.2 |
| 22 | Sulfadiazine | SDZ | 0.9±0.1 | 0.9±0.1 | 1.0±0.2 | 0.9±0.1 | 0.9±0.1 | 0.89±0.09 |
| 23 | Amoxicillin | AMX | 3.3±0.7 | 2.9±0.3 | 4.9±1.5 | 4.6±0.7 | 3.9±1.0 | 3.2±0.8 |
| 24 | Sulfapyridine | SPY | 1.2±0.1 | 1.2±0.1 | 1.2±0.1 | 1.2±0.1 | 1.2±0.1 | 1.2±0.1 |
| 25 | Meropenem | MEM | 6.3±0.9 | 6.2±0.6 | 15.4±1.5 | 6.8±2.4 | 0.8±0.4 | 2.2±1.2 |
| 26 | N-acetyl sulfadiazine | aSDZ | 1.5±0.3 | 1.5±0.2 | 1.5±0.2 | 1.5±0.2 | 1.6±0.4 | 1.5±0.1 |
| 27 | Nitrofurantoin | NIT | 0.57±0.09 | 0.53±0.06 | 0.5±0.1 | 0.45±0.05 | 0.6±0.2 | 0.57±0.06 |
| 28 | Aztreonam | ATM | 0.9±0.2 | 0.79±0.08 | 0.7±0.2 | 0.7±0.1 | 0.8±0.3 | 0.7±0.1 |
| 29 | Ampicilloic acid | AMPa | 2.0±0.4 | 1.8±0.2 | 1.3±0.4 | 1.2±0.4 | 1.2±0.4 | 1.1±0.3 |
| 30 | Trimethoprim | TMP | 0.89±0.09 | 0.9±0.1 | 0.9±0.2 | 0.9±0.1 | 0.9±0.1 | 0.9±0.1 |
| 31 | 4-hydroxy-trimethoprim | hTMP | 3.9±0.4 | 3.9±0.4 | 3.8±0.8 | 4.0±0.4 | 3.4±0.5 | 4.0±0.4 |
| 32 | N-acetyl sulfapyridine | aSPY | 1.1±0.2 | 1.1±0.1 | 1.0±0.1 | 1.0±0.1 | 1.0±0.1 | 1.0±0.1 |
| 33 | Tetracycline | TET | 2.3±0.5 | 2.1±0.2 | 1.7±0.6 | 2.1±0.3 | 2.2±0.4 | 2.1±0.2 |
| 34 | Ofloxacin (Levofloxacin) | OFX | 1.1±0.2 | 1.0±0.1 | 1.1±0.2 | 1.1±0.1 | 1.1±0.2 | 1.1±0.1 |
| 35 | Desethylene ciprofloxacin | deCIP | 2.6±0.5 | 2.4±0.2 | 2.4±0.6 | 2.4±0.2 | 2.5±0.6 | 2.3±0.3 |
| 36 | Oxytetracycline | OTC | 3.9±0.8 | 3.8±0.4 | 2.3±0.7 | 3.1±0.6 | 6.4±1.9 | 5.5±1.4 |
| 37 | Desmethyl-ofloxacin | dmOFX | 1.2±0.2 | 1.1±0.1 | 1.2±0.2 | 1.1±0.1 | 1.2±0.4 | 1.1±0.2 |
| 38 | Ceftriaxone | CRO | 0.8±0.2 | 0.8±0.2 | 0.8±0.2 | 1.0±0.2 | 0.7±0.2 | 0.9±0.1 |
| 39 | Cefalexin | LEX | 0.9±0.2 | 0.9±0.1 | 0.9±0.3 | 1.0±0.3 | 1.1±0.3 | 0.9±0.1 |
| 40 | Florfenicol | FLO | 4.9±1.0 | 5.5±0.8 | 4.4±1.3 | 5.3±0.8 | 4.0±1.4 | 5.0±1.0 |
| 41 | Norfloxacin | NOR | 1.4±0.3 | 1.3±0.1 | 1.4±0.4 | 1.4±0.2 | 1.5±0.4 | 1.3±0.4 |
| 42 | Sulfamethoxazole | SMX | 1.3±0.3 | 1.2±0.1 | 1.2±0.3 | 1.2±0.1 | 1.3±0.2 | 1.3±0.1 |
| 43 | Ciprofloxacin | CIP | 4.0±0.6 | 5.1±0.8 | 4.2±1.1 | 4.1±1.0 | 4.5±1.1 | 4.5±0.4 |
| 44 | Enrofloxacin | ENR | 2.4±0.5 | 2.5±0.2 | 3.0±0.8 | 2.6±0.3 | 2.4±0.7 | 2.5±0.2 |
| 45 | Danofloxacin | DFX | 3.1±1.6 | 11.4±3.4 | 2.9±0.9 | 4.0±0.6 | 4.2±1.3 | 5.5±1.1 |
| 46 | Lomefloxacin | LOM | 2.2±0.4 | 2.2±0.2 | 2.4±0.6 | 2.5±0.6 | 2.4±0.6 | 2.4±0.2 |
| 47 | Ampicillin | AMP | 5.1±0.8 | 5.2±0.5 | 3.3±1.3 | 3.9±1.4 | 4.2±1.0 | 4.3±1.5 |
| 48 | Thalidomide | THAL | 2.4±0.2 | 2.3±0.2 | 2.2±0.4 | 2.2±0.2 | 2.1±0.6 | 2.3±0.2 |
| 49 | Ulifloxacin | UFX | 1.0±0.2 | 1.1±0.1 | 0.7±0.2 | 0.7±0.1 | 0.6±0.2 | 0.69±0.07 |
| 50 | Sarafloxacin | SRF | 1.7±0.2 | 2.5±0.4 | 2.1±0.7 | 2.0±0.8 | 2.3±0.7 | 2.1±0.3 |
| 51 | Ofloxacin N-oxide | OFXo | 0.9±0.2 | 0.86±0.09 | 1.0±0.1 | 0.9±0.2 | 1.0±0.3 | 1.0±0.2 |
| 52 | 1-(2-nitrobenzylidenamino)-2,4-imidazolidinedione | NPAHD | 1.9±0.4 | 1.8±0.2 | 1.9±0.5 | 1.7±0.2 | 2.0±0.7 | 1.7±0.3 |
| 53 | Cefixime | CFM | 2.7±0.4 | 2.2±0.3 | 1.6±0.6 | 2.0±0.4 | 1.9±0.7 | 1.8±0.4 |
| 54 | Gatifloxacin | GAT | 1.5±0.3 | 1.6±0.2 | 1.3±0.2 | 1.4±0.4 | 1.4±0.4 | 1.3±0.1 |
| 55 | Chloramphenicol | CHL | 0.5±0.1 | 0.59±0.06 | 0.6±0.2 | 0.62±0.07 | 0.21±0.07 | 0.6±0.1 |
| 56 | N-acetyl sulfamethoxazole | aSMX | 0.8±0.2 | 0.79±0.08 | 0.8±0.2 | 0.8±0.2 | 0.8±0.2 | 0.81±0.09 |
| 57 | Linezolid | LZD | 1.4±0.3 | 1.4±0.1 | 1.5±0.3 | 1.4±0.2 | 1.3±0.4 | 1.4±0.2 |
| 58 | Moxifloxacin | MXF | 2.1±0.4 | 1.8±0.3 | 2.9±1.3 | 2.3±0.6 | 1.3±0.3 | 1.0±0.1 |
| 59 | Hydroxy-norfloxacin | hNOR | 1.1±0.2 | 1.1±0.1 | 1.2±0.4 | 1.1±0.1 | 1.2±0.4 | 1.2±0.2 |
| 60 | Penicilloic G acid | PenGa | 1.0±0.2 | 1.0±0.1 | 1.1±0.3 | 1.0±0.1 | 1.0±0.2 | 1.0±0.1 |
| 61 | Prulifloxacin | PFLX | 1.2±0.2 | 1.1±0.1 | 0.8±0.2 | 1.1±0.4 | 0.7±0.2 | 0.8±0.2 |
| 62 | Azithromycin | AZM | 1.4±0.3 | 1.1±0.1 | 1.0±0.2 | 1.1±0.1 | 1.1±0.3 | 1.0±0.2 |
| 63 | N-desmethyl azithromycin | dmAZM | 0.9±0.2 | 0.9±0.1 | 0.9±0.3 | 0.9±0.3 | 0.9±0.3 | 0.8±0.3 |
| 64 | Ceftiofur | CTF | 1.9±0.4 | 1.8±0.2 | 1.7±0.5 | 1.7±0.4 | 1.5±0.4 | 1.7±0.2 |
| 65 | Deacetyl-ketoconazole | daKTC | 1.7±0.5 | 1.7±0.2 | 1.9±0.8 | 1.9±0.9 | 2.0±0.6 | 1.9±0.5 |
| 66 | Doxycycline | DOX | 0.8±0.2 | 0.8±0.1 | 1.4±0.5 | 1.3±0.3 | 1.5±0.4 | 1.3±0.1 |
| 67 | Clindamycin | CLI | 63.8±12.8 | 74.5±7.4 | 29.5±5.9 | 32.4±9.7 | 64.5±16.1 | 67.3±6.7 |
| 68 | Nalidixic acid | NAL | 1.7±0.2 | 1.7±0.2 | 1.7±0.3 | 2.0±0.2 | 1.7±0.3 | 1.9±0.2 |
| 69 | Besifloxacin | BSF | 2.5±0.4 | 2.0±0.3 | 2.2±1.0 | 2.4±0.5 | 1.3±0.6 | 2.2±0.2 |
| 70 | N-desmethyl clindamycin | dmCLI | 12.7±1.9 | 11.6±2.3 | 12.2±1.8 | 12.2±1.2 | 13.0±2.0 | 12.5±1.2 |
| 71 | Penicillin G | PenG | 1.3±0.5 | 0.9±0.5 | 24.7±6.2 | 21.7±6.5 | 10.3±5.7 | 16.0±6.4 |
| Table S5a continued |  |  |  |  |  |  |  |  |
| # | Chemical | Abbrev | M.phase: low | M.phase: high | Clean: low | Clean: high | Dirty: low | Dirty: high |
| 72 | Flumequine | FLU | 2.9±0.4 | 2.8±0.3 | 1.7±0.4 | 1.9±0.2 | 1.7±0.3 | 1.9±0.2 |
| 73 | Penicillin V | PenV | 4.4±0.9 | 4.4±0.7 | 6.7±2.0 | 9.2±1.4 | 1.4±0.6 | 6.2±3.1 |
| 74 | Erythromycin | ERY | 3.7±0.6 | 3.8±0.4 | 4.0±0.4 | 4.0±0.4 | 3.7±0.7 | 4.2±0.4 |
| 75 | N-demethyl erythromycin | dmERY | 3.6±1.3 | 15.7±3.9 | 11.6±3.5 | 18.8±1.9 | 0.8±0.2 | 2.7±0.5 |
| 76 | Ketoconazole | KTC | 5.8±1.2 | 5.8±1.2 | 3.3±1.0 | 4.8±1.0 | 4.1±1.2 | 5.2±0.5 |
| 77 | Nadifloxacin | NAD | 1.0±0.1 | 1.0±0.1 | 1.0±0.2 | 0.9±0.1 | 0.9±0.2 | 0.88±0.09 |
| 78 | Flucloxacillin | FLX | 3.5±0.9 | 3.7±0.6 | 2.9±0.7 | 3.2±0.5 | 2.8±0.7 | 2.9±0.4 |
| 79 | N-desmethyl clarithromycin | dmCLR | 4.4±0.9 | 4.1±0.4 | 4.0±0.6 | 4.1±1.0 | 3.8±0.6 | 4.0±0.4 |
| 80 | Clarithromycin | CLR | 8.2±1.6 | 8.1±0.8 | 7.5±1.1 | 7.8±0.8 | 7.8±1.6 | 7.7±0.8 |
| 81 | Sulfasalazine | SLZ | 1.3±0.3 | 1.2±0.1 | 0.6±0.2 | 0.81±0.09 | 0.7±0.2 | 0.78±0.08 |
| 82 | Delamanid | DMD | 39.4±11.8 | 38.2±5.7 | 36.3±16.4 | 36.3±16.4 | 30.5±12.2 | 37.7±5.6 |
| 83 | 25-O-desacetyl rifabutin | daRFB | 2.2±0.6 | 2.2±0.3 | 1.7±0.3 | 2.0±0.2 | 1.6±0.5 | 1.9±0.2 |
| 84 | 25-desacetyl rifampicin | daRMP | 2.0±0.4 | 1.8±0.2 | 1.3±0.4 | 1.6±0.2 | 0.9±0.4 | 1.2±0.3 |
| 85 | Rifabutin | RFB | 1.4±0.3 | 1.5±0.2 | 1.4±0.4 | 1.5±0.2 | 1.5±0.4 | 1.5±0.2 |
| 86 | Rifampicin | RMP | 1.7±0.5 | 1.7±0.3 | 3.1±0.9 | 2.2±0.3 | 15.4±3.1 | 8.4±2.1 |
| 87 | Bedaquiline | BDQ | #N/A | #N/A | 53.8±24.2 | 59.8±17.9 | 0.4±0.1 | 2.5±1.3 |

| Table S5b Chromatographic and validation parameters: Ion ratios for solids analyses, ordered by retention time |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Ion Ratio (PI1/PI2) in mobile phase |  | Ion Ratio (PI1/PI2) in SPM samples |  | Ion Ratio (PI1/PI2) in river sediment |  |
| # | Chemical | Abbrev | 0-100 µg L-1 | 100-1000 µg L-1 | 0-100 µg L-1 | 100-1000 µg L-1 | 0-100 µg L-1 | 100-1000 µg L-1 |
| 1 | Gentamycin C1 | GEN1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 2 | Gentamycin C1a | GEN1a | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 3 | Gentamycin C2 C2a C2b | GEN2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 4 | Kanamycin A | KAN | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 5 | Capreomycin IA | CAPIa | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 6 | Capreomycin IB | CAPIb | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 7 | Streptomycin A | STR | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 8 | Ethambutol | EMB | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |
| 9 | D-cycloserine | DCS | 3.2±0.5 | 3.3±0.3 | #N/A | #N/A | #N/A | #N/A |
| 10 | Imipenem | IPM | 1.2±0.2 | 1.0±0.1 | 4.5±1.6 | 3.0±0.9 | 4.5±1.6 | 3.0±0.9 |
| 11 | Isoniazid | INH | 7.9±0.8 | 8.8±0.9 | 6.0±0.9 | 6.0±0.9 | 2.5±0.7 | 2.5±0.7 |
| 12 | Isonicotinic acid | INa | 3.9±0.6 | 3.8±0.4 | 4.2±0.4 | 4.2±0.4 | 4.5±0.9 | 4.5±0.9 |
| 13 | Acetyl-isoniazid | aINH | 0.5±0.1 | 0.52±0.06 | 3.8±1.3 | 3.8±1.3 | 4.0±1.6 | 4.0±1.6 |
| 14 | 5-Hydroxy-pyrazinoic acid | hPZA | 4.5±1.8 | 14.2±1.4 | 36.2±14.5 | 36.2±14.5 | 36.2±14.5 | 36.2±14.5 |
| 15 | Pyrazinamide | PZA | 1.0±0.1 | 1.3±0.1 | 1.2±0.4 | 1.2±0.4 | 0.9±0.3 | 0.9±0.3 |
| 16 | 2-Amino-1-(4-nitrophenyl)-1,3-propanediol | ANP | 2.4±0.4 | 2.4±0.2 | 1.9±0.5 | 1.9±0.5 | 1.8±0.3 | 1.8±0.3 |
| 17 | Lamivudine | 3TC | 6.3±0.9 | 7.4±0.7 | #N/A | #N/A | #N/A | #N/A |
| 18 | Hydroxy-metronidazole | hMTZ | 1.4±0.2 | 1.3±0.1 | #N/A | #N/A | #N/A | #N/A |
| 19 | Metronidazole | MTZ | 1.8±0.3 | 1.8±0.2 | 1.5±0.2 | 1.5±0.2 | 1.8±0.5 | 1.6±0.2 |
| 20 | Amoxicilloic acid | AMXa | 1.3±0.3 | 1.3±0.1 | #N/A | #N/A | #N/A | #N/A |
| 21 | Emtricitabine | FTC | 12.4±2.5 | 13.2±1.3 | 7.6±3.0 | 7.6±3.0 | 7.0±3.8 | 7.0±3.8 |
| 22 | Sulfadiazine | SDZ | 0.9±0.1 | 0.9±0.1 | 1.3±0.1 | 1.3±0.1 | 1.3±0.1 | 1.3±0.1 |
| 23 | Amoxicillin | AMX | 3.3±0.7 | 2.9±0.3 | #N/A | #N/A | #N/A | #N/A |
| 24 | Sulfapyridine | SPY | 1.2±0.1 | 1.2±0.1 | 1.3±0.1 | 1.3±0.1 | 1.3±0.1 | 1.3±0.1 |
| 25 | Meropenem | MEM | 6.3±0.9 | 6.2±0.6 | #N/A | #N/A | #N/A | #N/A |
| 26 | N-acetyl sulfadiazine | aSDZ | 1.5±0.3 | 1.5±0.2 | 1.8±0.2 | 1.8±0.2 | 1.8±0.2 | 1.8±0.2 |
| 27 | Nitrofurantoin | NIT | 1.8±0.3 | 1.9±0.2 | 1.9±0.3 | 1.9±0.3 | 2.0±0.4 | 2.0±0.4 |
| 28 | Aztreonam | ATM | 0.9±0.2 | 0.79±0.08 | 1.3±0.3 | 1.3±0.3 | 1.3±0.3 | 1.2±0.2 |
| 29 | Ampicilloic acid | AMPa | 2.0±0.4 | 1.8±0.2 | #N/A | #N/A | #N/A | #N/A |
| 30 | Trimethoprim | TMP | 0.89±0.09 | 0.9±0.1 | 1.3±0.5 | 1.0±0.1 | 1.3±0.5 | 1.0±0.1 |
| 31 | 4-hydroxy-trimethoprim | hTMP | 3.9±0.4 | 3.9±0.4 | 3.2±0.3 | 3.2±0.3 | 3.3±0.3 | 3.3±0.3 |
| 32 | N-acetyl sulfapyridine | aSPY | 0.9±0.1 | 0.9±0.1 | 1.2±0.2 | 1.2±0.2 | 1.2±0.2 | 1.2±0.2 |
| 33 | Tetracycline | TET | 2.3±0.5 | 2.1±0.2 | 0.6±0.1 | 0.6±0.1 | 0.4±0.2 | 0.4±0.2 |
| 34 | Ofloxacin (Levofloxacin) | OFX | 1.1±0.2 | 1.0±0.1 | 1.2±0.2 | 1.2±0.2 | 1.3±0.4 | 1.3±0.4 |
| 35 | Desethylene ciprofloxacin | deCIP | 2.6±0.5 | 2.4±0.2 | 1.7±0.3 | 1.7±0.3 | 1.8±0.5 | 1.6±0.3 |
| 36 | Oxytetracycline | OTC | 3.9±0.8 | 3.8±0.4 | 2.0±0.8 | 1.6±0.7 | 2.0±0.7 | 2.0±0.7 |
| 37 | Desmethyl-ofloxacin | dmOFX | 1.2±0.2 | 1.1±0.1 | 1.7±0.3 | 1.7±0.3 | 1.7±0.4 | 1.7±0.4 |
| 38 | Ceftriaxone | CRO | 0.8±0.2 | 0.8±0.2 | #N/A | #N/A | #N/A | #N/A |
| 39 | Cefalexin | LEX | 0.9±0.2 | 0.9±0.1 | #N/A | #N/A | #N/A | #N/A |
| 40 | Florfenicol | FLO | 4.9±1.0 | 5.5±0.8 | 2.1±0.6 | 2.1±0.6 | 2.7±0.5 | 2.7±0.5 |
| 41 | Norfloxacin | NOR | 1.4±0.3 | 1.3±0.1 | 1.3±0.3 | 1.3±0.3 | 1.2±0.2 | 1.2±0.2 |
| 42 | Sulfamethoxazole | SMX | 1.3±0.3 | 1.2±0.1 | 2.3±0.7 | 2.3±0.7 | 2.0±0.4 | 2.0±0.4 |
| 43 | Ciprofloxacin | CIP | 4.0±0.6 | 5.1±0.8 | 7.9±0.8 | 7.9±0.8 | 5.7±1.7 | 5.7±1.7 |
| 44 | Enrofloxacin | ENR | 2.4±0.5 | 2.5±0.2 | 2.2±0.4 | 2.2±0.4 | 2.1±0.3 | 2.1±0.3 |
| 45 | Danofloxacin | DFX | 3.1±1.6 | 11.4±3.4 | 4.0±1.4 | 4.0±1.4 | 3.6±0.9 | 3.6±0.9 |
| 46 | Lomefloxacin | LOM | 2.2±0.4 | 2.2±0.2 | 3.1±1.2 | 3.1±1.2 | 3.6±0.5 | 3.6±0.5 |
| 47 | Ampicillin | AMP | 0.20±0.03 | 0.19±0.02 | #N/A | #N/A | #N/A | #N/A |
| 48 | Thalidomide | THAL | 2.4±0.2 | 2.3±0.2 | 3.0±0.7 | 3.0±0.7 | 2.2±0.2 | 2.2±0.2 |
| 49 | Ulifloxacin | UFX | 1.0±0.2 | 1.1±0.1 | 1.0±0.4 | 1.4±0.4 | 1.0±0.4 | 1.4±0.4 |
| 50 | Sarafloxacin | SRF | 0.6±0.1 | 0.40±0.07 | 0.4±0.1 | 0.4±0.1 | 0.5±0.1 | 0.5±0.1 |
| 51 | Ofloxacin N-oxide | OFXo | 0.9±0.2 | 0.86±0.09 | #N/A | #N/A | #N/A | #N/A |
| 52 | 1-(2-nitrobenzylidenamino)-2,4-imidazolidinedione | NPAHD | 1.9±0.4 | 1.8±0.2 | 1.2±0.3 | 1.2±0.3 | 1.3±0.3 | 1.3±0.3 |
| 53 | Cefixime | CFM | 2.7±0.4 | 2.2±0.3 | 1.1±0.4 | 1.1±0.4 | 1.4±0.3 | 1.4±0.3 |
| 54 | Gatifloxacin | GAT | 1.5±0.3 | 1.6±0.2 | 0.6±0.1 | 0.6±0.1 | 0.6±0.1 | 0.6±0.1 |
| 55 | Chloramphenicol | CHL | 0.5±0.1 | 0.59±0.06 | 0.2±0.1 | 0.2±0.1 | 0.7±0.1 | 0.7±0.1 |
| 56 | N-acetyl sulfamethoxazole | aSMX | 0.8±0.2 | 0.79±0.08 | 0.7±0.2 | 0.7±0.2 | 0.74±0.08 | 0.74±0.08 |
| 57 | Linezolid | LZD | 1.4±0.3 | 1.4±0.1 | 1.7±0.2 | 1.7±0.2 | 1.7±0.3 | 1.7±0.3 |
| 58 | Moxifloxacin | MXF | 2.1±0.4 | 1.8±0.3 | 1.7±0.7 | 1.3±0.1 | 1.3±0.3 | 1.3±0.3 |
| 59 | Hydroxy-norfloxacin | hNOR | 0.9±0.2 | 0.9±0.1 | #N/A | #N/A | #N/A | #N/A |
| 60 | Penicilloic G acid | PenGa | 1.0±0.2 | 1.0±0.1 | #N/A | #N/A | #N/A | #N/A |
| 61 | Prulifloxacin | PFLX | 1.2±0.2 | 1.1±0.1 | 0.2±0.1 | 0.1±0.1 | 0.3±0.1 | 0.3±0.1 |
| 62 | Azithromycin | AZM | 1.4±0.3 | 1.1±0.1 | 0.9±0.2 | 0.9±0.2 | 1.0±0.4 | 1.0±0.4 |
| 63 | N-desmethyl azithromycin | dmAZM | 1.1±0.3 | 1.1±0.1 | #N/A | #N/A | 2.9±1.3 | 2.9±1.3 |
| 64 | Ceftiofur | CTF | 1.9±0.4 | 1.8±0.2 | 1.1±0.6 | 3.3±1.5 | 1.1±0.6 | 3.3±1.5 |
| 65 | Deacetyl-ketoconazole | daKTC | 1.7±0.5 | 1.7±0.2 | 4.9±1.5 | 3.2±1.0 | 4.9±1.5 | 3.2±1.0 |
| 66 | Doxycycline | DOX | 0.8±0.2 | 0.8±0.1 | 19.9±6.9 | 19.9±6.9 | 3.8±1.2 | 3.8±1.2 |
| 67 | Clindamycin | CLI | 63.8±12.8 | 74.5±7.4 | 26.9±5.4 | 26.9±5.4 | 26.1±7.8 | 26.1±7.8 |
| 68 | Nalidixic acid | NAL | 1.7±0.2 | 1.7±0.2 | 9.7±2.4 | 9.7±2.4 | 10.7±2.1 | 10.7±2.1 |
| 69 | Besifloxacin | BSF | 2.5±0.4 | 2.0±0.3 | 0.9±0.5 | 0.9±0.5 | 2.0±1.2 | 1.8±1.3 |
| 70 | N-desmethyl clindamycin | dmCLI | 12.7±1.9 | 11.6±2.3 | 8.1±1.6 | 8.1±1.6 | 8.1±1.6 | 8.1±1.6 |
| 71 | Penicillin G | PenG | 1.3±0.5 | 0.9±0.5 | 2.4±1.0 | 2.4±1.0 | 24.1±9.6 | 24.1±9.6 |
| Table S5b continued |  |  |  |  |  |  |  |  |
| # | Chemical | Abbrev | M.phase: low | M.phase: high | SPM: low | SPM: high | SED: low | SED: high |
| 72 | Flumequine | FLU | 2.9±0.4 | 2.8±0.3 | 10.2±3.1 | 10.2±3.1 | 7.2±2.2 | 7.2±2.2 |
| 73 | Penicillin V | PenV | 4.4±0.9 | 4.4±0.7 | 3.2±1.7 | 7.7±2.7 | 3.2±1.7 | 7.7±2.7 |
| 74 | Erythromycin | ERY | 3.7±0.6 | 3.8±0.4 | 2.4±1.2 | 3.4±1.0 | 2.9±1.0 | 2.9±1.0 |
| 75 | N-demethyl erythromycin | dmERY | 3.6±1.3 | 15.7±3.9 | 0.3±0.2 | 1.7±0.2 | 0.3±0.2 | 1.7±0.2 |
| 76 | Ketoconazole | KTC | 5.8±1.2 | 5.8±1.2 | 5.2±2.3 | 5.2±2.3 | 3.3±1.6 | 3.3±1.6 |
| 77 | Nadifloxacin | NAD | 1.0±0.1 | 1.0±0.1 | 0.3±0.2 | 0.3±0.2 | 0.7±0.2 | 0.4±0.2 |
| 78 | Flucloxacillin | FLX | 3.5±0.9 | 3.7±0.6 | #N/A | #N/A | #N/A | #N/A |
| 79 | N-desmethyl clarithromycin | dmCLR | 4.4±0.9 | 4.1±0.4 | 2.2±0.9 | 2.8±0.3 | 2.7±0.4 | 2.7±0.4 |
| 80 | Clarithromycin | CLR | 8.2±1.6 | 8.1±0.8 | 4.9±1.5 | 4.9±1.5 | 4.7±0.5 | 4.7±0.5 |
| 81 | Sulfasalazine | SLZ | 1.4±0.3 | 1.2±0.1 | 3.5±0.9 | 3.5±0.9 | 1.7±0.3 | 1.7±0.3 |
| 82 | Delamanid | DMD | 39.4±11.8 | 38.2±5.7 | 32.2±12.9 | 47.2±4.7 | 32.2±12.9 | 47.2±4.7 |
| 83 | 25-O-desacetyl rifabutin | daRFB | 2.2±0.6 | 2.2±0.3 | 0.6±0.2 | 0.9±0.2 | 0.6±0.2 | 0.9±0.2 |
| 84 | 25-desacetyl rifampicin | daRMP | 2.0±0.4 | 1.8±0.2 | #N/A | #N/A | #N/A | #N/A |
| 85 | Rifabutin | RFB | 1.4±0.3 | 1.5±0.2 | #N/A | #N/A | #N/A | #N/A |
| 86 | Rifampicin | RMP | 1.7±0.5 | 1.7±0.3 | #N/A | #N/A | #N/A | #N/A |
| 87 | Bedaquiline | BDQ | #N/A | #N/A | 23.5±11.7 | 35.5±12.4 | 23.5±11.7 | 35.5±12.4 |

| Table S6 Mass spectrometry parameters, ordered by retention time |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # | Chemical | Abbrev | Monoisotopic mass | Precursor ion (m/z) | Product ion 1 (m/z) | CV (V) | CE (eV) | Product ion 2 (m/z) | CV (V) | CE (eV) |
| 1 | Gentamycin C1 | GEN1 | 477.3 | 478.4 | 157.1 | 25 | 22 | 139.0 | 25 | 34 |
| 2 | Gentamycin C1a | GEN1a | 449.3 | 450.3 | 160.0 | 34 | 25 | 322.3 | 34 | 15 |
| 3 | Gentamycin C2 C2a C2b | GEN2 | 465.3 | 464.3 | 160.0 | 38 | 28 | 322.3 | 38 | 15 |
| 4 | Kanamycin A | KAN | 484.2 | 485.3 | 163.0 | 38 | 26 | 324.1 | 38 | 17 |
| 5 | Capreomycin IA | CAPIa | 668.3 | 669.4 | 98.0 | 78 | 75 | 127.1 | 78 | 94 |
| 6 | Capreomycin IB | CAPIb | 652.4 | 653.3 | 70.0 | 55 | 100 | 491.3 | 55 | 35 |
| 7 | Streptomycin A | STR | 581.3 | 582.3 | 263.2 | 70 | 41 | 246.2 | 70 | 49 |
| 8 | Ethambutol | EMB | 204.2 | 205.1 | 116.0 | 23 | 14 | 120.0 | 23 | 12 |
| 9 | D-cycloserine | DCS | 102.0 | 102.8 | 75.0 | 18 | 8 | 57.8 | 18 | 12 |
| 10 | Imipenem | IPM | 299.1 | 300.0 | 97.8 | 28 | 30 | 126.0 | 28 | 20 |
| 11 | Isoniazid | INH | 137.1 | 138.0 | 121.0 | 25 | 11 | 93.0 | 25 | 20 |
| 12 | Isonicotinic acid | INa | 123.0 | 124.0 | 80.0 | 40 | 18 | 53.0 | 40 | 23 |
| 13 | Acetyl-isoniazid | aINH | 179.1 | 180.0 | 138.0 | 26 | 21 | 121.0 | 26 | 24 |
| 14 | 5-Hydroxy-pyrazinoic acid | hPZA | 140.0 | 141.0 | 68.0 | 22 | 24 | 95.0 | 22 | 18 |
| 15 | Pyrazinamide | PZA | 123.0 | 124.0 | 107.0 | 28 | 9 | 81.1 | 28 | 16 |
| 16 | 2-Amino-1-(4-nitrophenyl)-1,3-propanediol | ANP | 212.1 | 213.1 | 165.0 | 26 | 14 | 119.0 | 26 | 25 |
| 17 | Lamivudine | 3TC | 229.1 | 230.0 | 112.0 | 36 | 26 | 95.0 | 36 | 42 |
| 18 | Hydroxy-metronidazole | hMTZ | 187.1 | 188.0 | 122.9 | 28 | 13 | 126.1 | 28 | 20 |
| 19 | Metronidazole | MTZ | 171.1 | 172.0 | 128.0 | 28 | 18 | 81.9 | 28 | 28 |
| 20 | Amoxicilloic acid | AMXa | 383.1 | 384.0 | 323.0 | 22 | 16 | 189.0 | 22 | 26 |
| 21 | Emtricitabine | FTC | 247.0 | 248.0 | 130.0 | 38 | 26 | 112.8 | 38 | 42 |
| 22 | Sulfadiazine | SDZ | 250.1 | 251.0 | 92.0 | 32 | 26 | 156.0 | 32 | 15 |
| 23 | Amoxicillin | AMX | 365.1 | 366.1 | 114.0 | 28 | 19 | 208.1 | 28 | 17 |
| 24 | Sulfapyridine | SPY | 249.1 | 250.0 | 92.0 | 42 | 30 | 156.0 | 42 | 16 |
| 25 | Meropenem | MEM | 383.2 | 384.1 | 68.1 | 41 | 25 | 254.0 | 41 | 17 |
| 26 | N-acetyl sulfadiazine | aSDZ | 292.1 | 293.0 | 134.0 | 34 | 26 | 198.0 | 34 | 20 |
| 27 | Nitrofurantoin | NIT | 238.0 | 239.0 | 139.0 | 34 | 16 | 122.0 | 34 | 22 |
| 28 | Aztreonam | ATM | 435.1 | 436.0 | 356.0 | 29 | 11 | 313.0 | 29 | 16 |
| 29 | Ampicilloic acid | AMPa | 367.1 | 368.2 | 324.2 | 27 | 13 | 106.0 | 27 | 35 |
| 30 | Trimethoprim | TMP | 290.1 | 291.2 | 230.2 | 26 | 26 | 123.1 | 26 | 36 |
| 31 | 4-hydroxy-trimethoprim | hTMP | 306.1 | 307.1 | 139.0 | 44 | 24 | 97.0 | 44 | 44 |
| 32 | N-acetyl sulfapyridine | aSPY | 291.1 | 292.0 | 134.0 | 34 | 30 | 198.0 | 34 | 20 |
| 33 | Tetracycline | TET | 444.2 | 445.2 | 410.2 | 32 | 26 | 98.0 | 32 | 58 |
| 34 | Ofloxacin (Levofloxacin) | OFX | 361.1 | 362.0 | 318.2 | 45 | 18 | 261.1 | 45 | 28 |
| 35 | Desethylene ciprofloxacin | deCIP | 305.1 | 306.3 | 190.1 | 32 | 35 | 227.0 | 32 | 30 |
| 36 | Oxytetracycline | OTC | 460.1 | 461.2 | 426.2 | 32 | 27 | 444.3 | 32 | 22 |
| 37 | Desmethyl-ofloxacin | dmOFX | 347.1 | 348.3 | 304.2 | 45 | 22 | 261.2 | 45 | 34 |
| 38 | Ceftriaxone | CRO | 554.0 | 555.1 | 167.1 | 28 | 30 | 125.0 | 28 | 75 |
| 39 | Cefalexin | LEX | 347.1 | 348.1 | 106.0 | 32 | 18 | 174.0 | 32 | 12 |
| 40 | Florfenicol | FLO | 357.0 | 358.0 | 241.0 | 34 | 17 | 206.0 | 34 | 25 |
| 41 | Norfloxacin | NOR | 319.1 | 320.2 | 276.1 | 47 | 18 | 233.1 | 47 | 24 |
| 42 | Sulfamethoxazole | SMX | 253.1 | 254.1 | 92.1 | 36 | 30 | 156.1 | 36 | 20 |
| 43 | Ciprofloxacin | CIP | 331.1 | 332.2 | 231.1 | 42 | 40 | 245.1 | 42 | 32 |
| 44 | Enrofloxacin | ENR | 359.2 | 360.2 | 316.2 | 40 | 20 | 245.0 | 40 | 28 |
| 45 | Danofloxacin | DFX | 357.1 | 358.1 | 340.0 | 65 | 20 | 314.2 | 65 | 20 |
| 46 | Lomefloxacin | LOM | 351.1 | 352.0 | 265.0 | 22 | 24 | 308.0 | 22 | 22 |
| 47 | Ampicillin | AMP | 349.1 | 350.2 | 106.0 | 35 | 17 | 160.0 | 35 | 12 |
| 48 | Thalidomide | THAL | 258.1 | 259.2 | 84.0 | 30 | 20 | 186.1 | 30 | 30 |
| 49 | Ulifloxacin | UFX | 349.1 | 350.2 | 263.0 | 42 | 26 | 306.4 | 42 | 22 |
| 50 | Sarafloxacin | SRF | 385.1 | 385.9 | 367.8 | 46 | 23 | 298.8 | 46 | 28 |
| 51 | Ofloxacin N-oxide | OFXo | 377.1 | 378.3 | 246.9 | 28 | 44 | 316.7 | 28 | 18 |
| 52 | 1-(2-nitrobenzylidenamino)-2,4-imidazolidinedione | NPAHD | 248.1 | 249.0 | 133.9 | 32 | 14 | 103.8 | 32 | 22 |
| 53 | Cefixime | CFM | 453.0 | 454.0 | 219.0 | 60 | 25 | 161.0 | 60 | 32 |
| 54 | Gatifloxacin | GAT | 375.2 | 376.3 | 261.0 | 46 | 36 | 332.1 | 46 | 18 |
| 55 | Chloramphenicol | CHL | 322.0 | 323.0 | 274.8 | 20 | 10 | 304.8 | 20 | 10 |
| 56 | N-acetyl sulfamethoxazole | aSMX | 295.1 | 296.0 | 198.0 | 36 | 23 | 134.0 | 36 | 34 |
| 57 | Linezolid | LZD | 337.1 | 338.0 | 296.0 | 35 | 18 | 195.0 | 35 | 25 |
| 58 | Moxifloxacin | MXF | 401.2 | 402.2 | 261.0 | 54 | 23 | 364.0 | 54 | 27 |
| 59 | Hydroxy-norfloxacin | hNOR | 335.1 | 336.2 | 273.1 | 38 | 34 | 245.1 | 38 | 46 |
| 60 | Penicilloic G acid | PenGa | 262.1 | 353.2 | 309.2 | 24 | 14 | 128.0 | 24 | 34 |
| 61 | Prulifloxacin | PFLX | 461.1 | 462.2 | 360.1 | 40 | 30 | 444.2 | 40 | 44 |
| Table S6 continued |  |  |  |  |  |  |  |  |  |  |
| # | Chemical | Abbrev | Monoisotopic mass | Precursor ion (m/z) | Product ion 1 (m/z) | CV (V) | CE (eV) | Product ion 2 (m/z) | CV (V) | CE (eV) |
| 62 | Azithromycin | AZM | 748.5 | 749.5 | 83.1 | 60 | 60 | 116.1 | 60 | 54 |
| 63 | N-desmethyl azithromycin | dmAZM | 734.5 | 735.5 | 115.0 | 44 | 58 | 144.2 | 44 | 58 |
| 64 | Ceftiofur | CTF | 523.0 | 524.0 | 241.1 | 50 | 20 | 125.0 | 50 | 50 |
| 65 | Deacetyl-ketoconazole | daKTC | 488.1 | 489.2 | 136.0 | 66 | 46 | 178.1 | 66 | 35 |
| 66 | Doxycycline | DOX | 444.2 | 445.2 | 267.0 | 40 | 40 | 428.6 | 40 | 38 |
| 67 | Clindamycin | CLI | 424.2 | 425.2 | 126.1 | 42 | 32 | 377.2 | 42 | 20 |
| 68 | Nalidixic acid | NAL | 232.1 | 233.2 | 187.0 | 30 | 28 | 215.1 | 30 | 28 |
| 69 | Besifloxacin | BSF | 393.1 | 394.1 | 356.0 | 34 | 14 | 376.4 | 34 | 24 |
| 70 | N-desmethyl clindamycin | dmCLI | 410.2 | 411.1 | 112.0 | 45 | 28 | 363.1 | 45 | 18 |
| 71 | Penicillin G | PenG | 334.1 | 335.2 | 217.1 | 48 | 16 | 176.0 | 48 | 20 |
| 72 | Flumequine | FLU | 261.1 | 262.2 | 201.9 | 28 | 34 | 244.5 | 28 | 26 |
| 73 | Penicillin V | PenV | 350.1 | 351.2 | 114.2 | 54 | 40 | 160.1 | 54 | 40 |
| 74 | Erythromycin | ERY | 733.5 | 734.3 | 158.2 | 34 | 38 | 115.9 | 34 | 60 |
| 75 | N-desmethyl erythromycin | dmERY | 719.4 | 720.5 | 144.1 | 42 | 38 | 562.5 | 42 | 27 |
| 76 | Ketoconazole | KTC | 530.1 | 531.3 | 82.0 | 60 | 50 | 112.1 | 60 | 58 |
| 77 | Nadifloxacin | NAD | 360.1 | 361.3 | 256.8 | 40 | 44 | 282.9 | 40 | 38 |
| 78 | Flucloxacillin | FLX | 453.1 | 454.0 | 196.0 | 60 | 20 | 116.3 | 60 | 20 |
| 79 | N-desmethyl clarithromycin | dmCLR | 733.5 | 734.5 | 144.0 | 36 | 36 | 102.0 | 36 | 48 |
| 80 | Clarithromycin | CLR | 747.5 | 748.5 | 158.1 | 40 | 31 | 590.4 | 40 | 20 |
| 81 | Sulfasalazine | SLZ | 398.1 | 399.2 | 223.1 | 48 | 34 | 199.0 | 48 | 52 |
| 82 | Delamanid | DMD | 534.2 | 535.0 | 352.0 | 25 | 24 | 406.0 | 25 | 22 |
| 83 | 25-O-desacetyl rifabutin | daRFB | 804.4 | 805.4 | 773.4 | 36 | 32 | 95.0 | 36 | 70 |
| 84 | 25-desacetyl rifampicin | daRMP | 780.4 | 781.4 | 749.4 | 22 | 21 | 95.0 | 22 | 62 |
| 85 | Rifabutin | RFB | 846.4 | 847.5 | 815.5 | 22 | 30 | 112.0 | 22 | 60 |
| 86 | Rifampicin | RMP | 822.4 | 823.4 | 95.0 | 22 | 62 | 791.4 | 22 | 30 |
| 87 | Bedaquiline | BDQ | 554.2 | 555.8 | 58.2 | 45 | 35 | 229.1 | 45 | 25 |
| - | Isoniazid-d4 | - | 141.1 | 142.0 | 125.0 | 25 | 20 | - | - | - |
| - | Metronidazole-d4 | - | 175.1 | 176.0 | 128.0 | 20 | 14 | - | - | - |
| - | Amoxicillin-d4 | - | 369.1 | 370.0 | 114.0 | 28 | 22 | - | - | - |
| - | Nitrofurantoin-13C3 | - | 241.0 | 242.0 | 122.0 | 34 | 22 | - | - | - |
| - | Trimethoprim-d9 | - | 299.2 | 300.2 | 261.1 | 26 | 32 | - | - | - |
| - | Ofloxacin-d3 | - | 364.4 | 365.2 | 321.3 | 56 | 32 | - | - | - |
| - | Ofloxacin desmethyl-d8 | - | 355.2 | 356.0 | 312.2 | 44 | 18 | - | - | - |
| - | Cefalexin-d5 | - | 352.1 | 353.1 | 158.0 | 32 | 15 | - | - | - |
| - | Sulfamethoxazole-d4 | - | 257.1 | 258.1 | 96.1 | 36 | 30 | - | - | - |
| - | Ciprofloxacin-d8 | - | 339.2 | 340.1 | 296.2 | 50 | 35 | - | - | - |
| - | Ampicillin-d5 | - | 354.1 | 355.1 | 160.0 | 40 | 16 | - | - | - |
| - | Chloramphenicol-d5 | - | 327.0 | 328.0 | 309.8 | 20 | 10 | - | - | - |
| - | Azithromycin-d3 | - | 751.5 | 752.5 | 83.1 | 60 | 54 | - | - | - |
| - | Doxycycline-d3 | - | 447.2 | 448.2 | 155.0 | 32 | 36 | - | - | - |
| - | Penicillin G-d7 | - | 341.1 | 342.2 | 183.0 | 48 | 20 | - | - | - |
| - | Flumequine-13C3 | - | 261.1 | 265.2 | 204.9 | 28 | 34 | - | - | - |
| - | Erythromycin-13C,D3 | - | 737.5 | 738.3 | 162.2 | 34 | 38 | - | - | - |
| - | Ketoconazole-d3 | - | 533.2 | 534.3 | 135.2 | 60 | 48 | - | - | - |
| - | Sulfasalazine-d4 | - | 402.1 | 403.0 | 119.0 | 48 | 44 | - | - | - |
| - | Clarithromycin-d3 | - | 750.5 | 751.5 | 161.1 | 40 | 31 | - | - | - |
| - | Rifabutin-d7 | - | 853.5 | 854.5 | 822.5 | 22 | 30 | - | - | - |
| Differences for solids analyses |  |  |  |  |  |  |  |  |  |  |
| 9 | D-cycloserine | DCS | 102.0 | 102.8 | 57.8 | 18 | 12 | 75.0 | 18 | 8 |
| 14 | 5-Hydroxy-pyrazinoic acid | hPZA | 140.0 | 141.0 | 95.0 | 22 | 18 | 68.0 | 22 | 24 |
| 15 | Pyrazinamide | PZA | 123.0 | 124.0 | 81.1 | 28 | 16 | 107.0 | 28 | 9 |
| 27 | Nitrofurantoin | NIT | 238.0 | 239.0 | 122.0 | 34 | 22 | 139.0 | 34 | 16 |
| 32 | N-acetyl sulfapyridine | aSPY | 291.1 | 292.0 | 198.0 | 34 | 20 | 134.0 | 34 | 30 |
| 47 | Ampicillin | AMP | 349.1 | 350.2 | 160.0 | 35 | 12 | 106.0 | 35 | 17 |
| 50 | Sarafloxacin | SRF | 385.1 | 385.9 | 298.8 | 46 | 28 | 367.8 | 46 | 23 |
| 59 | Hydroxy-norfloxacin | hNOR | 335.1 | 336.2 | 245.1 | 38 | 46 | 273.1 | 38 | 34 |
| 63 | N-desmethyl azithromycin | dmAZM | 734.5 | 735.5 | 144.2 | 44 | 58 | 115.0 | 44 | 58 |
| 81 | Sulfasalazine | SLZ | 398.1 | 399.2 | 199.0 | 48 | 52 | 223.1 | 48 | 34 |

| Table S7 Equations for calculating concentration, instrument performance, and method performance |  |  |  |  |
| --- | --- | --- | --- | --- |
| Calculation | Abbrev. | Equation | Units | Terms / description |
| Instrument response | R | < An > * ( [ISTD] / <ISTD> ) |  | Analyte (An); Internal standard (ISTD); Area < >; Concentration [ ] |
| LC vial concentration | [Vial] | (R - c) / m | µg L-1 | Gradient (m); intercept (c) |
| Aqueous sample concentration | [AQ] | [Vial] / (V sample / V elution) | µg L-1 | Volume (V) |
| Sediment sample concentration | [SED] | ([Vial] * V elution) / M sample | ng g-1 | Mass (M) |
| SPM sample concentration | [SPM] | (([Vial] * V elution)) / (M sample / M total)) / V sample | ng L-1 | (or as ng/g, calculated same as [SED]) |
| Instrument quantification limit | IQL | [Vial m. phase] S/N≥10 | µg L-1 | Concentration at which ≥2 mobile phase quality controls achieved S/N≥10 |
| Instrument detection limit | IDL | (IQL/10) *3 | µg L-1 | Extrapolated from IQL |
| Method quantification limit | MQL | IQL / (Rec matrix x CF) | µg L-1 | Matrix-specific recovery as a decimal (Rec matrix); sample concentration factor (CF) |
| Method detection limit | MDL | IDL / (Rec matrix x CF) | µg L-1 |  |
| Accuracy |  | ([Spiked observed] / [Spiked theoretical]) *100 | % | Desired 100% |
| Precision |  | Standard deviation (Accuracy) | % | Desired 0% |
| Recovery (absolute) | REC abs | ((<Spiked matrix> - <Blank matrix>) / <Spiked QC >) *100 | % | Analyte recovery relative to quality control (via peak area) |
| Recovery (relative) | REC rel | (([Spiked observed] - [Blank matrix]) / [Spiked theoretical]) *100 | % | Analyte recovery relative to ISTD (via concentration) |

| Table S8 Method recovery from urban matrices (n ≤ 18), ordered by drug class |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Average percentage recovery from urban matrices (%) |  |  |  |  |  |  |  |  |
| Drug Class | Abbrev | MilliQ water | River water | Effluent WW | Influent WW | Influent SPM |  | River sediment |  |
| Sulfonamide & |  |  |  |  |  |  |  |  |  |
| Trimethoprim | SDZ | 88.6 ± 9.4 | 89.3 ± 10.5 | 79.8 ± 8.2 | 66.1 ± 12.0 | 230.8 ± 18.4 |  | 123.1 ± 7.6 |  |
|  | SPY | 91.5 ± 9.7 | 88.7 ± 12.1 | 83.3 ± 13.1 | 113.7 ± 28.1 | 190.0 ± 60.4 |  | 109.3 ± 11.1 |  |
|  | SMX | 86.4 ± 5.8 | 94.3 ± 5.6 | 95.3 ± 2.7 | 109.2 ± 17.5 | 104.2 ± 11.4 |  | 93.3 ± 3.0 |  |
|  | SLZ | 94.8 ± 17.1 | 108.7 ± 19.3 | 83.0 ± 9.9 | 73.2 ± 13.1 | 83.8 ± 21.1 |  | 125.4 ± 32.2 |  |
|  | TMP | 93.7 ± 16.7 | 97.4 ± 24.5 | 161.3 ± 29.5 | 155.2 ± 38.7 | 119.1 ± 29.2 |  | 93.1 ± 12.2 |  |
|  | aSDZ | 95.7 ± 16.6 | 102.7 ± 14.6 | 103.5 ± 13.1 | 90.6 ± 17.2 | excluded |  | 156.4 ± 21.6 |  |
|  | aSPY | 98.2 ± 8.4 | 109.0 ± 18.6 | 110.8 ± 25.1 | 123.1 ± 26.3 | excluded |  | 179.6 ± 24.0 |  |
|  | aSMX | 90.4 ± 14.4 | 101.5 ± 18.6 | 103.4 ± 17.9 | 95.9 ± 37.1 | excluded |  | 159.8 ± 24.0 |  |
|  | hTMP | 74.0 ± 8.1 | 116.2 ± 24.2 | 132.4 ± 36.8 | 127.8 ± 23.7 | excluded |  | 198.3 ± 21.4 |  |
| Macrolide | AZM | excluded | 91.0 ± 10.2 | 112.2 ± 10.9 | insufficient data | insufficient data |  | insufficient data |  |
| & Lincomycin | ERY | 93.4 ± 9.1 | 103.6 ± 2.7 | 113.6 ± 8.5 | 94.6 ± 14.0 | insufficient data |  | 116.2 ± 15.5 |  |
|  | CLR | 110.3 ± 9.1 | 108.2 ± 6.8 | 113.6 ± 9.5 | 109.8 ± 18.2 | 86.0 ± 25.1 |  | 102.9 ± 5.2 |  |
|  | CLI | 119.6 ± 39.6 | 101.4 ± 12.1 | 123.4 ± 19.4 | > linear range | > linear range |  | 187.8 ± 34.4 |  |
|  | dmAZM | excluded | 117.7 ± 33.1 | 121.4 ± 31.4 | insufficient data | excluded |  | 11.1 ± 4.9 |  |
|  | dmERY | 100.9 ± 13.1 | 102.1 ± 6.1 | 111.0 ± 18.4 | 111.0 ± 24.9 | insufficient data |  | 117.2 ± 17.5 |  |
|  | dmCLR | 88.7 ± 15.1 | 77.8 ± 9.6 | 81.6 ± 8.8 | 68.0 ± 11.7 | 36.0 ± 27.4 |  | 90.0 ± 4.2 |  |
|  | dmCLI | 110.3 ± 31.2 | 146.8 ± 55.4 | 97.7 ± 17.6 | > linear range | > linear range |  | > linear range |  |
| β-LACTAMS |  |  |  |  |  |  |  |  |  |
| Penicillin | AMX | 88.6 ± 30.1 | 42.3 ± 8.6 | 5.6 ± 1.7 | matrix interference | insufficient data |  | insufficient data |  |
|  | AMP | 72.2 ± 25.7 | 73.1 ± 18.5 | 9.5 ± 5.2 | 27.0 ± 6.0 | 67.7 ± 16.9 |  | 25.3 ± 2.8 |  |
|  | FLX | 110.8 ± 33.4 | excluded | 102.9 ± 16.9 | 91.8 ± 47.5 | 23.8 ± 7.2 |  | excluded |  |
|  | PenG | 93.7 ± 21.5 | 126.8 ± 42.3 | 103.8 ± 18.7 | 27.4 ± 5.5 | 11.6 ± 7.5 |  | 61.7 ± 9.7 |  |
|  | PenV | 105.2 ± 40.9 | 76.4 ± 21.3 | 107.3 ± 18.6 | 36.9 ± 11.7 | excluded |  | 71.0 ± 22.5 |  |
|  | AMXa | 0.3 ± 0.1 | 1.6 ± 0.6 | 7.2 ± 3.5 | 2.0 ± 1.0 | insufficient data |  | insufficient data |  |
|  | AMPa | 4.6 ± 3.2 | 11.5 ± 6.7 | 6.3 ± 1.1 | 4.7 ± 1.3 | 8.5 ± 10.9 |  | insufficient data |  |
|  | PenGa | 87.6 ± 49.6 | 13.0 ± 3.5 | 18.6 ± 6.9 | 9.7 ± 5.6 | excluded |  | 0.3 ± 0.2 |  |
| Cefalosporin | LEX | 66.9 ± 28.4 | 101.9 ± 20.5 | 52.1 ± 7.9 | 63.5 ± 5.9 | excluded |  | excluded |  |
|  | CFM | 84.6 ± 20.8 | 112.9 ± 26.3 | excluded | 113.6 ± 23.2 | 65.7 ± 21.6 |  | 66.0 ± 16.0 |  |
|  | CTF | 93.1 ± 28.4 | 103.8 ± 22.9 | 108.9 ± 20.1 | excluded | excluded |  | 2.2 ± 0.6 |  |
|  | CRO | excluded | 96.0 ± 17.0 | 110.0 ± 11.3 | 155.0 ± 20.7 | insufficient data |  | insufficient data |  |
| Monobactam | ATM | 10.7 ± 3.4 | insufficient data | insufficient data | insufficient data | 116.7 ± 29.7 |  | 55.8 ± 12.5 |  |
| Carbapenem | IPM | not recovered | not recovered | not recovered | not recovered | not recovered |  | not recovered |  |
|  | MEM | not recovered | not recovered | not recovered | not recovered | not recovered |  | not recovered |  |
| Quinolone | BSF | excluded | 46.3 ± 14.4 | 64.4 ± 26.2 | 119.2 ± 14.5 | insufficient data |  | 8.5 ± 4.9 |  |
|  | CIP | 78.6 ± 16.0 | 104.4 ± 18.3 | 88.5 ± 8.4 | 132.7 ± 28.6 | > linear range |  | 70.9 ± 28.8 |  |
|  | DFX | 81.0 ± 25.9 | 93.4 ± 14.5 | 96.2 ± 13.9 | 108.1 ± 16.2 | 81.0 ± 14.2 |  | 24.5 ± 4.9 |  |
|  | ENR | 126.4 ± 25.3 | 161.0 ± 15.3 | 131.9 ± 23.6 | 121.6 ± 35.9 | 138.4 ± 53.7 |  | 46.4 ± 15.5 |  |
|  | FLU | 91.5 ± 7.6 | 103.0 ± 17.6 | 93.5 ± 3.0 | 99.4 ± 2.8 | 110.4 ± 25.4 |  | 81.6 ± 13.3 |  |
|  | GAT | 111.7 ± 28.8 | 101.1 ± 14.2 | 116.3 ± 34.9 | 108.6 ± 35.1 | 130.6 ± 44.7 |  | 127.2 ± 26.0 |  |
|  | LOM | 115.3 ± 15.9 | 128.4 ± 10.7 | 132.4 ± 16.4 | 105.6 ± 26.2 | 126.5 ± 29.2 |  | 134.5 ± 19.6 |  |
|  | MXF | 59.6 ± 19.2 | 112.5 ± 18.9 | 117.4 ± 34.3 | 123.5 ± 9.5 | 141.0 ± 68.1 |  | 151.5 ± 28.9 |  |
|  | NAD | 92.7 ± 21.1 | 94.1 ± 19.0 | 134.8 ± 16.0 | 112.1 ± 10.7 | 13.6 ± 9.0 |  | 107.9 ± 31.6 |  |
|  | NAL | 112.8 ± 8.6 | 118.1 ± 18.8 | 113.9 ± 10.1 | 91.8 ± 0.8 | excluded |  | 95.8 ± 11.7 |  |
|  | NOR | 97.4 ± 32.0 | 124.4 ± 21.2 | 118.5 ± 35.3 | 145.7 ± 21.9 | 109.0 ± 48.7 |  | 89.9 ± 24.7 |  |
|  | OFX | 96.8 ± 17.2 | 93.7 ± 12.9 | 89.7 ± 10.0 | 73.2 ± 12.4 | 148.8 ± 47.0 |  | 65.6 ± 10.3 |  |
|  | PFLX | 79.1 ± 38.5 | 141.9 ± 35.3 | excluded | 168.1 ± 52.4 | excluded |  | excluded |  |
|  | SRF | excluded | 99.9 ± 16.4 | 100.4 ± 10.8 | 99.9 ± 20.0 | 87.0 ± 41.2 |  | 75.5 ± 12.5 |  |
|  | deCIP | excluded | 74.0 ± 19.3 | 72.3 ± 21.8 | 103.8 ± 28.1 | 36.8 ± 5.9 |  | 25.8 ± 6.7 |  |
|  | hNOR | insufficient data | 52.0 ± 16.1 | insufficient data | 93.3 ± 23.4 | insufficient data |  | insufficient data |  |
|  | OFXo | 140.9 ± 50.8 | 148.6 ± 40.8 | 95.6 ± 31.8 | 98.5 ± 17.3 | excluded |  | 29.8 ± 14.8 |  |
|  | dmOFX | 130.4 ± 8.4 | 139.1 ± 10.1 | 120.2 ± 10.9 | 112.3 ± 13.6 | 134.6 ± 32.5 |  | 125.7 ± 26.9 |  |
|  | UFX | 60.4 ± 25.1 | 94.6 ± 25.0 | 118.8 ± 26.5 | 131.1 ± 34.0 | 110.1 ± 64.5 |  | 81.0 ± 21.8 |  |
| TB DRUGS |  |  |  |  |  |  |  |  |  |
| TB (1st line) | INH | 119.4 ± 30.0 | excluded | excluded | 98.9 ± 24.1 | excluded |  | 1.2 ± 1.0 |  |
|  | PZA | 8.3 ± 3.3 | 6.4 ± 0.4 | excluded | excluded | 38.4 ± 31.3 |  | 13.5 ± 7.4 |  |
|  | EMB | 25.3 ± 15.3 | 46.8 ± 2.3 | 30.1 ± 3.5 | 23.7 ± 4.0 | 6.7 ± 3.1 |  | 0.4 ± 0.2 |  |
|  | RMP | 76.9 ± 31.9 | 80.5 ± 38.5 | 70.2 ± 42.5 | insufficient data | excluded |  | 23.3 ± 10.3 |  |
|  | RFB | 79.9 ± 21.7 | 114.5 ± 10.1 | 109.3 ± 6.0 | 89.0 ± 11.4 | 77.5 ± 26.4 |  | 89.6 ± 5.3 |  |
|  | INa | 32.1 ± 11.4 | 41.4 ± 25.3 | 71.7 ± 56.1 | 20.8 ± 8.9 | excluded |  | 19.6 ± 17.6 |  |
|  | aINH | 97.6 ± 38.6 | 67.3 ± 28.1 | 85.4 ± 36.2 | 41.9 ± 9.8 | 49.5 ± 25.6 |  | 122.5 ± 64.2 |  |
| Table S8 continued |  |  |  |  |  |  |  |  |  |
| Drug class | Abbrev | MilliQ water | River water | Effluent WW | Influent WW | Influent SPM |  | River sediment |  |
|  | hPZA | excluded | excluded | excluded | excluded | excluded |  | excluded |  |
|  | daRMP | 78.4 ± 21.1 | 91.6 ± 16.8 | insufficient data | 99.9 ± 32.0 | insufficient data |  | insufficient data |  |
|  | daRFB | 82.9 ± 18.4 | 84.4 ± 36.6 | excluded | 90.4 ± 26.1 | excluded |  | 93.1 ± 8.5 |  |
| TB (MDR) | CAP | not recovered | 15.1 ± 1.4 | 0.8 ± 1.5 | 1.5 ± 1.6 | not recovered |  | 15.1 ± 1.4 |  |
|  | GEN | insufficient data | 9.9 ± 1.4 | 18.4 ± 0.5 | insufficient data | insufficient data |  | 9.9 ± 1.4 |  |
|  | KAN | 4.1 ± 2.8 | 3.9 ± 1.4 | 5.1 ± 4.8 | insufficient data | 4.1 ± 2.8 |  | 3.9 ± 1.4 |  |
|  | STR | 25.2 ± 2.5 | 24.2 ± 0.2 | 23.2 ± 1.1 | 4.5 ± 2.0 | 25.2 ± 2.5 |  | 24.2 ± 0.2 |  |
|  | DCS | excluded | excluded | excluded | excluded | excluded |  | excluded |  |
| TB (other) | DMD | excluded | 50.5 ± 12.7 | 146.2 ± 39.4 | > linear range | 81.7 ± 43.7 |  | 63.7 ± 10.7 |  |
|  | BDQ | excluded | 95.5 ± 26.5 | 158.5 ± 25.0 | excluded | insufficient data |  | excluded |  |
|  | LZD | 107.5 ± 8.8 | 104.6 ± 19.8 | 91.9 ± 15.9 | 112.9 ± 20.7 | 143.3 ± 27.6 |  | 132.4 ± 10.0 |  |
|  | THAL | 92.3 ± 21.6 | 117.5 ± 23.0 | 129.9 ± 37.6 | 86.2 ± 12.0 | 167.1 ± 46.3 |  | 156.7 ± 22.1 |  |
| OTHER |  |  |  |  |  |  |  |  |  |
| Amphenicol | CHL | 104.0 ± 12.0 | 118.3 ± 21.0 | 114.1 ± 15.1 | 114.9 ± 24.2 | 41.3 ± 6.9 |  | 99.9 ± 17.9 |  |
|  | FLO | 134.5 ± 21.9 | 143.7 ± 26.0 | 135.1 ± 22.7 | 136.9 ± 20.2 | 125.5 ± 31.5 |  | 164.5 ± 22.3 |  |
|  | ANP | 40.9 ± 6.4 | 52.0 ± 18.4 | 24.9 ± 4.6 | 35.5 ± 2.0 | 22.9 ± 12.9 |  | 10.5 ± 4.7 |  |
| Cycline | DOX | 96.1 ± 24.5 | 73.3 ± 11.5 | 69.7 ± 8.8 | 29.6 ± 12.7 | insufficient data |  | 5.3 ± 4.3 |  |
|  | OTC | 87.4 ± 38.8 | 82.2 ± 17.5 | 45.2 ± 7.9 | 47.3 ± 17.7 | 7.2 ± 5.6 |  | 4.1 ± 3.9 |  |
|  | TET | 72.7 ± 4.8 | 65.5 ± 18.1 | 112.8 ± 29.6 | 88.4 ± 39.0 | 18.4 ± 7.3 |  | excluded |  |
| Nitrofuran | NIT | 88.0 ± 4.6 | 93.0 ± 23.5 | 127.0 ± 33.3 | 86.7 ± 14.2 | 113.4 ± 24.7 |  | 86.9 ± 6.3 |  |
|  | NPAHD | 96.9 ± 15.1 | 80.8 ± 10.5 | 68.7 ± 10.8 | 84.5 ± 12.3 | 46.1 ± 10.7 |  | 74.6 ± 7.1 |  |
| Azole | MTZ | 113.9 ± 4.6 | 116.2 ± 5.3 | 113.8 ± 5.3 | 109.7 ± 8.0 | 121.9 ± 7.3 |  | 120.5 ± 7.3 |  |
|  | KTC | 52.7 ± 20.7 | 34.6 ± 10.6 | 42.3 ± 12.7 | 103.7 ± 21.2 | excluded |  | 51.1 ± 14.5 |  |
|  | hMTZ | 19.9 ± 6.3 | 20.6 ± 5.9 | 59.9 ± 12.4 | 29.6 ± 12.7 | 30.2 ± 8.1 |  | insufficient data |  |
|  | daKTC | 97.5 ± 24.1 | excluded | 90.4 ± 23.8 | matrix interference | insufficient data |  | insufficient data |  |
| ARV | FTC | 84.3 ± 16.0 | 100.7 ± 22.9 | 93.3 ± 13.7 | 95.5 ± 32.2 | 172.6 ± 37.2 |  | 104.4 ± 19.3 |  |
|  | 3TC | 36.3 ± 6.0 | 42.1 ± 9.2 | 71.0 ± 14.3 | 31.5 ± 17.2 | insufficient data |  | insufficient data |  |
| Grey text: poor instrument performance (accuracy and precision) |  |  |  |  |  |  |  |  |  |

| Table S9 Method detection and quantification limits per matrix, ordered by retention time |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | MilliQ water (ng L-1) |  | River water (ng L-1) |  | Effluent WW (ng L-1) |  | Influent WW (ng L-1) |  | Influent SPM (ng g-1) |  | River sediment (ng g-1) |  |
| Class | Abbrev | MDL | MQL | MDL | MQL | MDL | MQL | MDL | MQL | MDL | MQL | MDL | MQL |
| Sulfonamide & |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Trimethoprim | SDZ | 0.08 | 0.28 | 0.08 | 0.28 | 0.19 | 0.63 | 0.23 | 0.76 | - | - | 0.02 | 0.08 |
|  | SPY | 0.016 | 0.055 | 0.017 | 0.056 | 0.036 | 0.120 | 0.026 | 0.088 | 0.003 | 0.010 | 0.005 | 0.017 |
|  | SMX | 0.009 | 0.029 | 0.008 | 0.026 | 0.016 | 0.052 | 0.014 | 0.046 | 0.003 | 0.009 | 0.003 | 0.010 |
|  | SLZ | 1.98 | 6.59 | 1.72 | 5.75 | 4.52 | 15.1 | 5.13 | 17.09 | 3.44 | 11.5 | 2.21 | 7.38 |
|  | TMP | 0.80 | 2.67 | 0.77 | 2.57 | 0.93 | 3.10 | 0.97 | 3.22 | 0.24 | 0.81 | 0.30 | 0.99 |
|  | aSDZ | 0.11 | 0.37 | 0.10 | 0.34 | 0.20 | 0.68 | 0.23 | 0.77 | - | - | 0.02 | 0.06 |
|  | aSPY | 0.85 | 2.83 | 0.76 | 2.55 | 1.50 | 5.01 | 1.35 | 4.51 | - | - | 0.12 | 0.41 |
|  | aSMX | 0.11 | 0.35 | 0.09 | 0.31 | 0.18 | 0.61 | 0.20 | 0.66 | - | - | - | - |
|  | hTMP | 0.03 | 0.09 | 0.02 | 0.05 | 0.03 | 0.10 | 0.03 | 0.10 | - | - | - | - |
| Macrolide | AZM | - | - | 0.08 | 0.27 | 0.13 | 0.45 | - | - | - | - | - | - |
| & Lincomycin | ERY | 0.008 | 0.027 | 0.007 | 0.024 | 0.013 | 0.044 | 0.016 | 0.053 | - | - | 0.002 | 0.008 |
|  | CLR | 0.007 | 0.023 | 0.007 | 0.023 | 0.013 | 0.044 | 0.014 | 0.046 | 0.003 | 0.011 | 0.003 | 0.009 |
|  | CLI | 0.63 | 2.09 | 0.74 | 2.46 | 1.22 | 4.05 | - | - | - | - | 0.15 | 0.49 |
|  | dmAZM | - | - | 1.59 | 5.31 | 3.09 | 10.3 | - | - | - | - | 6.28 | 20.9 |
|  | dmERY | 0.01 | 0.04 | 0.01 | 0.04 | 0.02 | 0.07 | 0.02 | 0.07 | - | - | 0.003 | 0.012 |
|  | dmCLR | 0.03 | 0.09 | 0.03 | 0.11 | 0.06 | 0.20 | 0.07 | 0.25 | 0.03 | 0.09 | 0.01 | 0.03 |
|  | dmCLI | 0.007 | 0.023 | 0.005 | 0.017 | 0.015 | 0.051 | - | - | - | - | - | - |
| β-LACTAMS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Penicillin | AMX | 8.46 | 28.2 | 17.7 | 59.0 | 267 | 890 | - | - | - | - | - | - |
|  | AMP | 10.4 | 34.6 | 10.3 | 34.2 | 157 | 524 | 55.6 | 185 | 4.26 | 14.2 | 11.0 | 36.6 |
|  | FLX | 0.68 | 2.26 | - | - | 1.46 | 4.86 | 1.63 | 5.45 | 1.21 | 4.04 | - | - |
|  | PenG | 0.80 | 2.67 | 0.59 | 1.97 | 1.44 | 4.82 | 5.47 | 18.2 | 2.49 | 8.31 | 0.45 | 1.50 |
|  | PenV | 14.3 | 47.5 | 19.6 | 65.4 | 28.0 | 93.2 | 81.3 | 271 | - | - | 7.83 | 26.1 |
|  | AMXa | 445 | 1482 | 96.7 | 322 | 41.5 | 138 | 146 | 488 | - | - | - | - |
|  | AMPa | 16.2 | 53.9 | 6.54 | 21.8 | 23.9 | 79.6 | 31.8 | 106 | 3.39 | 11.3 | - | - |
|  | PenGa | 0.86 | 2.86 | 5.76 | 19.21 | 8.07 | 26.9 | 15.4 | 51.5 | - | - | 83.3 | 278 |
| Cefalosporin | LEX | 2.80 | 9.34 | 1.84 | 6.14 | 7.20 | 24.0 | 5.91 | 19.7 | - | - | - | - |
|  | CFM | 8.87 | 29.6 | 6.65 | 22.2 | - | - | 13.2 | 44.0 | 4.39 | 14.6 | 4.21 | 14.0 |
|  | CTF | 0.81 | 2.69 | 0.72 | 2.41 | 1.38 | 4.59 | - | - | - | - | 12.7 | 42.4 |
|  | CRO | - | - | 39.1 | 130 | 68.2 | 227 | 48.4 | 161 | - | - | - | - |
| Monobactam | ATM | 14.0 | 46.6 | - | - | - | - | - | - | 0.49 | 1.65 | 1.00 | 3.32 |
| Carbapenem | IPM | - | - | - | - | - | - | - | - | - | - | - | - |
|  | MEM | - | - | - | - | - | - | - | - | - | - | - | - |
| Quinolone | BSF | - | - | 4.05 | 13.5 | 5.83 | 19.4 | 3.15 | 10.5 | - | - | 8.21 | 27.4 |
|  | CIP | 0.95 | 3.18 | 0.72 | 2.39 | 1.70 | 5.65 | 1.13 | 3.77 | - | - | 0.39 | 1.31 |
|  | DFX | 9.26 | 30.9 | 8.03 | 26.8 | 15.6 | 52.0 | 13.9 | 46.3 | 3.56 | 11.9 | 11.3 | 37.8 |
|  | ENR | 0.12 | 0.40 | 0.09 | 0.31 | 0.23 | 0.76 | 0.25 | 0.82 | 0.04 | 0.14 | 0.12 | 0.40 |
|  | FLU | 0.02 | 0.05 | 0.01 | 0.05 | 0.03 | 0.11 | 0.03 | 0.10 | 0.005 | 0.017 | 0.007 | 0.023 |
|  | GAT | 0.01 | 0.04 | 0.01 | 0.05 | 0.03 | 0.09 | 0.03 | 0.09 | 0.004 | 0.015 | 0.004 | 0.015 |
|  | LOM | 0.13 | 0.43 | 0.12 | 0.39 | 0.23 | 0.76 | 0.28 | 0.95 | 0.05 | 0.15 | 0.04 | 0.14 |
|  | MXF | 3.15 | 10.5 | 1.67 | 5.56 | 3.19 | 10.6 | 3.04 | 10.1 | 0.51 | 1.70 | 0.46 | 1.53 |
|  | NAD | 1.62 | 5.39 | 1.59 | 5.31 | 2.23 | 7.42 | 2.68 | 8.92 | 4.24 | 14.14 | 0.51 | 1.72 |
|  | NAL | 0.01 | 0.04 | 0.01 | 0.04 | 0.03 | 0.09 | 0.03 | 0.11 | - | - | 0.01 | 0.02 |
|  | NOR | 0.015 | 0.051 | 0.012 | 0.040 | 0.025 | 0.084 | 0.021 | 0.069 | 0.005 | 0.018 | 0.006 | 0.021 |
|  | OFX | 0.15 | 0.52 | 0.16 | 0.53 | 0.33 | 1.12 | 0.41 | 1.37 | 0.04 | 0.13 | 0.08 | 0.28 |
|  | PFLX | 1.90 | 6.32 | 1.06 | 3.52 | - | - | 1.78 | 5.95 | - | - | - | - |
|  | SRF | - | - | 0.75 | 2.50 | 1.49 | 4.98 | 1.50 | 5.01 | 0.33 | 1.11 | 0.37 | 1.23 |
|  | deCIP | - | - | 1.01 | 3.38 | 2.07 | 6.91 | 1.44 | 4.82 | 0.78 | 2.61 | 1.08 | 3.59 |
|  | hNOR | - | - | 34.6 | 115 | - | - | 38.6 | 129 | - | - | - | - |
|  | OFXo | 12.8 | 42.6 | 12.1 | 40.4 | 37.7 | 126 | 36.5 | 122 | - | - | 22.4 | 74.6 |
|  | dmOFX | 0.58 | 1.92 | 0.54 | 1.80 | 1.25 | 4.16 | 1.34 | 4.45 | 0.21 | 0.71 | 0.22 | 0.74 |
|  | UFX | 12.4 | 41.4 | 7.93 | 26.4 | 12.6 | 42.1 | 11.4 | 38.1 | 2.62 | 8.73 | 3.43 | 11.4 |
| TB DRUGS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TB (1st line) | INH | 0.63 | 2.09 | - | - | - | - | 1.52 | 5.06 | - | - | 23.4 | 78.0 |
|  | PZA | 90.9 | 303 | 117 | 390 | - | - | - | - | 1.88 | 6.27 | 5.15 | 17.2 |
|  | EMB | 0.06 | 0.20 | 0.03 | 0.11 | 0.10 | 0.33 | 0.13 | 0.42 | 0.09 | 0.29 | 1.25 | 4.18 |
|  | RMP | 2.44 | 8.12 | 2.33 | 7.77 | 5.35 | 17.8 | - | - | - | - | 2.98 | 9.92 |
|  | RFB | 0.94 | 3.13 | 0.66 | 2.18 | 1.37 | 4.58 | 1.68 | 5.62 | 0.37 | 1.24 | 0.31 | 1.03 |
|  | INa | 2.34 | 7.79 | 1.81 | 6.03 | 2.09 | 6.97 | 7.20 | 24.0 | - | - | 1.42 | 4.73 |
|  | aINH | 0.77 | 2.56 | 1.11 | 3.72 | 1.76 | 5.86 | 3.58 | 11.9 | 0.58 | 1.94 | 0.23 | 0.76 |
|  | hPZA | - | - | - | - | - | - | - | - | - | - | - | - |
|  | daRMP | 9.57 | 31.9 | 8.19 | 27.3 | - | - | 15.0 | 50.0 | - | - | - | - |
|  | daRFB | 0.18 | 0.60 | 0.18 | 0.59 | - | - | 0.33 | 1.11 | - | - | 0.06 | 0.20 |
| TB (MDR) | CAPIa | - | - | 223 | 742 | 22652 | 75508 | 4528 | 15094 | - | - | - | - |
|  | CAPIb | - | - | 216 | 720 | 5013 | 16709 | - | - | - | - | - | - |
|  | GEN1 | - | - | - | - | 140 | 466 | - | - | - | - | - | - |
|  | GEN1a | - | - | 389 | 1296 | - | - | - | - | - | - | - | - |
|  | GEN2 | - | - | 153 | 511 | 317 | 1056 | - | - | - | - | - | - |
|  | KAN | 439 | 1462 | 456 | 1519 | 693 | 2311 | - | - | - | - | - | - |
|  | STR | 238 | 794 | 248 | 828 | 518 | 1725 | 2650 | 8835 | - | - | - | - |
|  | DCS | - | - | - | - | - | - | - | - | - | - | - | - |
| Table S9 continued |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # | Abbrev | MilliQ water |  | River water |  | Effluent WW |  | Influent WW |  | Influent SPM |  | River sediment |  |
| TB (other) | DMD | - | - | 1.49 | 4.96 | 1.03 | 3.42 | - | - | 0.35 | 1.18 | 0.44 | 1.45 |
|  | BDQ | - | - | 7.85 | 26.2 | 9.47 | 31.6 | - | - | - | - | - | - |
|  | LZD | 0.14 | 0.47 | 0.14 | 0.48 | 0.33 | 1.09 | 0.27 | 0.89 | 0.04 | 0.13 | 0.04 | 0.14 |
|  | THAL | 1.63 | 5.42 | 1.28 | 4.25 | 2.31 | 7.70 | 3.48 | 11.60 | 0.35 | 1.15 | 0.35 | 1.18 |
| OTHER |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Amphenicol | CHL | 0.72 | 2.40 | 0.63 | 2.11 | 1.31 | 4.38 | 1.31 | 4.35 | 0.70 | 2.33 | 0.28 | 0.93 |
|  | FLO | 11.2 | 37.2 | 10.4 | 34.8 | 22.2 | 74.0 | 21.9 | 73.1 | 4.60 | 15.3 | 3.38 | 11.3 |
|  | ANP | 18.3 | 61.1 | 14.4 | 48.1 | 60.1 | 200 | 42.3 | 141 | 1.26 | 4.20 | 2.65 | 8.83 |
| Cycline | DOX | 1.95 | 6.50 | 2.56 | 8.53 | 5.38 | 17.9 | 12.7 | 42.2 | - | - | 13.0 | 43.4 |
|  | OTC | 1.72 | 5.72 | 1.82 | 6.08 | 6.64 | 22.1 | 6.35 | 21.2 | 8.00 | 26.7 | 13.7 | 45.7 |
|  | TET | 1.03 | 3.44 | 1.15 | 3.82 | 1.33 | 4.43 | 1.70 | 5.66 | 1.57 | 5.24 | - | - |
| Nitrofuran | NIT | 1.71 | 5.68 | 1.61 | 5.37 | 2.36 | 7.87 | 3.46 | 11.54 | 2.54 | 8.48 | 3.20 | 10.65 |
|  | NPAHD | 0.15 | 0.52 | 0.19 | 0.62 | 0.44 | 1.46 | 0.35 | 1.18 | 0.13 | 0.42 | 0.07 | 0.25 |
| Azole | MTZ | 0.13 | 0.44 | 0.13 | 0.43 | 0.26 | 0.88 | 0.27 | 0.91 | 0.05 | 0.16 | 0.05 | 0.15 |
|  | KTC | 0.03 | 0.09 | 0.04 | 0.14 | 0.07 | 0.24 | 0.03 | 0.10 | - | - | 0.01 | 0.04 |
|  | hMTZ | 0.75 | 2.51 | 0.73 | 2.43 | 0.50 | 1.67 | 1.01 | 3.38 | 0.19 | 0.64 | - | - |
|  | daKTC | 1.92 | 6.41 | - | - | 4.15 | 13.8 | - | - | - | - | - | - |
| ARV | FTC | 0.89 | 2.97 | 0.74 | 2.48 | 1.61 | 5.36 | 1.57 | 5.24 | 0.17 | 0.56 | 0.27 | 0.89 |
|  | 3TC | 4.13 | 13.8 | 3.56 | 11.9 | 4.22 | 14.1 | 9.51 | 31.7 | - | - | - | - |
| Grey text indicates method limits calculated from matrix recoveries of <15% |  |  |  |  |  |  |  |  |  |  |  |  |  |

Figure S1 Three weighting schemes evaluated via percentage error across the full range, an example using azithromycin. No weighting x (blue); weighting 1/x (grey); weighting 1/x2 (orange); 15 % maximum error is marked as the FDA's guideline for validation of bioanalytical methods. The origin has been enlarged for clarity.

Figure S2 Example of split calibration ranges with an emphasis on accuracy near the origin (region enlarged), an example using erythromycin. First range (0.005-200 µg L-1, r2 0.998, orange); second range (200-1000 µg L-1, r2 0.995, grey); third range (1000-3000 µg L-1, r2 0.996, blue). Trend lines were extrapolated forwards to exhibit the decrease in gradient as the concentration approached instrument saturation.

Figure S3 Overlaid chromatograms, scaled by relative intensity, highlighting regions by chemical class (A-I). Vertically: overlaid extracted ion chromatograms (EICs), sorted by chemical class. Aminoglycosides (A); TB drugs early-eluting (B); cephalosporins and carbapenems (C); ARVs, azoles, nitrofurans, cyclines, amphenicols (D); sulfonamides (E); penicillins (F), quinolones (G); TB drugs late-eluting (H); macrolides and lincomycins (I). Horizontally: matrix effect of spiked wastewater influent (INF) and suspended particulate matter via microwave assisted extraction (MAE); compared to a mobile phase quality control (QC). The EICs displayed have not been smoothed, contrary to the method.

Figure S4 Overlaid chromatograms, scaled by relative intensity, highlighting regions by chemical class (A-I). Vertically: overlaid extracted ion chromatograms (EICs), sorted by chemical class. Aminoglycosides (A); TB drugs early-eluting (B); cephalosporins and carbapenems (C); ARVs, azoles, nitrofurans, cyclines, amphenicols (D); sulfonamides (E); penicillins (F); fluoroquinolones (G); TB drugs late-eluting (H); macrolides and lincomycins (I). Horizontally: extraction method efficacy for activated sludge, comparing microwave assisted extraction (MAE), and ultra-sonication assisted extraction (UAE). The EICs displayed have not been smoothed, contrary to the method.

| Table S10 Compound structural information, grouped by drug class and corresponding drug metabolites (9 pages) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Chemical group | Compound | Formula | Monoisotopic mass | R1 | R2 | R3 | R4 |  |
| PENICILLINS | Amoxicillin | C16H19N3O5S | 365.1045 | phenol | NH2 |  |  |  |
|  | Ampicillin | C16H19N3O4S | 349.1096 | phenyl | NH2 |  |  |  |
|  | Flucloxacillin | C19H17ClFN3O5S | 453.0561 |  | [See R1] |  |  |  |
|  | Penicillin G | C16H18N2O4S | 334.0987 | phenyl | H |  |  |  |
|  | Penicillin V | C16H18N2O5S | 350.0936 | phenoxymethyl | H |  |  |  |
| PENICILLIN METABOLITES | Amoxicilloic acid | C16H21N3O6S | 383.1151 | As amoxicillin | As amoxicillin | COOH |  |  |
|  | Ampicilloic acid | C16H21N3O5S | 367.1202 | As ampicillin | As ampicillin | COOH |  |  |
|  | Penicilloic G acid | C16H20N2O5S | 352.1093 | As penicillin G | As penicillin G | COOH |  |  |
| CEPHALOSPORINS | Cefaclor ≠ | C15H14ClN3O4S | 367.0394 | amine | phenyl | H | Cl |  |
|  | Cefalexin | C16H17N3O4S | 347.0940 | amine | phenyl | H | CH3 |  |
|  | Cefixime | C16H15N5O7S2 | 453.0413 | aminothiazole |  | H | ethane |  |
|  | Cefoxitin ≠ | C16H17N3O7S2 | 427.0508 | aminothiazole | H | methoxy | methylcarbamate |  |
|  | Ceftazidime ≠ | C22H22N6O7S2 | 546.0991 | aminothiazole |  | H | CH3-pyridine |  |
|  | Ceftiofur | ‎C19H17N5O7S3 | 523.0290 | aminothiazole |  | H |  |  |
|  | Ceftriaxone | C18H18N8O7S3 | 554.0461 | aminothiazole |  | H |  |  |

| Chemical group | Compound | Formula | Monoisotopic mass | R1 | R2 | R3 | R4 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ISONIAZID & METABOLITES | Isoniazid | C6H7N3O | 137.0589 | hydrazine |  |  |  |
|  | Isoniazid acetyl | C8H9N3O2 | 179.0695 | hydrazine-acetyl |  |  |  |
|  | Isonicotinic acid | C6H5NO2 | 123.0320 | OH |  |  |  |
| PYRAZINAMIDE & METABOLITES | Pyrazinamide | C5H5N3O | 123.0433 | amide | H |  | Prodrug |
|  | Pyrazinoic acid ≠ | C5H4N2O2 | 124.0273 | amide | ketone |  | Active metabolite |
|  | Pyrazinoic acid 5-hydroxy | C5H4N2O3 | 140.0222 | carboxylic acid | H |  |  |
| RIFAMYCINS | Rifabutin | C46H62N4O11 | 846.4415 |  | [See R1] | ketone | acetoxy |
|  | Rifampicin | C43H58N4O12 | 822.4051 | OH |  | OH | acetoxy |
| RIFAMYCIN METABOLITES | Rifabutin 25-O-desacetyl | C44H60N4O10 | 804.4309 | As rifabutin | As rifabutin | As rifabutin | methoxy |
|  | Rifampicin 25-desacetyl | C41H56N4O11 | 780.3946 | As rifampicin | As rifampicin | As rifampicin | methoxy |
| TERIZIDONE & METABOLITE | Terizidone ≠ | C14H14N4O4 | 302.1015 | Whole structure (Ph = 1,4-phenyl) |  | Prodrug |  |
|  | Cycloserine | C3H6N2O2 | 102.0429 | Amino isoxazolidinone group (blue) |  | Active metabolite |  |

| Chemical group | Compound | Formula |  |  | Monoisotopic mass |  |  | R1 |  |  | R2 |  | R3 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| IMIDAZOLES | Ketoconazole |  | C26H28Cl2N4O4 | 530.1488 |  |  |  |  |  |  |  |  |  | R1 = acetyl |  |  |  |  |  |  |  |
|  | Metronidazole |  | C6H9N3O3 | 171.0644 |  |  |  |  |  |  |  |  |  | R1 = CH3 |  |  |  |  |  |  |  |
| IMIDAZOLE METABOLITES | Ketoconazole deacetyl |  | C24H26Cl2N4O3 | 488.1382 |  |  |  |  | As ketoconazole |  |  |  |  | R1 = H |  |  |  |  |  |  |  |
|  | Metronidazole hydroxy |  | C6H9N3O4 | 187.0593 |  |  |  |  | As metronidazole |  |  |  |  | R1 = ethanol |  |  |  |  |  |  |  |
| TETRACYCLINES | Doxycycline | C22H24N2O8 |  |  |  | 444.1533 | H |  |  | CH3 |  | OH |  |  |  |  |  |  |  |  |
|  | Minocycline ≠ | C23H27N3O7 |  |  |  | 457.1849 | N(CH3)2 |  |  | H |  | H |  |  |  |  |  |  |  |  |
|  | Oxytetracycline | C22H24N2O9 |  |  |  | 460.1482 | H |  |  | OH |  | OH |  |  |  |  |  |  |  |  |
|  | Tetracycline | C22H24N2O8 |  |  |  | 444.1533 | H |  |  | OH |  | H |  |  |  |  |  |  |  |  |
| NITROFURANTOIN | Nitrofurantoin | C8H6N4O5 |  |  |  | 238.0338 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NITROFURANTOIN METABOLITE | NP-AHD | C10H8N4O4 |  |  |  | 248.0546 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Chemical group | Compound | Formula |  |  | Monoisotopic mass |  |  | R1 |  |  | R2 |  | R3 |  |  |  |  |  |
| FLUOROQUINOLONES | Besifloxacin | C19H21ClFN3O3 |  |  | 393.1255 |  |  | cyclopropane |  |  | Cl |  | aminoazepane |  |  |  |  |  |
|  | Ciprofloxacin | C17H18FN3O3 |  |  | 331.1332 |  |  | cyclopropane |  |  | H |  | piperazine |  |  |  |  |
|  | Danofloxacin | C19H20FN3O3 |  |  | 357.1489 |  |  | cyclopropane |  |  | H |  |  |  |  |  |  |  |
|  | Enrofloxacin | C19H22FN3O3 |  |  | 359.1645 |  |  | cyclopropane |  |  | H |  | ethylpiperazine |  |  |  |  |  |
|  | Flumequine | C14H12FNO3 |  |  | 261.0801 |  |  | methylpiperadine |  |  | [See R1] |  | H |  |  |  |  |  |
|  | Gatifloxacin | C19H22FN3O4 |  |  | 375.1594 |  |  | cyclopropane |  |  | methoxy |  | methylpiperazine |  |  |  |  |  |
|  | Lomefloxacin | C17H19F2N3O3 |  |  | 351.1394 |  |  | ethyl |  |  | F |  | methylpiperazine |  |  |  |  |  |
|  | Moxifloxacin | C21H24FN3O4 |  |  | 401.1751 |  |  | cyclopropane |  |  | methoxy |  |  |  |  |  |  |  |
|  | Nadifloxacin | C19H21FN2O4 |  |  | 360.1485 |  |  | methylpiperadine |  |  | [See R1] |  | 4-hydroxypiperadine |  |  |  |  |  |
|  | Nalidixic acid | C12H12N2O3 |  |  | 232.0848 |  |  | pictured (left) |  |  |  |  |  |  |  |  |  |  |
|  | Norfloxacin | C16H18FN3O3 |  |  | 319.1332 |  |  | ethyl |  |  | H |  | Piperazine |  |  |  |  |  |
|  | Ofloxacin | C18H20FN3O4 |  |  | 361.1438 |  |  | methylmorpholine |  |  | [See R1] |  | N-methylpiperazine |  |  |  |  |  |
|  | Prulifloxacin | C21H20FN3O6S |  |  | 461.1057 |  |  |  |  |  | H |  |  |  |  |  |  |  |
|  | Sarafloxacin | C20H17F2N3O3 |  |  | 385.1238 |  |  | fluorobenzene |  |  | H |  | piperazine |  |  |  |  |  |
|  | Ulifloxacin | C16H16FN3O3S |  |  | 349.0896 |  |  |  |  |  | H |  | piperazine |  |  |  |  |  |
| FLUOROQUINOLONE METABOLITES | Ciprofloxacin desethylene- | C15H16FN3O3 |  |  | 305.1176 |  |  | As ciprofloxacin |  |  | As ciprofloxacin |  | diaminoethane |  |  |  |  |  |
|  | Ciprofloxacin | C17H18FN3O3 |  |  | 331.1332 |  |  | As above |  |  | As above |  | As above |  |  | Enrofloxacin metabolite |  |  |
|  | Ofloxacin desmethyl- | C17H18FN3O4 |  |  | 347.1281 |  |  | As ofloxacin |  |  | As ofloxacin |  | piperazine |  |  |  |  |  |
|  | Ofloxacin N-oxide | C18H20FN3O5 |  |  | 377.1387 |  |  | N-oxide methylmorpholine |  |  | As ofloxacin |  | As ofloxacin |  |  |  |  |  |
|  | Ulifloxacin | C16H16FN3O3S |  |  | 349.0896 |  |  | As above |  |  | As above |  | As above |  |  | Prulifloxacin metabolite |  |  |
|  | Norfloxacin N-hydroxy | C16H18FN3O4 |  |  | 335.1281 |  |  | As norfloxacin |  |  | As norfloxacin |  | N-hydroxy Piperazine |  |  |  |  |  |
| Group | Compound | Formula |  |  | Monoisotopic mass |  |  | R1 |  |  | R2 |  | R3 |  |  |  |  |  |
| SULFONAMIDES | Sulfadiazine | C10H10N4O2S |  |  | 250.0524 |  |  | NH2 |  |  | 1,3-diazine |  |  |  |  |  |  |  |
|  | Sulfamethoxazole | C10H11N3O3S |  |  | 253.0521 |  |  | NH2 |  |  | isoxazole |  |  |  |  |  |  |  |
|  | Sulfapyridine | C11H11N3O2S |  |  | 249.0572 |  |  | NH2 |  |  | pyridine |  |  |  |  |  |  |  |
|  | Sulfasalazine | C18H14N4O5S |  |  | 398.0685 |  |  |  |  |  | pyridine |  |  |  |  | Prodrug |  |  |
| SULFONAMIDE METABOLTES | Sulfadiazine N-acetyl | C12H12N4O3S |  |  | 292.0630 |  |  | N-acetyl |  |  | As sulfadiazine |  |  |  |  |  |  |  |
|  | Sulfamethoxazole N-acetyl | C12H13N3O4S |  |  | 295.0627 |  |  | N-acetyl |  |  | As sulfamethoxazole |  |  |  |  |  |  |  |
|  | Sulfapyridine N-acetyl | C13H13N3O3S |  |  | 291.0678 |  |  | N-acetyl |  |  | As sulfapyridine |  |  |  |  |  |  |  |
|  | Sulfapyridine | C11H11N3O2S |  |  | 249.0572 |  |  | As above |  |  | As above |  | Sulfasalazine active metabolite |  |  |  |  |  |  |
| TRIMETHOPRIM & METABOLITES | Trimethoprim | C14H18N4O3 |  |  | 290.1379 |  |  | H |  |  |  |  |  |  |  |  |  |  |
|  | Trimethoprim 4-hydroxy | C14H18N4O4 |  |  | 306.1328 |  |  | OH |  |  |  |  |  |  |  |  |  |  |

| Group | Compound | Formula | Monoisotopic mass | R1 | R2 | R3 |  | R4 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| AMPHENICOLS | Chloramphenicol | C11H12Cl2N2O5 | 322.0123 | NO2 | methanol |  |  |  |  |
|  | Florfenicol | C12H14Cl2FNO4S | 357.0005 | methyl sulfone | CH3F |  |  |  |  |
| AMPHENICOL METABOLITES | S,S-ANP | C9H12N2O4 | 212.0797 | As chloramphenicol | As chloramphenicol | NH2 |  |  |  |
| ANTIRETROVIRALS | Emtricitabine | C8H10FN3O3S | 247.0427 | F |  |  |  |  |  |
|  | Lamivudine | C8H11N3O3S | 229.0521 | H |  |  |  |  |  |
| POLYMYXINS & METABOLITES | Colistimethate ≠ | C53H102N16O16S | 1250.7380 |  |  |  | Prodrug |  |
|  | Colistin A ≠ Colistin B ≠ | C53H100N16O13 C52H98N16O13 | 1168.7656 1154.7499 | R1 = CH3 R1 = H |  |  | Active metabolite |  |

| Group | Compound | Formula | Monoisotopic mass | Aglycone ring | Aglycone ring | Amino sugar (R1) | Sugar (R2) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| MACROLIDES | Azithromycin A Azithromycin B ¥ | C38H72N2O12 C38H72N2O11 | 748.5085 732.5136 | 15-membered C22H41NO5 |  |  |  |
| e.g. Clarithromycin | Clarithromycin | C38H69NO13 | 747.4769 | 14-membered C22H38O6 |  |  |  |
|  | Erythromycin A Erythromycin B ¥ Erythromycin C ¥ Erythromycin D ¥ | C37H67NO13 C37H67NO12 C36H65NO13 C36H65NO12 | 733.4612 717.4663 719.4456 703.4507 | 14-membered C21H37O6 |  |  |  |
|  | Tylosin ≠ | C46H77NO17 | 915.5192 | 16-membered C23H34O5 |  |  |  |
| MACROLIDE METABOLITES | Azithromycin A N’-desmethyl | C37H70N2O12 | 734.4929 | As azithromycin | As azithromycin | N-desmethyl sugar | As azithromycin |
|  | Clarithromycin N-desmethyl | C37H67NO13 | 733.4612 | As clarithromycin | As clarithromycin | N-desmethyl sugar | As clarithromycin |
|  | Erythromycin A N-desmethyl | C36H65NO13 | 719.4456 | As erythromycin | As erythromycin | N-desmethyl sugar | As erythromycin |

| Group | Compound | Formula | Monoisotopic mass | R1 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| LINCOSAMIDES & METABOLITES | Clindamycin A Clindamycin B ¥ | C18H33ClN2O5S C17H31ClN2O5S | 424.1799 410.1642 | CH3 H |  |  |  |
|  | Clindamycin A N-desmethyl | C17H31ClN2O5S | 410.1642 | H |  |  |  |
| MONOBACTAMS | Aztreonam | C13H17N5O8S2 | 435.0519 |  |  |  |  |
| CARBPENEMS | Meropenem | C17H25N3O5S | 383.1515 |  |  |  |  |
|  | Imipenem | C12H17N3O4S | 299.0940 |  |  |  |  |
| THALIDOMIDE | Thalidomide | C13H10N2O4 | 258.0641 |  |  |  |  |

| Group | Compound info | Group | Compound info | Group | Compound info |
| --- | --- | --- | --- | --- | --- |
| AMINOGLYCOSIDES |  |  |  |  |  |
|  | Amikacin ≠ C22H43N5O13 M.M. = 585.2857 |  | Capreomycin Ia C25H44N14O8 M.M. = 668.3467 Capreomycin Ib C25H44N14O7 M.M. = 652.3517 |  | Gentamicin C1 R1, R2, R3 = Me, H, Me C21H43N5O7: 477.3162 Gentamicin C1a R1, R2, R3 = H, H, H C19H39N5O7: 449.2849 Gentamicin C2 R1, R2, R3 = Me, H, H C20H41N5O7: 463.3006 Gentamicin C2a R1, R2, R3 = H, Me, H C20H41N5O7: 463.3006 Gentamicin C2b R1, R2, R3 = H, H, Me C20H41N5O7: 463.3006 |
|  | Kanamycin A (&C) C18H36N4O11 M.M. = 484.2381 B: C18H37N5O10 ¥ M.M. = 483.2540 D&X: C18H35N3O12 ¥ M.M. = 485.2221 |  | Streptomycin A C21H39N7O12 M.M. = 581.2657 Streptomycin B ¥ C27H49N7O17 M.M. = 743.3185 |  |  |
| TUBERCULOSIS DRUGS |  |  |  |  |  |
|  | Bedaquiline C32H31BrN2O2 M.M. = 554.1569 |  | Clofazimine ≠ C27H22Cl2N4 M.M. = 472.1222 Prodrug | Delamanid C25H25F3N4O6 M.M. = 534.1726 Delamanid C25H25F3N4O6 M.M. = 534.1726 |  |
|  | Ethambutol C10H24N2O2 M.M. = 204.1838 |  | Linezolid C16H20FN3O4 M.M. = 337.1438 |  |  |

≠ excluded from method; ¥ compound form not analysed, but accounted for in calculations (compound structures display major form only)

Ph = phenyl group; M.M. = Monoisotopic mass; ANP = 2-Amino-1-(4-nitrophenyl)-1,3-propanediol; NP-AHD = 1-[[(2-Nitrophenyl)methylene]amino]-2,4-imidazolidinedione

….