Supporting Information

# Point-of-care human milk testing for maternal secretor status

Author names and affiliation: Saeromi Chung a, Lars Bode b, Drew A. Hall a,c,*

a Department of Electrical and Computer Engineering, University of California – San Diego, La Jolla, CA 92093, USA

b Department of Pediatrics and Mother-Milk-Infant Center of Research Excellence (MOMI CORE), University of California – San Diego, La Jolla, CA 92093, USA

c Department of Bioengineering, University of California – San Diego, La Jolla, CA 92093, USA

* Corresponding author: drewhall@ucsd.edu

Figure S1. Optimization of experimental parameters. A. UEA immobilization time, B. 2’FL incubation time with 1.5µM 2’FL, and C. pH with 2.0µM 2’FL in 0.1 M PBS containing 5 mM Fe(CN)63-/4-.

Table S1. Comparison of concentration of banked samples (HPLC vs. EIS).

| Sample ID | EIS (µM) | HPLC (µM) | Secretor/non-secretor? | Prediction |
| --- | --- | --- | --- | --- |
| A | <330 | 5 | Non-secretor | Correct |
| B | 10129 | 11985 | Secretor | Correct |
| C | 7268 | 8197 | Secretor | Correct |
| D | 5323 | 4017 | Secretor | Correct |
| E | 10243 | 11378 | Secretor | Correct |
| F | <330 | 71 | Non-secretor | Correct |
| G | 8660 | 9159 | Secretor | Correct |
| H | 4894 | 4632 | Secretor | Correct |
| I | <330 | 34 | Non-secretor | Correct |
| J | 6126 | 7045 | Secretor | Correct |
| K | <330 | 5 | Non-secretor | Correct |
| L | 9484 | 9585 | Secretor | Correct |

Table S2. Cost analysis of proposed assay for 2’FL detection. All prices are from the published price on the vendor’s website in low quantity.

| Item |  | Unit Cost (USD) | Cost (USD)/batch (20×) |
| --- | --- | --- | --- |
| Top 5 reagents | Cys | $15/10g | $0.15 |
|  | UEA | $44.40/1mg | $0.44 |
|  | Glutaraldehyde | $20/10mL | $0.10 |
|  | 10% BSA | $24.20/10mL | $0.01 |
|  | NH4OH | $40/1L | $0.10 |
| Electrode | Au electrode | $350/75 | $50.00 |
|  |  | Cost per test | $2.50 |