Supplementary Information for

Metrological Framework to Support Accurate, Reliable, and Reproducible Nucleic Acids Measurements

Mojca Milavec1, Megan H. Cleveland2, Young-Kyung Bae3, Robert I. Wielgosz4, Maxim Vonsky5, Jim F. Huggett6,7

1 Department of Biotechnology and Systems Biology, National Institute of biology, Večna pot 111, 1000 Ljubljana, Slovenia

2 National Institute of Standards and Technology, 100 Bureau Drive, Gaithersburg, Maryland 20899, United States

3 Korea Research Institute of Standards and Science (KRISS), Daejeon, Republic of Korea

4 Bureau International des Poids et Mesures (BIPM), Pavillon de Breteuil , 92312 Sèvres Cedex, France

5 D.I. Mendeleev Institute for Metrology, Moskovsky pr., 19, Saint-Petersburg, 190005, Russian Federation

6 National Measurement Laboratory (NML), LGC, Queens Road, Teddington, Middlesex, TW11 0LY, United Kingdom

7 School of Biosciences & Medicine, Faculty of Health & Medical Science, University of Surrey, Guildford, United Kingdom

Corresponding author:

Mojca Milavec, Department of Biotechnology and Systems Biology, National Institute of biology, Večna pot 111, 1000 Ljubljana, mojca.milavec@nib.si

ORCHID ID

Mojca Milavec 0000-0002-5794-2109

Megan H. Cleveland 0000-0002-5584-9314

Young-Kyung Bae 0000-0001-5293-8752

Robert I. Wielgosz

Maxim Vonsky 0000-0003-4061-7411

Jim F. Huggett 0000-0002-0945-1911

Table of Contents

Table S1 Nucleic acid analysis interlaboratory comparisons in the field of health organized under CCQM NAWG and its predecessor CCQM BAWG. All conducted studies were combinations of Key Comparisons and  Pilot studies, as defined in the Measurement comparisons in the CIPM MRA, Guidelines for organizing, participating and reporting CIPM MRA-G-11 [1]	3

Table S3 Nucleic acid analysis interlaboratory comparisons in the field of health organized under CCQM NAWG and its predecessor CCQM BAWG. All conducted studies were Pilot studies, as defined in the Measurement comparisons in the CIPM MRA, Guidelines for organizing, participating and reporting CIPM MRA-G-11 [1]	4

References	6

# Table S1 Nucleic acid analysis interlaboratory comparisons in the field of health organized under CCQM NAWG and its predecessor CCQM BAWG. All conducted studies were combinations of Key Comparisons and  Pilot studies, as defined in the Measurement comparisons in the CIPM MRA, Guidelines for organizing, participating and reporting CIPM MRA-G-11 [1]

| Study ID | Title of the study | Coordinating Laboratory | Number of participants | Start year | Short description |
| --- | --- | --- | --- | --- | --- |
| CCQM-K86 and CCQM-P113.1 | Relative quantification of genomic DNA fragments extracted from a biological tissue | JRC | 13 | 2010 | Analytes: MON810 specific sequence and maize specific sequence Measurands: copy number concentration ratio of MON810 specific sequence and maize specific sequence Matrix: powdered seed Methods: DNA extraction, qPCR Status: Published [2] |
| CCQM-K86.b and CCQM-P113.3 | Relative quantification of Bt63 in GM rice matrix sample | NIMC/GLHK | 9 | 2015 | Analytes: Bt63-specific sequence and rice specific sequence REB4 Measurands: copy number concentration ratio of Bt63 specific sequence and rice specific sequence REB4 Matrix: rice powder Methods: DNA extraction, qPCR, dPCR Status: Published [3] |
| CCQM-K86.c and CCQM-P113.4 | Relative quantification of genomic DNA fragments extracted from high oil matrix (OSR/canola) | NRC/JRC | 12 | 2016 | Analytes: of DP-Ø73496-4 specific sequence, rapeseed FatA(A) specific sequence, GT73/RT73 specific sequence, rapeseed FatA specific sequence. Measurands: copy number concentration of DP-Ø73496-4 specific sequence and rapeseed specific sequence FatA(A) and their ratio and copy number concentration of GT73/RT73 specific sequence and rapeseed specific sequence FatA and their ratio Matrix: rapeseed powder Methods: DNA extraction, dPCR Status: Published [4] |
| CCQM-K86.d and CCQM-P113.5 | DNA Ratio in a High Protein Matrix: Relative quantification and fractional abundance of genomic DNA extracted from a biological tissue | NIMT/TUBITAK UME |  | 2021 | In progress |

# Table S3 Nucleic acid analysis interlaboratory comparisons in the field of health organized under CCQM NAWG and its predecessor CCQM BAWG. All conducted studies were Pilot studies, as defined in the Measurement comparisons in the CIPM MRA, Guidelines for organizing, participating and reporting CIPM MRA-G-11 [1]

| Study ID | Title of the study | Coordinating Laboratory | Number of participants | Start year | Short description |
| --- | --- | --- | --- | --- | --- |
| CCQM-P94 | Quantification of DNA methylation | KRISS | 5 | 2006 | Analyte: 100-bp PCR products with defined numbers of methyl cytosines Measurands: relative quantity of methylated cytosine bases in PCR products Matrix: buffered solution Methods: dNMPs following enzymatic hydrolysis of DNA (using HPLC/CE/Other) Status: Published [5] |
| CCQM-P103 | Quantification of RNA transcript | NML at LGC | 8 | 2007 | Analyte: ERCC 81 specific sequence Measurand: copy number concentration of ERCC 81 Matrix: buffered solution Method: RT-qPCR Status: Internal report |
| CCQM-P94.1 | Quantitative analysis of methylation status of CDKN2 A gene in genomic DNA matrix | KRISS | 6 | 2008 | Analyte: unmethylated and methylated CDKN2A (P16) Measurands: relative quantity of methylated cytosine bases in CDKN2 A gene Matrix: buffered solution Methods: CE, sequencing, HPLC, UPLC Status: Internal report |
| CCQM-103.1 | Measurement of multiple RNA transcripts | NML at LGC | 13 | 2011 | Analytes: ERCC -00013, -00025, -00042, -00099, -00113 and -00171; mRNA of matrix metallopeptidase 1, nestin and solute carrier family 1 (glial high affinity glutamate transporter) member 3 specific sequences. Measurands: copy number concentrations of ERCC -00013, -00025, -00042, -00099, -00113 and -00171; matrix metallopeptidase 1, nestin, and solute carrier family 1 (glial high affinity glutamate transporter) member 3 and their ratios Matrix: buffered solution Methods: RT-qPCR, RT-dPCR, RNA Seq Status: Published [6] |
| CCQM-P94.2 | Quantification of DNA methylation | KRISS |  | 2012 | Analyte: CDKN2 A gene Measurands: relative quantity of methylated cytosine bases in CDKN2 A gene Matrix: buffered solution Methods: liquid chromatography-isotope dilution mass spectrometry( HPLC-IDMS) and Sanger sequencing method( SS) Status: Internal report, publication in preparation |
| CCQM-P155 | Multiple cancer cell biomarker measurement | NML at LGC | 10 | 2015 | Analyte: KRT19 (Type I), Trefoil Factor 1, TATA Binding Protein mRNA specific sequences Measurands: copy number concentrations of breast cancer mRNA biomarkers (KRT19 (Type I) and Trefoil Factor 1) and mRNA of a reference gene TATA Binding Protein and their ratios Matrix: whole cell materials Methods: NA extraction, RT-qPCR, RT-dPCR Status: Internal report, publication in preparation |
| CCQM-P184 | Copy number concentration and fractional abundance of a mutation (SNV or INDEL) mixed with WT DNA | NMIA/NML at LGC | 12 | 2017 | Analytes: BRAF 1799A ,BRAF 1799T, EGFR exon 19 delta 746-750, EGFR specific sequences Measurands: copy number concentration of the BRAF single nucleotide variant 1799A and the BRAF reference sequence 1799T and their ratio; copy number concentration of human EGFR exon 19 deletion variant (delta746-750) and copy number concentration of human wild-type EGFR and their ratio Matrix: buffered solution Method: dPCR Status: Internal report in preparation |
| CCQM-P199 | Copy number concentration of HIV-1 RNA genomic sequences | NML at LGC/(NIBSC) | 13 | 2018 | Analytes: HIV-1 gag gene RNA specific sequence Measurand: copy number concentration of gag gene Matrix: buffered solution Methods: RT-dPCR, flow cytometry, isotope dilution mass spectrometry Status: Internal report in preparation |
| CCQM-P199b | Copy number concentration of SARS-CoV-2 RNA genomic sequences | NML at LGC/NIMC/NIBSC/NIST | 21 | 2020 | Analytes:SARS-CoV-2 N gene and E gene RNA specific sequences Measurands: copy number concentration of N and/or E gene Matrix: buffered solution Methods: RT-dPCR, flow cytometry, isotope dilution mass spectrometry Status: Internal report in preparation, preliminary data available [7] |

# References

1. 	CIPM MRA documents. https://www.bipm.org/en/cipm-mra/cipm-mra-documents. Accessed 20 Jun 2021

2. 	Corbisier P, Vincent S, Schimmel H, Kortekaas A-M, Trapmann S, Burns M, Bushell C, Akgoz M, Akyürek S, Dong L, Fu B, Zhang L, Wang J, Pérez Urquiza M, Bautista JL, Garibay A, Fuller B, Baoutina A, Partis L, Emslie K, Holden M, Chum WY, Kim H-H, Phunbua N, Milavec M, Zel J, Vonsky M, Konopelko LA, Lau TLT, Yang B, Hui MHK, Yu ACH, Viroonudomphol D, Prawettongsopon C, Wiangnon K, Takabatake R, Kitta K, Kawaharasaki M, Parkes H (2012) CCQM-K86/P113.1: Relative quantification of genomic DNA fragments extracted from a biological tissue. Metrologia 49:08002–08002 . https://doi.org/10.1088/0026-1394/49/1A/08002

3. 	Dong L, Sui Z, Wang J, Tang VHM, Chum WWY, Lee F, Sin DWM, Pérez–Urquiza M, Burns M, Ellison SLR, Parkes H, Milavec M, Prawettongsopon C, Griffiths KR, McLaughlin JLH, Shibayama S, Akyurek S, Akgoz M (2018) Final report for CCQM-K86.b relative quantification of Bt63 in GM rice matrix sample. Metrologia 55:8017 . https://doi.org/10.1088/0026-1394/55/1a/08017

4. 	Mester Z, Corbisier P, Ellison SLR, Gao Y, Niu C, Tang V, Lee F, Pérez-Urquiza M, Suárez AR, Burns M, Milavec M, Wiangnon K, Griffiths KR, McLaughlin JLH, Shibayama S, Takatsu A, Akgoz M, Vonsky M, Runov A, Guerrero JEL (2020) Final report of CCQM-K86.c. Relative quantification of genomic DNA fragments extracted from a biological tissue. Metrologia 57:08004–08004 . https://doi.org/10.1088/0026-1394/57/1A/08004

5. 	Yang I, Kim SK, Burke DG, Griffiths K, Kassir Z, Emslie KR, Gao Y, Wang J, Foy CA, Pardos-Pardos AC, Ellison S, Domann PJ, Fujii SI, Park SR (2009) An international comparability study on quantification of total methyl cytosine content. Anal Biochem 384:288–295 . https://doi.org/10.1016/j.ab.2008.09.036

6. 	Devonshire AS, Sanders R, Whale AS, Nixon GJ, Cowen S, Ellison SLR, Parkes H, Pine S, Salit M, McDaniel J, Munro S, Lund S, Matsukura S, Sekiguchi Y, Kawaharasaki M, Granjeiro JM, Falagan-Lotsch P, Saraiva AM, Couto P, Yang I, Kwon H, Park SR, Demšar T, Žel J, Blejec A, Milavec M, Dong L, Zhang L, Sui Z, Wang J, Viroonudomphol D, Prawettongsopon C, Partis L, Baoutina A, Emslie K, Takatsu A, Akyurek S, Akgoz M, Vonsky M, Konopelko L, Cundapi EM, Urquiza MP, Huggett JF, Foy CA (2016) An international comparability study on quantification of mRNA gene expression ratios: CCQM-P103.1. Biomol Detect Quantif 8:15–28 . https://doi.org/10.1016/j.bdq.2016.05.003

7. 	National Measurement Institutes demonstrate high accuracy reference measurement system for SARS-CoV-2 testing. https://www.bipm.org/en//-/2020-nmi-covid. Accessed 20 Jun 2021