Supplementary Material S1 for:

Comparative study for analysis of carbohydrates in biological samples

Martin Meyera,b, Lidia Monteroa,b, Sven W. Meckelmanna,b, Oliver J. Schmitza,b*

aApplied Analytical Chemistry, University of Duisburg-Essen, Universitaetsstrasse 5, Essen 45141, Germany

bTeaching and Research Center for Separation, University of Duisburg-Essen, Universitaetsstrasse 5, Essen 45141, Germany

*corresponding author

E-mail address: oliver.schmitz@uni-due.de

ORCID:

M. Meyer: 0000-0002-7360-1849

L. Montero: 0000-0001-5579-2883

S.W. Meckelmann: 0000-0002-0407-7879

O.J. Schmitz: 0000-0003-2184-1207

a

b

d

f

h

c

e

g

a

b

d

f

h

c

e

g

Figure S1: LODs and RSDs for separable carbohydrates with different chromatographic techniques coupled to mass spectrometry: SFC-MS (a, b), HILIC-MS (c, d), RP-LC-MS (e, f) and GC-MS (g, h); changing from Full MS to more selective MS methods, as SIM and MRM generally improved sensitivity in terms of limit of detection and the repeatability.

Figure S2: Sugar profiles of free sugars fraction of eight different herbal liquors determined by RP-LC-MS (n=3).

Figure S3: Sugar profiles of glycosidic bond sugars fraction of eight different herbal liquors determined by RP-LC-MS (n=3).

Table S1: Retention times, detected ions, and transitions of the screened carbohydrate standards (abbreviations abbr. and symbol nomenclature for glycans SNFG according to National Center for Biotechnology Information NCBI). The precursor ions also correspond to the detected (molecular ions) in full MS and SIM (n.s.=not separated, n.d.=not detected).

|  |  |  | SFC-MS |  |  | HILIC-MS |  |  | RP-LC-MS |  |  | GC-MS |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Carbohydrate | Abbr. | SNFG | RT [min] | Precursor ion [m/z] | Transition [m/z] | RT [min] | Precursor ion [m/z] | Transition [m/z] | RT [min] | Precursor ion [m/z] | Transition [m/z] | RT [min] | Precursor ion [m/z] | Transition [m/z] |
| 2-deoxy-D-glucose | 2dGlc |  | 5.2 | 187.1 | 187.1 | n.s. |  |  | 7.12 | 495.5 | 175.2 | 15.65 | 146.8 | 73.0 |
| 2-deoxy-D-ribose | dRib |  | n.s. |  |  | n.d. |  |  | 7.71 | 465.5 | 175.1 | 11.43 | 146.6 | 73.0 |
| D-galactosamine | GalN |  | n.s. |  |  | 5.24 | 178.1 | 89.0 | 4.91 | 510.5 | 175.1 | 15.54 | 146.7 | 73.0 |
| D-galactose | D-Gal |  | n.s. |  |  | n.s. | 179.1 | 89.0 | 5.29 | 511.1 | 175.1 | 18.19 | 146.7 | 73.0 |
| D-galacturonic acid | GalA |  | n.d. |  |  | 14.87 | 193.0 | 89.0 | 3.36 | 525.4 | 175.1 | 19.20 | 146.7 | 73.0 |
| D-glucosamine | GlcN |  | n.s. |  |  | 4.25 | 178.1 | 89.0 | 3.66 | 510.5 | 175.1 | 18.57 | 146.7 | 73.0 |
| D-glucose | D-Glc |  | 7.5 | 203.1 | 203.1 | 4.63 | 179.1 | 89.0 | 4.89 | 511.1 | 175.2 | 18.32 | 146.7 | 73.0 |
| D-glucuronic acid | GlcA |  | n.d. |  |  | 12.36 | 193.0 | 89.0 | 3.12 | 525.4 | 175.1 | 19.02 | 146.7 | 73.0 |
| D-mannose | D-Man |  | 6.7 | 203.1 | 203.1 | 4.12 | 179.1 | 89.0 | 2.70 | 511.1 | 175.1 | 18.10 | 146.7 | 73.0 |
| D-ribose | D-Rib |  | 4 | 173.0 | 173.0 | 1.73 | 149.0 | 89.0 | 3.31 | 481.5 | 175.1 | 13.87 | 102.8 | 73.0 |
| D-xylose | D-Xyl |  | n.s. |  |  | 2.37 | 149.0 | 89.0 | 5.59 | 481.4 | 175.2 | 13.43 | 102.8 | 73.0 |
| L-arabinose | L-Ara |  | n.s. |  |  | n.s. |  |  | n.s. |  | 175.1 | 13.56 | 102.8 | 73.0 |
| L-fucose | L-Fuc |  | n.s. |  |  | 2.19 | 163.1 | 89.0 | 6.48 | 495.5 | 175.1 | 14.78 | 116.8 | 73.0 |
| L-glucose | L-Glc |  | n.s. |  |  | n.s. |  |  | n.s. |  | 175.1 | n.s. |  |  |
| L-rhamnose | L-Rha |  | 4.7 | 187.1 | 187.1 | 1.73 | 163.1 | 89.0 | 3.71 | 495.5 | 175.1 | 14.63 | 116.8 | 73.0 |
| N-acetyl-D-galactosamine | GalNAc |  | n.s. |  |  | n.s. |  |  | 5.07 | 552.5 | 175.2 | n.d. |  |  |
| N-acetyl-D-glucosamine | GlcNAc |  | 8.9 | 244.1 | 244.1 | 3.13 | 220.1 | 89.0 | 4.4 | 552.5 | 175.0 | n.d. |  |  |

| Carbohydrate | Abbr. | SNFG | SFC Full MS |  |  |  | SFC SIM |  |  |  | SFC MRM |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | LOD [µmol/L] | LOQ [µmol/L] | r2 | mean RSD [%] | LOD [µmol/L] | LOQ [µmol/L] | r2 | mean RSD [%] | LOD [µmol/L] | LOQ [µmol/L] | r2 | mean RSD [%] |
| 2-deoxy-D-glucose | 2dGlc |  | 0.2 | 1 | 0.9876 | 4.5 | 0.1 | 0.5 | 0.9649 | 3.8 | 0.1 | 0.5 | 0.9742 | 5.7 |
| 2-deoxy-D-ribose | dRib |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| D-galactosamine | GalN |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| D-galactose | D-Gal |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| D-galacturonic acid | GalA |  | n.d. |  |  |  | n.d. |  |  |  | n.d. |  |  |  |
| D-glucosamine | GlcN |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| D-glucose | D-Glc |  | 0.5 | 2 | 0.9961 | 5.4 | 0.1 | 1 | 0.9406 | 2.9 | 0.1 | 1 | 0.9271 | 3.4 |
| D-glucuronic acid | GlcA |  | n.d. |  |  |  | n.d. |  |  |  | n.d. |  |  |  |
| D-mannose | D-Man |  | 0.5 | 2 | 0.9901 | 4.7 | 0.1 | 0.5 | 0.9438 | 4.0 | 0.2 | 1 | 0.9642 | 3.8 |
| D-ribose | D-Rib |  | 0.5 | 1 | 0.9921 | 3.0 | 0.2 | 1 | 0.9646 | 3.2 | 0.2 | 1 | 0.9803 | 3.5 |
| D-xylose | D-Xyl |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| L-arabinose | L-Ara |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| L-fucose | L-Fuc |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| L-glucose | L-Glc |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| L-rhamnose | L-Rha |  | 0.5 | 1 | 0.9943 | 2.7 | 0.5 | 1 | 0.9636 | 4.9 | 0.5 | 2 | 0.9896 | 3.5 |
| N-acetyl-D-galactosamine | GalNAc |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| N-acetyl-D-glucosamine | GlcNAc |  | 0.2 | 0.5 | 0.9961 | 3.4 | 0.1 | 0.5 | 0.9722 | 1.7 | 0.05 | 0.2 | 0.9788 | 2.3 |

Table S2: Analytical performance of SFC-MS in different scan modes (n.s.=not separated, n.d.=not detected). Non-separable and not detectable carbohydrate single standards (abbreviations abbr. and symbol nomenclature for glycans SNFG according to National Center for Biotechnology Information NCBI) were not included in the evaluation of the method performance afterwards.

| Carbohydrate | Abbr. | SNFG | HILIC Full MS |  |  |  | HILIC SIM |  |  |  | HILIC MRM |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | LOD [µmol/L] | LOQ [µmol/L] | r2 | mean RSD [%] | LOD [µmol/L] | LOQ [µmol/L] | r2 | mean RSD [%] | LOD [µmol/L] | LOQ [µmol/L] | r2 | mean RSD [%] |
| 2-deoxy-D-glucose | 2dGlc |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| 2-deoxy-D-ribose | dRib |  | n.d. |  |  |  | n.d. |  |  |  | n.d. |  |  |  |
| D-galactosamine | GalN |  | 20 | 40 | 0.4812 | 56.5 | 2 | 5 | 0.9792 | 1.3 | 5 | 10 | 0.9476 | 8.0 |
| D-galactose | D-Gal |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| D-galacturonic acid | GalA |  | 10 | 20 | 0.5072 | 64.3 | 5 | 10 | 0.9958 | 1.9 | 2 | 10 | 0.9891 | 4.7 |
| D-glucosamine | GlcN |  | 20 | 40 | 0.3991 | 70.3 | 10 | 40 | 0.8342 | 2.6 | 5 | 20 | 0.7415 | 8.6 |
| D-glucose | D-Glc |  | 2 | 5 | 0.7772 | 16.3 | 0.05 | 0.5 | 0.9441 | 4.4 | 0.1 | 0.2 | 0.9838 | 5.1 |
| D-glucuronic acid | GlcA |  | 10 | 10 | 0.5705 | 71.2 | 0.5 | 2 | 0.9898 | 2.9 | 0.5 | 1 | 0.9845 | 4.0 |
| D-mannose | D-Man |  | 5 | 20 | 0.7290 | 35.4 | 0.1 | 0.5 | 0.8493 | 7.1 | 0.1 | 0.2 | 0.4281 | 11.1 |
| D-ribose | D-Rib |  | 2 | 5 | 0.7397 | 22.4 | 0.5 | 2 | 0.9222 | 3.1 | 0.5 | 2 | 0.8846 | 7.3 |
| D-xylose | D-Xyl |  | 5 | 10 | 0.7371 | 28.2 | 0.01 | 0.5 | 0.9700 | 3.3 | 0.2 | 0.5 | 0.9517 | 5.0 |
| L-arabinose | L-Ara |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| L-fucose | L-Fuc |  | 10 | 40 | 0.796 | 30.9 | 0.5 | 5 | 0.9780 | 3.2 | 1 | 10 | 0.8612 | 3.9 |
| L-glucose | L-Glc |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| L-rhamnose | L-Rha |  | 30 | 60 | 0.7176 | 38.1 | 1 | 5 | 0.9492 | 3.3 | 1 | 40 | 0.5405 | 9.1 |
| N-acetyl-D-galactosamine | GalNAc |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| N-acetyl-D-glucosamine | GlcNAc |  | 0.5 | 2 | 0.8351 | 14.0 | 0.05 | 0.2 | 0.9288 | 4.1 | 0.05 | 0.1 | 0.9483 | 4.7 |

Table S3: Analytical performance of HILIC-MS in different scan modes (n.s.=not separated, n.d.=not detected). Non-separable and not detectable carbohydrate single standards (abbreviations abbr. and symbol nomenclature for glycans SNFG according to National Center for Biotechnology Information NCBI) were not included in the evaluation of the method performance afterwards.

| Carbohydrate | Abbr. | SNFG | RP-LC Full MS |  |  |  | RP-LC SIM |  |  |  | RP-LC MRM |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | LOD [µmol/L] | LOQ [µmol/L] | r2 | mean RSD [%] | LOD [µmol/L] | LOQ [µmol/L] | r2 | mean RSD [%] | LOD [µmol/L] | LOQ [µmol/L] | r2 | mean RSD [%] |
| 2-deoxy-D-glucose | 2dGlc |  | 1 | 5 | 0.9921 | 5.6 | 0.05 | 0.2 | 0.9989 | 3.0 | 0.05 | 0.2 | 0.9997 | 2.2 |
| 2-deoxy-D-ribose | dRib |  | 0.5 | 5 | 0.9942 | 3.6 | 0.05 | 0.2 | 0.9997 | 1.8 | 0.01 | 0.2 | 0.9999 | 2.3 |
| D-galactosamine | GalN |  | 5 | 5 | 0.9999 | 9.9 | 0.05 | 0.2 | 0.9981 | 2.0 | 0.05 | 0.2 | 0.9989 | 2.8 |
| D-galactose | D-Gal |  | 5 | 10 | 0.9979 | 6.4 | 0.02 | 0.1 | 0.9988 | 2.4 | 0.05 | 0.1 | 0.9992 | 2.4 |
| D-galacturonic acid | GalA |  | 5 | 10 | 0.9983 | 6.3 | 0.2 | 0.5 | 0.9990 | 0.9 | 0.1 | 0.5 | 0.9986 | 2.5 |
| D-glucosamine | GlcN |  | 5 | 5 | 0.9996 | 5.9 | 0.1 | 0.2 | 0.9969 | 2.4 | 0.2 | 0.5 | 0.9972 | 3.4 |
| D-glucose | D-Glc |  | 0.5 | 5 | 0.9997 | 9.5 | 0.02 | 0.1 | 0.9994 | 2.3 | 0.01 | 0.05 | 0.9989 | 2.6 |
| D-glucuronic acid | GlcA |  | 5 | 10 | 0.9971 | 9.6 | 0.5 | 1 | 0.9885 | 2.3 | 0.2 | 1 | 0.9905 | 2.4 |
| D-mannose | D-Man |  | 1 | 5 | 0.9980 | 2.8 | 0.02 | 0.1 | 0.9996 | 2.3 | 0.02 | 0.05 | 0.9996 | 2.0 |
| D-ribose | D-Rib |  | 0.5 | 1 | 0.9991 | 10.3 | 0.05 | 0.1 | 0.9987 | 1.9 | 0.01 | 0.05 | 0.9987 | 1.9 |
| D-xylose | D-Xyl |  | 0.5 | 1 | 0.9989 | 3.4 | 0.05 | 0.1 | 0.9983 | 2.2 | 0.02 | 0.1 | 0.9983 | 2.9 |
| L-arabinose | L-Ara |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| L-fucose | L-Fuc |  | 0.5 | 1 | 0.9925 | 5.3 | 0.05 | 0.1 | 0.9980 | 2.1 | 0.05 | 0.1 | 0.9984 | 2.4 |
| L-glucose | L-Glc |  | n.s. |  |  |  | n.s. |  |  |  | n.s. |  |  |  |
| L-rhamnose | L-Rha |  | 0.5 | 1 | 0.9924 | 3.6 | 0.05 | 0.1 | 0.9989 | 2.2 | 0.05 | 0.1 | 0.9989 | 3.3 |
| N-acetyl-D-galactosamine | GalNAc |  | 1 | 1 | 0.9964 | 3.8 | 0.05 | 0.1 | 0.9976 | 1.5 | 0.1 | 0.2 | 0.9991 | 3.2 |
| N-acetyl-D-glucosamine | GlcNAc |  | 1 | 5 | 0.9993 | 11.3 | 0.1 | 0.5 | 0.9987 | 1.3 | 0.1 | 0.5 | 0.9991 | 2.7 |

Table S4: Analytical performance of RP-LC-MS in different scan modes (n.s.=not separated, n.d.=not detected). Non-separable and not detectable carbohydrate single standards (abbreviations abbr. and symbol nomenclature for glycans SNFG according to National Center for Biotechnology Information NCBI) were not included in the evaluation of the method performance afterwards.

Table S5: Analytical performance of GC-MS in MRM mode (n.s.=not separated, n.d.=not detected). Non-separable and not detectable carbohydrate single standards (abbreviations abbr. and symbol nomenclature for glycans SNFG according to National Center for Biotechnology Information NCBI) were not included in the evaluation of the method performance afterwards.

| Carbohydrate | Abbr. | SNFG | GC MRM |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | LOD [µmol/L] | LOQ [µmol/L] | r2 | mean RSD [%] |
| 2-deoxy-D-glucose | 2dGlc |  | 10 | 40 | 0.9895 | 2.8 |
| 2-deoxy-D-ribose | dRib |  | 10 | 40 | 0.9906 | 2.3 |
| D-galactosamine | GalN |  | 5 | 40 | 0.9815 | 3.4 |
| D-galactose | D-Gal |  | 2 | 10 | 0.9836 | 2.6 |
| D-galacturonic acid | GalA |  | 5 | 20 | 0.9875 | 2.7 |
| D-glucosamine | GlcN |  | 5 | 20 | 0.9919 | 2.4 |
| D-glucose | D-Glc |  | 2 | 10 | 0.9881 | 2.4 |
| D-glucuronic acid | GlcA |  | 2 | 10 | 0.9824 | 2.5 |
| D-mannose | D-Man |  | 2 | 10 | 0.9899 | 2.0 |
| D-ribose | D-Rib |  | 2 | 10 | 0.9836 | 3.3 |
| D-xylose | D-Xyl |  | 2 | 5 | 0.9832 | 1.9 |
| L-arabinose | L-Ara |  | 2 | 10 | 0.9818 | 2.9 |
| L-fucose | L-Fuc |  | 2 | 5 | 0.9832 | 2.2 |
| L-glucose | L-Glc |  | n.s. |  |  |  |
| L-rhamnose | L-Rha |  | 1 | 5 | 0.9870 | 2.4 |
| N-acetyl-D-galactosamine | GalNAc |  | n.d. |  |  |  |
| N-acetyl-D-glucosamine | GlcNAc |  | n.d. |  |  |  |

Table S6: Instrumental validation parameters for RP-LC-MS in MRM mode. a) Intraday precision expressed as relative standard deviation (RSD) of obtained peak areas from triplicates analysed within the same day (n=3). Low level defined as concentration at determined limit of quantification, high level defined at concentration of 60 µmol/L. b) Interday precision expressed as relative standard deviation (RSD) of obtained peak areas from two sets of triplicates analysed with an interval of two months (n=6). Low level defined as concentration at determined limit of quantification, high level defined at concentration of 60 µmol/L. c) Accuracy calculated by comparison of ratio from theoretical concentration and concentration obtained from the calibration mathematically (n=3). d) Retention time (RT) stability calculated as RT standard deviation from triplicates of fifteen calibration levels (n=45).

| Carbohydrate | Intraday precision RSD [%] |  | Interday precision RSD [%] |  | Accuracy deviation [%] |  | RT standard deviation [min] |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | low | high | low | high | low | high |  |
| 2-deoxy-D-glucose | 1.9 | 0.3 | 4.1 | 6.5 | 0.1 | 1.3 | 0.01 |
| 2-deoxy-D-ribose | 2.0 | 0.3 | 17.2 | 12.7 | 6.1 | 0.5 | 0.01 |
| D-galactosamine | 3.9 | 2.6 | 40.5 | 21.0 | 13.2 | 0.8 | 0.01 |
| D-galactose | 8.8 | 0.2 | 1.9 | 11.5 | 3.5 | 0.1 | 0.01 |
| D-galacturonic acid | 2.3 | 1.9 | 26.8 | 19.1 | 6.7 | 5.4 | 0.01 |
| D-glucosamine | 4.3 | 0.8 | 26.4 | 10.0 | 2.8 | 2.9 | 0.01 |
| D-glucose | 5.9 | 2.6 | 4.3 | 21.6 | 16.8 | 0.6 | 0.01 |
| D-glucuronic acid | 2.2 | 2.2 | 67.5 | 57.3 | 2.2 | 4.8 | 0.02 |
| D-mannose | 3.9 | 1.9 | 31.1 | 27.9 | 7.4 | 0.6 | 0.01 |
| D-ribose | 5.2 | 0.4 | 15.9 | 21.2 | 1.9 | 0.4 | 0.01 |
| D-xylose | 3.1 | 0.6 | 1.9 | 10.8 | 1.1 | 0.9 | 0.01 |
| L-arabinose | 2.1 | 0.7 | 7.1 | 16.8 | 2.3 | 1.9 | 0.01 |
| L-fucose | 3.3 | 0.6 | 16.3 | 19.6 | 2.4 | 3.8 | 0.01 |
| L-glucose | 1.1 | 1.2 | 15.9 | 14.0 | 1.1 | 0.3 | 0.01 |
| L-rhamnose | 4.4 | 1.2 | 40.0 | 35.3 | 0.7 | 1.1 | 0.01 |

Table S7: Quantitative results of the determination of sugar profiles from fractionated herbal liquors and fruit pectins with RP-LC-MS.

|  | Concentration [µg/mL] |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample | Xylose | Rhamnose | Glucos-amine | Galactos-amine | Mannose | Glucose | Galactose | Glucuronic acid | Galacturonic acid |
| JR F1 | - | - | 39.4 ± 1.1 | 31489.5 ± 467.5 | - | 31589.7 ± 341.0 | - | - | - |
| JR F2 | - | 6.6 ± 0.1 | 0.5 ± 0.0 | 277.1 ± 4.1 | - | 280.0 ± 3.0 | - | - | - |
| KG F1 | - | - | 53.5 ± 1.5 | 39653.4 ± 588.7 | - | 39937.4 ± 431.1 | - | - | - |
| KG F2 | - | - | - | 102.1 ± 1.5 | - | 100.3 ± 1.1 | - | - | - |
| UG F1 | 39.9 ± 0.6 | - | 11.6 ± 0.3 | 1832.7 ± 27.2 | - | 1854.1 ± 195.1 | 1.6 ± 0.0 | - | 47.7 ± 2.1 |
| UG F2 | 12.7 ± 0.2 | 25.1 ± 0.2 | 0.4 ± 0.0 | 193.8 ± 2.9 | - | 195.1 ± 2.1 | - | 9.1 ± 0.4 | 5.5 ± 0.2 |
| BN F1 | - | - | 51.6 ± 1.4 | 46592.8 ± 691.8 | - | 47787.3 ± 515.9 | - | - | 258.2 ± 11.5 |
| BN F2 | 0.4 ± 0.0 | 62.7 ± 0.6 | - | 200.5 ± 3.0 | 5.9 ± 0.1 | 214.9 ± 2.3 | - | 2.8 ± 0.1 | 2.6 ± 0.1 |
| KH F1 | - | - | 64.4 ± 1.8 | 107245.4 ± 1592.3 | - | 108080.3 ± 1166.7 | - | - | - |
| KH F2 | - | - | - | 279.1 ± 4.1 | 14.6 ± 0.3 | 278.8 ± 3.0 | - | - | - |
| SN F1 | - | - | 44.7 ± 1.2 | 29477.5 ± 437.7 | - | 29670.8 ± 320.3 | - | - | - |
| SN F2 | - | - | - | 100.0 ± 1.5 | 8.7 ± 0.2 | 101.6 ± 1.1 | - | - | - |
| RI F1 | - | - | 54.6 ± 1.5 | 31422.1 ± 466.5 | - | 31261.7 ± 337.5 | - | - | - |
| RI F2 | - | - | 0.4 ± 0.0 | 269.4 ± 4.0 | 8.0 ± 0.2 | 265.5 ± 2.9 | - | - | - |
| AA F1 | - | - | 66.2 ± 1.8 | 40125.2 ± 595.7 | - | 40318.7 ± 435.2 | - | - | - |
| AA F2 | - | - | - | 278.1 ± 4.1 | 17.6 ± 0.3 | 273.2 ± 2.9 | - | - | 2.3 ± 0.1 |
| Citrus pectin | 15.9 ± 0.3 | 13.1 ± 0.1 | 0.3 ± 0.0 | 11.6 ± 0.2 | 1.5 ± 0.0 | 11.4 ± 0.1 | 78.6 ± 1.0 | - | 30.3 ± 1.4 |
| Apple pectin | 50.1 ± 0.8 | 8.6 ± 0.1 | 0.3 ± 0.0 | 94.3 ± 1.4 | 1.6 ± 0.0 | 94.6 ± 1.0 | 79.2 ± 1.0 | - | 35.0 ± 1.6 |
| Glyco-protein* | - | - | 479.3 ± 13.1 | - | 471.1 ± 9.3 | - | 375.8 ± 4.5 | - | - |

* additionally 29.2 ± 0.3 µg/mL L-Fucose and 37.6 ± 0.7 µg/mL N-Acetyl-D-glucosamine

Table S8: Total carbohydrate content, dry residue of 1 mL sample and saccharide percentage in total dry residue from fractionated herbal liquors, fruit pectins and α1-acid glycoprotein with RP-LC-MS stated as mg/mL.

| Sample | Sum of carbohydrate concentration [mg/mL] | Determined dry weight of 1 mL sample [mg] | Sugar content in total dry weight [%] |
| --- | --- | --- | --- |
| JR F1 | 63.12 | 160.10 | 39.4 |
| JR F2 | 0.56 | 36.20 | 1.6 |
| KG F1 | 79.64 | 193.20 | 41.2 |
| KG F2 | 0.20 | 35.00 | 0.6 |
| UG F1 | 3.79 | 42.40 | 8.9 |
| UG F2 | 0.44 | 29.80 | 1.5 |
| BN F1 | 94.69 | 247.40 | 38.3 |
| BN F2 | 0.49 | 24.30 | 2.0 |
| KH F1 | 215.39 | 373.00 | 57.7 |
| KH F2 | 0.57 | 23.40 | 2.4 |
| SN F1 | 59.19 | 175.00 | 33.8 |
| SN F2 | 0.21 | 7.80 | 2.7 |
| RI F1 | 62.74 | 250.30 | 25.1 |
| RI F2 | 0.54 | 17.20 | 3.2 |
| AA F1 | 80.51 | 247.30 | 32.6 |
| AA F2 | 0.57 | 20.80 | 2.7 |
| Citrus pectin | 0.16 | 2.00 | 8.1 |
| Apple pectin | 0.36 | 2.00 | 18.2 |
| Glycoprotein | 1.39 | 10.00 | 13.9 |