Supporting information

Quantitative determination of sn-positional phospholipid isomers in MSn using silver cationization

Johan Lillja, Ingela Lanekoff

Department of Chemistry – BMC, Uppsala University, Uppsala, Sweden

Corresponding author:

Prof. Ingela Lanekoff

Ingela.Lanekoff@kemi.uu.se

Dept. of Chemistry-BMC (576)

Uppsala University

751 23 Uppsala

Sweden

Table of Contents

Figure S1 MSn transitions for PC 16:0/18:1	3

Figure S2 MS3 product ion spectra of [FA+Ag]+ type ions of PC 16:0/18:1 and PC 18:1/16:0	3

Figure S3 MS3 product ion spectra for PC 34:1 ionized with 109Ag and 107Ag repsectively	4

Figure S4 Driftograms for the cIMSn data	4

Figure S5 MSn Transitions for PC 13:0_12:0	5

Figure S6 Fragmentation efficiency of PC 18:1/16:0 and PC 16:0/18:1	6

Figure S7 Fragmentation efficiency for PC 18:1_16:0 and PC 20:1_16:0 measured from tissue	7

Scheme S1 Fragmentation scheme	8

Equation S1 Type 1 correction factor	8

Figure S1 MSn transitions for PC 16:0/18:1 Tandem mass spectrometric transitions of PC 16:0/18:1 a) MS1 spectrum showing the [M+H]+ ion at m/z 760.5839 and [M+Ag]+ at m/z 866.4822 b) MS2 spectrum of the [M+Ag]+ peak giving product ions corresponding to choline loss at m/z 807.4091 and head group loss at m/z 683.4162 c) MS3 spectrum using 683.4162 as precursor ion, where the main product ion at m/z 575.5034 corresponds to a NL of AgH and the other annotated ions represent acyl chain losses and d) MS4 of the 575.5034 ion giving diagnostic product ions with respect to the sn position.

Figure S2 MS3 product ion spectra of [FA+Ag]+ type ions of PC 16:0/18:1 and PC 18:1/16:0 Product ions in MS3 from isomers of a) PC 16:0/18:1 and b) PC 18:1/16:0 with m/z 389.1604 ([FA 18:1 + 107Ag]+) , 371.1498 ([FA 18:1 + 107Ag - H2O]+) and 343.1549 ([FA 18:1 + 107Ag - H2O - CO]+) formed from both PC 18:1/16:0 and PC 16:0/18:1 isomers. The ions are not unique for the respective isomer and can therefore not be used directly for quantification.

Figure S3 MS3 product ion spectra for PC 34:1 ionized with 109Ag and 107Ag repsectively a) MS3 spectrum of [M+107Ag]+ showing the –AgH peak at m/z 575.5032 and [FA+107Ag]+ at m/z 389.1604 b) MS3 spectrum of [M+109Ag]+ showing the –AgH peak at m/z 575.5033 and [FA+109Ag]+ at m/z 391.1601. The difference in mass between 107Ag+ and 109Ag+ is 1.9997 Da, which equals the difference in mass of [FA+107Ag]+ at m/z 389.1604 and and [FA+109Ag]+ at m/z 391.1601.

Figure S4 Driftograms for the cIMSn data Driftogram of the ions in this fragmentation pathway in IMS1, IMS2 and IMS3. A) Direct infusion of 1 µM PC 16:0/18:1 spiked with 0.4 µM PC 18:1/16:0 in IMS1 with 10 passes in the cyclic IMS (cIMS). The drift time of the sn-1 isomer is 172.19 ms and 178.26 ms for the sn-2 isomer. In IMS2 the separated isomers from IMS1 were used as precursors. In the driftogram of m/z 683.4204 the sn-1 isomer product ion has a drift time of 201.62 ms wheras the product ion of the sn-2 isomer has a drift time of 202.15 ms using one pass in the cIMS device. In IMS3 the precursor was chosen in the same way and the driftogram of the product ion at m/z 575.5067 is shown with the drift time 232.11 ms using one pass in the cIMS device for both isomers. B) 1 µM PC 18:1/16:0 spiked with 0.4 µM PC 18:1/16:0 in IMS1 the drift time of the sn-1 isomer is 172.19 ms and 178.26 for the sn-2 isomer with 10 passes in the cIMS device. In IMS2 the separated isomers from IMS1 was used as precursors the driftogram of m/z 683.4204 where the sn-1 isomer product ion has a drift time of 201.62 ms wheras the product ion of the sn-2 isomer has a drift time of 202.15 ms with one pass in the cIMS device. In IMS3 the precursor was chosen in the same way and the driftogram of the product ion at m/z 575.5067 is shown with the drift time 232.11 with one pass in the cIMS device for both isomers.

Figure S5 MSn Transitions for PC 13:0_12:0 Tandem mass spectrometric transitions of PC 13:0_12:0 a) MS1 spectrum showing the [M+Ag]+ at m/z 742.3563 b) MS2 spectrum of the [M+Ag]+ peak giving product ions corresponding to choline loss at m/z 683.2835 and head group loss at m/z 559.2909 c) MS3 spectrum using 559.2909 as precursor ion, where the main product ion at m/z 451.3782 corresponds to a NL of AgH d) MS4 of the 451.3782 ion giving diagnostic product ions with respect to the sn position of the 12:0 and 13:0 acyl chains.

Figure S6 Fragmentation efficiency of PC 18:1/16:0 and PC 16:0/18:1 Fragmentation efficiency for the sn-2 type product ion from 0 - 0.4 µM a) fragmentation efficiency for the 16:0 in sn-2 product ion (m/z 237) was estimated to 82% ± 3.5 % b) fragmentation efficiency for the 18:1 in sn-2 product ion (m/z 263) was estimated to 93 % ± 4 %. Error bars represent one standard deviation.

Figure S7 Fragmentation efficiency for PC 18:1_16:0 and PC 20:1_16:0 measured from tissue The fragmentation efficiency of PC 16:0/18:1 was 93 ± 1.5 %, PC 16:0/20:1 was 94 ± 5  %, PC 18:1/16:0 was 82 ± 3 %, and PC 20:1/16:0 was 77 ± 7 %. The observed fragmentation efficiency mirrors the measured efficiency in standards, which was 93 ± 4 % and 82 ± 3.5 for PC 16:0/18:1 and PC 18:1/16:0 respectively. Error bars represent one standard deviation.

Scheme S1 Fragmentation scheme General fragmentation scheme of a glycerolipid where R1 and R2 are acyl chains and R3 is either an acyl chain or a modified phosphate headgroup.

Z=1+0.0109n+0.01092nn-121+0.0109s+0.01092ss-12

Equation S1 Type 1 correction factor n is the number of carbons in the analyte and s is the number of carbons in the internal standard. 0.0109 is the probability of having a carbon 13 isotope in the analyte. [1]

1. 	Yang K, Han X (2011) Accurate quantification of lipid species by electrospray ionization mass spectrometry - Meets a key challenge in lipidomics. Metabolites 1:21–40. https://doi.org/10.3390/metabo1010021