Supplementary Information

In vitro metabolism of cathinone positional isomers: does sex matter?

Peng Chea, b, J. Tyler Davidsonc, Kristina Stilla, b, Jeroen Koola, b, Isabelle Kohlera, b, d,∗

aVrije Universiteit Amsterdam, Amsterdam Institute of Molecular and Life Sciences (AIMMS), Division of BioAnalytical Chemistry, Amsterdam, The Netherlands

bCenter for Analytical Sciences Amsterdam (CASA), Amsterdam, The Netherlands

cSam Houston State University, Department of Forensic Science, Huntsville, TX, USA

dCo van Ledden Hulsebosch Center (CLHC), Amsterdam Center for Forensic Science and Medicine, Amsterdam, The Netherlands

* Corresponding author Dr. Isabelle Kohler, Division of Bioanalytical Chemistry, Amsterdam Institute of Molecular and Life Sciences, Vrije Universiteit Amsterdam, De Boelelaan 1085, 1081 HV Amsterdam, the Netherlands. E-Mail i.kohler@vu.nl.

Contents

Table S1 MS and MS/MS experimental conditions used for the analysis of metabolic mixtures using HPLC-MS/MS

Table S2 MS and MS/MS experimental conditions used for the confirmatory analysis of metabolic mixtures using UHPLC-MS/MS

Table S3 Peak intensity of phase I metabolites detected in pFRLM and pMRLM incubations and relative abundance of each metabolite (i.e., average of the peak intensity of each metabolite or parent compound relative to the average of the peak intensity of the parent compound in negative controls)

Table S4 Peak intensity of phase I metabolites detected in pFHLM and pMHLM incubations and relative abundance of each metabolite (i.e., average of the peak intensity of each metabolite or parent compound relative to the average of the peak intensity of the parent compound in negative controls)

Fig. S1 MS/MS analysis of the metabolite M7 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram (EIC) of M7 using HPLC-MS/MS. (b) MS/MS spectrum of M7 including the proposed product ions using HPLC-MS/MS. (c) EIC of M7 using UHPLC-MS/MS. (d) MS/MS spectrum of M7 obtained using the confirmatory analysis with UHPLC-MS/MS

Fig. S2 MS/MS analysis of the metabolite M8-M10 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram (EIC) of M8-M10 using HPLC-MS/MS. (b) MS/MS spectrum of M8 including the proposed product ions using HPLC-MS/MS. (c) MS/MS spectrum of M9 including the proposed product ions using HPLC-MS/MS. (d) MS/MS spectrum of M10 including the proposed product ions using HPLC-MS/MS. (e) EIC of M8-M10 using UHPLC-MS/MS. (f) MS/MS spectrum of M9 obtained using the confirmatory analysis with UHPLC-MS/MS

Fig. S3 MS/MS analysis of the metabolite M11 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram of M11 using HPLC-MS/MS. (b) MS/MS spectrum of M11 including the proposed product ions using HPLC-MS/MS

Fig. S4 MS/MS analysis of the metabolite M12 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram of M12 using HPLC-MS/MS. (b) MS/MS spectrum of M12 including the proposed product ions using HPLC-MS/MS

Fig. S5 MS/MS analysis of the metabolite M13 and M14 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram (EIC) of M13 and M14 using HPLC-MS/MS. (b) MS/MS spectrum of M13 including the proposed product ions using HPLC-MS/MS. (c) MS/MS spectrum of M14 including the proposed product ions using HPLC-MS/MS. (d) EIC of M13 and M14 using UHPLC-MS/MS. (e) MS/MS spectrum of M13 obtained using the confirmatory analysis with UHPLC-MS/MS

Fig. S6 MS/MS analysis of the metabolite M115 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram of M15 using HPLC-MS/MS. (b) MS/MS spectrum of M15 including the proposed product ions using HPLC-MS/MS

Fig. S7 MS/MS analysis of the metabolite M16 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram of M16 using HPLC-MS/MS. (b) MS/MS spectrum of M16 including the proposed product ions using HPLC-MS/MS

Fig. S8 MS/MS analysis of the metabolite M17 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram of M17 using HPLC-MS/MS. (b) MS/MS spectrum of M17 including the proposed product ions using HPLC-MS/MS

Fig. S9 Comparison of extracted ion chromatograms (EICs) of the discriminative metabolites for 2-MMC and 4-MMC (M1, M18, M19, M24 and M25) measured in pooled male rat liver microsomal (pMRLM) incubations (black EIC traces) which were not detected in pooled female rat liver microsomal (pFRLM) incubations (blue EIC traces). The metabolite numbers correspond to the identified metabolites listed in Table 1

Fig. S10 Comparison of relative abundance observed for the tentatively identified metabolites of MMCs between pFHLM (light blue bars with lined pattern) and pMHLM (orange bars with crossed pattern) incubations. The relative abundance (%) is expressed as the average abundance of metabolites or the parent compound (n=2) divided by the average abundance of the parent compound in negative controls (n=2) and multiplied by 100. The metabolite numbers correspond to the identified metabolites listed in Table 1. The original data used for this Figure are shown in Table S4. Error bars represent the relative standard deviation of the peak area (n=2). Abbreviations: pFRLM, pooled female rat liver microsomal incubations; pMRLM, pooled male rat liver microsomal incubations; MMC, methylmethcathinones

Table S1 MS and MS/MS experimental conditions used for the analysis of metabolic mixtures using HPLC-MS/MS

| MS experimental parameters |  |  |  |  |
| --- | --- | --- | --- | --- |
| Instrument | maXis quadrupole time-of-flight mass spectrometer (Bruker Daltonics, Bremen, Germany) equipped with an ESI source |  |  |  |
| Data acquisition | scan mode |  | MS |  |
|  | acquisition mode |  | line spectra |  |
|  | mass range |  | m/z 50-400 |  |
|  | spectral data rate |  | 1 Hz (scans/s) |  |
|  | absolute threshold |  | 25 |  |
|  | peak summation width |  | 3 pts |  |
| ESI parameters | end plate offset voltage |  | -500 V |  |
|  | capillary voltage |  | +4500 V |  |
|  | nebulizer gas pressure |  | 1.8 bar |  |
|  | dry gas flow rate |  | 6.0 L/min |  |
|  | dry gas temperature |  | 200 °C |  |
| Parameters of the mass analyzer | transfer funnel RF |  | 100 Vpp |  |
|  | transfer ISCID energy |  | 0 eV |  |
|  | multipole RF |  | 150 Vpp |  |
|  | quadrupole ion energy |  | 2 eV |  |
|  | quadrupole low mass |  | m/z 50 |  |
|  | collision cell energy |  | 5 eV |  |
|  | collision RF |  | 200 Vpp |  |
|  | ion cooler transfer time |  | 40 µs |  |
|  | ion cooler RF |  | 70 Vpp |  |
|  | pre pulse storage time |  | 10 µs |  |
| Time segments | duration of method |  | 35.00 min |  |
|  | LC eluent directed to waste |  | 0.00 - 5.00 min |  |
|  | LC eluent directed to ESI-MS |  | 5.01 - 35.00 min |  |
| Software | compass DataAnalysis® , version 3.2 |  |  |  |
| MS/MS experimental parameters |  |  |  |  |
| System | maXis® (Bruker Daltonics® GmbH, Bremen, Germany) equipped with an ESI source |  |  |  |
| scan mode | MS/MS-auto |  |  |  |
| precursor-ion-inclusion-list | pos. mode m/z 50.00 – 78.00 |  |  |  |
|  | pos. mode m/z 79.5.00 – 400.00 |  |  |  |
| precursor ions | 3 x (absolute threshold 2000 cts) |  |  |  |
| smart exclusion | 2 x |  |  |  |
| active exclusion | exclude after 3 spectra, release after 0.50 min |  |  |  |
| isolation mass [m/z] | isolation width [m/z] | collision energy [eV] |  | charge state [z] |
| 100 | 4 | 15 |  | 1 |
| 500 | 5 | 25 |  | 1 |
| 1000 | 6 | 40 |  | 1 |
| Control software | HyStar® 3.2 |  |  |  |

Table S2 MS and MS/MS experimental conditions used for the analysis of metabolic mixtures using UHPLC-MS/MS

| Instrument |  | Zeno quadrupole time-of-flight mass spectrometer (SCIEX, Singapore) equipped with an ESI source |  |
| --- | --- | --- | --- |
| parameters |  | MS | MS/MS |
| scan mode |  | ToF-MS | Information-dependent acquisition (IDA) |
| gas 1 pressure |  | 45 psi |  |
| gas 2 pressure |  | 45 psi |  |
| curtain gas pressure |  | 30 psi |  |
| source temperature |  | 500 °C |  |
| ion spray voltage |  | 5500 V |  |
| declustering potential |  | 50 V |  |
| collision energy |  | 10 eV |  |
| collision-activated dissociation (CAD) gas pressure |  | 7 psi |  |
| IDA criteria |  | small molecules |  |
| maximum candidate ion |  | 6 |  |
| intensity threshold |  | 100 cps |  |
| exclusion time |  | 6 s after 2 occurrences |  |
| start mass |  | m/z 100 | m/z 50 |
| stop mass |  | m/z 500 | m/z 500 |
| electron transfer coefficient (ETC) |  | NA | 100 |
| Zeno trap |  | NA | ON |
| accumulation time |  | 0.25 s | 0.10 s |
| time bins to sum |  | 8 | 12 |
| Collision induced dissociation (CID) mode | Collision energy | NA | 35 eV |
|  | Collision energy spread | NA | 15 eV |

Table S3 MS Peak intensity of phase I metabolites detected in pFRLM and pMRLM incubations and relative abundance of each metabolite (i.e., average of the peak intensity of each metabolite or parent compound relative to the average of the peak intensity of the parent compound in negative controls).

| Positional isomer | Metabolites | Intensity in pFRLM incubations |  |  |  |  | Intensity in pMRLM incubations |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | pFRLM, analysis #1 | pFRLM, analysis #2 | Average (n=2) | RSD (%, n=2) | Relative abundance (%) | pMRLM, analysis #1 | pMRLM, analysis #2 | Average (n=2) | RSD (%, n=2) | Relative abundance (%) |
| 2-MMC | M1 | 17996 | 22839 | 20417.5 | 11.9 | 0.7 | 123828 | 80206 | 102017 | 21.4 | 1.5 |
|  | M2 | 15501 | 13142 | 14321.5 | 8.2 | 0.5 | 11338 | 11982 | 11660 | 2.8 | 0.2 |
|  | M3 | 21908 | 23994 | 22951 | 4.5 | 0.8 | 21717 | 24543 | 23130 | 6.1 | 0.4 |
|  | M4 | 192891 | 196666 | 194778.5 | 1.0 | 6.7 | 124268 | 121951 | 123109.5 | 0.9 | 1.8 |
|  | M5 | 272854 | 163296 | 218075 | 25.1 | 7.5 | 101514 | 74011 | 87762.5 | 15.7 | 1.3 |
|  | M6 | 1984486 | 1468036 | 1726261 | 15.0 | 59.0 | 2533151 | 2859281 | 2696216 | 6.0 | 40.3 |
|  | 2-MMC | 4272895 | 4582210 | 4427552.5 | 3.5 | 100.0 | 6192442 | 7203069 | 6697755.5 | 7.5 | 100.0 |
| 3-MMC | M7 | 30611 | 28886 | 29748.5 | 0.0 | 0.4 | 203411 | 76808 | 140109.5 | 45.2 | 1.9 |
|  | M8 | 696378 | 426361 | 561369.5 | 24.1 | 7.8 | 578057 | 619921 | 598989 | 3.5 | 8.3 |
|  | M9 | 40888 | 22297 | 31592.5 | 29.4 | 0.4 | 33401 | 28282 | 30841.5 | 8.3 | 0.4 |
|  | M10 | 1062277 | 2878753 | 1970515 | 46.1 | 27.4 | 401667 | 451269 | 426468 | 5.8 | 5.9 |
|  | M11 | 4331722 | 2997227 | 3664474.5 | 18.2 | 50.9 | 6092438 | 4150894 | 5121666 | 19.0 | 71.1 |
|  | M12 | 11406 | 25092 | 18249 | 37.5 | 0.3 | 167899 | 136651 | 152275 | 10.3 | 2.1 |
|  | M13 | 18059 | 14763 | 16411 | 10.0 | 0.2 | 32596 | 38461 | 35528.5 | 8.3 | 0.5 |
|  | M14 | 0 | 0 | 0 | 0.0 | 0.0 | 50193 | 20394 | 35293.5 | 42.2 | 0.5 |
|  | M15 | 20453 | 15533 | 17993 | 13.7 | 0.3 | 27087 | 16336 | 21711.5 | 24.8 | 0.3 |
|  | M16 | 0 | 0 | 0 | 0.0 | 0.0 | 51631 | 39075 | 45353 | 13.8 | 0.6 |
|  | M17 | 2497 | 3847 | 3172 | 21.3 | 16.7 | 5293 | 4773 | 5033 | 5.2 | 0.1 |
|  | 3-MMC | 7203839 | 7203839 | 7203839 | 0.0 | 100.0 | 7203839 | 7203839 | 7203839 | 0.0 | 100.0 |
| 4-MMC | M18 | 0 | 0 | 0 | 0.0 | 0.0 | 41045 | 42445 | 41745 | 1.7 | 0.6 |
|  | M19 | 26037 | 11972 | 19004.5 | 37.0 | 0.3 | 77798 | 72478 | 75138 | 3.5 | 1.1 |
|  | M20 | 490112 | 610180 | 550146 | 10.9 | 7.6 | 743226 | 720307 | 731766.5 | 1.6 | 10.3 |
|  | M21 | 1495493 | 1491441 | 1493467 | 0.1 | 20.7 | 242604 | 301837 | 272220.5 | 10.9 | 3.8 |
|  | M22 | 1540916 | 2649220 | 2095068 | 26.5 | 29.1 | 2233905 | 2228198 | 2231051.5 | 0.1 | 31.3 |
|  | M23 | 55567 | 44648 | 50107.5 | 10.9 | 0.7 | 199407 | 236218 | 217812.5 | 8.5 | 3.1 |
|  | M24 | 0 | 0 | 0 | 0.0 | 0.0 | 10701 | 7628 | 9164.5 | 16.8 | 0.1 |
|  | M25 | 0 | 0 | 0 | 0.0 | 0.0 | 32003 | 28175 | 30089 | 6.4 | 0.4 |
|  | 4-MMC | 7203839 | 7203839 | 7203839 | 0.0 | 100.0 | 7084401 | 7193494 | 7138947.5 | 0.8 | 100.0 |

Abbreviations MMC, methylmethcathinone; pMRLM, pooled male rat liver microsomes; pFRLM, pooled female rat liver microsomes. The metabolite numbers correspond to the identified metabolites listed in Table 1.

Table S4 MS Peak intensity of phase I metabolites detected in pFHLM and pMHLM incubations and relative abundance of each metabolite (i.e., average of the peak intensity of each metabolite or parent compound relative to the average of the peak intensity of the parent compound in negative controls)

| Positional isomer | Metabolites | Intensity in pFHLM incubations |  |  |  |  | Intensity in pMHLM incubations |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | pFHLM, analysis #1 | pFHLM, analysis #2 | Average (n=2) | RSD (%, n=2) | Relative abundance (%) | pMHLM, analysis #1 | pMHLM, analysis #2 | Average (n=2) | RSD (%, n=2) | Relative abundance (%) |  |
| 2-MMC | M1 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M2 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M3 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M4 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M5 | 219540 | 253387 | 236464 | 7.2 | 3.3 | 208544 | 323472 | 266008 | 21.6 | 3.7 |  |
|  | M6 | 1348098 | 1403973 | 1376036 | 2.0 | 19.2 | 1050548 | 1403973 | 1227261 | 14.4 | 17.0 |  |
|  | 2-MMC | 7135011 | 7203839 | 7169425 | 0.5 | 100.0 | 7203839 | 7198810 | 7201325 | 0.0 | 100.0 |  |
| 3-MMC | M7 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M8 | 522594 | 853012 | 687803 | 24.0 | 9.6 | 775754 | 780332 | 778043 | 0.3 | 10.8 |  |
|  | M9 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M10 | 382289 | 224976 | 303633 | 25.9 | 4.2 | 424294 | 489469 | 456882 | 7.1 | 6.4 |  |
|  | M11 | 528256 | 832493 | 680375 | 22.4 | 9.4 | 892826 | 871449 | 882138 | 1.2 | 12.3 |  |
|  | M12 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M13 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M14 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M15 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M16 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M17 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | 3-MMC | 7203839 | 7203839 | 7203839 | 0.0 | 100.0 | 7188079 | 7203839 | 7195959 | 0.1 | 100.0 |  |
| 4-MMC | M18 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M19 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M20 | 1419456 | 1432682 | 1426069 | 0.5 | 19.8 | 1404563 | 1224572 | 1314568 | 6.9 | 18.3 |  |
|  | M21 | 382023 | 318466 | 350245 | 9.1 | 4.9 | 576030 | 1216292 | 896161 | 35.7 | 12.4 |  |
|  | M22 | 485237 | 333963 | 409600 | 18.5 | 5.7 | 549429 | 879556 | 714493 | 23.1 | 9.9 |  |
|  | M23 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M24 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | M25 | 0 | 0 | 0 | NA | 0.0 | 0 | 0 | 0 | NA | 0.0 |  |
|  | 4-MMC | 7203839 | 7203839 | 7203839 | 0.0 | 100.0 | 7203839 | 7203839 | 7203839 | 0.00 | 100.0 |  |

Abbreviations N.A., not applicable; MMC, methylmethcathinone; pMHLM, pooled male human liver microsomes; pFHLM, pooled female human liver microsomes. Metabolite numbers correspond to the identified metabolites listed in Table 1

Fig. S1 MS/MS analysis of the metabolite M7 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram (EIC) of M7 using HPLC-MS/MS. (b) MS/MS spectrum of M7 including the proposed product ions using HPLC-MS/MS. (c) EIC of M7 using UHPLC-MS/MS. (d) MS/MS spectrum of M7 obtained using the confirmatory analysis with UHPLC-MS/MS.

Fig. S2 MS/MS analysis of the metabolite M8-M10 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram (EIC) of M8-M10 using HPLC-MS/MS. (b) MS/MS spectrum of M8 including the proposed product ions using HPLC-MS/MS. (c) MS/MS spectrum of M9 including the proposed product ions using HPLC-MS/MS. (d) MS/MS spectrum of M10 including the proposed product ions using HPLC-MS/MS. (e) EIC of M8-M10 using UHPLC-MS/MS. (f) MS/MS spectrum of M9 obtained using the confirmatory analysis with UHPLC-MS/MS.

Fig. S3 MS/MS analysis of the metabolite M11 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram of M11 using HPLC-MS/MS. (b) MS/MS spectrum of M11 including the proposed product ions using HPLC-MS/MS.

Fig. S4 MS/MS analysis of the metabolite M12 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram of M12 using HPLC-MS/MS. (b) MS/MS spectrum of M12 including the proposed product ions using HPLC-MS/MS.

Fig. S5 MS/MS analysis of the metabolite M13 and M14 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram (EIC) of M13 and M14 using HPLC-MS/MS. (b) MS/MS spectrum of M13 including the proposed product ions using HPLC-MS/MS. (c) MS/MS spectrum of M14 including the proposed product ions using HPLC-MS/MS. (d) EIC of M13 and M14 using UHPLC-MS/MS. (e) MS/MS spectrum of M13 obtained using the confirmatory analysis with UHPLC-MS/MS.

Fig. S6 MS/MS analysis of the metabolite M15 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram of M15 using HPLC-MS/MS. (b) MS/MS spectrum of M15 including the proposed product ions using HPLC-MS/MS.

Fig. S7 MS/MS analysis of the metabolite M16 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram of M16 using HPLC-MS/MS. (b) MS/MS spectrum of M16 including the proposed product ions using HPLC-MS/MS.

Fig. S8 MS/MS analysis of the metabolite M17 obtained with the incubation of 3-MMC. (a) Extracted ion chromatogram of M17 using HPLC-MS/MS. (b) MS/MS spectrum of M17 including the proposed product ions using HPLC-MS/MS.

Fig. S9 Comparison of extracted ion chromatograms (EICs) of the discriminative metabolites for 2-MMC and 4-MMC (M1, M18, M19, M24 and M25) measured in pooled male rat liver microsomal (pMRLM) incubations (black EIC traces) which were not detected in pooled female rat liver microsomal (pFRLM) incubations (blue EIC traces). The metabolite numbers correspond to the identified metabolites listed in Table 1.

Fig. S10 Comparison of relative abundance observed for the tentatively identified metabolites of MMCs between pFHLM (light blue bars with lined pattern) and pMHLM (orange bars with crossed pattern) incubations. The relative abundance (%) is expressed as the average abundance of metabolites or the parent compound (n=2) divided by the average abundance of the parent compound in negative controls (n=2) and multiplied by 100. The metabolite numbers correspond to the identified metabolites listed in Table 1. The original data used for this Figure are shown in Table S4. Error bars represent the relative standard deviation of the peak area (n=2). Abbreviations: pFRLM, pooled female rat liver microsomal incubations; pMRLM, pooled male rat liver microsomal incubations; MMC, methylmethcathinone.