Determination of Carbon in Microplastics and Single Cells by Total Consumption Microdroplet ICP-TOFMS

Thomas Vonderach, Alexander Gundlach-Graham, Detlef Günther

Table of Contents

Table S1. Operating conditions for the sample droplet supply system and the downward ICP-TOFMS.	1

| Operational Parameters | Value |
| --- | --- |
| He flow (upper) | 0.8 L min-1 |
| He flow (lower) | 0.1 L min-1 |
| Ar flow | 0.4 L min-1 |
| Ar auxiliary gas flow | 0.9 L min-1 |
| Ar plasma gas flow | 14.2 L min-1 |
| ICP power | 1350 W |
| Einzel lens | 7.4 V |
| Sampling depth | 11 mm |
| Injector diameter | 1.5 mm |

# Table S1. Operating conditions for the sample droplet supply system and the downward ICP-TOFMS.