Supplementary Information

Table of Contents

Table S1	HILIC-UHPLC Parameters

Table S2	MAM LC-MS Parameters

Table S3	Intact LC-MS Parameters

Table S4	Glycan structures

Figure S1	Example HILIC-UHPLC Chromatograms

Table S5	HILIC-FLD Results

Figure S2	Example MAM Chromatograms

Table S6	Peptide Sequences Identified by MAM analysis

Table S7	MAM LC-MS Results

Figure S3	Intact deconvoluted spectra

Table S8	Intact Mass Results

Figure S4	Representative 1H-13C HSQC spectra

Table S9	HSQC Results

Appendix S1      Preparation of Samples for HILIC-FLD analysis

Table S1. HILIC-UHPLC Parameters

| # Parameter |  | # Setting |  |
| --- | --- | --- | --- |
| # Column |  | # Waters Acquity BEH Amide cloumn, 2.1 × 150 mm, 1.7 µm, 130 Å |  |
| # Injection volume |  | # 10.0 µL |  |
| # Column temperature |  | # 60 0C |  |
| # Auto-sampler temperature |  | # 10 0C |  |
| # Mobile Phase A |  | # 100 mM Ammonium Formate, pH 4.5 |  |
| # Mobile Phase B |  | # 100% Acetonitrile |  |
| # Detector |  | # FLD |  |
| # Excitation λ |  | # 330 nm |  |
| # Emission λ |  | # 420 nm |  |
| # Total run time |  | # 47.5 min |  |
| # HPLC Gradient |  |  |  |
| # Time (min) | # % Mobile Phase A | # % Mobile Phase B | # Flow (mL / min) |
| # 0 | # 25 | # 75 | # 0.50 |
| # 31.5 | # 35.2 | # 64.8 | # 0.50 |
| # 32.0 | # 100 | # 0 | # 0.25 |
| # 35.0 | # 100 | # 0 | # 0.25 |
| # 36.0 | # 25 | # 75 | # 0.25 |
| # 40.0 | # 25 | # 75 | # 0.25 |
| # 41.0 | # 25 | # 75 | # 0.50 |
| # 47.5 | # 25 | # 75 | # 0.50 |

Table S2. MAM LC-MS Parameters

| Parameter |  |  |  |
| --- | --- | --- | --- |
| Column | Agilent Zorbax RRHD StableBond C18 300 Å, 2.1 mm x 150 mm, 1.8 µm |  |  |
| Flow Rate | 250 uL/min |  |  |
| Column Temperature | 50 °C |  |  |
| Injection Volume | 5 uL |  |  |
| Mobile Phase A | 0.1% formic acid in water |  |  |
| Mobile Phase B | 0.1% formic acid in acetonitrile |  |  |
| Gradient |  |  |  |
| Time | % Mobile Phase A | % Mobile Phase B | Divert Valve |
| 0 | 99 | 1 | MS |
| 5 | 99 | 1 | MS |
| 6 | 90 | 10 | MS |
| 70 | 65 | 35 | MS |
| 72 | 10 | 90 | Waste |
| 77 | 10 | 90 | Waste |
| 77.1 | 99 | 1 | Waste |
| 90 | 99 | 1 | Waste |
| LC System | Thermo Accela |  |  |
| MS System | Thermo Q-Exactive Quadrupole-Orbitrap |  |  |
| Spray Voltage | 3.5 kV |  |  |
| Capillary Temperature | 250 C |  |  |
| MS Mode | Positive |  |  |
| m/z Range | 300 – 1800 |  |  |

Table S3. Intact and reduced LC-MS Parameters

| Parameter |  |  |
| --- | --- | --- |
| Column | Waters Acquity UPLC Protein BEH C4, 300 Å, 1 mm x 150 mm, 1.7 µm |  |
| Flow Rate | 150 uL/min |  |
| Column Temperature | 65°C |  |
| Injection Volume | 5 uL |  |
| Mobile Phase A | 0.1% formic acid in water |  |
| Mobile Phase B | 0.1% formic acid in acetonitrile |  |
| Gradient |  |  |
| Time | % Mobile Phase A | % Mobile Phase B |
| 0 | 95 | 5 |
| 1 | 95 | 5 |
| 2 | 80 | 20 |
| 15 | 40 | 60 |
| 16 | 5 | 95 |
| 18 | 5 | 95 |
| 19 | 95 | 5 |
| 20 | 95 | 5 |
| LC System | Dionex UHPLC 3000 |  |
| MS System | Thermo Orbitrap Fusion |  |
| Spray Voltage | 3.5 kV |  |
| Capillary Temperature | 250 C |  |
| MS Mode | Positive |  |
| m/z Range | 1000-4000 |  |
| Resolution | 15,000 |  |

Table S4. Glycan structures with Oxford notation names

| Name | Structure |
| --- | --- |
| De-glycosylated |  |
| A1 |  |
| FA1 |  |
| FA1G1 |  |
| A2 |  |
| FA2 |  |
| M5 |  |
| A2[6]G1 |  |
| A2[3]G1 |  |
| FA2G1 |  |
| FA2[6]G1 |  |
| FA2[3]G1 |  |
| A2G2 |  |
| FA2G2 |  |
| FA2G1S1 |  |
| FA2G2S1 |  |
| FA2G2S2 |  |

A1

FA2

FA2[6]G1

A2G2

FA2G2

FA2G2S1

M5

FA1

A2

A2[3]G1

FA2[3]G1

A2[6]G1

A1

A2

FA2

A2[3]G1

FA2[6]G1

A2G2

FA2G2

FA2G2S1

A2[6]G1

FA2[3]G1

M5

FA1

Figure S1. Example HILIC-UHPLC Chromatograms for Product A (Top) and Product B (Bottom)

Table S5. Glycan Quantitation with HILIC-FLD Results

|  | M5 | FA1 | A2 | FA2 | A2[3]G1 | A2[6]G1 | FA2[3]G1 | FA2[6]G1 | FA2G2 | FA2G2S1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Average Fractional Abundance (%) |  |  |  |  |  |  |  |  |  |
| A1 | 0.56 | 0.244 | 0.32 | 28 | <LOQ | 0.723 | 13.3 | 38.2 | 16.4 | 2.1 |
| A2 | 0.72 | 0.50 | 0.654 | 35.5 | <LOQ | 0.83 | 12.4 | 34.9 | 12.6 | 2.0 |
| A3 | 0.60 | 0.27 | 0.45 | 30 | <LOQ | 0.70 | 13.10 | 37.3 | 15.2 | 2.4 |
| A4 | 0.58 | 0.28 | 0.45 | 29.5 | <LOQ | 0.68 | 13.16 | 37.3 | 15.5 | 2.5 |
| A5 | 0.74 | 0.47 | 0.57 | 36 | <LOQ | 0.77 | 12.4 | 35.96 | 11.9 | 1.7 |
| A6 | 0.75 | 0.39 | 0.51 | 33.2 | <LOQ | 0.89 | 12.7 | 35.6 | 13.6 | 2.30 |
| A7 | 0.72 | 0.33 | 0.90 | 39.3 | 0.22 | 0.876 | 12.55 | 34.06 | 9.8 | 1.2 |
| B1 | 0.81 | 0.29 | 0.59 | 41 | <LOQ | 0.69 | 12.4 | 35.5 | 7.8 | 1.2 |
| B2 | 1.52 | 0.98 | 1.61 | 46.9 | 0.23 | 1.66 | 10.7 | 29.8 | 6.0 | 0.63 |
|  | Standard Deviation |  |  |  |  |  |  |  |  |  |
| A1 | 0.02 | 0.009 | 0.01 | 1 | N/A | 0.008 | 0.1 | 0.4 | 0.8 | 0.7 |
| A2 | 0.05 | 0.01 | 0.009 | 0.5 | N/A | 0.01 | 0.1 | 0.3 | 0.4 | 0.6 |
| A3 | 0.04 | 0.01 | 0.02 | 1 | N/A | 0.02 | 0.09 | 0.1 | 0.8 | 0.2 |
| A4 | 0.03 | 0.02 | 0.03 | 0.2 | N/A | 0.03 | 0.07 | 0.3 | 0.2 | 0.2 |
| A5 | 0.03 | 0.02 | 0.02 | 1 | N/A | 0.03 | 0.2 | 0.10 | 0.9 | 0.2 |
| A6 | 0.03 | 0.02 | 0.01 | 0.4 | N/A | 0.02 | 0.3 | 0.2 | 0.4 | 0.09 |
| A7 | 0.02 | 0.02 | 0.03 | 0.8 | 0.01 | 0.002 | 0.06 | 0.06 | 0.7 | 0.2 |
| B1 | 0.07 | 0.03 | 0.06 | 2 | N/A | 0.01 | 0.5 | 0.9 | 0.9 | 0.1 |
| B2 | 0.05 | 0.01 | 0.06 | 0.6 | 0.01 | 0.03 | 0.1 | 0.3 | 0.3 | 0.06 |

|  | M5 | A1 | FA1 | A2 | FA2 | A2[3]G1 | A2[6]G1 | FA2[3]G1 | FA2[6]G1 | A2G2 | FA2G2 | FA2G2S1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Average Fractional Abundance (%) |  |  |  |  |  |  |  |  |  |  |  |
| A1 | 0.56 | 0.02 | 0.24 | 0.32 | 28 | 0.10 | 0.72 | 13.3 | 38.1 | 0.026 | 16.4 | 2.1 |
| A2 | 0.71 | 0.07 | 0.50 | 0.65 | 35.4 | 0.147 | 0.82 | 12.3 | 34.8 | 0.03 | 12.5 | 2.0 |
| A3 | 0.60 | 0.05 | 0.27 | 0.45 | 30 | 0.12 | 0.70 | 13.1 | 37.2 | 0.01 | 15.2 | 2.4 |
| A4 | 0.58 | 0.02 | 0.27 | 0.45 | 29.5 | 0.11 | 0.68 | 13.1 | 37.2 | 0.02 | 15.5 | 2.5 |
| A5 | 0.74 | 0.06 | 0.46 | 0.57 | 35 | 0.12 | 0.76 | 12.3 | 35.9 | 0.02 | 11.9 | 1.7 |
| A6 | 0.75 | 0.03 | 0.39 | 0.51 | 33.1 | 0.14 | 0.891 | 12.7 | 35.5 | 0.04 | 13.6 | 2.3 |
| A7 | 0.71 | 0.04 | 0.33 | 0.90 | 39.3 | 0.22 | 0.88 | 12.5 | 34.0 | 0.05 | 9.8 | 1.2 |
| B1 | 0.81 | 0.028 | 0.29 | 0.59 | 41 | 0.13 | 0.68 | 12.4 | 35.4 | 0.016 | 7.8 | 1.2 |
| B2 | 1.52 | 0.10 | 0.98 | 1.60 | 46.8 | 0.23 | 1.66 | 10.7 | 29.7 | 0.01 | 6.0 | 0.63 |
|  | Standard Deviation |  |  |  |  |  |  |  |  |  |  |  |
| A1 | 0.02 | 0.01 | 0.01 | 0.01 | 1 | 0.01 | 0.01 | 0.1 | 0.4 | 0.005 | 0.8 | 0.7 |
| A2 | 0.05 | 0.02 | 0.01 | 0.01 | 0.5 | 0.005 | 0.02 | 0.1 | 0.4 | 0.02 | 0.3 | 0.6 |
| A3 | 0.04 | 0.03 | 0.01 | 0.02 | 1 | 0.01 | 0.02 | 0.1 | 0.1 | 0.01 | 0.8 | 0.2 |
| A4 | 0.03 | 0.01 | 0.02 | 0.03 | 0.2 | 0.01 | 0.03 | 0.1 | 0.3 | 0.01 | 0.2 | 0.2 |
| A5 | 0.03 | 0.01 | 0.02 | 0.02 | 1 | 0.01 | 0.03 | 0.2 | 0.1 | 0.01 | 0.9 | 0.2 |
| A6 | 0.03 | 0.02 | 0.02 | 0.01 | 0.4 | 0.01 | 0.02 | 0.3 | 0.2 | 0.01 | 0.4 | 0.1 |
| A7 | 0.02 | 0.01 | 0.02 | 0.03 | 0.8 | 0.01 | 0.002 | 0.1 | 0.1 | 0.02 | 0.7 | 0.2 |
| B1 | 0.07 | 0.004 | 0.03 | 0.06 | 2 | 0.01 | 0.01 | 0.5 | 0.9 | 0.002 | 0.9 | 0.1 |
| B2 | 0.05 | 0.02 | 0.01 | 0.06 | 0.6 | 0.01 | 0.03 | 0.1 | 0.3 | 0.01 | 0.3 | 0.06 |

Figure S2. MAM TIC of US Product A and Product B with identified tryptic peptides.

Table S6: Peptide Sequences Identified by MAM analysis

| Label | Peptide sequence | Start | End | Modification State | Theoretical monoisotopic mass (uncharged) |
| --- | --- | --- | --- | --- | --- |
| pQ-H1 | QVQLQQPGAELVKPGASVK | 1 | 19 | Gln1(Pyro-Glu) | 1959.0790 |
| H2 | MSCK | 20 | 23 | C22(Carboxymethyl) | 525.1927 |
| H3 | ASGYTFTSYNMHWVK | 24 | 38 |  | 1790.8086 |
| H4 | QTPGR | 39 | 43 |  | 557.2921 |
| H5 | GLEWIGAIYPGNGDTSYNQK | 44 | 63 |  | 2182.0331 |
| H7-8 | GKATLTADK | 66 | 74 |  | 718.3861 |
| H8 | ATLTADK | 68 | 74 |  | 718.3861 |
| H9 | SSSTAYMQLSSLTSEDSAVYYCAR | 75 | 98 | C96(Carboxymethyl) | 2677.1524 |
| H10 | STYYGGDWYFNVWGAGTTVTVSAASTK | 99 | 125 |  | 2888.3293 |
| H11 | GPSVFPLAPSSK | 126 | 137 |  | 1185.6394 |
| H12 | STSGGTAALGCLVK | 138 | 151 | C148(Carboxymethyl) | 1321.6548 |
| H13 | DYFPEPVTVSWNSGALTSGVHTFPAVLQSSGLYSLSSVVTVPSSSLGTQTYICNVNHKPSNTK | 152 | 214 | C204(Carboxymethyl) | 6713.2912 |
| H16 | AEPK | 219 | 222 |  | 443.2380 |
| H17 | SCDK | 223 | 226 | C224(Carboxymethyl) | 509.1792 |
| H18 | THTCPPCPAPELLGGPSVFLFPPKPK | 227 | 252 | C230(Carboxymethyl), C233(Carboxymethyl) | 2845.4183 |
| H19 | DTLMISR | 253 | 259 |  | 834.4269 |
| H20 | TPEVTCVVVDVSHEDPEVK | 260 | 278 | C265(Carboxymethyl) | 2139.0042 |
| H21 | FNWYVDGVEVHNAK | 279 | 292 |  | 1676.7947 |
| H22 | TKPR | 293 | 296 |  | 500.3071 |
| H24 | VVSVLTVLHQDWLNGK | 306 | 321 |  | 1806.9992 |
| H27 | VSNK | 327 | 330 |  | 446.2489 |
| H28 | ALPAPIEK | 331 | 338 |  | 837.4960 |
| H29 | TISK | 339 | 342 |  | 447.2693 |
| H31 | GQPR | 345 | 348 |  | 456.2445 |
| H30-31 | AKGQPR | 343 | 348 |  | 655.3765 |
| H34 | NQVSLTCLVK | 365 | 374 | C371(Carboxymethyl) | 1161.6064 |
| H35 | GFYPSDIAVEWESNGQPENNYK | 375 | 396 |  | 2543.1241 |
| H36 | TTPPVLDSDGSFFLYSK | 397 | 413 |  | 1872.9145 |
| H37 | LTVDK | 414 | 418 |  | 574.3326 |
| H37-38 | LTVDKSR | 414 | 420 |  | 817.4657 |
| H39 | WQQGNVFSCSVMHEALHNHYTQK | 421 | 443 | C429(Carboxymethyl) | 2801.2438 |
| H40 | SLSLSPGK | 444 | 451 |  | 787.4439 |
| H40-desK | SLSLSPG | 444 | 450 |  | 659.3490 |
| pQ-L1 | QIVLSQSPAILSASPGEK | 1 | 18 | Gln1(Pyro-Glu) | 1806.9728 |
| L2 | VTMTCR | 19 | 24 | C23(Carboxymethyl) | 767.3306 |
| L3 | ASSSVSYIHWFQQKPGSSPKPWIYATSNLASGVPVR | 25 | 60 |  | 3932.0009 |
| L4 | FSGSGSGTSYSLTISR | 61 | 76 |  | 1605.7634 |
| L5 | VEAEDAATYYCQQWTSNPPTFGGGTK | 77 | 102 | C87(Carboxymethyl) | 2878.2392 |
| L6 | LEIK | 103 | 106 |  | 501.3162 |
| L6-7 | LEIKR |  |  |  | 657.4173 |
| L8 | TVAAPSVFIFPPSDEQLK | 108 | 125 |  | 1945.0197 |
| L9 | SGTASVVCLLNNFYPR | 126 | 141 | C133(Carboxymethyl) | 1797.8720 |
| L11 | VQWK | 145 | 148 |  | 559.3118 |
| L12 | VDNALQSGNSQESVTEQDSK | 149 | 168 |  | 2134.9614 |
| L13 | DSTYSLSSTLTLSK | 169 | 182 |  | 1501.7511 |
| L14 | ADYEK | 183 | 187 |  | 624.2755 |
| L16 | VYACEVTHQGLSSPVTK | 190 | 206 | C193(Carboxymethyl) | 1875.9037 |
| L15-16 | HKVYACEVTHQGLSSPVTK | 188 | 206 | C(Carboxymethyl) | 2141.0575 |
| L17-18 | SFNRGEC | 207 | 213 | C(Carboxymethyl) | 869.3338 |

Table S7. Glycan quantitation with MAM LC-MS Results

|  | degly | M5 | FA1 | A2 | FA1G1 | FA2 | FA2G1 | FA2G2 | FA2G1S1 | FA2G2S1 | FA2G2S2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Average Fractional Abundance (%) |  |  |  |  |  |  |  |  |  |  |
| A1 | 0.74 | 0.99 | 1.11 | 4.45 | 0.66 | 34.89 | 44.05 | 10.92 | 0.27 | 1.13 | 0.79 |
| A2 | 0.75 | 1.28 | 1.56 | 3.29 | 0.75 | 41.75 | 40.36 | 8.26 | 0.31 | 0.91 | 0.78 |
| A3 | 0.71 | 0.87 | 1.13 | 4.08 | 0.55 | 36.9 | 43.98 | 9.88 | 0.27 | 0.97 | 0.67 |
| A4 | 0.74 | 0.64 | 0.37 | 8.43 | 0.22 | 39.8 | 43.07 | 6.37 | <LOQ | 0.23 | 0.12 |
| A5 | 0.65 | 1.25 | 1.43 | 4.12 | 0.61 | 41.24 | 41.07 | 8.27 | 0.18 | 0.61 | 0.56 |
| A6 | 0.85 | 1.34 | 1.35 | 4.17 | 0.77 | 39.92 | 41.22 | 8.64 | 0.24 | 0.8 | 0.69 |
| A7 | 1.02 | 1.23 | 1.21 | 4.06 | 0.55 | 45.71 | 38.68 | 6.42 | 0.17 | 0.39 | 0.55 |
| B1 | 0.63 | 1.32 | 0.69 | 5.13 | 0.23 | 46.59 | 40.02 | 4.57 | 0.2 | 0.4 | 0.23 |
| B2 | 0.42 | 2.5 | 2.28 | 3.05 | 1.44 | 52.22 | 33.54 | 3.69 | 0.17 | 0.17 | 0.52 |
|  | Standard Deviation |  |  |  |  |  |  |  |  |  |  |
| A1 | 0.06 | 0.07 | 0.13 | 0.65 | 0.08 | 0.28 | 0.41 | 0.23 | 0.04 | 0.04 | 0.05 |
| A2 | 0.04 | 0.05 | 0.06 | 0.75 | 0.07 | 1.47 | 1.35 | 0.42 | 0.02 | 0.08 | 0.03 |
| A3 | 0.02 | 0.06 | 0.08 | 0.52 | 0.05 | 1.63 | 1.41 | 0.53 | 0.04 | 0.08 | 0.03 |
| A4 | 0.05 | 0.25 | 0.08 | 0.55 | 0.04 | 1.59 | 1.54 | 0.37 | N/A | 0.06 | 0.07 |
| A5 | 0.03 | 0.03 | 0.09 | 1.13 | 0.03 | 0.71 | 1.08 | 0.63 | 0.02 | 0.08 | 0.03 |
| A6 | 0.04 | 0.05 | 0.10 | 0.33 | 0.02 | 1.71 | 1.21 | 0.55 | 0.04 | 0.11 | 0.11 |
| A7 | 0.08 | 0.08 | 0.07 | 0.39 | 0.10 | 1.39 | 1.08 | 0.35 | 0.02 | 0.08 | 0.04 |
| B1 | 0.00 | 0.18 | 0.11 | 0.35 | 0.08 | 1.80 | 1.40 | 0.28 | 0.06 | 0.03 | 0.05 |
| B2 | 0.01 | 0.05 | 0.09 | 0.28 | 0.04 | 1.00 | 1.07 | 0.26 | 0.11 | 0.03 | 0.10 |

Figure S3. Intact deconvoluted spectra

Table S8. Glycan Quantitation using LC-MS Intact Mass Analysis Results

|  | A2G1/ M5 | FA2/ FA2 | FA2/ FA2G1 | FA2/ FA2G2 | FA2G1/ FA2G2 | FA2G2/ FA2G2 | FA2G1/ FA2G2S1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Average Fractional Abundance (%) |  |  |  |  |  |  |
| A1 | 1.22 | 16.2 | 32.1 | 31.2 | 13.7 | 3.2 | 2.1 |
| A2 | 1.60 | 23.2 | 33.2 | 27.0 | 10.4 | 2.3 | 1.5 |
| A3 | 1.19 | 17.4 | 32.8 | 30.6 | 12.9 | 2.7 | 1.8 |
| A4 | 1.2 | 18.4 | 32.9 | 29.9 | 12.5 | 2.7 | 1.9 |
| A5 | 1.5 | 22.0 | 33.1 | 28.4 | 11.0 | 2.3 | 1.2 |
| A6 | 1.4 | 20.8 | 34.2 | 28.0 | 10.9 | 2.5 | 1.4 |
| A7 | 1.43 | 26.2 | 37.1 | 25.0 | 8.4 | 1.8 | <LOQ |
| B1 | <LOQ | 24 | 37 | 29.8 | 6.6 | ND | <LOQ |
| B2 | <LOQ | 37 | 31 | 26 | 4.1 | ND | <LOQ |
|  | Standard Deviation |  |  |  |  |  |  |
| A1 | 0.09 | 0.2 | 0.1 | 0.3 | 0.3 | 0.2 | 0.2 |
| A2 | 0.07 | 0.2 | 0.4 | 0.3 | 0.2 | 0.2 | 0.2 |
| A3 | 0.09 | 0.4 | 0.2 | 0.5 | 0.3 | 0.3 | 0.2 |
| A4 | 0.1 | 0.3 | 0.6 | 0.5 | 0.2 | 0.2 | 0.2 |
| A5 | 0.2 | 0.3 | 0.5 | 0.5 | 0.2 | 0.3 | 0.3 |
| A6 | 0.2 | 0.4 | 0.5 | 0.3 | 0.2 | 0.2 | 0.3 |
| A7 | 0.09 | 0.7 | 0.4 | 0.6 | 0.4 | 0.3 | NA |
| B1 | NA | 1 | 2 | 2 | 0.7 | NA | NA |
| B2 | NA | 3 | 4 | 2 | 1 | NA | NA |

Figure S4. The representative 1H-13C HSQC spectra of rituximab from Product A (left) and Product B (right). The shown spectrum was from the samples of lot 3209283 and RIBV3412. The plotting threshold was set to S/N = 5. Peaks of Man4(3,T), Man4(3,HM), ManA (mannose at position 5 of 1-6/1-3branch) and ManC (mannose at position 5 of 1-3 branch) were not observed in product A, suggesting less mannose species in product A.

Table S9. Glycan analysis (%) by HSQC peak intensities for rituximab Fc fragment.

| Drug Product |  | Total Afucosylation | High-mannose (M4-M9) | Galactosylationa |
| --- | --- | --- | --- | --- |
| Equation |  | 1 | 2 | 3 |
| Product A | A1 | 15.5 | 3.79 | 35.2 |
|  | A2 | 11.6 | NAb | 30.0 |
|  | A3 | 14.4 | NAb | 32.4 |
|  | A4 | NAb | NAb | 33.6 |
|  | A5 | NAb | NAb | 29.9 |
|  | A6 | NAb | NAb | 31.4 |
|  | A7 | 9.65 | NAb | 28.9 |
|  | Average | 12.8 | 3.8 | 31.6 |
|  | STDV | 2.7 | - | 2.2 |
|  | CV% | 21 | - | 7 |
| Product B | B1 | 8.42 | NAb | 27.3 |
|  | B2 | 13.9 | 4.93 | 24.1 |
|  | Average | 11.2 | 4.9 | 25.7 |
|  | STDV | 3.9 | - | 2.3 |
|  | CV% | 35 | - | 9 |

a 100% galactosylation here is two galactoses in one complex N-glycan, e.g., (F)A2G2.

b Not available due to low signal to noise ratio. The signal to noise cut-off is S/N >=3.

Appendix S1: Preparation of Samples for HILIC-FLD analysis

Centrifugal Filter Preparation

- Equilibrate the filter (10KD, PALL Corporation, Ref OD010C33, Lot FE3150) by adding 100 µL of digestion buffer.

- Centrifuge at 10000 × g for 3 min.

- Add another 100 µL of digestion buffer to the filter.

- Add 20 µL of rituximab sample (equivalent to 200 µg) to the filter.

- Centrifuge at 13000 × g for 2 min.

- Discard the flow through.

- Wash the filter with 350 µL of digestion buffer.

- Centrifuge at 13000 × g for 5 minutes.

- Discard the flow through.

- Repeat steps 7 – 8.

- Discard the flow through and use a new collection tube.

De-Glycosylation

- Add 48 µL of digestion buffer and 2 µL of PNGase F.

- Incubate samples in a heating block at 45 °C for 1 hour while mixing at 500 rpm.

- Cool samples to room temperature.

- Centrifuge at 14000 × g for 5 min, to collect the N-glycans in the collection tube.

- To the collection tube, add 5 µL of 200 mmol/L acetic acid.

- Vortex and spin down.

- Incubate for 15 minutes at 45 °C while mixing at 500 rpm.

- Cool to room temperature.

Labeling

- Add 10 µL of labeling reagent (5 µL of 2-AB solution and 5 µL of Reductant solution)

- Vortex. Spin down briefly.

- Cap the tubes tightly and incubate for 2 hours at 65 °C in a heating block at 500 rpm.

- Cool samples to room temperature.

- Spin down.

Removal of excess labeling reagent

- Add 1 mL of 96% acetonitrile to the labeled glycans and mix.

- Rinse required number of cartridges with 1 mL of water under low vacuum.

- Rinse cartridges with 1 mL of 96% acetonitrile under low vacuum or gravity.

- Apply each labeled glycan mixture to individual cartridges.

- Let sample flow through by gravity.

- Wash cartridges 3x with 1.0 mL of 96% acetonitrile under gravity.

- After, 3rd washing, put the cartridges into 1.5 µL tubes and do lower speed centrifuging at 1000 × g for 1 min to completely dry the cartridge.

- Transfer the cartridges into a new 1.5 mL tube.

- Add 100 µL of 20% acetonitrile and allow to absorb into the cartridge.

- Elute the labeled glycans by centrifuging briefly at 2000 × g for 2 min.

- Mix samples 1:1 with 96% acetonitrile (100 µL) prior to HPLC analysis.

- Vortex, spin down and transfer the sample into a HPLC vial.