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[bookmark: OLE_LINK1]Fig. S1 17α-OHP standard curve. Repeat the test three times per calibrators.

[image: 离子选择图]
Fig. S2 Fragmentation ion grams for 17α-OHP and D8-17α-OHP. 
image1.emf
Compound name: 17-OHP

Correlation coefficient: r = 0.999516, r^2 = 0.999032

Calibration curve: 0.00324329 * x + -0.000782493

Response type: Internal Std ( Ref 2 ), Area * ( IS Conc. / IS Area )

Curve type: Linear, Origin: Exclude, Weighting: 1/x^2, Axis trans: None
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