Supplementary Information

Determination of Per- and Polyfluoroalkyl substances (PFAS) in six different fish species from Swiss lakes

Mylène Soudani1, Lucie Hegg2, Camille Rime3, Camille Coquoz4, Denise Bussien Grosjean5, Francesco Danza6, Nicola Solcà6, Fiorella Lucarini*1,7 and Davide Staedler*1,8

1TIBIO Suisse romande, Chemin de Bérée 4C, 1010 Lausanne, Switzerland

2Center for Primary Care and Public Health (Unisanté), University of Lausanne, Route de la Corniche 2, 1066 Epalinges-Lausanne, Switzerland

3TIBIOLab Sàrl, Route d’Yverdon 34, 1373 Chavornay, Switzerland

4Département de la mobilité, du territoire et de l’environnement (DMTE), Service de l’environnement (SEN), Avenue de la Gare 25, 1950 Sion, Switzerland.

5Direction de l’environnement industriel, urbain et rural, Direction générale de l’environnement, Etat de Vaud, Chemin des Boveresses 155, 1066 Epalinges, Switzerland

6Dipartimento del Territorio, Divisione dell’Ambiente, Sezione della protezione dell'aria dell'acqua e del suolo, Via Franco Zorzi 13, 6501 Bellinzona, Switzerland

7School of Engineering and Architecture of Fribourg, Institute of Chemical Technology, HES-SO University of Applied Sciences and Arts of Western Switzerland, Boulevard de Pérolles 80, 1700 Fribourg, Switzerland

8Department of Biomedical Sciences, University of Lausanne, Rue du Bugnon 27, 1011 Lausanne, Switzerland

*corresponding authors: fiorella.lucarini@hefr.ch, davide.staedler@unil.ch

Table S1. Standards employed for the calibration curve and sample spiking.

| Compounds | Abbrev. | N° CAS | Concentration µg/mL | Chemical purity % |
| --- | --- | --- | --- | --- |
| Perfluorobutanoic acid | PFBA | 375-22-4 | 100 ±3.5 | 98.4 |
| Perfluoropentanoic acid | PFPeA | 2706-90-3 | 100 ±3.5 | 99.6 |
| Perfluorohexanoic acid | PFHxA | 307-24-4 | 100 ±3.5 | 99.0 |
| Perfluoroheptanoic acid | PFHpA | 375-85-9 | 100 ±3.5 | 99.0 |
| Perfluorooctanoic acid | PFOA | 335-67-1 | 100 ±3.5 | 99.0 |
| Perfluorononanoic acid | PFNA | 375-95-1 | 100 ±3.5 | 98.0 |
| Perfluorohexane sulfonic acid | PFHxS | 3871-99-6 | 100 ±3.5 | 98.5 |
| Perfluorobutane sulfonic acid | PFBS | 29420-49-3 | 100 ±3.5 | 99.9 |
| Perfluorooctane sulfonic acid | PFOS | 2795-39-3 | 100 ±3.5 | 99.0 |
| Perfluorodecanoic acid | PFDA | 335-76-2 | 100 ±3.5 | 99.1 |
| Perfluoroundecanoic acid | PFUnA | 2058-94-8 | 100 ±3.5 | 96.0 |
| Perfluorododecanoic acid | PFDoDA | 307-55-1 | 100 ±3.5 | 97.0 |
| Perfluoropentane sulfonic acid | PFPeS | 630402-22-1 | 100 ±3.5 | 95.8 |
| Perfluorooctane sulfonamide | PFOSA | 754-91-6 | 100 ±3.5 | 95.0 |
| Perfluorotetradecanoic acid | PFTA | 376-06-7 | 100 ±3.5 | 99.9 |

Table S2. Internal standards.

| Compound | Abbreviation | Conc. µg/mL | Chemical purity % | Isotopical purity % |
| --- | --- | --- | --- | --- |
| Sodium perfluoro-1-(13C8)-octanesulfonate | M8PFOS | 50 | <98 | <99 |
| Perfluoro-n-(1,2-13C2)-hexanoic acid | MPFHxA | 50 | <98 | <99 |
| Perfluoro-n-(13C8)- octanoic acid | M8PFOA | 50 | <98 | <99 |

Table S3. Details of MS analyses. Parameters for MRM detection in negative mode were: gas flow 15 L min-1; gas temperature 140°C; nebulizer gas 40 psi; sheath gas temperature 375°C; sheath gas flow: 12 L min-1; voltage of the MS capillary 2500 V in negative polarity.

| Compounds | Target transition (Tg) Precursor ion (m/z) | Production ion (m/z) | Collision energy (V) | Qualifier transition Precursor ion (m/z) | Production ion (m/z) | Retention time |
| --- | --- | --- | --- | --- | --- | --- |
| Sodium perfluoro-1-(13C8)-octanesulfonate | 507.00 | 506.90 | 40 | 507.00 | 80.00 | 10.691 |
| Perfluoro-n-(1,2-13C2)-hexanoic acid | 315.00 | 119.00 | 11 | 315.00 | 223.00 | 7.723 |
| Perfluoro-n-(13C8)- octanoic acid | 421.10 | 375.95 | 10 | 421.00 | 172.05 | 9.856 |
| Perfluorobutanoic acid | 213.10 | 169.05 | 9 | 213.10 | 169.05 | 3.169 |
| Perfluoropentanoic acid | 263.00 | 219.05 | 8 | 263.00 | 69.00 | 6.400 |
| Perfluorohexanoic acid | 313.10 | 269.00 | 9 | 313.10 | 119.00 | 7.733 |
| Perfluoroheptanoic acid | 363.10 | 319.05 | 10 | 363.10 | 169.00 | 8.889 |
| Perfluorooctanoic acid | 413.00 | 369.95 | 10 | 413.00 | 169.05 | 9.767 |
| Perfluorononanoic acid | 463.00 | 418.95 | 10 | 463.00 | 219.00 | 10.660 |
| Perfluorohexane sulfonic acid | 399.00 | 98.95 | 47 | 399.00 | 79.95 | 8.919 |
| Perfluorobutane sulfonic acid | 298.90 | 79.90 | 34 | 298.90 | 98.95 | 6.765 |
| Perfluorooctane sulfonic acid | 498.90 | 79.95 | 59 | 498.90 | 98.90 | 10.676 |
| Perfluorodecanoic acid | 513.00 | 468.95 | 11 | 512.90 | 219.00 | 11.408 |
| Perfluoroundecanoic acid | 563.00 | 518.95 | 11 | 563.10 | 269.00 | 12.081 |
| Perfluorododecanoic acid | 612.90 | 569.00 | 11 | 612.90 | 169.00 | 12.638 |
| Perfluoropentane sulfonic acid | 349.00 | 79.90 | 10 | 349.00 | 98.90 | 7.918 |
| Perfluorooctane sulfonamide | 498.10 | 77.95 | 35 | 498.10 | 219.00 | 12.125 |
| Perfluorotetradecanoic acid | 712.90 | 669.10 | 10 | 712.90 | 169.00 | 13.574 |

Table S4. Mean recovery of spiked standard in water at 0.1 and 0.5 mg/kg in triplicate calculated with respect to calibration curve in solvent.

|  | Recovery % (RSD, %) |
| --- | --- |
| PFBS | 91% (3.5) |
| PFDA | 103% (5.4) |
| PFHpA | 97% (2.1) |
| PFHpS | 95% (4.3) |
| PFHxA | 90% (1.5) |
| PFHxS | 98% (6.3) |
| PFNA | 94% (4.1) |
| PFOA | 89% (3.9) |
| PFOS | 105% (6.3) |
| PFOSA | 87% (5.2) |
| PFPeA | 93% (4.6) |
| PFPeS | 111% (6.7) |
| PFTA | 85% (7.4) |
| PFDoDA | 96% (3.7) |
| PFUnA | 108% (5.8) |

Table S5. Mean recovery of PFAS calculated on 22 spiked samples at PFAS concentrations of 0.1 and 0.5 mg/kg.

|  | QuEChERS extraction |
| --- | --- |
|  | Recovery % (RSD, %) |
| PFBS | 110% (10.5) |
| PFDA | 115% (9.2) |
| PFHpA | 98% (8.5) |
| PFHpS | 91% (7.3) |
| PFHxA | 83% (2.8) |
| PFHxS | 106% (7.5) |
| PFNA | 96% (1.2) |
| PFOA | 98% (4.2) |
| PFOS | 98% (5.4) |
| PFOSA | 75% (6.9) |
| PFPeA | 90% (3.0) |
| PFPeS | 97% (4.3) |
| PFTA | 101% (8.8) |
| PFDoDA | 103% (6.7) |
| PFUnA | 102% (6.9) |

Fig. S1. Box‐whisker plot of the fillet perfluorononanoic acid (PFNA) concentration. Concentration is compared between species by a t-test: p-value >0.05 for all comparisons.

Fig. S2. PFAS and fish size correlation for PFDA (significant positive correlation), PFBS (significant positive correlation), PFHxS (significant positive correlation) and PfPeA (significant negative correlation). In red: trend line (linear).