Supplemental Information

Figure SI 1. Comparative chromatograms for the four ashwagandha extracts by (in order) PDA, CAD, positive HRMS, and negative HRMS. The colored regions were added to emphasize areas where the chromatogram was magnified

Table SI 1. Response factor (RF) calculations to ensure standards are providing linearity and can support a RRF for semi-quantification of the botanical.

|  | Withanolide A |  | Withanoside V |  |
| --- | --- | --- | --- | --- |
|  | mg of constituent/ g of extract | Percentage Compared to RFF | mg of constituent/ g of extract | Percentage Compared to RFF |
| RRF (CAD) 1 | 1.7 | - | 3.9 | - |
| RF of Constituent (CAD) 2 | 1.6 | 95% | 4.1 | 104% |
| RF of Constituent (HRMS) 3 | 1.9 | 112% | 4.9 | 124% |
| - Relative Response Factor (RFF) was 6.2E-1. the average of the seven analytes used for the CAD semi-quantification - The RFs by CAD for withanolide A and withanoside V were 6.5E-1 and 6.0E-1, respectively. - The RFs by HRMS for withanolide A and withanoside V were 2.8E7 and 1.8E7, respectively. |  |  |  |  |

.

Table SI 2. Comparison of semi-quantitative estimates for Withanolide A and Withanoside V using different response factors

| Tropine |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Conc. (µg/mL) | Area | RF |  |  |
| 0.8 | 0.36 | 0.45 | Overall Mean | 0.67 |
| 4 | 2.6 | 0.65 | SD | 0.16 |
| 20 | 16 | 0.79 | RSD (%) | 24 |
| 100 | 77 | 0.77 | r2 | 0.9999 |
| Kaempferol-ß-O-robinoside-7-O-glucoside |  |  |  |  |  |
| Conc. (µg/mL) | Area | RF |  |  |
| 0.8 | 0.50 | 0.63 | Overall Mean | 0.55 |
| 4.0 | 1.89 | 0.47 | SD | 0.063 |
| 20 | 11 | 0.54 | RSD (%) | 12 |
| 100 | 57 | 0.57 | r2 | 0.9999 |
| Withanolide A |  |  |  |  |  |
| Conc. (µg/mL) | Area | RF |  |  |
| 0.8 | 0.49 | 0.61 | Overall Mean | 0.65 |
| 4.0 | 2.3 | 0.58 | SD | 0.070 |
| 20 | 13 | 0.66 | RSD (%) | 11 |
| 100 | 74 | 0.74 | r2 | 0.9996 |
| Withanoside IV |  |  |  |  |  |
| Conc. (µg/mL) | Area | RF |  |  |
| 0.8 | 0.37 | 0.46 | Overall Mean | 0.59 |
| 4.0 | 2.4 | 0.59 | SD | 0.092 |
| 20 | 13 | 0.63 | RSD (%) | 16 |
| 100 | 67 | 0.67 | r2 | 0.9999 |
| ß-Tropine |  |  |  |  |  |
| Conc. (µg/mL) | Area | RF |  |  |
| 0.8 | 0.47 | 0.59 | Overall Mean | 0.73 |
| 4.0 | 3.1 | 0.77 | SD | 0.010 |
| 20 | 16 | 0.81 | RSD (%) | 14 |
| 100 | 77 | 0.77 | r2 | 0.9998 |
| Withanone |  |  |  |  |  |
| Conc. (µg/mL) | Area | RF |  |  |
| 0.8 | 0.35 | 0.44 | Overall Mean | 0.54 |
| 4.0 | 2.1 | 0.52 | SD | 0.078 |
| 20 | 11 | 0.57 | RSD (%) | 14 |
| 100 | 62 | 0.62 | r2 | 0.9998 |
| Withanoside V |  |  |  |  |  |
| Conc. (µg/mL) | Area | RF |  |  |
| 0.8 | 0.50 | 0.63 | Overall Mean | 0.60 |
| 4.0 | 2.0 | 0.51 | SD | 0.066 |
| 20 | 12 | 0.60 | RSD (%) | 11 |
| 100 | 66 | 0.66 | r2 | 0.9997 |
| Average |  |  |  |  |  |
| Conc. (µg/mL) | Area | RF |  |  |
| 0.8 | 0.43 | 0.54 | Overall Mean | 0.62 |
| 4.0 | 2.3 | 0.58 | SD | 0.066 |
| 20 | 13 | 0.66 | RSD (%) | 11 |
| 100 | 69 | 0.69 | r2 | 1.000 |

Table SI 3. Proposed identifications of constituents that were semi-quantified by CAD above an AET of 6.8 µg/mg utilizing the UHPLC-PDA-CAD-HRMS platform for Ashwagandha Root (Withania sominifera) extract.

| CAD Peak1 | RT (min)2 | Exp. m/z7 +, top -, bottom | Mass Acc. +, top -, bottom | Proposed ID Molecular Formula (CAS) Confidence3 | Structure SMILES | µg constituent/ mg extract | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1a | 0.89 | 203.0526 5 365.1054 5 527.1586 5 707.2219 5 215.0328 6 377.0856 6 539.1390 6 719.2019 6 | 0.2 -0.1 | Saccharides C6H12O6 + (C6H10O5)x Tentative | OC1C(O)C(OCC2OC(OCC3OC(O)C(O)C(O)C3O)C(O)C(O)C2O)OC(CO)C1O | 110 | HRMS supports molecular formulae. MS/MS supports structure(s) via mzCloud online database. 4 Saccharide-based structures (i.e., sugars) are common to botanicals. The chirality cannot be determined. |
| 1b |  | 338.1448 - | -0.0 - | Sugar + C7H13NO4 C13H23NO9 Partial | OC1C(O)C(CO)OC(OC#CC#CC#CC)C1O.O[N+]([O-])=O.[HH].[HH].[HH].[HH] |  | HRMS supports molecular formula. MS/MS supports structure with loss of sugar, but the aglycone cannot be determined. |
| 2a | 0.96 | 203.0526 5 365.1054 5 527.1586 5 707.2219 5 215.0328 6 377.0856 6 539.1390 6 719.2019 6 | 0.2 -0.1 | Saccharides C6H12O6 + (C6H10O5)x Tentative | OC1C(O)C(OCC2OC(OCC3OC(O)C(O)C(O)C3O)C(O)C(O)C2O)OC(CO)C1O | 280 | HRMS supports molecular formulae. MS/MS supports structure(s) via mzCloud online database. 4 Saccharide-based structures (i.e., sugars) are common to botanicals. The chirality cannot be determined. |
| 3a | 0.99 | 203.0526 5 365.1054 5 527.1586 5 707.2219 5 215.0328 6 377.0856 6 539.1390 6 719.2019 6 | 0.2 -0.1 | Saccharides C6H12O6 + (C6H10O5)x Tentative | OC1C(O)C(OCC2OC(OCC3OC(O)C(O)C(O)C3O)C(O)C(O)C2O)OC(CO)C1O | 550 | HRMS supports molecular formulae MS/MS supports structure(s) via mzCloud online database. 4 Saccharide-based structures (i.e., sugars) are common to botanicals. The chirality cannot be determined. |
| 2/3b | 0.96- 0.99 | 142.1226 - | -0.5 - | Tropine OR β-tropine C8H15NO (120-29-6 135-97-7) Reference | CN1C2CCC1CC(O)C2 | 0.97 | HRMS supports molecular formula. MS/MS supports structure via reference standard. Retention time matches reference standard. The combined levels of tropane and β-tropine were similar to what was observed in the USP Ashwagandha reference material (1.5 µg/mg). |
| 4 | 1.59 | 527.1583 5 503.1620 | 0.0 0.5 | Trisaccharide (e.g., raffinose) C18H32O16 (e.g., 512-69-6) Matched | OCC1OC(OCC2OC(OC3(CO)OC(CO)C(O)C3O)C(O)C(O)C2O)C(O)C(O)C1O | 0.54 ± 0.3 | HRMS supports molecular formula MS/MS supports structure via mzCloud online database. 4 Saccharide-based structures (i.e., sugars) are common to botanicals. The exact connectivity and chirality cannot be determined. |
| 5 | 2.01 | 130.0498 128.0353 | -0.5 -0.4 | Pyroglutamic acid C5H7O3N (98-79-3) Matched | O=C1NC(C(O)=O)CC1 | 0.55 ± 0.3 | HRMS supports molecular formula MS/MS supports structure via mzCloud online database. 4 Amino acid-based structures are common to botanicals. |
| 6a | 2.25 | 190.0710 188.0564 | -0.2 -0.9 | Acetylglutamic acid C7H11O5N (1188-37-0) Matched | OC(CCC(NC(C)=O)C(O)=O)=O | 0.58 ± 0.3 | HRMS supports molecular formula. MS/MS supports structure via mzCloud online database. 4 Amino acid-based structures are common to botanicals. This is the only major signal that appears in both positive and negative mode. |
| 6b |  | 144.1381 - | -1.5 - | Hygroline OR 1-α-methyl-Piperidineethanol C8H17ON (496-47-9 OR 934-90-7) Tentative | CN1CCCC1CC(C)O OC(C)CC1CCCCN1 |  | HRMS supports molecular formula. MS/MS supports structure via manual interpretation. No literature/database available to match. |
| 7 | 3.42 | 142.1225 - | -0.1 - | Hygrine OR Pelletierine C8H15ON (496-49-1 OR 2858-66-4) Tentative | CN1CCCC1CC(C)=O O=C(C)CC1NCCCC1 | 0.39 ± 0.2 | HRMS supports molecular formula. MS/MS supports structure via literature {Rubio, 2019 #40} . |
| 8 | 4.28 | 144.1381 - | -1.4 - | Hygroline OR Sedridine C8H17ON (496-47-9 OR 501-83-7) Tentative | CN1CCCC1CC(C)O OC(C)CC1NCCCC1 | 0.76 ± 0.4 | HRMS supports molecular formula. MS/MS supports structure via manual interpretation. No literature/database available to match. |
| 9 | 7.90 | 184.1331 - | -3.6 - | Acetyltropine C10H18O2N (3423-27-6) Tentative | CN1C2CCC1CC(OC(C)=O)C2 | 0.56 ± 0.2 | HRMS supports molecular formula. MS/MS supports structure via manual interpretation. No literature/database available to match. |
| 10a | 20.29 | 474.2596 472.2454 | -0.6 0.2 | N1,N8-Bis(dihydrocaffeoyl) spermidine C25H35O6N3 (132194-39-9) Tentative | OC1=CC(CCC(NCCCNCCCCNC(CCC2=CC(O)=C(O)C=C2)=O)=O)=CC=C1O | 0.34 ± 0.3 | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation but was NOT related to Withania {Dou, 2020 #42}{Du, 2019 #41}. |
| 10b |  | 636.3127 634.2984 | 0.1 0.4 | Lycibarbarspermidines H or I C31H45O11N3 (1884356-81-3 or 1884356-82-4) Tentative | OC1=CC(CCC(NCCCNCCCCNC(CCC2=CC(O)=C(O)C=C2)=O)=O)=CC=C1OC3C(O)C(O)C(O)C(CO)O3 |  | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation but was NOT related to Withania {Du, 2019 #41}{Dou, 2020 #42}. |
| 11a | 20.41 | 474.2596 472.2454 | -0.6 0.2 | N1,N8-Bis(dihydrocaffeoyl) spermidine C25H35O6N3 (132194-39-9) Tentative | OC1=CC(CCC(NCCCNCCCCNC(CCC2=CC(O)=C(O)C=C2)=O)=O)=CC=C1O | 0.46 ± 0.1 | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation but was NOT related to Withania {Du, 2019 #41}{Dou, 2020 #42}. |
| 11b |  | 636.3127 634.2984 | 0.1 0.4 | Lycibarbarspermidines H or I C31H45O11N3 (1884356-81-3 or 1884356-82-4) Tentative | OC1=CC(CCC(NCCCNCCCCNC(CCC2=CC(O)=C(O)C=C2)=O)=O)=CC=C1OC3C(O)C(O)C(O)C(CO)O3 |  | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation but was NOT related to Withania {Du, 2019 #41}{Dou, 2020 #42}. |
| 12 | 22.82 | 224.1644 - | -0.4 - | Tropigline C13H21O2N (533-08-4) Tentative | CN1C2CCC1CC(OC(/C(C)=C/C)=O)C2 | 0.51 ± 0.07 | HRMS supports molecular formula. MS/MS supports structure via manual interpretation. No literature/database available to match. |
| 13 | 30.95 | 815.4060 813.3914 | 0.0 -0.1 | Withagenin A Diglucoside C40H62O17 (1379595-75-1) Matched | OC1CC(OC2C(O)C(O)C(O)C(COC3C(O)C(O)C(O)C(CO)O3)O2)CC4(O)C1(C)C5C(C(CCC6C(C)C7OC(C(CO)=C(C)C7)=O)C6(C)CC5)C8C4O8 | 0.37 ± 0.1 | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation and was related to W. somnifera fruits {Bolleddula, 2012 #43}. |
| 14a | 31.22 | 1107.5214 1105.5068 | -0.4 -0.4 | Withanoside IX C52H82O25 (500721-40-4) Matched | OC1CC(OC2C(O)C(O)C(O)C(COC3C(O)C(O)C(O)C(CO)O3)O2)CC4=CCC(C(CCC5C(C)C6OC(C(COC7C(O)C(O)C(O)C(COC8C(O)C(O)C(O)C(CO)O8)O7)=C(C)C6)=O)C5(C)CC9)C9C41C | 2.0 ± 0.3 | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation and was related to W. somnifera fruits {Bolleddula, 2012 #43}. |
| 14b |  | 1095.5569 1093.5427 | -1.2 -0.9 | (1α,​3β,​22R,​24Z)​-​1,​22-​dihydroxyergosta-​5,​24-​diene-​3,​26-​diyl bis[6-​O-​β-​D-​glucopyranosyl-β-​D-​Glucopyranoside C52H86O24 (2411842-88-9) Tentative | OC(C/C(C)=C(COC1C(O)C(O)C(O)C(COC2C(O)C(O)C(O)C(CO)O2)O1)\C)C(C)C3CCC4C5CC=C6CC(OC7C(O)C(O)C(O)C(COC8C(O)C(O)C(O)C(CO)O8)O7)CC(O)C6(C)C5CCC43C |  | HRMS supports molecular formula. MS/MS supports structure via literature. Literature only contained HRMS and NMR (i.e., no fragmentation), but was related to W. somnifera seeds {Iguchi, 2021 #44}. |
| 15a | 32.38 | 933.5050 931.4907 | -0.4 | C46H76O19 Tentative | OC(C/C(C)=C(C)/CO)C(C)C1CCC2C3CC=C4CC(O)CC(O)C4(C)C3CCC21C.OC5C(CO)OC(O)C(O)C5O.OC6C(CO)OC(O)C(O)C6O.OC7C(CO)OC(O)C(O)C7O | 0.35 ± 0.06 | HRMS supports molecular formula. MS/MS supports structure via manual interpretation. Literature only contained closely related analogues and was related to W. somnifera seeds {Iguchi, 2021 #44}. |
| 15b |  | 945.4682 989.4596 7 | -0.8 | Sominone Triglucoside (Withanoside VIII) C46H72O20 (519186-57-3) Matched | OC(C1)CC(O)C2(C)C1=CCC3C2CCC4(C)C3CCC4C(C)C5OC(C(CO)=C(C)C5)=O.OC6C(CO)OC(O)C(O)C6O.OC7C(CO)OC(O)C(O)C7O.OC8C(CO)OC(O)C(O)C8O |  | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation and was related to W. somnifera fruits {Bolleddula, 2012 #43} and roots {Zhao, 2002 #45}. |
| 16a | 32.67 | 653.3533 697.3440 7 | 0.2 -0.1 | Withanoside III C34H52O12 (362472-80-8) Matched | OC1CC(OC2C(O)C(O)C(O)C(CO)O2)CC3(O)C1(C)C4C(C(CCC5C(C)C6OC(C(CO)=C(C)C6)=O)C5(C)CC4)C7C3O7 | 0.39 ± 0.06 | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation and was related to W. somnifera fruits {Bolleddula, 2012 #43}. |
| 16b |  | 1241.6175 1239.6013 | 1.2 -0.8 | C58H96O28 Partial | C/C(CO)=C(C)\CCC(C)C1CCC2C3CC=C4CC(O)CC(O)C4(C)C3CCC21C.OC5C(CO)OC(O)C(O)C5O.OC6C(CO)OC(O)C(O)C6O.OC7C(CO)OC(O)C(O)C7O.OC8C(CO)OC(O)C(O)C8O.OC9C(CO)OC(O)C(O)C9O |  | HRMS supports molecular formula. MS/MS largely contains losses of sugar moieties. There are several, albeit structurally similar, compounds in literature that would be supported by the HRMS and MS/MS. None of these options have been reported to come from Withania, but there is high confidence that it is some sterol with four sugar moieties attached. The backbone of the sterol proposed is consistent with those reported in literature. Molecular formula and MS/MS matches peak 23c with an additional sugar moieties. |
| 17a | 33.07 | 945.4682 943.4540 | -0.8 -0.4 | Sominone Triglucoside (Withanoside VIII) C46H72O20 (500722-19-0) Matched | OC(C1)CC(O)C2(C)C1=CCC3C2CCC4(C)C3CCC4C(C)C5OC(C(CO)=C(C)C5)=O.OC6C(CO)OC(O)C(O)C6O.OC7C(CO)OC(O)C(O)C7O.OC8C(CO)OC(O)C(O)C8O | 1.3 ± 0.3 | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation and was related to W. somnifera fruits {Bolleddula, 2012 #43} and roots {Zhao, 2002 #45}. |
| 17b |  | 1079.5632 1077.5485 | -0.1 0.9 | Sterol with four sugar moieties C52H86O23 Partial | OC(C1)CCC2(C)C1=CCC3C2CCC4(C)C3CC5C4C(C)C(OC)(CCC(C)CO)O5.OC6C(CO)OC(O)C(O)C6O.OC7C(CO)OC(O)C(O)C7O.OC8C(CO)OC(O)C(O)C8O.OC9C(CO)OC(O)C(O)C9O |  | HRMS supports molecular formula. MS/MS largely contains losses of sugar moieties. There are several, albeit structurally similar, compounds in literature that would be supported by the HRMS and MS/MS. None of these options have been reported to come from Withania, but there is high confidence that it is some sterol with four sugar moieties attached. The backbone of the sterol proposed is consistent with those reported in literature. Fragmentation is similar to the isomer at Peak 20. |
| 18 | 33.17 | 933.5050 931.4902 | -0.4 -0.6 | Sterol with three sugar moieties C46H76O19 Partial | CC1(C(O)CCC2)C2=CCC3C1CCC4(C)C3CC5C4C(C)C(OC)(CCC(C)CO)O5.OC6C(CO)OC(O)C(O)C6O.OC7C(CO)OC(O)C(O)C7O.OC8C(CO)OC(O)C(O)C8O | 0.42 ± 0.1 | HRMS supports molecular formula. MS/MS largely contains losses of sugar moieties. There are several, albeit structurally similar, compounds in literature that would be supported by the HRMS and MS/MS. None of these options have been reported to come from Withania, but there is high confidence that it is some sterol with four sugar moieties attached. The backbone of the sterol proposed is consistent with those reported in literature. Molecular formula and MS/MS matches peak 23c with an additional sugar moiety. |
| 19 | 33.70 | 964.4191 962.4050 | -0.9 -0.4 | Lyciumin C C49H57O12N9 (150394-23-3) Tentative | O=C1NC(C(N2C(C(NC(C(NC3N4C=C(CC(C(O)=O)NC(C(NC(C(NC(C(C(C)C)NC3=O)=O)CC5=CC=CC=C5)=O)CO)=O)C6=C4C=CC=C6)=O)CC7=CC=C(O)C=C7)=O)CCC2)=O)CC1 | 0.49 ± 0.08 | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation but was NOT related to Withania {Li, 2015 #46}. |
| 20 | 33.96 | 1079.5629 1077.5483 | -0.4 0.6 | C52H86O23 Tentative | OC(C1)CCC2(C)C1=CCC3C2CCC4(C)C3CC5C4C(C)C(OC)(CCC(C)CO)O5.OC6C(CO)OC(O)C(O)C6O.OC7C(CO)OC(O)C(O)C7O.OC8C(CO)OC(O)C(O)C8O.OC9C(CO)OC(O)C(O)C9O | 0.78 ± 0.2 | HRMS supports molecular formula. MS/MS largely contains losses of sugar moieties. There are several, albeit structurally similar, compounds in literature that would be supported by the HRMS and MS/MS. None of these options have been reported to come from Withania, but there is high confidence that it is some sterol with four sugar moieties attached. The backbone of the sterol proposed is consistent with those reported in literature. Fragmentation is similar to the isomer at Peak 17b. |
| 21 | 34.14 | 569.2412 567.2269 | -0.5 -0.2 | 2,3-Dihydro-3-β-O-sulfate withaferin A C28H40O10S (1159096-16-8) Matched | O=C1CC(OS(O)(=O)=O)C(O)C23C1(C)C4C(C(CCC5C(C)C6OC(C(CO)=C(C)C6)=O)C5(C)CC4)CC2O3 | 0.42 ± 0.1 | HRMS supports molecular formula. MS/MS supports structure via literature. Literature only contained HRMS and NMR (i.e., no fragmentation), but was related to W. somnifera leaves {Misra, 2005 #47} and roots {Trivedi, 2017 #48}. The molecular formula matches withaferin A with a sulfate. |
| 22 | 34.30 | 783.4158 827.4069 7 | -0.4 - | Withanoside IV isomer C40H62O15 Matched | OC(C1)CC(O)C2(C)C1=CCC3C2CCC4(C)C3CCC4C(C)C5OC(C(CO)=C(C)C5)=O.OC6C(CO)OC(O)C(O)C6O.OC7C(CO)OC(O)C(O)C7O | 0.47 ± 0.1 | HRMS supports molecular formula. MS/MS supports structure via literature (isomer of Withanoside IV). Literature contained fragmentation of Withanoside IV only (not other isomers) and was related to W. somnifera fruits {Bolleddula, 2012 #43. |
| 23a | 34.53 | 569.2412 567.2269 | -0.5 -0.2 | 2,3-Dihydro-3-β-O-sulfate withaferin A C28H40O10S (871949-35-8) Matched | O=C1CC(OS(O)(=O)=O)CC2(O)C1(C)C3C(C(CCC4(O)C(C)C5OC(C(C)=C(C)C5)=O)C4(C)CC3)C6C2O6 | 0.67 ± 0.4 | HRMS supports molecular formula. Literature only contained HRMS and NMR (i.e., no fragmentation), but was related to W. somnifera leaves {Misra, 2005 #47} and roots {Trivedi, 2017 #48}. MS/MS is similar, though slightly different, than Peak 25. The molecular formula matches withaferin A with a sulfate. |
| 23b |  | 553.2466 551.2325 | 0.1 0.7 | 2,3-Dihydro-3-β-O-sulfate withanolide B C28H40O9S Partial | O=C1CC(OS(O)(=O)=O)CC2(O)C1(C)C3C(C(CCC4C(C)C5OC(C(C)=C(C)C5)=O)C4(C)CC3)C6C2O6 |  | HRMS supports molecular formula. MS/MS is similar to the constituent at peak 25 (less one oxygen) but there is no literature for this structure (nor anything with this formula). The molecular formula matches withanolide B with a sulfate. |
| 23c |  | 771.4524 769.4382 | -0.2 -0.2 | (1α,3β,22R,24Z)-1,3,22-trihydroxy ergosta-5,24-dien-26-yl 6-O-β-D-gluco pyranosyl-β-D-glucopyranoside C40H66O14 (2411842-87-8) Tentative | OC(C1)CC(O)C2(C)C1=CCC3C2CCC4(C)C3CCC4C(C)C(O)C/C(C)=C(C)\CO.OC5C(CO)OC(O)C(O)C5O.OC6C(CO)OC(O)C(O)C6O |  | HRMS supports molecular formula. Literature only contained HRMS and NMR (i.e., no fragmentation), but was related to W. somnifera seeds {Iguchi, 2021 #44}. Molecular formula and MS/MS matches several other constituents in this sample with varying number of additional sugar moieties. |
| 24 | 34.65 | 897.3877 895.3741 | -3.0 -1.9 | C51H60O12S Partial | O=C1CC(OS(=O)(O)=O)C(O)C23C1(C)C4C(C(CCC5C(C)C6OC(C(CO)=C(C)C6)=O)C5(C)CC4)CC2O3.C#CC#CC#CC#CC#CC#CC#CC#CC#CC#CC#CC.O=O.[HH].[HH].[HH].[HH].[HH].[HH].[HH].[HH] | 1.1 ± 0.2 | HRMS supports molecular formula. In-source fragments and MS/MS support it’s related to peaks 23 and 25 with an addition of C23H20O2. The structure of this addition is unknown. MS/MS is similar, though slightly different, than Peak 23a. |
| 25 | 35.46 | 569.2412 567.2269 | -0.5 -0.2 | 2,3-Dihydro-3-β-O-sulfate withaferin A C28H40O10S (1159096-16-8) Tentative | O=C1CC(OS(=O)(O)=O)C(O)C23C1(C)C4C(C(CCC5C(C)C6OC(C(CO)=C(C)C6)=O)C5(C)CC4)CC2O3 | 0.38 ± 0.1 | HRMS supports molecular formula. MS/MS supports structure via literature. Literature only contained HRMS and NMR (i.e., no fragmentation), but was related to W. somnifera leaves {Misra, 2005 #47} and roots {Trivedi, 2017 #48}. MS/MS is similar, though not exact, to Peak 23a. The molecular formula matches withaferin A with a sulfate. |
| 26a | 37.15 | 783.4155 827.4065 7 | -0.9 -0.7 | Withanoside IV C40H62O15 (362472-81-9) Reference | OC1CC(OC2C(O)C(O)C(O)C(COC3C(O)C(O)C(O)C(CO)O3)O2)CC4=CCC(C(CCC5C(C)C6OC(C(CO)=C(C)C6)=O)C5(C)CC7)C7C41C | 6.8 | HRMS supports molecular formula. MS/MS supports structure via reference standard. Retention time matches the reference standard. |
| 26b |  | 489.2853 533.2760 7 | -0.0 0.7 | Viscosalactone B or related isomer C28H40O7 (76938-46-0) Matched | O=C1CC(O)C(O)C23C1(C)C4C(C(CCC5C(C)C6OC(C(CO)=C(C)C6)=O)C5(C)CC4)CC2O3 |  | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation of Viscosalactone B only (not other isomers) and was related to W. somnifera fruits {Bolleddula, 2012 #43}. Retention time is shifted and likely not a major contributor to mass. |
| 27 | 37.50 | 489.2845 533.2760 7 | -0.4 0.7 | Viscosalactone B or related isomer C28H40O7 (76938-46-0) Matched | O=C1CC(O)C(O)C23C1(C)C4C(C(CCC5C(C)C6OC(C(CO)=C(C)C6)=O)C5(C)CC4)CC2O3 | 0.43 ± 0.08 | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation of Viscosalactone B only (not other isomers) and was related to W. somnifera fruits {Bolleddula, 2012 #43}. |
| 28 | 37.76 | 489.2845 533.2760 7 | -0.4 0.7 | Viscosalactone B or related isomer C28H40O7 (76938-46-0) Matched | O=C1CC(O)C(O)C23C1(C)C4C(C(CCC5C(C)C6OC(C(CO)=C(C)C6)=O)C5(C)CC4)CC2O3 | 0.48 ± 0.1 | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation of Viscosalactone B only (not other isomers) and was related to W. somnifera fruits {Bolleddula, 2012 #43}. |
| 29 | 38.46 | 783.4155 827.4062 7 | -0.9 | Withanoside VI C40H62O15 (362472-81-9) Matched | OC1CC(OC2C(O)C(O)C(O)C(COC3C(O)C(O)C(O)C(CO)O3)O2)CC4=CCC(C(CCC5C(C)(O)C6OC(C(C)=C(C)C6)=O)C5(C)CC7)C7C41C | 2.5 ± 0.5 | HRMS supports molecular formula. MS/MS supports structure via literature (isomer of Withanoside IV). Literature contained fragmentation of Withanoside IV only (not other isomers) and was related to W. somnifera fruits {Bolleddula, 2012 #43} . |
| 30 | 38.99 | 799.4110 797.3962 | -0.1 -0.4 | Withanoside II C40H62O16 (362472-79-5) Matched | O=C1OC(CC(=C1C)C)C(C)C2CCC3C4C5OC5C6(O)CC(OC7OC(COC8OC(CO)C(O)C(O)C8O)C(O)C(O)C7O)CC(O)C6(C)C4CCC23C | 2.6 ± 0.5 | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation and was related to W. somnifera fruits {Bolleddula, 2012 #43}. |
| 31a | 40.14 | 473.2897 517.2813 7 | -0.1 0.7 | 23, 24 Dihydrowithaferin A C28H40O6 (5589-41-3) Matched | OC1C=CC(O)C23C1(C)C4C(C(CCC5C(C)C6OC(C(CO)=C(C)C6)=O)C5(C)CC4)CC2O3 | 0.35 ± 0.1 | HRMS supports molecular formula. MS/MS supports structure via literature. Literature contained fragmentation and was related to W. somnifera fruits {Bolleddula, 2012 #43}. |
| 31b |  | 351.2143 5 327.2175 | 0.0 -0.5 | 9,12,13-Trihydroxy-10,15-octadecadienoic acid C18H32O5 (51146-90-8) Tentative | OC(CCCCCCCC(O)/C=C/C(O)C(O)C/C=C\CC)=O |  | HRMS supports molecular formula. MS/MS supports structure via literature. Literature does not contain references to W. somnifera {Cong, 2021 #49}. |
| 31c |  | 823.4975 5 799.5003 | 0.0 0.2 | Unidentified (Potential Artifact) C46H72O11 Partial |  |  | HRMS supports molecular formula. Interestingly, MS/MS fragments includes 31a (M+Na]+) and 31b ([M+H]+). Further investigation to determine if this is an in-source product or if the constituent is those two constituents connected. |
| 32 | 40.33 | 976.4554 974.4415 | -0.7 -0.9 | C51H61O11N9 Partial |  | 0.26 ± 0.08 | HRMS supports molecular formula. Isotope ratios support molecular formula. |
| 33 | 40.49 | 621.3634 665.3540 7 | 0.1 -0.4 | Coagulin Q C34H52O10 (261637-26-7) Matched | OC1CC(OC2C(O)C(O)C(O)C(CO)O2)C=C3C1(C)C4C(C(CCC5C(C)(O)C6OC(C(C)=C(C)C6)=O)C5(C)CC4)CC3 | 0.55 ± 0.2 | HRMS supports molecular formula MS/MS supports structure via literature. Literature contained fragmentation and was related to W. somnifera fruits {Bolleddula, 2012 #43}. |
| 34 | 41.38 | 637.3585 681.3489 7 | 0.4 -0.4 | Withanoside I C34H52O11 (362472-78-4) Matched | OC1CC(OC2C(O)C(O)C(O)C(CO)O2)CC3(O)C1(C)C4C(C(CCC5C(C)(O)C6OC(C(C)=C(C)C6)=O)C5(C)CC4)C7C3O7 | 0.32 ± 0.04 | HRMS supports molecular formula MS/MS supports structure via literature.* Literature contained fragmentation and was related to W. somnifera fruits {Bolleddula, 2012 #43}. *Fragmentation was on [M+H-H2O]+ due to low abundance of [M+H]+. |
| 35 | 42.95 | 471.2740 515.2653 7 | -0.2 0.5 | Withaferin A C28H38O6 (5119-48-2) Reference | O=C1C=CC(O)C23C1(C)C4C(C(CCC5C(C)C6OC(C(CO)=C(C)C6)=O)C5(C)CC4)CC2O3 | 5.2 ± 0.8 | HRMS supports molecular formula MS/MS supports structure via reference standard. Retention time matches reference standard. |
| 36 | 43.31 | 353.2298 5 329.2332 | -0.2 -0.4 | 9,10,13-trihydroxy octadecenoic acid C18H34O5 (29907-56-0, 61911-67-9, etc.) Tentative | OC(CCCCCCCC(O)Ccc(O)c(O)cccCC)=O | 0.63 ± 0.1 | HRMS supports molecular formula MS/MS supports structure via mzCloud4 and literature, but relative intensities differ. Placement of double bond cannot be confirmed but matches to literature/database were highlighted {Liang, 2018 #50}. |
| 37 | 43.44 | 505.2616 503.2476 | -0.5 0.6 | Sulfonated Withaferin A C28H40O6S (2354327-03-8 OR 2354326-93-3) Tentative | O=C1CC(S)C(O)C23C1(C)C4C(C(CCC5C(C)C6OC(C(CO)=C(C)C6)=O)C5(C)CC4)CC2O3 O=C1CC2C(O)C3(O)C1(C)C4C(C(CCC5C(C)C6OC(C(CO)=C(C)C6)=O)C5(C)CC4)CC3S2 | 0.31 ± 0.04 | HRMS supports molecular formula. MS/MS supports structure via manual interpretation. No literature/database fragmentation available to match. Constituent only reported as synthetic product of withaferin A {Casero, 2017 #51}. |
| 38 | 43.92 | 471.2740 515.2653 7 | -0.2 0.5 | Withanone isomer (Withanolide D) C28H38O6 (30655-48-2) Tentative | O=C1C=CCC2(O)C1(C)C3C(C(CCC4(O)C(C)C5OC(C(C)=C(C)C5)=O)C4(C)CC3)C6C2O6 | 1.4 ± 0.2 | HRMS supports molecular formula MS/MS is similar to other isomers. Retention time does not match reference standard for withanone but matches with an impurity in the withanone standard. Can’t determine which isomer without standard. Withanolide D is a possibility based on it’s reported abundance in literature {Ganzera, 2003 #52}. |
| 39 | 44.26 | 507.2506 505.2365 | -0.3 0.5 | 6α-Chloro-5β-hydroxywithaferin A C28H39O6Cl 52329-20-1 Tentative | O=C1C=CC(O)C2(O)C1(C)C3C(C(CCC4C(C)C5OC(C(CO)=C(C)C5)=O)C4(C)CC3)CC2Cl | 1.1 ± 0.2 | HRMS supports molecular formula {Tong, 2011 #53}. MS/MS supports structure via manual interpretation. No literature/database fragmentation available to match. |
| 40 | 45.07 | 471.2740 515.2653 7 | -0.2 0.5 | Withanolide A C28H38O6 (32911-62-9) Reference | O=C1C=CCC2(O)C1(C)C3C(C(CCC4C(O)(C)C5OC(C(C)=C(C)C5)=O)C4(C)CC3)C6C2O6 | 2.1 ± 0.4 | HRMS supports molecular formula MS/MS supports structure via reference standard. Retention time matches reference standard. |
| 41 | 45.62 | 767.4203 765.4062 | -1.2 -0.7 | Withanoside V C40H62O14 (256520-90-8) Reference | OC1CC(OC2C(O)C(O)C(O)C(COC3C(O)C(O)C(O)C(CO)O3)O2)CC4=CCC(C(CCC5C(C)C6OC(C(C)=C(C)C6)=O)C5(C)CC7)C7C41C | 3.9 | HRMS supports molecular formula MS/MS supports structure via reference standard. Retention time matches reference standard. |
| 42 | 47.18 | 517.3157 561.3069 7 | -0.5 0.0 | (20S,22R)-3-acetate δ-lactone 6α,7α-epoxy-1α,3β,5,22-tetrahydroxy-5α-Ergost-24-en-26-oic acid C30H44O7 (33903-25-2) Tentative | OC1CC(OC(C)=O)CC2(O)C1(C)C3C(C(CCC4C(C)C5OC(C(C)=C(C)C5)=O)C4(C)CC3)C6C2O6 | 0.33 ± 0.05 | HRMS supports molecular formula MS/MS supports structure via manual interpretation. Literature only makes mention that this is a known constituent of W. somnifera {Kirson, 1971 #54}. |
| 43a | 48.39 | 605.3684 649.3591 7 | 0.0 -0.4 | (1α,​3β,​22R)​-δ-​lactone 3-​(β-​D-​glucopyranosyloxy)​-​1,​22-​dihydroxy Ergosta-​5,​24-​dien-​26-​oic acid C34H52O9 (1567812-88-7) Tentative | OC1CC(OC2C(O)C(O)C(O)C(CO)O2)CC3=CCC(C(CCC4C(C)C5OC(C(C)=C(C)C5)=O)C4(C)CC6)C6C31C | 0.33 ± 0.04 | HRMS supports molecular formula MS/MS supports structure via manual interpretation. Literature only makes mention that this is a known constituent of W. somnifera seeds {Iguchi, 2021 #44}. |
| 43b |  | 537.2341 535.2199 | 0.4 1.0 | (3α,​4β,​5β,​6α,​22R)​- δ-​lactone 3,​6-​epidithio-​4,​5,​22,​27-​tetrahydroxy-​1-​oxo- Ergost-​24-​en-​26-​oic acid C28H40O6S2 (2354326-97-7) Partial | O=C1CC2C(O)C3(O)C1(C)C4C(C(CCC5C(C)C6OC(C(CO)=C(C)C6)=O)C5(C)CC4)CC3SS2 |  | HRMS supports molecular formula. MS/MS supports structure via manual interpretation. No literature/database fragmentation available to match. Constituent only reported as synthetic product of withaferin A {Casero, 2017 #51}. |
| 44 | 52.21 | 975.5280 973.5132 | -0.7 -0.9 | Ashwagandhanolide C56H78O12S (919478-81-2) Matched | O=C1C=CC(O)C2(O)C1(C)C3C(C(CCC4C(C)C5OC(C(CO)=C(C)C5)=O)C4(C)CC3)CC2SC6C(C7(C)C8C(C(CCC9C(C)C%10OC(C(CO)=C(C)C%10)=O)C9(C)CC8)C6)(O)C(O)C=CC7=O | 0.43 | HRMS supports molecular formula MS/MS supports structure via manual interpretation. Literature only contained HRMS and NMR (i.e., no fragmentation), but was related to W. somnifera roots {Subbaraju, 2006 #55}. |
| 45 | 54.18 | 455.2791 - | -0.2 - | Withanolide B C28H38O5 (56973-41-2) Reference | O=C1C=CCC2(O)C1(C)C3C(C(CCC4C(C)C5OC(C(C)=C(C)C5)=O)C4(C)CC3)C6C2O6 | 0.61 | HRMS supports molecular formula MS/MS supports structure via reference standard. Retention time matches reference standard. |
| 46a | 76.77 | 256.2638 - | 0.2 - | Hexadecanamide C16H33NO (629-54-9) Matched | NC(CCCCCCCCCCCCCCC)=O | 0.40 | HRMS supports molecular formula MS/MS supports structure via mzCloud online database. 4 Alkylamides are common to botanicals. |
| 46b |  | 319.1946 8 279.2330 | 0.4 0.0 | Linoleic acid C18H32O2 (60-33-3) Tentative | OC(CCCCCCC/C=C\C/C=C\CCCCC)=O |  | HRMS supports molecular formula MS/MS supports structure via mzCloud online database. 4 Fatty acids are common to botanicals. |
| - P&G CAD peak numbers reflect the sequential order of peaks detected and integrated in the UHPLC-CAD chromatogram of the extracted sample. If multiple components (determined from MS data) eluted within the integration window of the CAD peak, sequential letter designations were appended to the peak number. - Retention times listed are based on the time the constituent(s) was detected by the CAD detector. The retention times for the HRMS were approximately 0.1 min later. - Confidence level assignments from lowest confidence to highest confidence based on TAC Standard Laboratory Practice SLP-MVSA-1010: - Partial molecular formula derived from exact mass measurements - Tentative molecular formula derived from exact mass measurements and proposed structure supported by either MS/MS spectrum or UV spectrum or literature data reporting the structure in plants of the same genus (Withania) as Withania somnifera. - Matched molecular formula derived from exact mass measurements and proposed structure supported by MS/MS (manual interpretation) and literature data reporting the structure in Withania somnifera or proposed structure supported by MS/MS (match with database) and compound reasonably likely to be present in plant material. - Reference same criteria as a “Matched” identification and there is a retention time and MS/MS match to an authentic reference standard. - Databases for reference: - mzCloud: An online (https://www.mzcloud.org) curated mass spectral database containing high resolution/accurate mass fragmentation spectra. - Sodiated adduct was measured (i.e., [M+Na]+). - Chlorinated adduct was measured (i.e., [M+Cl]-). - Formate adduct was measured (i.e., [M-H+CH2O2]-). - Calcium adduct was measured (i.e., [M-H+Ca]+). |  |  |  |  |  |  |  |

Table SI 3. Extracted ion, CAD, and total ion chromatograms of each peak and their corresponding MS and MS/MS fingerprint as described in Table SI 2.