Supporting Information

A new elemental analytical approach for microplastic sum parameter analysis—ETV/ICP-MS with CO2

Vera M. Scharek1, Thommy Kröger1, Karin Keil2, Heike Traub1, Björn Meermann1*

1Federal Institute for Materials Research and Testing (BAM), Division 1.1 – Inorganic Trace Analysis (ITALab), Richard-Willstätter-Str. 11, 12489 Berlin, Germany

2Federal Institute for Materials Research and Testing (BAM), Division 1.9 – Chemical and Optical Sensing, Richard-Willstätter-Str. 11, 12489 Berlin, Germany

Corresponding author: PD Dr. habil. Björn Meermann, bjoern.meermann@bam.de

The Ar-CO2 gas mixture ρmix at room temperature was obtained on basis of the ideal gas law equation using Eq. S1. For the pressure P, the atmospheric value of 101,325 Pa was utilized. Mmix is the molar mass of the gas mixture calculated from the molar portions given in the certificate of the primary reference material and the molar masses of CO2 and Ar, respectively. R represents the universal gas constant with about 8.3144 J mol-1 K-1 and for the temperature T in K, a value of 293.15 K was used.

ρmix=P∙MmixR∙T										Eq. S1

Figure S1: 13C+ time scan of the ETV/ICP-MS measurement of an empty boat.

Figure S2: 13C+ time scan of the ETV/ICP-MS measurement of soil matrix without added MPs.