Supplementary Information

to the article

Development and Validation of HILIC–MS/MS Method for the Analysis of Glutathione Metabolism in Cell Cultures

Miroslav Kubáta, Erika Roušarováa, Tomáš Roušarb, Petr Česlaa,*

aUniversity of Pardubice, Faculty of Chemical Technology, Department of Analytical Chemistry, Studentská 573, CZ-53210 Pardubice, Czech Republic

bUniversity of Pardubice, Faculty of Chemical Technology, Department of Biological and Biochemical Sciences, Studentská 573, CZ-53210 Pardubice, Czech Republic

Table S1

Final concentrations (ng/mL) of standard additions for method validation and sample analysis

| Analyte/CSA (ng/mL) | SA1 low | SA1 med | SA1 high | SA2 low | SA2 med | SA2 high | SA3 low | SA3 med | SA3 high | Adj. SA1 | Adj. SA2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CG | 19.0 | 95.0 | 476 | 36.0 | 182 | 909 | 52.0 | 261 | 1300 | 95.0 | 182 |
| CT | 19.0 | 95.0 | 476 | 36.0 | 182 | 909 | 52.0 | 261 | 1300 | 95.0 | 182 |
| Cys | 19.0 | 95.0 | 476 | 36.0 | 182 | 909 | 52.0 | 261 | 1300 | 95.0 | 182 |
| CysS | 19.0 | 95.0 | 476 | 36.0 | 182 | 909 | 52.0 | 261 | 1300 | 95.0 | 182 |
| gGC | 38.0 | 190 | 952 | 73.0 | 364 | 1800 | 104 | 522 | 2600 | 952 | 1800 |
| Gln | 190 | 952 | 4800 | 364 | 1800 | 9100 | 522 | 2600 | 13000 | 4800 | 9100 |
| Glu | 190 | 952 | 4800 | 364 | 1800 | 9100 | 522 | 2600 | 13000 | 4800 | 9100 |
| Gly | 95.0 | 476 | 2400 | 182 | 909 | 4500 | 261 | 1300 | 6500 | 476 | 909 |
| GSH | 190 | 952 | 4800 | 364 | 1800 | 9100 | 522 | 2600 | 13000 | 4800 | 9100 |
| GSSG | 38.0 | 190 | 952 | 73.0 | 364 | 1800 | 104 | 522 | 2600 | 190 | 364 |
| HCys | 10.0 | 48.0 | 238 | 18.0 | 91.0 | 455 | 26.0 | 130 | 652 | 48.0 | 91.0 |
| HCysS | 19.0 | 95.0 | 476 | 36.0 | 182 | 909 | 52.0 | 261 | 1300 | 95.0 | 182 |
| Met | 38.0 | 190 | 952 | 73.0 | 364 | 1800 | 104 | 522 | 2600 | 190 | 364 |
| MSO | 10.0 | 48.0 | 238 | 18.0 | 91.0 | 455 | 26.0 | 130 | 652 | 48.0 | 91.0 |
| MSO2 | 10.0 | 48.0 | 238 | 18.0 | 91.0 | 455 | 26.0 | 130 | 652 | 48.0 | 91.0 |
| NAC | 10.0 | 48.0 | 238 | 18.0 | 91.0 | 455 | 26.0 | 130 | 652 | 48.0 | 91.0 |
| NAM | 10.0 | 48.0 | 238 | 18.0 | 91.0 | 455 | 26.0 | 130 | 652 | 48.0 | 91.0 |
| PGlu | 95.0 | 476 | 2400 | 182 | 909 | 4500 | 261 | 1300 | 6500 | 476 | 909 |
| SAH | 19.0 | 95.0 | 476 | 36.0 | 182 | 909 | 52.0 | 261 | 1300 | 95.0 | 182 |
| SAM | 38.0 | 190 | 952 | 73.0 | 364 | 1800 | 104 | 522 | 2600 | 190 | 364 |
| Tau | 190 | 952 | 4800 | 364 | 1800 | 9100 | 522 | 2600 | 13000 | 952 | 1800 |

Table S2

Columns used and their characteristics

| Commercial name | Dimensions | Pore size | Carbon load | Manufacturer | Particle type | Stationary phase | Mode |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Kinetex C18 | 150 × 3.0 mm, 2.6 µm | 100 Å | 12 % | Phenomenex, Torrance, CA, USA | superficially porous | endcapped, C18 | RP |
| Kinetex Polar C18 | 150 × 3.0 mm, 2.6 µm | 100 Å | 9 % | Phenomenex, Torrance, CA, USA | superficially porous | endcapped, polar modified C18 | RP |
| Ascentis Express RP-Amide | 150 × 3.0 mm, 2.7 µm | 90 Å | 8.3 % | Supelco, Bellefonte, PA, USA | superficially porous | endcapped, amide alkyl chain | RP |
| Ascentis HILIC | 150 × 3.0 mm, 2.7 µm | 90 Å | - | Supelco, Bellefonte, PA, USA | superficially porous | bare silica | HILIC |
| Atlantis HILIC Silica | 100 × 3.0 mm, 5 µm | 100 Å | - | Waters, Milford, MA, USA | fully porous | bare silica | HILIC |
| Separon SGX | 150 × 3.0 mm, 5 µm | 100 Å | - | Tessek Ltd., Prague, Czech Republic | fully porous | bare silica | HILIC |
| SUPELCOSIL LC-Si | 150 × 3.0 mm, 5 µm | 120 Å | - | Supelco, Bellefonte, PA, USA | fully porous | bare silica | HILIC |
| Chromolith Performance Si | 100 × 4.6 mm | bimodal 20/130 Å | - | Merck, Darmstadt, Germany | monolith | bare silica | HILIC |
| XBridge HILIC | 100 × 3.0 mm, 5 µm | 130 Å | - | Waters, Milford, MA, USA | fully porous | unbonded bridged ethyl hybrid, silica | HILIC |
| TSKgel Amide-80 | 150 × 2.0 mm, 3 µm | 100 Å | - | Tosoh Bioscience, Tokyo, Japan | fully porous | amide | HILIC |
| ZIC-HILIC | 150 × 2.1 mm, 3 µm | 100 Å | - | Merck, Darmstadt, Germany | fully porous | zwitterionic sulfobetaine | HILIC |

Table S3

Physicochemical characteristics of the analytes (RT – retention time, MM – monoisotopic mass, log P – hydrophobic factor, Hy – hydrophilic factor, pKa – dissociation constant).

| Analyte (Abbreviation) | RT (min) | MM (Da) | log P | Hy | pKa(COOH) | pKa(NH2) | Amino group | Carboxyl group | Amide bond | Sulfur form |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cysteine (Cys) | 7.237 | 121.02 | -2.49 | 3.5641 | 1.71 | 8.33 | 1 | 1 | 0 | -SH |
| Homocysteine (HCys) | 6.474 | 135.04 | -2.34 | 3.2681 | 2.22 | 8.87 | 1 | 1 | 0 | -SH |
| Cysteinylglycine (CG) | 7.839 | 178.04 | -3.32 | 3.9444 | 3.6 | 8.08 | 1 | 1 | 0 | -SH |
| γ-glutamylcysteine (gGC) | 7.638 | 250.06 | -4.06 | 4.3559 | 1.91 | 9.24 | 1 | 2 | 1 | -SH |
| Glutathione (GSH) | 8.38 | 307.08 | -5.44 | 5.0022 | 1.94 | 9.22 | 1 | 2 | 2 | -SH |
| glutathione-(Gly-13C2,15N) (GSH IS) | 8.38 | 310.08 | -5.44 | 5.5167 | 1.94 | 9.22 | 1 | 2 | 2 | -SH |
| N-acetyl-cysteine (NAC) | 1.739 | 163.03 | -0.97 | 1.8825 | 3.24 | 9.52 | 0 | 1 | 1 | -SH |
| N-acetyl-methionine (NAM) | 1.428 | 191.06 | -0.35 | 0.7517 | 4.02 | - | 0 | 1 | 1 | -SCH3 |
| Methionine (Met) | 5.712 | 149.05 | -1.87 | 1.936 | 2.28 | 9.21 | 1 | 1 | 0 | -SCH3 |
| seleno-methionine (SeMet) | 5.591 | 197.00 | -1.52 | 1.936 | 1.56 | 9.5 | 1 | 1 | 0 | -SeCH3 |
| methionine-sulfoxide (MSO) | 8.967 | 165.05 | -3.09 | 1.8825 | 1.74 | 9.11 | 1 | 1 | 0 | -SOCH3 |
| methionine-sulfone (MSO2) | 8.059 | 181.04 | -3.44 | 1.8368 | 1.55 | 8.69 | 1 | 1 | 0 | -SO2CH3 |
| Taurine (Tau) | 9.685 | 125.01 | -2.95 | 2.4818 | 1.05 | 9.06 | 1 | 0 | 0 | -SO2OH |
| Cystine (CysS) | 12.544 | 240.02 | -4.34 | 4.6571 | 2.1 | 8.02 | 2 | 2 | 0 | -S-S- |
| seleno-cystine (SeCysS) | 12.343 | 335.91 | -3.64 | 4.6571 | 0.64 | 8.61 | 2 | 2 | 0 | -Se-Se- |
| Homocystine (HCysS) | 11.205 | 268.06 | -4.04 | 4.3559 | 1.59 | 8.52 | 2 | 2 | 0 | -S-S- |
| Cystathionine (CT) | 12.519 | 222.07 | -3.63 | 4.5875 | 1.79 | 9.66 | 2 | 1 | 0 | -S- |
| glutathione disulfide (GSSG) | 12.173 | 612.15 | -9.24 | 8.4985 | 1.44 | 9.61 | 2 | 4 | 4 | -S-S- |
| S-adenosyl methionine (SAM) | 15.434 | 398.14 | -5.48 | 4.4632 | 1.81 | 9.5 | 2 | 1 | 0 | -(S+)CH3- |
| S-adenosyl homocysteine (SAH) | 10.849 | 384.12 | -4.95 | 4.5365 | 1.7 | 9.41 | 2 | 1 | 0 | -S- |
| pyroglutamic acid (Pglu) | 2.948 | 129.04 | -3.01 | 0.9485 | 3.61 | - | 1 | 1 | 1 | - |
| Glutamine (Gln) | 8.767 | 146.07 | -3.06 | 4.0678 | 2.17 | 9.13 | 1 | 1 | 0 | - |
| glutamic acid (Glu) | 8.215 | 147.05 | -3.69 | 2.9336 | 2.19 | 9.67 | 1 | 2 | 0 | - |
| glutamic acid-2,3,3,4,4-d5 (Glu IS) | 8.215 | 152.05 | -3.69 | 2.9336 | 2.19 | 9.67 | 1 | 2 | 0 | - |
| Glycine (Gly) | 8.22 | 75.03 | -3.21 | 2.8695 | 2.31 | 9.24 | 1 | 1 | 0 | - |

Table S4

Optimized parameters of MS/MS detection in MRM mode

| Analyte Abbreviation | Monoisotopic Mass (Da) | Precursor Ion (m/z) | Fragmentor (V) | Product Quantifier Ion (m/z) | Quantifier Collision (V) | Product Qualifier Ion (m/z) | Qualifier Collision (V) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CG | 178.0 | 179.0 | 80 | 75.9 | 16 | 58.9 | 40 |
| CT | 222.1 | 223.2 | 90 | 88.0 | 30 | 134.0 | 10 |
| Cys | 121.0 | 122.2 | 70 | 58.9 | 26 | 79.0 | 26 |
| CysS | 240.0 | 241.0 | 100 | 73.9 | 30 | 151.9 | 10 |
| gGC | 250.1 | 251.0 | 100 | 84.0 | 28 | 122.0 | 10 |
| Gln | 146.1 | 147.1 | 80 | 130.0 | 6 | 130.0 | 6 |
| Glu | 147.1 | 148.1 | 80 | 84.0 | 16 | 56.0 | 30 |
| Glu IS | 152.1 | 153.1 | 80 | 89.0 | 16 | 89.0 | 16 |
| Gly | 75.0 | 76.1 | 60 | 30.0 | 10 | 29.IV | 40 |
| GSH | 307.1 | 308.0 | 110 | 179.0 | 10 | 75.9 | 26 |
| GSH IS | 310.1 | 311.1 | 110 | 181.9 | 10 | 75.9 | 28 |
| GSSG | 612.2 | 307.0 | 100 | 84.0 | 30 | 130.0 | 10 |
| HCys | 135.0 | 136.0 | 80 | 90.0 | 10 | 56.0 | 20 |
| HCysS | 268.1 | 269.2 | 90 | 136.0 | 6 | 136.0 | 6 |
| Met | 149.1 | 150.2 | 80 | 56.0 | 16 | 61.0 | 24 |
| MSO | 165.1 | 166.1 | 80 | 73.9 | 10 | 56.0 | 26 |
| MSO2 | 181.0 | 182.0 | 90 | 56.0 | 16 | 136.0 | 6 |
| NAC | 163.0 | 164.0 | 70 | 122.0 | 6 | 75.9 | 20 |
| NAM | 191.1 | 192.1 | 80 | 144.0 | 6 | 56.0 | 26 |
| PGlu | 129.0 | 130.0 | 100 | 84.0 | 14 | 41.0 | 24 |
| SAH | 384.1 | 385.2 | 120 | 87.9 | 40 | 136.0 | 20 |
| SAM | 398.1 | 399.3 | 120 | 250.0 | 12 | 136.0 | 32 |
| SeCysS | 334.1 | 335.1 | 90 | 245.8 | 10 | 87.9 | 26 |
| SeMet | 197.0 | 198.0 | 80 | 180.9 | 6 | 180.9 | 6 |
| Tau | 125.0 | 126.1 | 100 | 44.0 | 20 | 84.9 | 6 |

Figure S1

Dependence of the retention factor (k) on the volume fraction of the aqueous component (φ) for gGC (dashed lines) and GSH (solid lines). Isocratic analyses were performed using three different mobile phases: (A) 5 mM ammonium formate with 0.2% formic acid, (B) 5 mM ammonium bicarbonate, and (C) 0.05% trifluoroacetic acid (TFA). Color coding corresponds to the individual tested stationary phases.

Figure S2

The effect of the acidic additive in the mobile phase on the peak width. Gradient separation performed on the ZIC HILIC column (150 × 2.1 mm, 3.5 µm, 100Å), mobile phase consisted of 0.05-0.1% (v/v) FA/DFA/TFA in water (mobile phase A) and 0.05-0.1% FA/DFA/TFA (v/v) in acetonitrile (mobile phase B); linear gradient elution (2% to 70% mobile phase A in 20 min; 8 min equilibration), flow-rate 0.4 mL/min, temperature 30 °C.

Figure S3

The relative effect of the acidic additive in the mobile phase on the detector response (peak area related to the mobile phase with DFA). Gradient separation performed on the ZIC HILIC column (150 × 2.1 mm, 3.5 µm, 100Å), mobile phase consisted of 0.05-0.1% (v/v) FA/DFA/TFA in water (mobile phase A) and 0.05-0.1% FA/DFA/TFA (v/v) in acetonitrile (mobile phase B); linear gradient elution (2% to 70% mobile phase A in 20 min; 8 min equilibration), flow-rate 0.4 mL/min, temperature 30 °C.

Figure S4

The matrix effects after extraction using different acid solutions.

Table S5

Linearity of three standard additions (SA) at low, medium, and high concentration (Table S2). Limits of quantification (LOQ) and limits of detection (LOD) for each analyte determined using signal-to-noise ratio 10:1, and 3:1, respectively.

| Analyte | Low Mean R2 | Medium Mean R2 | High Mean R2 | LOQ (ng/mL) | LOD (ng/mL) |
| --- | --- | --- | --- | --- | --- |
| CG | 0.9991 | 0.9996 | 0.9941 | 5 | 1.5 |
| CT | 0.9917 | 0.9996 | 0.9999 | 5 | 1.5 |
| Cys | 0.9997 | 0.9997 | 0.9991 | 5 | 1.5 |
| CysS | 0.9957 | 0.9996 | 0.9999 | 5 | 1.5 |
| gGC | 0.9945 | 0.9999 | 0.9999 | 5 | 1.5 |
| Gln | 0.9996 | 0.9990 | 0.9995 | 5 | 1.5 |
| Glu | 0.9988 | 0.9998 | 0.9994 | 5 | 1.5 |
| Gly | 0.9985 | 0.9997 | 0.9995 | 5 | 1.5 |
| GSH | 0.9988 | 0.9983 | 0.9998 | 5 | 1.5 |
| GSSG | 0.9936 | 0.9983 | 0.9996 | 5 | 1.5 |
| HCys | 0.9998 | 0.9996 | 0.9988 | 5 | 1.5 |
| HCysS | 0.9971 | 0.9997 | 0.9999 | 1 | 0.3 |
| Met | 0.9994 | 0.9999 | 0.9997 | 1 | 0.3 |
| MSO | 0.9986 | 0.9997 | 0.9997 | 5 | 1.5 |
| MSO2 | 0.9992 | 0.9999 | 0.9974 | 5 | 1.5 |
| NAC | 0.9998 | 0.9999 | 0.9995 | 5 | 1.5 |
| NAM | 0.9999 | 0.9998 | 0.9997 | 0.5 | 0.15 |
| PGlu | 0.9988 | 0.9995 | 0.9965 | 5 | 1.5 |
| SAH | 0.9976 | 0.9999 | 0.9999 | 1 | 0.3 |
| SAM | 0.9739 | 0.9998 | 0.9992 | 5 | 1.5 |
| Tau | 0.9995 | 0.9997 | 0.9968 | 5 | 1.5 |
| GSH/IS | 0.9993 | 0.9976 | 0.9918 | 5 | 1.5 |
| Glu/IS | 0.9975 | 0.9978 | 0.9997 | 5 | 1.5 |

Table S6

Intra-day precision (expressed as coefficient of variance, CV) and accuracy (expressed as mean recovery, RE) of three standard addition concentration levels - low (L), medium (M), and high (H) (Table S2). Number of experiments n = 3.

| INTRADAY | L Mean RE (%) | L CV (%) | M Mean RE (%) | M CV (%) | H Mean RE (%) | H CV (%) |
| --- | --- | --- | --- | --- | --- | --- |
| CG | 109 | 0.4 | 106 | 2.1 | 117 | 1.0 |
| CT | 91 | 0.8 | 99 | 0.5 | 97 | 3.1 |
| Cys | 103 | 1.9 | 109 | 1.2 | 114 | 0.9 |
| CysS | 93 | 2.2 | 100 | 1.3 | 98 | 2.9 |
| gGC | 102 | 4.2 | 108 | 1.9 | 100 | 1.7 |
| Gln | 115 | 1.8 | 112 | 0.4 | 96 | 4.8 |
| Glu | 121 | 0.5 | 115 | 0.7 | 108 | 2.2 |
| Gly | 90 | 1.3 | 103 | 2.6 | 105 | 3.8 |
| GSH | 125 | 0.9 | 112 | 0.8 | 98 | 4.6 |
| GSSG | 85 | 1.5 | 88 | 2.6 | 107 | 3.0 |
| HCys | 102 | 3.0 | 110 | 1.9 | 95 | 2.6 |
| HCysS | 97 | 1.0 | 101 | 2.6 | 98 | 3.1 |
| Met | 96 | 1.4 | 103 | 2.6 | 105 | 3.2 |
| MSO | 105 | 1.4 | 100 | 2.9 | 101 | 3.3 |
| MSO2 | 112 | 2.4 | 106 | 0.8 | 112 | 0.4 |
| NAC | 101 | 1.9 | 105 | 1.4 | 97 | 3.4 |
| NAM | 99 | 0.9 | 101 | 1.8 | 104 | 2.7 |
| PGlu | 87 | 3.1 | 108 | 2.7 | 115 | 1.2 |
| SAH | 98 | 1.9 | 99 | 1.5 | 98 | 3.2 |
| SAM | 86 | 1.9 | 95 | 0.9 | 96 | 1.6 |
| Tau | 116 | 2.2 | 109 | 1.7 | 115 | 0.4 |
| GSH/IS | 99 | 3.5 | 104 | 1.2 | 107 | 1.8 |
| Glu/IS | 95 | 4.4 | 92 | 0.5 | 92 | 1.9 |

Table S7

Inter-day precision (expressed as coefficient of variance, CV) and accuracy (expressed as mean recovery, RE) of three standard addition concentration levels - low (L), medium (M), and high (H) (Table S2). Number of experiments n = 9.

| INTRADAY | L Mean RE (%) | L CV (%) | M Mean RE (%) | M CV (%) | H Mean RE (%) | H CV (%) |
| --- | --- | --- | --- | --- | --- | --- |
| CG | 106 | 5.5 | 106 | 2.0 | 114 | 3.7 |
| CT | 93 | 4.6 | 99 | 1.9 | 98 | 3.2 |
| Cys | 107 | 5.6 | 109 | 2.9 | 111 | 3.8 |
| CysS | 94 | 2.6 | 99 | 2.8 | 99 | 3.1 |
| gGC | 106 | 4.2 | 107 | 2.7 | 101 | 4.3 |
| Gln | 119 | 3.7 | 108 | 3.1 | 97 | 4.7 |
| Glu | 120 | 2.4 | 109 | 4.5 | 108 | 4.0 |
| Gly | 101 | 11.4 | 104 | 6.8 | 104 | 5.3 |
| GSH | 120 | 3.3 | 112 | 0.9 | 97 | 3.5 |
| GSSG | 89 | 4.4 | 88 | 2.5 | 104 | 3.6 |
| HCys | 104 | 2.7 | 110 | 1.8 | 96 | 3.2 |
| HCysS | 97 | 3.5 | 100 | 2.5 | 100 | 3.7 |
| Met | 103 | 5.2 | 103 | 2.7 | 105 | 3.6 |
| MSO | 105 | 4.4 | 102 | 2.6 | 102 | 4.4 |
| MSO2 | 110 | 2.2 | 107 | 1.6 | 112 | 1.0 |
| NAC | 106 | 4.6 | 105 | 2.1 | 98 | 3.9 |
| NAM | 99 | 2.0 | 101 | 2.3 | 103 | 3.7 |
| PGlu | 90 | 4.1 | 103 | 4.2 | 112 | 2.7 |
| SAH | 99 | 1.9 | 99 | 2.0 | 98 | 3.5 |
| SAM | 97 | 9.1 | 96 | 2.5 | 95 | 3.5 |
| Tau | 109 | 5.6 | 108 | 2.0 | 114 | 1.2 |
| GSH/IS | 100 | 3.6 | 103 | 3.1 | 109 | 2.0 |
| Glu/IS | 104 | 8.9 | 93 | 2.8 | 93 | 1.8 |

Figure S5

A: The stability of the analytes in the autosampler conditions (10 °C). B: The stability of Gln and PGlu in the autosampler conditions (10 °C).

Figure S6

The relative content of GSH, Glu, and GSH/IS, Glu/IS in A549 human lung adenocarcinoma cancer cells after incubation with 50-100 µmol/L CdCl2 and 100-200 µmol/L cisPt for 24 and 48 hours. The significand differences between incubated samples and control samples (Ctrl) described as ns: not significant; * for p < 0.05; ** for p < 0.01; *** for p < 0.001.

Figure S7

The relative content of CG, gGC, Tau, Gly, Gln, PGlu, Cys, HCys, and CT in A549 human lung adenocarcinoma cancer cells after incubation with 50-100 µmol/L CdCl2 and 100-200 µmol/L cisPt for 24 and 48 hours. The significand differences between incubated samples and control samples (Ctrl) described as ns: not significant; * for p < 0.05; ** for p < 0.01; *** for p < 0.001.

Figure S8

The relative content of CysS, HCysS, GSSG, Met, MetSO, MetSO2, NAC, SAH, and SAM in A549 human lung adenocarcinoma cancer cells after incubation with 50-100 µmol/L CdCl2 and 100-200 µmol/L cisPt for 24 and 48 hours. The significand differences between incubated samples and control samples (Ctrl) described as ns: not significant; * for p < 0.05; ** for p < 0.01; *** for p < 0.001.

Table S8

The absolute concentrations of affected A549 samples and controls after 24 and 48 h

| C (ng/mL) | CTRL 24 h | CdCl2 50 µM 24 h | CdCl2 100 µM 24 h | cisPt 100 µM 24 h | cisPt 200 µM 24 h | CTRL 48 h | CdCl2 50 µM 48 h | CdCl2 100 µM 48 h | cisPt 100 µM 48 h | cisPt 200 µM 48 h |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CG | 53.37 | 133.59 | 290.38 | 17.91 | 7.11 | 34.64 | 93.57 | 135.59 | 9.10 | 3.81 |
| CT | 96.90 | 67.86 | 37.78 | 37.68 | 11.39 | 312.49 | 95.32 | 23.59 | 66.02 | 18.42 |
| Cys | 37.46 | 35.34 | 54.89 | 28.23 | 7.30 | 33.32 | 19.42 | 61.02 | 27.06 | 4.03 |
| CysS | 8.47 | 11.42 | 11.89 | 35.43 | 24.98 | 13.21 | 5.88 | 41.88 | 65.29 | 65.61 |
| gGC | 337.54 | 1476.79 | 1417.37 | 44.90 | 32.95 | 104.64 | 163.49 | 94.60 | 31.22 | 26.06 |
| Gln | 6439.56 | 6737.16 | 7171.61 | 6189.90 | 3949.89 | 647.61 | 77.63 | 1809.07 | 4057.96 | 2699.63 |
| Gly | 404.72 | 180.60 | 156.43 | 396.20 | 276.96 | 1180.31 | 473.83 | 274.27 | 474.45 | 356.88 |
| GSSG | 19.19 | 18.45 | 27.97 | 24.41 | 23.93 | 29.96 | 28.40 | 32.53 | 25.48 | 31.42 |
| HCys | 17.47 | 20.50 | 14.24 | 2.91 | 1.36 | 13.69 | 19.20 | 6.14 | 3.17 | 0.80 |
| HCysS | 5.92 | 5.75 | 3.24 | 1.53 | 1.55 | 12.30 | 14.27 | 7.17 | 4.66 | 2.45 |
| Met | 321.80 | 382.97 | 486.88 | 326.90 | 238.55 | 285.30 | 234.45 | 259.75 | 332.20 | 243.40 |
| MetSO | 52.43 | 60.73 | 46.71 | 32.34 | 28.41 | 56.42 | 50.18 | 31.44 | 32.97 | 28.79 |
| MetSO2 | 8.26 | 10.12 | 8.68 | 5.07 | 4.27 | 12.14 | 10.05 | 5.01 | 4.88 | 4.24 |
| NAM | 5.68 | 5.01 | 3.46 | 0.56 | 0.24 | 4.77 | 4.01 | 1.65 | 0.23 | 0.19 |
| PGlu | 605.32 | 780.87 | 713.22 | 426.95 | 372.20 | 727.07 | 986.67 | 702.57 | 461.40 | 411.35 |
| SAH | 5.08 | 5.04 | 3.26 | 2.51 | 2.67 | 6.28 | 4.67 | 3.53 | 3.15 | 4.50 |
| SAM | 365.61 | 405.44 | 699.73 | 496.71 | 354.61 | 362.06 | 373.16 | 116.91 | 497.67 | 365.98 |
| Tau | 3737.32 | 3186.04 | 1081.99 | 506.73 | 170.62 | 2750.10 | 2119.09 | 278.31 | 466.50 | 150.34 |
| GSH/IS | 13518.21 | 10191.80 | 7698.29 | 3997.88 | 431.41 | 12962.91 | 5266.62 | 1319.22 | 2848.55 | 318.14 |
| Glu/IS | 6440.81 | 6141.99 | 5620.84 | 3793.12 | 3179.52 | 5364.64 | 3718.23 | 2693.63 | 3893.49 | 3559.21 |
| GSH | 14416.91 | 8901.94 | 7030.51 | 3388.93 | 358.26 | 12326.89 | 4312.36 | 1065.82 | 2934.09 | 243.83 |
| Glu | 6807.43 | 6502.53 | 6065.64 | 3985.51 | 3408.84 | 5264.85 | 3486.68 | 2515.34 | 4061.97 | 3280.96 |

Table S9

The two-sample t-test p-values of affected A549 samples after 24 and 48 h compared with control (ns not significant; * p-value < 0.05; ** p-value < 0.01; *** p-value < 0.001)

| p-value | CdCl2 50 µM 24 h | CdCl2 100 µM 24 h | cisPt 100 µM 24 h | cisPt 200 µM 24 h | CdCl2 50 µM 48 h | CdCl2 100 µM 48 h | cisPt 100 µM 48 h | cisPt 200 µM 48 h |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CG | * | ** | ** | *** | *** | *** | *** | *** |
| CT | * | * | ** | ** | ** | ** | ** | ** |
| Cys | ns | ns | ns | ** | ** | * | ns | ** |
| CysS | ns | * | ** | * | * | ** | ** | *** |
| gGC | ** | ** | ** | ** | * | * | *** | *** |
| Gln | ns | ns | ns | ** | ** | ** | * | * |
| Gly | ** | ** | ns | * | * | ** | * | * |
| GSSG | ns | ** | ns | ns | ns | ns | ns | ns |
| HCys | ns | ns | ** | ** | * | ** | *** | *** |
| HCysS | ns | * | ** | ** | ns | * | ** | ** |
| Met | ns | * | ns | ** | ns | ns | ns | ns |
| MetSO | ns | ns | ns | * | ns | * | * | * |
| MetSO2 | ns | ns | * | ** | ns | * | * | * |
| NAM | ns | ** | *** | *** | ns | ** | ** | ** |
| PGlu | ns | ns | * | * | ns | ns | * | * |
| SAH | ns | * | * | * | * | * | ** | * |
| SAM | ns | ns | ns | ns | ns | ** | ** | ns |
| Tau | ns | ** | ** | ** | ns | ** | ** | ** |
| GSH/IS | ** | ** | ** | *** | ** | ** | ** | ** |
| Glu/IS | * | ns | *** | *** | ** | ** | ** | ** |
| GSH | * | * | ** | ** | * | ** | * | ** |
| Glu | ns | ns | * | ** | *** | *** | * | ** |

* Corresponding author, e-mail: Petr.Cesla@upce.cz