Supplementary Information

Decoding the Urinary Metabolome of Aromatic Amino Acid Pathways in Alport Syndrome

Domniki Gallou1,2†, Jaime Morillas Armenta3,4†, Miguel Fernández-García3,4 Belén Requena3, Santiago Angulo3, Olga Begou2, Helen Gika2,5,6, Georgios Theodoridis1,2,6, Gema Fernández-Juárez7, Amir Shabaka7, Ana Gradillas3, Coral Barbas3, Víctor González Ruiz3*, Alma Villaseñor3,4*

Short running title: Aromatic Amino Acid Metabolic Pathways in Alport Syndrome.

Affiliations:

1Aristotle University of Thessaloniki, Department of Chemistry, Thessaloniki, Greece (gdomnikii@chem.auth.gr, gtheodor@chem.auth.gr).

2Biomic AUTh, Center for Interdisciplinary Research and Innovation (CIRI-AUTH), Balkan Center B1.4, Thessaloniki, Greece (gdomnikii@chem.auth.gr, olina_18@hotmail.com, gtheodor@chem.auth.gr).

3Centro de Metabolómica y Bioanálisis (CEMBIO), Facultad de Farmacia, Universidad San Pablo-CEU, CEU Universities, Boadilla del Monte, Spain (jaime.morillasarmenta@ceu.es, alma.villasenor@ceu.es, gradini@ceu.es, cbarbas@ceu.es, victor.gonzalezruiz@ceu.es).

4Departamento de Ciencias Médicas Básicas, Instituto de Medicina Molecular Aplicada (IMMA) Nemesio Díez, Facultad de Medicina, Universidad San Pablo-CEU, CEU Universities, Boadilla del Monte, Spain (alma.villasenor@ceu.es).

5Aristotle University of Thessaloniki, Department of Medicine, Thessaloniki, Greece (gkikae@auth.gr).

6ThetaBiomarkers, Balkan Center, Thessaloniki, Greece (gkikae@auth.gr).

7Nephrology Department, Hospital Universitario La Paz, Madrid, Spain (amirshabaka@hotmail.com, gema.fernandezjuarez@salud.madrid.org).

†,*: These Authors have equally contributed to this work

# Corresponding authors:

*Víctor González Ruiz and Alma Villaseñor (email: victor.gonzalezruiz@ceu.es and alma.villasenor@ceu.es)

CEMBIO, Centro de Metabolómica y Bioanálisis, Facultad de Farmacia, Universidad San Pablo CEU. Avda. Montepríncipe s/n, 28668 Boadilla del Monte, Madrid, SPAIN.

Table of Contents

Supplementary Text S1. Specifications of the chromatographic column used for the targeted analysis of aromatic amino acid (AAA)-derived metabolites.

Supplementary Figures. This includes:

- Figure S1. Preparation of the calibration curve with added matrix for AAA-derived metabolites methodology.

- Figure S2. Extracted ion chromatograms (EICs) of selected analytes detected in pooled urine from healthy individuals.

- Figure S3. Principal component analysis (PCA) model to test the quality of the targeted method for the analysis of AAA-derived metabolites in AS cohort.

Supplementary Tables. This includes:

- Table S1. Native standards and internal deuterated standards (ISTD) used for the targeted analysis of aromatic amino acids (AAA) metabolites.

- Table S2. Chromatographic gradient used for the targeted analysis of aromatic amino acids (AAA) metabolites.

- Table S3. Retention times and MS/MS detection parameters for the 43 analytes and their corresponding internal deuterated standards (ISTD) in the targeted analysis of aromatic amino acids (AAA) metabolites.

- Table S4. Stock calibrants (ng/mL) for native standards and concentration of internal deuterated standard (ISTD) mixture used in the targeted analysis of aromatic amino acids (AAA) metabolites.

- Table S5. Quantification approach for aromatic amino acids (AAA) metabolites.

- Table S6. Comparison of recent LC-MS/MS targeted methodologies for the analysis of aromatic amino acids (AAA).

- Table S7. Quantification of aromatic amino acids (AAA) metabolites and their intermediate in a pool of 10 healthy urine samples.

- Table S8. Precision and accuracy. Inter-day precision and accuracy during 3 days and intra-day analysis.

- Table S9. Sensitivity of the method, analyzed through intra- and inter-day precision and accuracy at the LLOQ level for each metabolite.

Additional Supplementary Tables. Due to their extension are provided as a separate Excel file, it includes:

- Table S10. Summary of SG-normalized urinary concentrations of quantified metabolites.

- Table S11. ANCOVA analysis of the aromatic amino acid metabolic panel comparing study groups

Supplementary Text S1. Specifications of the chromatographic column used for the targeted analysis of aromatic amino acid (AAA)-derived metabolites.

The chromatographic column used was an ACQUITY Premier CSH Phenyl-Hexyl Column with VanGuard FIT, based on Waters Charged Surface Hybrid (CSH) particle technology with a phenyl-hexyl bonded stationary phase. The column specifications were as follows: particle size, 1.7 µm; pore size, 130 Å; dimensions, 2.1 × 100 mm; ligand density, 2.3 µmol/m²; carbon load, 14%; recommended pH range, 1–11; maximum pressure tolerance, 18,000 psi, equivalent to approximately 1,240 bar; general operating temperature range, 20–90 °C. According to the manufacturer’s guidance, when operating near the pH limits, lower temperatures are recommended to preserve column lifetime, with temperature guidance for the ACQUITY CSH Phenyl-Hexyl phase of 80 °C at low pH and 45 °C at high pH. In this context, low and high pH refer to operation near the lower and upper limits of the recommended pH range, respectively.

Figure S1. Preparation of the calibration curve with added matrix for AAA-derived metabolites methodology.

Notes: std; standard mix or level.

Figure S2. Extracted ion chromatograms (EICs) of selected analytes detected in pooled urine from healthy individuals. Representative UHPLC-QqQ-MS chromatographic profiles are shown for tryptophan, tyrosine, phenylalanine and selected derived metabolites detected during preliminary analysis in pooled urine samples from ten healthy volunteers. Retention time (Rt, min) and signal abundance are indicated for each analyte. Numbers correspond to the following metabolites: (1) tryptophan; (3) indole-3-acetic acid; (4) 5-hydroxyindole-3-acetic acid; (5) 5-hydroxyindole-3-acetic acid-O-sulfate; (7) 3-indoxyl sulfate; (14) kynurenine; (15) kynurenic acid; (16) xanthurenic acid; (17) 2-oxoglutaric acid; (20) nicotinamide; (21) tyrosine; (22) 4-hydroxyphenylpyruvic acid; (23) 4-hydroxyphenyllactic acid; (28) 4-ethylphenyl sulfate; (29) tyramine; (30) 4-hydroxyphenylacetic acid; (31) 4-hydroxyphenylacetic acid-O-sulfate; (35) dopamine-4-O-sulfate; (36) homovanillic acid; (38) phenylalanine; (39) 4-coumaric acid; (40) 4-coumaric acid-O-sulfate; (41) 4-hydroxybenzoic acid; (42) 4-hydroxybenzoic acid-O-sulfate; and (43) hippuric acid. Color coding indicates metabolic classification: tryptophan (green), indole pathway (orange), serotonin pathway (blue), kynurenine pathway (pink), phenylalanine metabolism (purple) and tyrosine metabolism (red). Abbreviations: Trp, tryptophan; Kyn, kynurenine; Tyr, tyrosine; Phe, phenylalanine.

Figure S3. Principal component analysis (PCA) model to test the quality of the targeted method for the analysis of AAA-derived metabolites in AS cohort.

PCA model outlining QC samples (purple) and experimental samples including those from AS patients and healthy individuals used as controls (grey).

Table S1. Native standards and internal deuterated standards (ISTD) used for the targeted analysis of aromatic amino acids (AAA) metabolites. List of all native standards and ISTD used in the method, including their commercial suppliers and the solvent used for initial solution preparation. All standards were prepared at an initial concentration of 1000 μg/mL and stored at –20 °C.

| Metabolite | Supplier | CAS number | Purity | Solvent used for the initial solution |
| --- | --- | --- | --- | --- |
| tryptophan | Sigma-Aldrich | 73-22-3 | ≥98.0% | MeOH |
| indole | Supelco | 120-72-9 | ≥99.0% | MeOH |
| indole-3-acetic acid | Sigma-Aldrich | 87-51-4 | 98.0% | MeOH |
| 5-OH-3-indoleacetic acid | Sigma-Aldrich | 54-16-0 | ≥98.0% | MeOH |
| 5-OH-3-indoleacetic acid-O-sulfate | CS | NA | ≥98.0% | MeOH/Η2Ο (1:1, v/v) |
| indole-3-lactic acid | Sigma-Aldrich | 832-97-3 | 99.0% | MeOH |
| 3-indoxyl sulfate | Sigma-Aldrich | 2642-37-7 | >98.0% | MeOH/Η2Ο (1:1, v/v) |
| indole-3-propionic acid | Sigma-Aldrich | 830-96-6 | ≥99.0% | MeOH |
| indole-3-carboxaldehyde | Sigma-Aldrich | 487-89-8 | 97.0% | EtOH |
| tryptamine | Sigma-Aldrich | 61-54-1 | ≥97.5% | MeOH |
| 5-OH-tryptophan | Sigma-Aldrich | 4350-09-8 | ≥98.0% | MeOH |
| serotonin | Sigma-Aldrich | 50-67-9 | ≥98.0% | MeOH |
| melatonin | Sigma-Aldrich | 73-31-4 | ≥98.0% | MeOH |
| kynurenine | Sigma-Aldrich | 2922-83-0 | ≥98.0% | MeOH/Η2Ο (1:1, v/v) |
| kynurenic acid | Sigma-Aldrich | 492-27-3 | 98.0% | MeOH + 0.01% NaOH |
| xanthurenic acid | Sigma-Aldrich | 59-00-7 | ≥98.0% | MeOH |
| 2-oxoglutaric acid | Sigma-Aldrich | 328-50-7 | 99.0% | MeOH |
| picolinic acid | Sigma-Aldrich | 98-98-6 | ≥98.0% | MeOH |
| nicotinic acid | Sigma-Aldrich | 59-67-6 | ≥98.0% | MeOH |
| nicotinamide | AnalaR BDH | 98-92-0 | ≥98.0% | MeOH |
| tyrosine | Fluka | 60-18-4 | ≥98.0% | Η2Ο + 0.01% NaOH |
| 4-OH-phenylpyruvic acid | Fluka | 156-39-8 | 98.0% | MeOH |
| 4-OH-phenyllactic acid | Sigma-Aldrich | 306-23-0 | ≥97.0% | MeOH/Η2Ο (1:1, v/v) |
| 4-OH-phenyllactic acid-O-sulfate | CS | NA | ≥98.0% | MeOH/Η2Ο (1:1, v/v) |
| 4-OH-phenylpropionic acid | Sigma-Aldrich | 501-97-3 | 98 % | MeOH/Η2Ο (1:1, v/v) |
| 4-OH-phenylpropionic acid-O-sulfate | CS | NA | ≥98.0% | MeOH/Η2Ο (1:1, v/v) |
| 4-ethylphenol | Sigma-Aldrich | 123-07-9 | 99% | MeOH |
| 4-ethylphenol sulfate | CS | NA | ≥98.0% | MeOH/Η2Ο (1:1, v/v) |
| tyramine | Sigma-Aldrich | 51-67-2 | ≥98.0% | MeOH |
| 4-OH-phenylacetic acid | Sigma-Aldrich | 156-38-7 | 98% | MeOH/Η2Ο (1:1, v/v) |
| 4-OH-phenylacetic acid-O-sulfate | CS | NA | ≥98.0% | MeOH/Η2Ο (1:1, v/v) |
| 4-cresol | Sigma-Aldrich | 106-44-5 | 99% | MeOH |
| 4-cresyl sulfate | CS | NA | ≥98.0% | MeOH/Η2Ο (1:1, v/v) |
| dopamine | Sigma-Aldrich | 62-31-7 | ≥98% | MeOH/Η2Ο (1:1, v/v) |
| dopamine-4-O-sulfate | Sigma-Aldrich | 38339-02-5 | ≥95% | MeOH/Η2Ο (1:1, v/v) |
| homovanillic acid | Sigma-Aldrich | 306-08-1 | ≥99% | MeOH |
| phenyl sulfate | CS | NA | ≥98.0% | MeOH/Η2Ο (1:1, v/v) |
| phenylalanine | AnalaR BDH | 63-91-2 | 99% | MeOH |
| 4-coumaric acid | Sigma-Aldrich | 501-98-4 | ≥98% | MeOH |
| 4-coumaric acid-O-sulfate | CS | NA | ≥98.0% | MeOH/Η2Ο (1:1, v/v) |
| 4-OH-benzoic acid | Acros | 99-96-7 | 99.8% | MeOH |
| 4-OH-benzoic acid-O-sulfate | CS | NA | ≥98.0% | MeOH/Η2Ο (1:1, v/v) |
| hippuric acid | Sigma-Aldrich | 495-69-2 | 98% | MeOH |
| Deuterated compound | Supplier | CAS number | Purity | Initial solution solvent |
| tryptophan-d5 (tryp-d5) | Cayman Chemical | 62595-11-3 | 99.9% | MeOH |
| serotonin-d4 (ser-d4) | Cayman Chemical | 2469263-61-2 | 99.5% | MeOH |
| tryptamine-d4 (trypt-d4) | Cayman Chemical | 340257-60-5 | 99% | MeOH/Η2Ο (1:1, v/v) |
| kynurenine-d4 (kyn-d4) | Cayman Chemical | 2672568-86-2 | ≥99% | EtOH |
| phenylalanine-d5 (phe-d5) | Cambridge Isotope Laboratories | 56253-90-8 | 99.5% | MeOH/Η2Ο (1:1, v/v) |
| dopamine-d4 (dop-d4) | Sigma-Aldrich | 203633-19-6 | 99% | EtOH |

Abbreviations: CS, in-house chemically synthesized metabolites, NA, not available for in-house synthesized metabolites, purity and characterization has been previously described in Gallou et al., 2026 (DOI: 10.1016/j.chroma.2025.466604); MeOH, methanol, EtOH, ethanol.

Table S2. Chromatographic gradient used for the targeted analysis of aromatic amino acids (AAA) metabolites. Chromatographic parameters including retention time (RT), flow rate, and the percentage of the two mobile phases.

| RT | Flow rate | Mobile phase A (%) | Mobile phase B (%) |
| --- | --- | --- | --- |
| min | mL/min | H2O + 0.05% FA | ACN:MeOH 1:1, v/v |
| 0 | 0.4 | 98 | 2 |
| 1 | 0.4 | 98 | 2 |
| 6 | 0.4 | 40 | 60 |
| 8 | 0.4 | 37 | 63 |
| 9 | 0.4 | 33 | 67 |
| 9.5 | 0.4 | 10 | 90 |
| 10 | 0.4 | 0 | 100 |
| 12 | 0.4 | 0 | 100 |
| 13 | 0.4 | 98 | 2 |
| 16 | 0.4 | 98 | 2 |

Abbreviations: RT, retention time; FA, formic acid; ACN, acetonitrile; MeOH, methanol.

Table S3. Retention times and MS/MS detection parameters for the 43 analytes and their corresponding internal deuterated standards (ISTD) in the targeted analysis of aromatic amino acids (AAA) metabolites. Detection parameters including electrospray ionization (ESI) mode, adduct, retention time (RT), precursor ion, product ion, fragmentor voltage, collision energy (CE) and ISTD.

| No. | Compound | ESI mode | Adduct | RT (min) | Precursor Ion (m/z) | Product Ions (m/z) | Fragmentor (V) | CE (V) | Internal standards (ISTDs) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Tryptophan# | +ESI | [M+H]+ | 2.4 | 205.1 | 146.0† | 80.0 | 5.0 | tryp-d5 |
|  |  |  |  |  |  | 188.0 | 80.0 | 5.0 |  |
| Indole metabolism pathway |  |  |  |  |  |  |  |  |  |
| 2 | Indole‡ | +ESI | [M+H]+ | 5.6 | 118.0 | 91.0† | 100.0 | 20.0 | tryp-d5 |
|  |  |  |  |  |  | 59.1 | 100.0 | 20.0 |  |
| 3 | Indole-3-acetic acid (IAA) | -ESI | [M-H]- | 5.1 | 174.1 | 130.0† | 80.0 | 4.0 | tryp-d5 |
| 4 | 5-OH-3-indoleacetic acid (5-HIAA) | -ESI | [M-H]- | 3.4 | 190.1 | 146.1† | 80.0 | 8.0 | tryp-d5 |  |
| 5 | 5-OH-3-indoleacetic acid-O-sulfate (5-HIAA sulfate) | -ESI | [M-H]- | 5.1 | 270.0 | 225.9† | 100.0 | 12.0 | tryp-d5 |  |
|  |  |  |  |  |  | 146.0 | 100.0 | 28.0 |  |  |
| 6 | Indole-3-lactic acid | -ESI | [M-H]- | 4.6 | 204.1 | 158.1 | 100.0 | 5.0 | tryp-d5 |  |
| 7 | 3-indoxyl sulfate | -ESI | [M-H]- | 5.9 | 212.0 | 80.0† | 100.0 | 5.0 | tryp-d5 |  |
| 8 | Indole-3-propionic acid | +ESI | [M+H]+ | 5.5 | 190.1 | 172.0† | 80.0 | 4.0 | tryp-d5 |  |
| 9 | Indole-3-carboxaldehyde | +ESI | [M+H]+ | 4.6 | 146.1 | 118.0† | 80.0 | 12.0 | tryp-d5 |  |
|  |  |  |  |  |  | 91.0 | 80.0 | 28.0 |  |  |
| 10 | Tryptamine | +ESI | [M+H]+ | 0.8 | 161.1 | 144.0† | 80.0 | 4.0 | trypt-d4 |  |
|  |  |  |  |  |  | 117.0 | 80.0 | 28.0 |  |  |
| Serotonin metabolism pathway |  |  |  |  |  |  |  |  |  |  |
| 11 | 5-OH-tryptophan | +ESI | [M+H]+ | 1.0 | 221.1 | 204.0† | 80.0 | 8.0 | trypt-d4 |  |
|  |  |  |  |  |  | 162.1 | 80.0 | 20.0 |  |  |
| 12 | Serotonin | +ESI | [M+H]+ | 0.7 | 177.1 | 160.0† | 80.0 | 4.0 | ser-d4 |  |
|  |  |  |  |  |  | 144.0 | 100.0 | 32.0 |  |  |
| 13 | Melatonin | -ESI | [M-H]- | 4.8 | 231.1 | 216.2 | 80.0 | 12.0 | tryp-d5 |  |
|  |  |  |  |  |  | 143.9† | 80.0 | 28.0 |  |  |
| Kynurenine metabolism pathway |  |  |  |  |  |  |  |  |  |  |
| 14 | Kynurenine | +ESI | [M+H]+ | 1.7 | 209.1 | 192.0† | 80.0 | 4.0 | kyn-d4 |  |
|  |  |  |  |  |  | 94.0 | 80.0 | 12.0 |  |  |
| 15 | Kynurenic acid | +ESI | [M+H]+ | 4.7 | 190.0 | 144.0† | 100.0 | 10.0 | tryp-d5 |  |
| 16 | Xanthurenic acid | -ESI | [M-H]- | 3.4 | 204.0 | 160.0† | 80.0 | 12.0 | tryp-d5 |  |
| 17 | 2-oxoglutaric acid | -ESI | [M-H]- | 2.9 | 145.0 | 57.2† | 80.0 | 4.0 | tryp-d5 |  |
|  |  |  |  |  |  | 100.9 | 80.0 | 8.0 |  |  |
| 18 | Picolinic acid | +ESI | [M+H]+ | 0.9 | 124.0 | 106.0† | 80.0 | 8.0 | trypt-d4 |  |
|  |  |  |  |  |  | 78.0 | 80.0 | 20.0 |  |  |
| 19 | Nicotinic acid | +ESI | [M+H]+ | 0.9 | 124.0 | 80.1† | 100.0 | 24.0 | trypt-d4 |  |
|  |  |  |  |  |  | 53.1 | 100.0 | 36.0 |  |  |
| 20 | Nicotinamide‡ | +ESI | [M+H]+ | 0.7 | 123.1 | 80.1† | 100.0 | 12.0 | dop-d4 |  |
|  |  |  |  |  |  | 82.0 | 100.0 | 20.0 |  |  |
| Tyrosine/Phenylalanine metabolism pathway |  |  |  |  |  |  |  |  |  |  |
| 21 | Tyrosine | +ESI | [M+H]+ | 0.8 | 182.1 | 136.0† | 80.0 | 2.0 | dop-d4 |  |
|  |  |  |  |  |  | 91.0 | 80.0 | 20.0 |  |  |
| 22 | 4-OH-phenylpyruvic acid | -ESI | [M-H]- | 3.8 | 179.0 | 135.0† | 80.0 | 8.0 | tryp-d5 |  |
|  |  |  |  |  |  | 45.0 | 80.0 | 28.0 |  |  |
| 23 | 4-OH-phenyllactic acid | -ESI | [M-H]- | 3.1 | 181.1 | 163.0† | 80.0 | 12.0 | tryp-d5 |  |
| 24 | 4-OH-phenyllactic acid-O-sulfate | -ESI | [M-H]- | 5.0 | 261.0 | 181.1† | 100.0 | 20.0 | tryp-d5 |  |
|  |  |  |  |  |  | 148.7 | 100.0 | 12.0 |  |  |
| 25 | 4-OH-phenylpropionic acid | -ESI | [M-H]- | 4.0 | 165.1 | 121.2 | 80.0 | 8.0 | tryp-d5 |  |
| 26 | 4-OH-phenylpropionic acid-O-sulfate | -ESI | [M-H]- | 5.5 | 245.0 | 165.0† | 100.0 | 16.0 | tryp-d5 |  |
|  |  |  |  |  |  | 59.1 | 100.0 | 32.0 |  |  |
| 27 | 4-ethylphenol‡ | -ESI | [M-H]- | 5.8 | 121.1 | 121.1† | 180.0 | 0.0 | tryp-d5 |  |
|  |  |  |  |  |  | 106.0 | 80.0 | 20.0 |  |  |
| 28 | 4-ethylphenyl sulfate | -ESI | [M-H]- | 7.2 | 201.0 | 121.0† | 80.0 | 20.0 | tryp-d5 |  |
|  |  |  |  |  |  | 106.0 | 80.0 | 32.0 |  |  |
| 29 | Tyramine | +ESI | [M+H]+ | 0.6 | 138.1 | 121.0† | 80.0 | 8.0 | dop-d4 |  |
|  |  |  |  |  |  | 77.1 | 80.0 | 4.0 |  |  |
| 30 | 4-OH-phenylacetic acid | -ESI | [M-H]- | 3.4 | 151.0 | 107.0† | 80.0 | 4.0 | tryp-d5 |  |
| 31 | 4-OH-phenylacetic acid-O-sulfate | -ESI | [M-H]- | 5.1 | 231.0 | 151.0† | 80.0 | 16.0 | tryp-d5 |  |
|  |  |  |  |  |  | 107.0 | 80.0 | 28.0 |  |  |
| 32 | 4-cresol‡ | -ESI | [M-H]- | 4.8 | 107.1 | 107.1 | 180.0 | 0.0 | tryp-d5 |  |
| 33 | 4-cresyl sulfate | -ESI | [M-H]- | 6.4 | 187.0 | 80.1† | 100.0 | 3.0 | tryp-d5 |  |
|  |  |  |  |  |  | 107.0 | 100.0 | 3.0 |  |  |
| 34 | Dopamine | -ESI | [M-H]- | 0.6 | 152.1 | 122.0† |  |  | dop-d4 |  |
|  |  |  |  |  |  | 150.7 |  |  |  |  |
| 35 | Dopamine-4-O-sulfate | -ESI | [M-H]- | 1.0 | 232.0 | 152.0† | 100.0 | 20.0 | dop-d4 |  |
|  |  |  |  |  |  | 122.0 | 100.0 | 36.0 |  |  |
| 36 | Homovanillic acid | -ESI | [M-H]- | 3.7 | 181.0 | 137.0† | 80.0 | 4.0 | tryp-d5 |  |
| 37 | Phenyl sulfate | -ESI | [M-H]- | 5.7 | 173.0 | 93.0† | 80.0 | 20.0 | tryp-d5 |  |
|  |  |  |  |  |  | 79.9 | 80.0 | 20.0 |  |  |
| 38 | Phenylalanine# | +ESI | [M+H]+ | 1.4 | 166.1 | 103.0† | 80.0 | 4.0 | phe-d5 |  |
|  |  |  |  |  |  | 120.0 | 80.0 | 10.0 |  |  |
| 39 | 4-coumaric acid | -ESI | [M-H]- | 4.3 | 163.0 | 119.0† | 80.0 | 12.0 | tryp-d5 |  |
|  |  |  |  |  |  | 93.1 | 80.0 | 32.0 |  |  |
| 40 | 4-coumaric acid-O-sulfate | -ESI | [M-H]- | 5.7 | 243.0 | 119.0† | 80.0 | 12.0 | tryp-d5 |  |
|  |  |  |  |  |  | 163.0 | 80.0 | 28.0 |  |  |
| 41 | 4-OH-benzoic acid (4-HBA) | -ESI | [M-H]- | 3.4 | 137.0 | 93.0† | 80.0 | 12.0 | tryp-d5 |  |
| 42 | 4-OH-benzoic acid sulfate (4-HBA sulfate) | -ESI | [M-H]- | 5.2 | 217.0 | 93.0† | 80.0 | 12.0 | tryp-d5 |  |
|  |  |  |  |  |  | 137.0 | 80.0 | 40.0 |  |  |
| 43 | Hippuric acid# | -ESI | [M-H]- | 3.8 | 178.0 | 77.0† | 80.0 | 3.0 | tryp-d5 |  |
|  |  |  |  |  |  | 134.0 | 80.0 | 2.0 |  |  |
| Internal Deuterated Standards (ISTD) |  |  |  |  |  |  |  |  |  |  |
| 1 | Tryptophan-d5 (tryp-d5) | +ESI | [M+H]+ | 2.4 | 210.1 | 192.1 | 80.0 | 8.0 | ISTD |  |
| 2 | Serotonin-d4 (ser-d4) | +ESI | [M+H]+ | 0.6 | 181.1 | 164.0 | 80.0 | 4.0 | ISTD |  |
| 3 | Tryptamine-d4 (trypt-d4) | +ESI | [M+H]+ | 0.8 | 165.1 | 148.0 | 80.0 | 4.0 | ISTD |  |
| 4 | Kynurenine-d4 (kyn-d4) | +ESI | [M+H]+ | 1.7 | 213.1 | 150.0 | 80.0 | 12.0 | ISTD |  |
| 5 | Phenylalanine-d5 (phe-d5) | +ESI | [M+H]+ | 1.4 | 171.1 | 125.0 | 80.0 | 12.0 | ISTD |  |
| 6 | Dopamine-d4 (dop-d4) | +ESI | [M+H]+ | 0.6 | 158.1 | 117.0 | 80.0 | 8.0 | ISTD |  |

Abbreviations: RT, retention time; ESI, electrospray ionization; CE, collision energy; ISTD, internal standard; †, quantifier ion; ‡, metabolites for which their transitions were manually optimized; #, metabolites for which detuning was applied using non-optimal collision.

Table S4. Stock calibrants (ng/mL) for native standards and concentration of internal deuterated standard (ISTD) mixture used in the targeted analysis of aromatic amino acids (AAA) metabolites. ISTD mixture was added at a fixed concentration to all calibration levels.

| Calibration levels (ng/mL) of native standards |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Metabolite | Level 1 | Level 2 | Level 3 | Level 4 | Level 5 | Level 6 | Level 7 | Level 8 | Level 9 |
| Tryptophan | 2719 | 3671 | 4956 | 6690 | 9032 | 12193 | 16461 | 22222 | 30000 |
| Indole-3-acetic acid | 544 | 734 | 991 | 1338 | 1806 | 2439 | 3292 | 4444 | 6000 |
| 5-OH-3-indoleacetic acid (5-HIAA) | 3626 | 4895 | 6608 | 8921 | 12043 | 16258 | 21948 | 29630 | 40000 |
| 5-OH-3-indoleacetic acid sulfate (5-HIAA sulfate) | 363 | 489 | 661 | 892 | 1204 | 1626 | 2195 | 2963 | 4000 |
| 3-indoxyl sulfate | 4532 | 6118 | 8260 | 11151 | 15053 | 20322 | 27435 | 37037 | 50000 |
| Kynurenine | 40 | 49 | 66 | 89 | 120 | 163 | 219 | 296 | 400 |
| Kynurenic acid | 634 | 857 | 1156 | 1561 | 2107 | 2845 | 3841 | 5185 | 7000 |
| Xanthurenic acid | 906 | 1224 | 1652 | 2230 | 3011 | 4064 | 5487 | 7407 | 10000 |
| 2-oxoglutaric acid | 3626 | 4895 | 6608 | 8921 | 12043 | 16258 | 21948 | 29630 | 40000 |
| Nicotinamide | 45 | 61 | 83 | 112 | 151 | 203 | 274 | 370 | 500 |
| Tyrosine | 725 | 979 | 1322 | 1784 | 2409 | 3252 | 4390 | 5926 | 8000 |
| 4-OH-phenylpyruvic acid | 1360 | 1836 | 2478 | 3345 | 4516 | 6097 | 8230 | 11111 | 15000 |
| 4-OH-phenyllactic acid | 363 | 489 | 661 | 892 | 1204 | 1626 | 2195 | 2963 | 4000 |
| 4-ethylphenyl sulfate | 91 | 122 | 165 | 223 | 301 | 406 | 549 | 741 | 1000 |
| Tyramine | 453 | 612 | 826 | 1115 | 1505 | 2032 | 2743 | 3704 | 5000 |
| 4-OH-phenylacetic acid | 2719 | 3671 | 4956 | 6690 | 9032 | 12193 | 16461 | 22222 | 30000 |
| 4-OH-phenylacetic acid-O-sulfate | 363 | 489 | 661 | 892 | 1204 | 1626 | 2195 | 2963 | 4000 |
| Dopamine-4-O-sulfate | 363 | 489 | 661 | 892 | 1204 | 1626 | 2195 | 2963 | 4000 |
| Homovanillic acid | 2719 | 3671 | 4956 | 6690 | 9032 | 12193 | 16461 | 22222 | 30000 |
| Phenylalanine | 1813 | 2447 | 3304 | 4460 | 6021 | 8129 | 10974 | 14815 | 20000 |
| 4-coumaric acid | 36 | 49 | 66 | 89 | 120 | 163 | 219 | 296 | 400 |
| 4-coumaric acid-O-sulfate | 73 | 98 | 132 | 178 | 241 | 325 | 439 | 593 | 800 |
| 4-OH-benzoic acid (4-HBA) | 272 | 367 | 496 | 669 | 903 | 1219 | 1646 | 2222 | 3000 |
| 4-OH-benzoic acid sulfate (4-HBA sulfate) | 1360 | 1836 | 2478 | 3345 | 4516 | 6097 | 8230 | 11111 | 15000 |
| Hippuric acid | 72514 | 97893 | 132156 | 178411 | 240855 | 325154 | 438957 | 592593 | 800000 |
| Concentration of the internal deuterated standard (ISTD) mixture (ng/mL) |  |  |  |  |  |  |  |  |  |  |
| ISTD | Level 1 | Level 2 | Level 3 | Level 4 | Level 5 | Level 6 | Level 7 | Level 8 | Level 9 |
| Tryptophan-d5 (tryp-d5) ꝉ | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 | 4000 |
| Serotonin-d4 (ser-d4) ꝉ | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 |
| Tryptamine-d4 (trypt-d4) ꝉ | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 |
| Kynurenine-d4 (kyn-d4) ꝉ | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 | 100000 |
| Phenylalanine-d5 (phe-d5) ꝉ | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 |
| Dopamine-d4 (dop-d4) ꝉ | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 |

Abbreviations: ISTD, internal standard; ꝉ, internal standards have a fixed concentration across all calibration levels.

Table S5. Quantification approach for aromatic amino acids (AAA) metabolites. Quantification category, method used and assigned internal deuterated standard (ISTD) are reported for each metabolite. Metabolites were quantified using calibration curves with matrix addition or semi-quantified using an internal-standard based approach.

| Metabolite | Quantification category | Method used | ISTD |
| --- | --- | --- | --- |
| Tryptophan | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| Indole-3-acetic acid | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| 5-OH-3-indole acetic acid | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| 5-OH-3-indole acetic acid-O-sulfate | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| Indole-3-lactic acid | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| 3-indoxyl sulfate | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| Indole-3-carboxylaldehyde | Semi-quantification | Internal standard based approach | Tryp-d5 |
| Serotonin | Semi-quantification | Internal standard based approach | Ser-d4 |
| Kynurenine | Quantification | Calibration curve with matrix addition | Kyn-d4 |
| Kynurenic Acid | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| Xanthurenic acid | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| 2-oxoglutaric acid | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| Nicotinamide | Semi-quantification | Internal standard approach | Dop-d4 |
| Tyrosine | Quantification | Internal standard based approach | Dop-d4 |
| 4-OH-phenylpyruvic acid | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| 4-OH-phenyllactic acid | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| 4-OH-phenyllactic acid-O-sulfate | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| 4-ethylphenyl sulfate | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| Tyramine | Quantification | Calibration curve with matrix addition | Dop-d4 |
| 4-OH-phenylacetic acid | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| 4-OH-phenylacetic acid sulfate | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| 4-cresyl sulfate | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| Dopamine-4-O-sulfate | Quantification | Calibration curve with matrix addition | Dop-d4 |
| Homovanillic acid | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| Phenyl sulfate | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| Phenylalanine | Quantification | Calibration curve with matrix addition | Phe-d5 |
| 4-coumaric acid | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| 4-coumaric acid-O-sulfate | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| 4-OH-benzoic acid | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| 4-OH-benzoic acid-4-O-sulfate | Quantification | Calibration curve with matrix addition | Tryp-d5 |
| Hippuric acid | Quantification | Calibration curve with matrix addition | Tryp-d5 |

Abbreviations: Tryp-d5, tryptophan-d5; ser-d4, serine-d4; kyn-d4, kynurenine-d4; dop-d4, dopamine-d4; Phe-d5, phenylalanine-d5.

Table S6. Comparison of recent LC-MS/MS targeted methodologies for the analysis of aromatic amino acids (AAA). Total AAA, detected AAA, non-sulfated and sulfated metabolites, number of internal standards (ISTD) used, biological matrix, linearity range, runtime and reference are displayed for each methodology.

| No. | Total AAAs (n) | Detected AAAs (n) | Aromatic Amino Acids (non-sulfated metabolites) | Sulfated Metabolites | ISTD (n) | Biological matrix | Linearity range | Runtime (min) | Ref |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 2 | Phenylalanine Tyrosine | NA | NA | Food samples | 1 - 20 (μg/g) | 7 | [1] |
| 2 | 34 | 26 | Picolinic acid Dopamine Quinolinic acid 3-OH-kynurenine Tyrosine Tyramine Serotonin 5-OH-tryptophan 3-Methoxy-p-tyramine Kynurenine Phenylalanine 3-OHanthranilic acid Tryptophan Xanthurenic acid Kynurenic acid Tryptamine 5-OH-indoleacetic acid Homovanillic acid Indole-3-acetamide Anthranilic acid Indole-3-lactic acid Indole-3-carboxylic acid Indole-3-carboxaldehyde Indole-3-acetonitrile Indole-3-acetic acid Indole-3-propionic acid | NA | 8 | Human urine | 1 - 25600 (ng/mL) | 14 | [2] |
| 3 | 14 | 14 | Tryptophan Phenylalanine Tyrosine Serotonin / 5-HT 5-Hydroxyindoleacetic acid / 5-HIAA Kynurenine 3-Hydroxykynurenine Kynurenic acid Xanthurenic acid Anthranilic acid 3-Hydroxyanthranilic acid Dopamine 3-Methoxytyramine Homovanillic acid | NA | 10 | Human urine | 5 – 100000 (ng/mL) | 12 | [3] |
| 4 | 7 | 7 | Tryptophan Phenylalanine Tyrosine Indole p-cresol | indoxyl sulfate 4-cresol sulfate | 1 | Rat serum and urine | 10.20 – 7500 (ng/mL) | 6 | [4] |
| 5 | 12 | 6 | Tyrosine Tyramine 4-OH-phenyllactic acid 4-OH-phenylacetic acid 4-cresol glucuronide | 4-cresol sulfate | 5 | Mouse plasma and urine | 5-1000 (nM) | 7.5 | [5] |
| 6 | 7 | 6 | Serotonin N-acetylserotonin Tryptamine 6-OH-mealtonin Melatonin | 6-sulfatoxymelatonin | 6 | Human plasma | 0.01 – 200 (ng/mL) | 10 | [6] |
| 7 | 11 | 11 | Tryptophan Kynurenine 3-oh-kynurenine Kynurenic acid Xanthurenic acid 3-OH-anthranilic acid Quinolinic acid Nicotinic acid mononucleotide Picolinic acid Nicotinamide Nicotinic acid | NA | 10 | Human plasma and urine | 8 – 120000 (nM) | 17 | [7] |
| 8 | 8 | 8 | Tryptophan Kynurenine Kynurenic acid 3-OH-anthranilic acid 3-OH-kynurenine Serotonin 5-OH-indoleacetic acid Tryptamine | NA | 1 | Rat plasma | 1 – 2000 (ng/mL) | 4.5 | [8] |
| 9 | 7 | 7 | Tryptophan Kynurenine Kynurenic acid 3-OH-kynurenine Serotonin 5-OH-indoleacetic acid Norepinephrine | NA | 1 | Mouse serum, and brain | 3.43 – 244822 (nmol/L) | 8 | [9] |
| 10 | 43 | 31 | Tryptophan Indole-3-acetic acid 5-OH-3-indoleacetic acid 3-inodxyl sulfate Kynurenine Kynurenic acid Xanthurenic acid 2- oxoglutaric acid Nicotinamide Tyrosine 4-OH-phenylpyruvic acid 4-OH-phenyllactic acid Tyramine 4-OH-phneylacetic acid Homovanillic acid Phenylalanine 4-coumaric acid 4-OH-benzoic acid Hippuric acid | 5-OH-3-indoleactic acid sulfate 4-ehtylphenyl sulfate 4-OH-phenylacetic acid sulfate 4-cresyl sulfate Dopamine-O-sulfate Phenyl sulfate 4-coumaric acid-O-sulfate 4-OH-benzoic acid 4-O-sulfate | 6 | Human urine | 36 – 800000 (ng/mL) | 16 | Current method |

- Andrensek S, Golc-Wondra A, Prosek M (2003) Determination of Phenylalanine and Tyrosine by Liquid Chromatography/Mass Spectrometry. Journal of AOAC INTERNATIONAL 86:753–758. https://doi.org/10.1093/jaoac/86.4.753.

- Anesi A, Rubert J, Oluwagbemigun K, Orozco-Ruiz X, Nöthlings U, Breteler MMB, Mattivi F (2019) Metabolic Profiling of Human Plasma and Urine, Targeting Tryptophan, Tyrosine and Branched Chain Amino Acid Pathways. Metabolites 9:261. https://doi.org/10.3390/metabo9110261

- Marcos J, Renau N, Valverde O, Aznar-Laín G, Gracia-Rubio I, Gonzalez-Sepulveda M, Pérez-Jurado LA, Ventura R, Segura J, Pozo OJ (2016) Targeting tryptophan and tyrosine metabolism by liquid chromatography tandem mass spectrometry. Journal of Chromatography A 1434:91–101. https://doi.org/10.1016/j.chroma.2016.01.023

- Zeng Y, Luo L, Hou W, Lu B, Gong J, Chen J, Zhang X, Han B, Xie Z, Liao Q (2017) Targeted metabolomics analysis of aromatic amino acids and their gut microbiota–host cometabolites in rat serum and urine by liquid chromatography coupled with tandem mass spectrometry. J of Separation Science 40:3221–3230. https://doi.org/10.1002/jssc.201700368.

- Letertre MPM, Myridakis A, Whiley L, Camuzeaux S, Lewis MR, Chappell KE, Thaikkatil A, Dumas M-E, Nicholson JK, Swann JR, Wilson ID (2021) A targeted ultra performance liquid chromatography – Tandem mass spectrometric assay for tyrosine and metabolites in urine and plasma: Application to the effects of antibiotics on mice. Journal of Chromatography B 1164:122511. https://doi.org/10.1016/j.jchromb.2020.122511

- Kaleta M, Kolitha BS, Novák O, Rad FM, Bergquist J, Ubhayasekera SJKA (2025) Targeted analysis of seven selected tryptophan-melatonin metabolites: Simultaneous quantification of plasma analytes using fast and sensitive UHPLC–MS/MS. Journal of Chromatography B 1256:124520. https://doi.org/10.1016/j.jchromb.2025.124520

- Nadour Z, Simian C, Laprévote O, Loriot M-A, Larabi IA, Pallet N (2022) Validation of a liquid chromatography coupled to tandem mass spectrometry method for simultaneous quantification of tryptophan and 10 key metabolites of the kynurenine pathway in plasma and urine: Application to a cohort of acute kidney injury patients. Clinica Chimica Acta 534:115–127. https://doi.org/10.1016/j.cca.2022.07.009.

- Dai M, Wang Q, Kou S, Li X, Jiang Z, Sun L, Huang X (2022) A sensitive UPLC-MS/MS method for the simultaneous determination of the metabolites in the tryptophan pathway in rat plasma. Journal of Pharmaceutical and Biomedical Analysis 219:114979. https://doi.org/10.1016/j.jpba.2022.114979.

- Wang L-S, Zhang M-D, Tao X, Zhou Y-F, Liu X-M, Pan R-L, Liao Y-H, Chang Q (2019) LC-MS/MS-based quantification of tryptophan metabolites and neurotransmitters in the serum and brain of mice. Journal of Chromatography B 1112:24–32. https://doi.org/10.1016/j.jchromb.2019.02.021.

Table S7. Quantification of aromatic amino acids (AAA) metabolites and their derived metabolites in a pool of 10 healthy urine samples.

| Main precursor | Metabolic Pathway | Sulfation status | Metabolite | Concentration (ng/mL) |
| --- | --- | --- | --- | --- |
| Tryptophan | Indole Pathway | Non sulfated | IAA | 1900.00 |
|  | Indole Pathway | Non sulfated | 5-HIAA | 8590.00 |
|  | Indole Pathway | Non sulfated | 5-HIAA sulfate | 164.00 |
|  | Indole Pathway | Sulfated | 3-indoxyl sulfate | 18400.00 |
|  | Kynurenine Pathway | Non-Sulfated | Kynurenine | 22.80 |
|  | Kynurenine Pathway | Non-Sulfated | Kynurenic acid | 1340.00 |
|  | Kynurenine Pathway | Non-Sulfated | Xanthurenic acid | 2650.00 |
|  | Kynurenine Pathway | Non-Sulfated | 2-oxoglutaric acid | 10800.00 |
|  | Kynurenine Pathway | Non-Sulfated | Nicotinamide | 40.40 |
| Tyrosine | Homogentistate Branch | Non-Sulfated | 4-OH-phenylpyruvic acid | 8940.00 |
|  | Homogentistate Branch | Non-Sulfated | 4-OH-phenyllactic acid | 428.00 |
|  | Homogentistate Branch | Non-Sulfated | Tyramine | 416.00 |
|  | Homogentistate Branch | Non-Sulfated | 4-OH-phenylacetic acid | 6580.00 |
|  | Homogentistate Branch | Sulfated | 4-ethylphenyl sulfate | 62.80 |
|  | Homogentistate Branch | Sulfated | 4-OH-phenylacetic acid-O-sulfate | 106.00 |
|  | Catecholamine Branch | Non-Sulfated | Homovanillic acid | 1420.00 |
|  | Catecholamine Branch | Sulfated | Dopamine-4-O-sulfate | 3070.00 |
| Phenylalanine | Phenylalanine Branch | Non-Sulfated | 4-coumaric acid | 5.89 |
|  | Phenylalanine Branch | Non-Sulfated | 4-HBA | 283.00 |
|  | Phenylalanine Branch | Non-Sulfated | Hippuric acid | 479000.00 |
|  | Phenylalanine Branch | Sulfated | 4-coumaric acid-O-sulfate | 34.70 |
|  | Phenylalanine Branch | Sulfated | 4-HBA sulfate | 2000.00 |

Table S8. Precision and accuracy. Inter-day precision and accuracy for 3 days and intra-day analysis. Concentration levels are reported as native concentrations in samples prior to dilution.

|  |  |  | INTRA-DAY (DAY 1) |  | INTRA-DAY (DAY 2) |  | INTRA-DAY (DAY 3) |  | INTER-DAY (DAY 1 TO 3) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Metabolite | Concentration Level (n=3) | Spiked concentration (ng/mL) | Accuracy (%R) | Precision (%RSD) | Accuracy (%R) | Precision (%RSD) | Accuracy (%R) | Precision (%RSD) | Accuracy (%R) | Precision (%RSD) |
| Tryptophan | LLOQ | 271.9 | 101.34 | 1.71 | 101.32 | 0.41 | 81.83 | 1.53 | 94.83 | 10.34 |
|  | LQC | 815.8 | 97.71 | 3.63 | 101.75 | 3.36 | 93.38 | 2.53 | 97.62 | 4.65 |
|  | MQC | 1364.0 | 95.87 | 6.32 | 104.11 | 3.76 | 103.86 | 1.90 | 101.28 | 5.45 |
|  | HQC | 2046.1 | 104.83 | 4.98 | 99.15 | 5.31 | 114.34 | 0.90 | 106.11 | 7.19 |
| Indole-3-acetic acid | LLOQ | 54.4 | 115.45 | 5.90 | 103.18 | 1.20 | 104.38 | 3.13 | 107.67 | 6.50 |
|  | LQC | 163.2 | 117.35 | 4.37 | 107.72 | 1.55 | 120.34 | 5.56 | 115.14 | 6.21 |
|  | MQC | 272.8 | 93.94 | 6.77 | 105.78 | 2.92 | 111.17 | 7.45 | 103.63 | 9.05 |
|  | HQC | 409.2 | 109.90 | 5.30 | 102.14 | 7.40 | 112.62 | 5.29 | 108.22 | 6.78 |
| 5-OH-3-indole acetic acid | LLOQ | 362.6 | 111.89 | 2.09 | 105.81 | 0.61 | 97.05 | 1.90 | 104.92 | 6.33 |
|  | LQC | 1087.7 | 95.07 | 0.88 | 103.74 | 3.87 | 101.16 | 3.41 | 99.99 | 4.69 |
|  | MQC | 1818.7 | 92.27 | 1.75 | 100.89 | 1.13 | 101.78 | 2.07 | 98.31 | 4.86 |
|  | HQC | 2728.1 | 94.18 | 6.38 | 97.71 | 5.75 | 109.46 | 1.48 | 100.45 | 8.06 |
| 5-OH-3-indole acetic acid-O-sulfate | LLOQ | 36.3 | 120.20 | 3.88 | 112.13 | 2.35 | 116.59 | 3.12 | 116.31 | 4.10 |
|  | LQC | 108.8 | 91.00 | 4.95 | 89.77 | 5.74 | 113.95 | 5.66 | 98.24 | 12.92 |
|  | MQC | 181.9 | 85.13 | 6.63 | 90.66 | 3.56 | 99.26 | 5.41 | 91.68 | 8.15 |
|  | HQC | 272.8 | 111.78 | 9.93 | 93.61 | 5.48 | 115.44 | 4.85 | 106.95 | 11.36 |
| 3-indoxyl sulfate | LLOQ | 453.2 | 104.60 | 5.85 | 99.76 | 0.79 | 95.73 | 5.07 | 100.03 | 5.49 |
|  | LQC | 1359.6 | 107.26 | 8.26 | 103.36 | 3.00 | 120.46 | 9.05 | 110.36 | 9.59 |
|  | MQC | 2273.4 | 99.38 | 5.59 | 102.66 | 2.61 | 103.09 | 1.75 | 101.71 | 3.60 |
|  | HQC | 3410.1 | 109.79 | 4.72 | 99.68 | 6.53 | 111.33 | 1.08 | 106.93 | 6.46 |
| Kynurenine | LLOQ | 3.6 | 97.38 | 0.89 | 103.13 | 0.32 | 97.10 | 1.32 | 99.20 | 3.08 |
|  | LQC | 10.9 | 99.11 | 1.96 | 104.70 | 3.53 | 97.27 | 3.54 | 100.36 | 4.29 |
|  | MQC | 18.2 | 99.01 | 4.13 | 106.38 | 3.86 | 104.09 | 1.99 | 103.16 | 4.35 |
|  | HQC | 27.3 | 104.61 | 2.29 | 107.73 | 2.52 | 108.94 | 4.94 | 107.10 | 3.52 |
| Kynurenic acid | LLOQ | 63.4 | 101.65 | 8.81 | 104.77 | 3.56 | 97.82 | 5.20 | 101.41 | 6.16 |
|  | LQC | 190.3 | 111.70 | 3.24 | 109.42 | 3.24 | 93.63 | 10.40 | 104.92 | 9.66 |
|  | MQC | 318.3 | 104.67 | 7.23 | 109.14 | 8.87 | 109.86 | 3.52 | 107.89 | 6.38 |
|  | HQC | 477.4 | 108.77 | 8.04 | 99.08 | 9.69 | 118.79 | 1.54 | 108.88 | 9.89 |
| Xanthurenic acid | LLOQ | 90.6 | 86.34 | 4.59 | 96.51 | 2.09 | 95.02 | 0.69 | 92.62 | 5.68 |
|  | LQC | 271.9 | 106.03 | 2.96 | 102.28 | 4.10 | 104.80 | 2.43 | 104.37 | 3.21 |
|  | MQC | 454.7 | 112.31 | 1.10 | 108.78 | 1.92 | 108.18 | 1.08 | 109.76 | 2.14 |
|  | HQC | 682.0 | 108.76 | 5.89 | 106.11 | 3.92 | 109.66 | 0.67 | 108.18 | 3.84 |
| 2-oxoglutaric acid | LLOQ | 362.6 | 107.67 | 2.52 | 98.82 | 1.10 | 95.19 | 2.31 | 100.56 | 5.82 |
|  | LQC | 1087.7 | 105.89 | 1.36 | 105.60 | 3.68 | 105.58 | 1.69 | 105.69 | 2.14 |
|  | MQC | 1818.7 | 103.27 | 5.30 | 104.05 | 2.88 | 107.55 | 1.71 | 104.96 | 3.63 |
|  | HQC | 2728.1 | 111.50 | 1.63 | 99.39 | 6.61 | 110.79 | 0.55 | 107.23 | 6.35 |
| Nicotinamide | LLOQ | 4.5 | 88.09 | 1.13 | 80.47 | 7.93 | 89.89 | 9.00 | 86.15 | 7.84 |
|  | LQC | 13.6 | 102.87 | 4.72 | 80.76 | 9.18 | 87.99 | 3.73 | 90.54 | 11.98 |
|  | MQC | 22.7 | 97.02 | 5.53 | 86.22 | 4.27 | 106.24 | 4.26 | 96.49 | 9.89 |
|  | HQC | 34.1 | 107.73 | 3.57 | 85.17 | 8.68 | 105.55 | 8.61 | 99.48 | 12.48 |
| Tyrosine | LLOQ | 72.5 | 96.65 | 1.84 | 94.55 | 2.14 | 99.86 | 4.36 | 97.02 | 3.56 |
|  | LQC | 217.5 | 99.89 | 3.28 | 106.19 | 0.59 | 100.79 | 5.74 | 102.29 | 4.36 |
|  | MQC | 363.7 | 93.96 | 1.95 | 104.69 | 3.13 | 100.32 | 2.03 | 99.66 | 5.16 |
|  | HQC | 545.6 | 90.41 | 2.20 | 97.50 | 1.93 | 86.84 | 5.38 | 91.58 | 5.92 |
| 4-OH-phenylpyruvic acid | LLOQ | 136.0 | 100.32 | 7.63 | 101.55 | 1.81 | 102.19 | 4.28 | 101.35 | 4.52 |
|  | LQC | 407.9 | 113.00 | 5.09 | 101.91 | 2.71 | 119.79 | 10.52 | 111.57 | 9.44 |
|  | MQC | 682.0 | 104.54 | 8.81 | 112.23 | 3.02 | 102.75 | 1.45 | 106.50 | 6.20 |
|  | HQC | 1125.0 | 87.05 | 5.72 | 103.90 | 7.31 | 100.52 | 1.76 | 97.16 | 9.26 |
| 4-OH-phenyllactic acid | LLOQ | 36.3 | 104.54 | 4.91 | 105.44 | 3.78 | 95.88 | 2.07 | 101.95 | 5.59 |
|  | LQC | 108.8 | 88.81 | 3.06 | 105.20 | 2.60 | 101.72 | 2.64 | 98.58 | 7.95 |
|  | MQC | 181.9 | 88.79 | 3.17 | 107.56 | 4.52 | 108.35 | 1.91 | 101.57 | 9.89 |
|  | HQC | 272.8 | 92.00 | 7.03 | 102.58 | 4.33 | 113.91 | 0.69 | 102.83 | 9.99 |
| 4-ethylphenyl sulfate | LLOQ | 9.1 | 119.04 | 2.80 | 111.59 | 0.80 | 100.80 | 3.72 | 110.48 | 7.55 |
|  | LQC | 27.2 | 101.38 | 4.00 | 104.44 | 3.25 | 116.30 | 9.75 | 107.37 | 8.62 |
|  | MQC | 45.5 | 97.80 | 5.32 | 104.52 | 3.92 | 106.40 | 2.77 | 102.91 | 5.18 |
|  | HQC | 68.2 | 105.06 | 5.07 | 98.17 | 6.14 | 115.97 | 1.12 | 106.40 | 8.25 |
| Tyramine | LLOQ | 45.3 | 120.32 | 1.90 | 117.54 | 1.23 | 117.71 | 1.73 | 118.52 | 1.83 |
|  | LQC | 136.0 | 90.07 | 3.58 | 112.65 | 1.17 | 104.27 | 5.38 | 102.33 | 10.18 |
|  | MQC | 227.3 | 84.51 | 3.71 | 105.79 | 6.42 | 113.97 | 1.28 | 101.42 | 13.52 |
|  | HQC | 341.0 | 85.12 | 3.09 | 113.83 | 1.06 | 99.77 | 7.22 | 99.57 | 13.08 |
| 4-OH-phenylacetic acid | LLOQ | 271.9 | 103.90 | 3.75 | 100.21 | 1.70 | 87.18 | 3.59 | 97.10 | 8.30 |
|  | LQC | 815.8 | 108.78 | 3.44 | 105.68 | 2.33 | 93.38 | 3.50 | 102.61 | 7.39 |
|  | MQC | 1364.0 | 109.48 | 8.06 | 105.98 | 4.15 | 108.19 | 2.90 | 107.88 | 5.00 |
|  | HQC | 2046.1 | 104.21 | 4.30 | 101.18 | 4.92 | 112.79 | 1.66 | 106.06 | 5.91 |
| 4-OH-phenylacetic acid sulfate | LLOQ | 36.3 | 116.75 | 4.84 | 104.55 | 2.92 | 105.54 | 2.81 | 108.95 | 6.29 |
|  | LQC | 108.8 | 102.36 | 5.23 | 105.68 | 4.19 | 115.28 | 12.27 | 107.77 | 9.08 |
|  | MQC | 181.9 | 104.96 | 5.16 | 109.89 | 5.06 | 112.08 | 3.92 | 108.98 | 5.01 |
|  | HQC | 272.8 | 113.71 | 5.83 | 101.63 | 3.58 | 114.65 | 1.67 | 110.00 | 6.73 |
| Dopamine-4-O-sulfate | LLOQ | 36.3 | 97.84 | 0.28 | 98.00 | 0.30 | 97.60 | 1.04 | 97.82 | 0.59 |
|  | LQC | 108.8 | 101.79 | 2.33 | 98.84 | 1.51 | 98.87 | 0.97 | 99.83 | 2.09 |
|  | MQC | 181.9 | 102.44 | 2.99 | 100.05 | 0.44 | 103.00 | 1.06 | 101.94 | 2.16 |
|  | HQC | 272.8 | 97.45 | 1.80 | 100.84 | 1.60 | 96.40 | 4.11 | 98.25 | 3.11 |
| Homovanillic acid | LLOQ | 271.9 | 99.63 | 8.23 | 103.82 | 1.60 | 100.32 | 5.36 | 101.26 | 5.27 |
|  | LQC | 8184.2 | 120.63 | 7.91 | 111.00 | 2.89 | 121.51 | 13.33 | 117.71 | 9.17 |
|  | MQC | 1364.0 | 113.98 | 7.91 | 106.36 | 3.12 | 104.54 | 2.27 | 108.29 | 6.08 |
|  | HQC | 2046.1 | 117.73 | 5.36 | 113.65 | 8.89 | 104.14 | 2.42 | 111.84 | 7.67 |
| Phenylalanine | LLOQ | 181.3 | 94.63 | 1.04 | 99.20 | 0.33 | 87.46 | 9.34 | 93.77 | 7.02 |
|  | LQC | 543.9 | 102.17 | 3.30 | 104.65 | 0.41 | 92.34 | 3.05 | 99.72 | 6.08 |
|  | MQC | 909.4 | 91.92 | 0.43 | 105.40 | 1.77 | 102.05 | 3.21 | 99.79 | 6.38 |
|  | HQC | 1364.0 | 108.79 | 1.77 | 96.88 | 2.51 | 112.10 | 1.98 | 105.90 | 6.79 |
| 4-coumaric acid | LLOQ | 3.6 | 119.96 | 3.99 | 93.58 | 3.33 | 91.26 | 7.21 | 101.60 | 14.25 |
|  | LQC | 10.9 | 106.88 | 2.14 | 100.87 | 5.35 | 115.87 | 10.81 | 107.87 | 8.82 |
|  | MQC | 18.2 | 103.46 | 4.52 | 102.90 | 3.47 | 105.44 | 2.84 | 103.94 | 3.37 |
|  | HQC | 27.3 | 110.27 | 2.70 | 98.31 | 6.94 | 117.57 | 2.59 | 108.72 | 8.58 |
| 4-coumaric acid-O-sulfate | LLOQ | 7.3 | 121.26 | 3.71 | 97.94 | 4.38 | 105.39 | 4.21 | 108.20 | 10.17 |
|  | LQC | 21.8 | 102.67 | 2.47 | 97.18 | 3.57 | 114.65 | 8.86 | 104.83 | 9.06 |
|  | MQC | 36.4 | 98.61 | 1.82 | 102.69 | 2.60 | 107.62 | 1.70 | 102.97 | 4.20 |
|  | HQC | 54.6 | 106.72 | 3.64 | 97.19 | 6.79 | 114.27 | 0.26 | 106.06 | 7.87 |
| 4-OH-benzoic acid | LLOQ | 27.2 | 97.01 | 6.15 | 104.88 | 3.10 | 102.38 | 4.11 | 101.42 | 5.23 |
|  | LQC | 81.6 | 88.57 | 1.29 | 106.46 | 5.11 | 103.80 | 3.72 | 99.61 | 9.05 |
|  | MQC | 136.4 | 95.36 | 5.54 | 110.92 | 2.65 | 108.22 | 1.68 | 104.83 | 7.50 |
|  | HQC | 204.6 | 96.01 | 4.10 | 102.42 | 6.43 | 111.23 | 1.35 | 103.22 | 7.45 |
| 4-OH-benzoic acid-4-O-sulfate | LLOQ | 136.0 | 106.23 | 5.58 | 99.78 | 0.73 | 103.77 | 5.74 | 103.26 | 4.91 |
|  | LQC | 407.9 | 106.66 | 7.65 | 102.99 | 3.31 | 119.26 | 6.90 | 109.64 | 8.71 |
|  | MQC | 682.0 | 100.11 | 4.23 | 103.88 | 4.52 | 106.26 | 4.35 | 103.42 | 4.59 |
|  | HQC | 1023.0 | 108.46 | 3.41 | 98.06 | 5.52 | 110.65 | 2.90 | 105.73 | 6.50 |
| Hippuric acid | LLOQ | 7251.3 | 99.95 | 7.83 | 97.14 | 1.30 | 94.33 | 4.77 | 97.14 | 5.32 |
|  | LQC | 21754.1 | 113.27 | 6.71 | 100.26 | 3.70 | 115.47 | 6.19 | 109.67 | 8.23 |
|  | MQC | 36374.3 | 108.59 | 5.04 | 110.33 | 2.22 | 109.19 | 1.10 | 109.37 | 2.88 |
|  | HQC | 54561.5 | 116.08 | 4.43 | 105.85 | 7.08 | 107.35 | 1.38 | 109.76 | 6.05 |

Abbreviations: HQC, high quality control; LLOQ, lower limit of quantification; LOQ, limit of quantification; LOD, limit of detection; LQC, low quality control; MQC, medium quality control; RSD, relative standard deviation.

Table S9. Sensitivity of the method, analyzed through intra- and inter-day precision and accuracy at the LLOQ level for each metabolite.

|  |  | INTRA-DAY |  | INTRA-DAY |  | INTRA-DAY |  | INTER-DAY |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (DAY 1) |  | (DAY 2) |  | (DAY 3) |  | (DAY 1 TO 3) |  |
| Metabolite | Spiked concentration (ng/mL) | Accuracy (%R) | Precision (%RSD) | Accuracy (%R) | Precision (%RSD) | Accuracy (%R) | Precision (%RSD) | Accuracy (%R) | Precision (%RSD) |
| Tryptophan | 271.9 | 101.34 | 1.71 | 101.32 | 0.41 | 81.83 | 1.53 | 94.83 | 10.34 |
| Indole-3-acetic acid | 54.4 | 115.45 | 5.9 | 103.18 | 1.2 | 104.38 | 3.13 | 107.67 | 6.5 |
| 5-OH-3-indole acetic acid | 362.6 | 111.89 | 2.09 | 105.81 | 0.61 | 97.05 | 1.9 | 104.92 | 6.33 |
| 5-OH-3-indole acetic acid-O-sulfate | 36.3 | 120.2 | 3.88 | 112.13 | 2.35 | 116.59 | 3.12 | 116.31 | 4.1 |
| 3-indoxyl sulfate | 453.2 | 104.6 | 5.85 | 99.76 | 0.79 | 95.73 | 5.07 | 100.03 | 5.49 |
| Kynurenine | 3.6 | 97.38 | 0.89 | 103.13 | 0.32 | 97.1 | 1.32 | 99.2 | 3.08 |
| Kynurenic acid | 63.4 | 101.65 | 8.81 | 104.77 | 3.56 | 97.82 | 5.2 | 101.41 | 6.16 |
| Xanthurenic acid | 90.6 | 86.34 | 4.59 | 96.51 | 2.09 | 95.02 | 0.69 | 92.62 | 5.68 |
| 2-oxoglutaric acid | 362.6 | 107.67 | 2.52 | 98.82 | 1.1 | 95.19 | 2.31 | 100.56 | 5.82 |
| Nicotinamide | 4.5 | 88.09 | 1.13 | 80.47 | 7.93 | 89.89 | 9 | 86.15 | 7.84 |
| Tyrosine | 72.5 | 96.65 | 1.84 | 94.55 | 2.14 | 99.86 | 4.36 | 97.02 | 3.56 |
| 4-OH-phenylpyruvic acid | 136 | 100.32 | 7.63 | 101.55 | 1.81 | 102.19 | 4.28 | 101.35 | 4.52 |
| 4-OH-phenyllactic acid | 36.3 | 104.54 | 4.91 | 105.44 | 3.78 | 95.88 | 2.07 | 101.95 | 5.59 |
| 4-ethylphenyl sulfate | 9.1 | 119.04 | 2.8 | 111.59 | 0.8 | 100.8 | 3.72 | 110.48 | 7.55 |
| Tyramine | 45.3 | 120.32 | 1.9 | 117.54 | 1.23 | 117.71 | 1.73 | 118.52 | 1.83 |
| 4-OH-phenylacetic acid | 271.9 | 103.9 | 3.75 | 100.21 | 1.7 | 87.18 | 3.59 | 97.1 | 8.3 |
| 4-OH-phenylacetic acid sulfate | 36.3 | 116.75 | 4.84 | 104.55 | 2.92 | 105.54 | 2.81 | 108.95 | 6.29 |
| Dopamine-4-O-sulfate | 36.3 | 97.84 | 0.28 | 98 | 0.3 | 97.6 | 1.04 | 97.82 | 0.59 |
| Homovanillic acid | 271.9 | 99.63 | 8.23 | 103.82 | 1.6 | 100.32 | 5.36 | 101.26 | 5.27 |
| Phenylalanine | 181.3 | 94.63 | 1.04 | 99.2 | 0.33 | 87.46 | 9.34 | 93.77 | 7.02 |
| 4-coumaric acid | 3.6 | 119.96 | 3.99 | 93.58 | 3.33 | 91.26 | 7.21 | 101.6 | 14.25 |
| 4-coumaric acid-O-sulfate | 7.3 | 121.26 | 3.71 | 97.94 | 4.38 | 105.39 | 4.21 | 108.2 | 10.17 |
| 4-OH-benzoic acid | 27.2 | 97.01 | 6.15 | 104.88 | 3.1 | 102.38 | 4.11 | 101.42 | 5.23 |
| 4-OH-benzoic acid-4-O-sulfate | 136 | 106.23 | 5.58 | 99.78 | 0.73 | 103.77 | 5.74 | 103.26 | 4.91 |
| Hippuric acid | 7251.3 | 99.95 | 7.83 | 97.14 | 1.3 | 94.33 | 4.77 | 97.14 | 5.32 |

Abbreviations: LLOQ, lower limit of quantification; RSD, relative standard deviation.