Supplementary Material for:

Effect of post-harvest cleaning of breadseed poppy (Papaver somniferum L.) on levels of pesticide residues and opium alkaloids

Dana Schusterova1*; Katerina Sebelova1; Ondrej Rubas1; Michal Stupak1; Jana Hajslova1

1 Department of Food Analysis and Nutrition, University of Chemistry and Technology, Technicka 3, 166 28 Prague, Czech Republic

*Dana Schusterova (corresponding author): dana.schusterova@vscht.cz; http://orcid.org/0000-0003-3783-0190, tel.: +420 220 445 181, Department of Food Analysis and Nutrition, Faculty of Food and Biochemical Technology, University of Chemistry and Technology, Prague, Technicka 3, 166 28 Prague 6, Czech Republic

SUPLEMENTARY TABLE CAPTIONS:

Table S1 Pesticide residues analyzed in the study, LC-MS/MS parameters and results of method validation

Table S2 UPLC gradient (analysis of opium alkaloids)

Table S3 Opium alkaloids analyzed and selected LC-MS parameters

Table S4 The results of method validation of opium alkaloids in poppy seed and dried poppy pods

Table S5 UHPLC gradient (analysis of pesticide residues)

Table S6 The results of opium alkaloid analysis in poppy samples (mean value, n=3)

Table S7 The results of pesticide residue analysis in poppy samples (mean value, n=3)

Table S1 Pesticide residues analyzed, LC-MS/MS parameters and results of method validation

| analyte | RT [min] | m/z parent ion | m/z product ion I | collision energy (V) | m/z product ion II | collision energy (V) | poppy seed (n=6) |  |  | dried poppy pods (n=6) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | LOQ [mg kg-1] | REC [%] | RSDr [%] | LOQ [mg kg-1] | REC [%] | RSDr [%] |
| acephate | 2.9 | 184.1 | 143.0 | 8 | 49.0 | 20 | 0.004 | 87 | 5 | 0.01 | 87 | 6 |
| acetamiprid | 4.0 | 223.1 | 126.1 | 28 | 56.0 | 16 | 0.004 | 101 | 2 | 0.01 | 103 | 2 |
| acetochlor | 8.8 | 270.2 | 224.1 | 8 | 148.0 | 16 | 0.008 | 92 | 4 | 0.02 | 90 | 7 |
| aclonifen | 9.3 | 264.9 | 247.8 | 16 | 181.8 | 32 | 0.008 | 93 | 9 | 0.02 | 97 | 12 |
| acrinathrin | 12.4 | 559.2 | 208.2 | 12 | 181.2 | 38 | 0.008 | 91 | 5 | 0.02 | 92 | 6 |
| alachlor | 8.8 | 270.2 | 238.1 | 8 | 162.0 | 24 | 0.008 | 93 | 6 | 0.02 | 98 | 10 |
| aldicarb | 4.8 | 208.0 | 116.0 | 4 | 89.1 | 16 | 0.01 | 89 | 7 | 0.03 | 85 | 9 |
| aldicarb-sulfone | 3.4 | 240.1 | 148.1 | 12 | 86.1 | 24 | 0.004 | 100 | 5 | 0.01 | 103 | 6 |
| aldicarb-sulfoxide | 3.3 | 207.1 | 132.0 | 4 | 89.1 | 13 | 0.004 | 92 | 5 | 0.01 | 96 | 5 |
| ametoctradin | 10.3 | 276.0 | 176.0 | 48 | 149.0 | 40 | 0.004 | 88 | 6 | 0.01 | 88 | 8 |
| ametryn | 6.9 | 228.1 | 186.1 | 20 | 95.8 | 28 | 0.004 | 89 | 2 | 0.01 | 91 | 2 |
| asulam | 3.3 | 231.0 | 156.0 | 8 | 92.0 | 28 | 0.004 | 78 | 3 | 0.01 | 83 | 3 |
| atrazine | 6.6 | 216.1 | 174.1 | 16 | 96.0 | 28 | 0.004 | 90 | 2 | 0.01 | 92 | 3 |
| azadirachtin | 6.3 | 743.6 | 725.2 | 32 | 585.0 | 12 | 0.01 | 92 | 4 | 0.03 | 91 | 5 |
| azoxystrobin | 7.5 | 404.1 | 372.1 | 13 | 344.2 | 24 | 0.004 | 98 | 2 | 0.01 | 99 | 2 |
| BAC C10 | 8.2 | 276.0 | 184.0 | 20 | 91.0 | 40 | 0.004 | 88 | 2 | 0.01 | 88 | 3 |
| BAC C12 | 9.8 | 304.0 | 212.0 | 24 | 91.0 | 40 | 0.004 | 87 | 4 | 0.01 | 85 | 5 |
| BAC C14 | 11.1 | 332.0 | 240.0 | 24 | 91.0 | 48 | 0.004 | 89 | 2 | 0.01 | 88 | 3 |
| BAC C16 | 12.1 | 360.0 | 268.0 | 24 | 91.0 | 36 | 0.004 | 86 | 2 | 0.01 | 84 | 2 |
| BAC C18 | 12.9 | 388.0 | 296.0 | 28 | 91.0 | 44 | 0.004 | 70 | 9 | 0.01 | 70 | 11 |
| BAC C8 | 6.3 | 248.0 | 156.0 | 20 | 91.0 | 36 | 0.004 | 88 | 3 | 0.01 | 88 | 3 |
| benalaxyl | 9.8 | 326.2 | 294.1 | 8 | 148.1 | 24 | 0.004 | 95 | 2 | 0.01 | 95 | 3 |
| bendiocarb | 5.4 | 224.1 | 167.1 | 8 | 109.0 | 20 | 0.004 | 99 | 3 | 0.01 | 102 | 3 |
| bitertanol | 10.0 | 338.1 | 269.2 | 6 | 99.1 | 14 | 0.008 | 94 | 11 | 0.02 | 96 | 12 |
| bixafen | 9.2 | 414.2 | 394.0 | 12 | 266.0 | 20 | 0.004 | 98 | 3 | 0.01 | 98 | 3 |
| boscalid | 7.9 | 343.0 | 307.0 | 24 | 271.1 | 40 | 0.004 | 95 | 2 | 0.01 | 95 | 1 |
| bromacil | 5.5 | 260.8 | 204.9 | 12 | 187.8 | 32 | 0.004 | 97 | 3 | 0.01 | 98 | 3 |
| bromuconazole | 8.4+9.2 | 377.9 | 159.0 | 32 | 70.1 | 24 | 0.008 | 91 | 3 | 0.02 | 89 | 4 |
| bupirimate | 8.8 | 317.1 | 166.1 | 24 | 108.1 | 28 | 0.004 | 95 | 4 | 0.01 | 98 | 4 |
| buprofezin | 11.2 | 306.1 | 116.1 | 16 | 57.1 | 24 | 0.004 | 87 | 3 | 0.01 | 89 | 2 |
| cadusafos | 10.4 | 271.0 | 215.0 | 8 | 159.0 | 12 | 0.004 | 90 | 2 | 0.01 | 91 | 2 |
| carbaryl | 5.8 | 202.0 | 144.9 | 8 | 127.1 | 34 | 0.004 | 97 | 3 | 0.01 | 100 | 4 |
| carbendazim | 3.6 | 192.0 | 160.1 | 18 | 132.1 | 36 | 0.004 | 80 | 3 | 0.01 | 84 | 2 |
| carbofuran | 5.5 | 222.1 | 165.1 | 10 | 123.1 | 22 | 0.004 | 100 | 3 | 0.01 | 102 | 3 |
| carbofuran-3-hydroxy | 4.0 | 255.1 | 220.0 | 8 | 163.1 | 20 | 0.004 | 106 | 3 | 0.01 | 110 | 4 |
| carbophenothion | 11.4+11.7 | 345.0 | 159.0 | 12 | 157.0 | 12 | 0.008 | 78 | 8 | 0.02 | 78 | 9 |
| chlorantraniprole | 7.2 | 483.9 | 452.9 | 20 | 285.9 | 12 | 0.008 | 96 | 4 | 0.02 | 97 | 5 |
| chlorfenviphos | 9.8 | 361.0 | 155.1 | 10 | 155.1 | 8 | 0.004 | 96 | 2 | 0.01 | 98 | 3 |
| chloridazon | 4.2 | 222.0 | 104.1 | 24 | 91.8 | 28 | 0.004 | 95 | 2 | 0.01 | 99 | 2 |
| chlorotoluron | 6.3 | 213.1 | 72.0 | 20 | 46.1 | 16 | 0.004 | 95 | 3 | 0.01 | 94 | 4 |
| chloroxuron | 8.3 | 291.0 | 72.1 | 30 | 46.0 | 24 | 0.004 | 94 | 2 | 0.01 | 94 | 2 |
| chlorsulfuron | 5.8 | 358.1 | 166.9 | 12 | 140.9 | 16 | 0.008 | 98 | 6 | 0.02 | 98 | 7 |
| cinerin-I | 12.0 | 317.2 | 149.1 | 6 | 107.1 | 22 | 0.01 | 80 | 8 | 0.03 | 92 | 5 |
| cinerin-II | 10.5 | 361.2 | 149.1 | 6 | 107.0 | 22 | 0.01 | 98 | 7 | 0.03 | 91 | 4 |
| clofentezine | 10.0 | 303.2 | 138.0 | 16 | 101.9 | 48 | 0.004 | 84 | 4 | 0.01 | 87 | 5 |
| clomazone | 7.3 | 239.9 | 124.7 | 20 | 88.9 | 60 | 0.004 | 94 | 3 | 0.01 | 96 | 2 |
| clopyralid | 3.2 | 192.0 | 110.0 | 42 | 75.1 | 60 | 0.04 | 81 | 3 | 0.10 | 88 | 8 |
| clothianidin | 3.9 | 250.0 | 169.1 | 12 | 132.0 | 18 | 0.008 | 103 | 4 | 0.02 | 109 | 5 |
| cyanazine | 5.1 | 241.0 | 213.9 | 16 | 103.7 | 40 | 0.004 | 98 | 2 | 0.01 | 99 | 2 |
| cyazofamid | 8.9 | 327/325 | 108.0 | 16 | 108.0 | 16 | 0.004 | 97 | 3 | 0.01 | 99 | 4 |
| cycloxydim | 7.3+10.8 | 326.2 | 280.2 | 12 | 180.1 | 24 | 0.004 | 84 | 2 | 0.01 | 87 | 3 |
| cymoxanil | 4.4 | 199.1 | 127.9 | 4 | 82.9 | 28 | 0.008 | 98 | 5 | 0.02 | 101 | 7 |
| cypermethrin | 12.3 | 435.1/433.1 | 193.0 | 14 | 191.0 | 14 | 0.004 | 98 | 4 | 0.01 | 98 | 5 |
| cyproconazole | 8.1+8.4 | 292.1 | 125.1 | 38 | 70.1 | 20 | 0.008 | 94 | 3 | 0.02 | 92 | 4 |
| cyprodinyl | 9.1 | 226.2 | 108.0 | 28 | 93.1 | 44 | 0.004 | 79 | 3 | 0.01 | 83 | 3 |
| DEET | 6.7 | 192.1 | 119.0 | 16 | 91.0 | 32 | 0.008 | 96 | 3 | 0.02 | 100 | 3 |
| deltamethrin | 12.3 | 523/521 | 280.9 | 14 | 278.9 | 14 | 0.008 | 88 | 5 | 0.02 | 89 | 6 |
| demeton-S-methyl | 5.5 | 231.0 | 89.1 | 12 | 61.0 | 36 | 0.004 | 88 | 13 | 0.01 | 91 | 15 |
| demeton-S-methyl-sulfone | 3.5 | 263.1 | 169.1 | 16 | 109.0 | 36 | 0.004 | 105 | 4 | 0.01 | 113 | 5 |
| desmedipham | 7.0 | 300.9 | 181.8 | 4 | 135.7 | 20 | 0.004 | 98 | 3 | 0.01 | 100 | 3 |
| desmethyl-pirimicarb | 3.9 | 225.1 | 168.1 | 16 | 72.1 | 28 | 0.004 | 86 | 4 | 0.01 | 90 | 4 |
| desmetryn | 5.9 | 214.1 | 172.1 | 16 | 82.1 | 36 | 0.004 | 88 | 2 | 0.01 | 91 | 2 |
| diazinon | 9.8 | 305.1 | 169.1 | 22 | 153.1 | 20 | 0.004 | 91 | 1 | 0.01 | 90 | 1 |
| dichlofluanid | 8.6 | 333.0 | 224.1 | 12 | 123.0 | 28 | 0.008 | 79 | 3 | 0.02 | 80 | 4 |
| dichlormid | 5.7 | 208.0 | 140.0 | 10 | 98.1 | 12 | 0.008 | 85 | 6 | 0.02 | 82 | 9 |
| dicrotophos | 3.7 | 238.1 | 112.1 | 10 | 72.1 | 26 | 0.004 | 100 | 4 | 0.01 | 103 | 2 |
| diethofencarb | 7.6 | 268.1 | 226.1 | 8 | 124.0 | 36 | 0.004 | 98 | 1 | 0.01 | 100 | 1 |
| difenoconazole | 9.7+10.2 | 408/406 | 253.0 | 24 | 251.0 | 24 | 0.004 | 92 | 3 | 0.01 | 93 | 4 |
| diflubenzuron | 9.0 | 311.0 | 158.0 | 12 | 141.0 | 40 | 0.008 | 94 | 3 | 0.02 | 96 | 4 |
| diflufenican | 10.4 | 394.8 | 265.9 | 24 | 246.0 | 44 | 0.008 | 90 | 7 | 0.02 | 88 | 9 |
| dimethachlor | 7.1 | 256.1 | 224.1 | 12 | 148.1 | 28 | 0.004 | 96 | 3 | 0.01 | 98 | 5 |
| dimethenamid | 7.9 | 275.9 | 243.9 | 12 | 167.8 | 28 | 0.004 | 94 | 2 | 0.01 | 95 | 1 |
| dimethoate | 4.1 | 230.1 | 199.0 | 8 | 125.1 | 20 | 0.004 | 105 | 4 | 0.01 | 109 | 5 |
| dimethomorph | 7.6+8.0 | 388.0 | 301.1 | 24 | 165.1 | 32 | 0.004 | 99 | 3 | 0.01 | 98 | 3 |
| dimoxystrobin | 9.3 | 327.3 | 205.1 | 8 | 115.9 | 20 | 0.004 | 96 | 3 | 0.01 | 97 | 4 |
| diniconazole | 10.2 | 328/326 | 70.1 | 32 | 70.1 | 32 | 0.004 | 91 | 5 | 0.01 | 93 | 7 |
| dinotefuran | 3.3 | 203.2 | 157.2 | 4 | 114.2 | 10 | 0.008 | 94 | 4 | 0.02 | 100 | 3 |
| disulfoton-sulfone | 6.4 | 307.0 | 124.9 | 16 | 96.9 | 32 | 0.004 | 98 | 2 | 0.01 | 99 | 2 |
| disulfoton-sulfoxide | 6.2 | 291.1 | 213.0 | 8 | 185.2 | 12 | 0.004 | 98 | 3 | 0.01 | 101 | 4 |
| diuron | 6.8 | 235.0 | 72.1 | 26 | 72.1 | 24 | 0.004 | 95 | 2 | 0.01 | 99 | 2 |
| DMSA | 4.7 | 201.1 | 92.1 | 20 | 65.0 | 40 | 0.004 | 107 | 3 | 0.01 | 108 | 3 |
| DMST | 5.6 | 215.2 | 106.0 | 16 | 77.0 | 48 | 0.004 | 103 | 3 | 0.01 | 107 | 5 |
| dodine | 9.7 | 228.3 | 60.1 | 28 | 57.1 | 28 | 0.008 | 89 | 3 | 0.02 | 96 | 4 |
| EPN | 10.4 | 324.0 | 296.1 | 12 | 157.0 | 26 | 0.008 | 87 | 11 | 0.02 | 84 | 10 |
| epoxiconazole | 8.9 | 330.2 | 121.1 | 24 | 101.1 | 56 | 0.004 | 97 | 2 | 0.01 | 97 | 3 |
| ethametsulfuron-methyl | 6.1 | 411.1 | 196.1 | 16 | 168.1 | 36 | 0.004 | 97 | 3 | 0.01 | 98 | 3 |
| ethiofencarb | 6.1 | 226.1 | 163.9 | 4 | 107.0 | 20 | 0.004 | 88 | 3 | 0.01 | 87 | 3 |
| ethion | 11.4 | 385.0 | 199.0 | 8 | 143.0 | 24 | 0.004 | 89 | 2 | 0.01 | 90 | 1 |
| ethirimol | 4.9 | 210.2 | 140.0 | 24 | 98.1 | 32 | 0.004 | 86 | 3 | 0.01 | 88 | 3 |
| ethofumesate | 7.6 | 304.1 | 259.0 | 12 | 121.1 | 22 | 0.004 | 95 | 4 | 0.01 | 95 | 6 |
| ethoprophos | 8.8 | 243.0 | 131.0 | 20 | 97.0 | 40 | 0.004 | 93 | 2 | 0.01 | 94 | 2 |
| etofenprox | 13.1 | 394.2 | 177.2 | 16 | 107.1 | 44 | 0.004 | 70 | 4 | 0.01 | 70 | 4 |
| etoxazol | 11.9 | 360.0 | 141.0 | 36 | 113.0 | 64 | 0.004 | 76 | 3 | 0.01 | 77 | 3 |
| famoxadone | 9.7 | 392.1 | 331.1 | 6 | 238.1 | 16 | 0.004 | 95 | 3 | 0.01 | 95 | 3 |
| fenamidone | 7.7 | 312.1 | 236.2 | 14 | 92.1 | 24 | 0.004 | 96 | 2 | 0.01 | 97 | 3 |
| fenamiphos | 9.1 | 304.1 | 217.0 | 24 | 202.0 | 44 | 0.004 | 95 | 2 | 0.01 | 96 | 2 |
| fenamiphos-sulfone | 5.6 | 336.1 | 308.1 | 16 | 266.0 | 16 | 0.004 | 100 | 3 | 0.01 | 101 | 4 |
| fenamiphos-sulfoxide | 5.5 | 320.1 | 233.1 | 28 | 108.1 | 44 | 0.004 | 98 | 3 | 0.01 | 100 | 3 |
| fenazaquin | 12.6 | 307.2 | 161.1 | 16 | 57.1 | 28 | 0.004 | 74 | 2 | 0.01 | 75 | 1 |
| fenbuconazole | 8.9 | 337.1 | 125.1 | 36 | 70.1 | 20 | 0.004 | 96 | 3 | 0.01 | 98 | 4 |
| fenbutatin-oxide | 13.9 | 519.2 | 196.9 | 48 | 91.1 | 48 | 0.008 | 70 | 3 | 0.02 | 70 | 4 |
| fenhexamid | 8.6 | 302.1 | 97.2 | 24 | 55.0 | 44 | 0.008 | 92 | 3 | 0.02 | 96 | 4 |
| fenoxaprop | 9.1 | 334.0 | 288.1 | 20 | 244.1 | 20 | 0.02 | 96 | 2 | 0.05 | 89 | 5 |
| fenoxaprop-ethyl | 10.9 | 362.1 | 288.0 | 16 | 119.0 | 24 | 0.004 | 91 | 3 | 0.01 | 92 | 3 |
| fenoxycarb | 9.1 | 302.1 | 116.1 | 8 | 88.1 | 16 | 0.004 | 94 | 2 | 0.01 | 95 | 1 |
| fenpropathrin | 12.0 | 367.2 | 350.1 | 4 | 125.1 | 16 | 0.008 | 88 | 2 | 0.02 | 92 | 3 |
| fenpropidin | 6.9 | 274.2 | 147.1 | 32 | 117.0 | 60 | 0.004 | 94 | 3 | 0.01 | 95 | 3 |
| fenpropimorph | 7.4 | 304.2 | 146.9 | 36 | 117.0 | 68 | 0.004 | 96 | 2 | 0.01 | 98 | 3 |
| fenpyrazamin | 8.4 | 332.0 | 230.0 | 16 | 189.0 | 32 | 0.004 | 90 | 3 | 0.01 | 90 | 5 |
| fenpyroximate | 12.2 | 422.2 | 366.0 | 20 | 135.0 | 36 | 0.004 | 86 | 2 | 0.01 | 87 | 3 |
| fensulfothion | 6.6 | 309.1 | 281.0 | 12 | 253.0 | 16 | 0.004 | 100 | 3 | 0.01 | 102 | 3 |
| fensulfothion oxon | 4.5 | 293.1 | 265.1 | 12 | 237.0 | 20 | 0.004 | 93 | 9 | 0.01 | 91 | 9 |
| fensulfothion sulfone | 6.8 | 325.0 | 269.0 | 12 | 191.0 | 24 | 0.004 | 92 | 3 | 0.01 | 93 | 3 |
| fensulfothion-PO-sulfon | 4.6 | 309.0 | 253.0 | 16 | 175.0 | 32 | 0.01 | 102 | 11 | 0.03 | 92 | 3 |
| fenthion-sulfone | 5.9 | 311.1 | 137.1 | 16 | 125.0 | 24 | 0.004 | 100 | 3 | 0.01 | 103 | 3 |
| fenthion-sulfoxide | 5.6 | 295.0 | 280.1 | 20 | 109.1 | 36 | 0.004 | 98 | 3 | 0.01 | 100 | 3 |
| fentin | 6.5 | 351.0 | 197.0 | 28 | 119.9 | 52 | 0.004 | 85 | 7 | 0.01 | 85 | 7 |
| fipronil | 9.1 | 436.9 | 332.0 | 16 | 367.8 | 18 | 0.008 | 95 | 6 | 0.02 | 101 | 8 |
| flonicamid | 3.6 | 230.1 | 203.0 | 16 | 98.0 | 48 | 0.008 | 106 | 4 | 0.02 | 114 | 4 |
| florasulam | 4.5 | 360.0 | 192.0 | 16 | 129.0 | 44 | 0.004 | 101 | 3 | 0.01 | 102 | 3 |
| fluacrypyrim | 10.4 | 427.1 | 205.1 | 4 | 145.1 | 28 | 0.004 | 97 | 3 | 0.01 | 97 | 4 |
| fluazifop | 7.7 | 328.0 | 282.1 | 20 | 254.1 | 28 | 0.008 | 100 | 3 | 0.02 | 105 | 3 |
| fluazifop-P-butyl | 11.0 | 384.1 | 327.9 | 20 | 282.0 | 20 | 0.008 | 93 | 2 | 0.02 | 94 | 2 |
| flucythrinate | 11.7 | 469.2 | 412.1 | 10 | 199.1 | 16 | 0.004 | 93 | 6 | 0.01 | 96 | 8 |
| flufenacet | 8.7 | 363.8 | 194.0 | 8 | 152.0 | 24 | 0.004 | 97 | 3 | 0.01 | 97 | 3 |
| flufenoxuron | 11.8 | 489.0 | 158.0 | 24 | 141.0 | 56 | 0.004 | 92 | 3 | 0.01 | 93 | 3 |
| flumioxazin | 7.2 | 355.1 | 327.1 | 20 | 299.0 | 28 | 0.008 | 102 | 3 | 0.02 | 108 | 4 |
| fluopicolide | 8.1 | 384.9 | 174.9 | 30 | 172.9 | 30 | 0.004 | 97 | 2 | 0.01 | 98 | 3 |
| fluopyram | 8.5 | 397.1 | 208.0 | 28 | 173.0 | 28 | 0.004 | 98 | 2 | 0.01 | 98 | 3 |
| fluoxastrobin | 8.6 | 459.1 | 427.1 | 16 | 188.0 | 36 | 0.004 | 99 | 2 | 0.01 | 99 | 2 |
| fluquinconazole | 8.6 | 376.0 | 307.0 | 24 | 108.0 | 60 | 0.008 | 98 | 3 | 0.02 | 103 | 2 |
| flurochloridone | 8.3 | 312.0 | 292.0 | 24 | 53.0 | 32 | 0.004 | 96 | 5 | 0.01 | 97 | 5 |
| fluroxypyr | 5.0 | 254.9 | 209.0 | 16 | 181.0 | 20 | 0.02 | 96 | 10 | 0.05 | 92 | 3 |
| flusilazole | 9.1 | 316.2 | 247.0 | 20 | 165.1 | 36 | 0.004 | 95 | 2 | 0.01 | 95 | 1 |
| flutolanil | 8.0 | 324.1 | 282.1 | 12 | 262.2 | 20 | 0.004 | 98 | 8 | 0.01 | 93 | 10 |
| flutriafol | 6.4 | 302.1 | 123.1 | 28 | 70.1 | 16 | 0.008 | 100 | 3 | 0.02 | 105 | 4 |
| fluxapyroxad | 8.0 | 382.0 | 362.0 | 12 | 342.0 | 20 | 0.004 | 98 | 3 | 0.01 | 99 | 4 |
| foramsulfuron | 5.9 | 453.1 | 272.0 | 12 | 182.1 | 32 | 0.008 | 90 | 2 | 0.02 | 90 | 1 |
| formetanate | 3.1 | 222.0 | 165.1 | 12 | 120.0 | 32 | 0.004 | 78 | 4 | 0.01 | 80 | 4 |
| formothion | 4.9 | 258.0 | 199.0 | 4 | 170.9 | 12 | 0.004 | 103 | 5 | 0.01 | 106 | 5 |
| fosthiazate | 6.2 | 284.2 | 228.0 | 8 | 104.0 | 24 | 0.004 | 98 | 3 | 0.01 | 100 | 3 |
| furathiocarb | 11.1 | 383.2 | 195.0 | 16 | 167.0 | 24 | 0.004 | 92 | 2 | 0.01 | 93 | 3 |
| haloxyfop | 9.3 | 362.0 | 316.1 | 16 | 91.1 | 32 | 0.004 | 93 | 6 | 0.01 | 87 | 9 |
| haloxyfop-2-ethoxyethyl | 11.0 | 434.1 | 316.0 | 24 | 91.1 | 48 | 0.004 | 93 | 2 | 0.01 | 93 | 3 |
| haloxyfop-methyl | 10.4 | 376.0 | 316.0 | 16 | 91.0 | 32 | 0.004 | 93 | 2 | 0.01 | 93 | 3 |
| heptenophos | 6.8 | 251.0 | 127.0 | 24 | 124.9 | 20 | 0.004 | 97 | 2 | 0.01 | 99 | 2 |
| hexaconazole | 9.8 | 314.0 | 159.0 | 36 | 70.1 | 32 | 0.008 | 94 | 3 | 0.02 | 98 | 4 |
| hexazinon | 5.5 | 253.2 | 171.1 | 16 | 71.1 | 36 | 0.004 | 96 | 3 | 0.01 | 98 | 3 |
| hexythiazox | 11.6 | 353.1 | 228.1 | 16 | 168.0 | 24 | 0.004 | 81 | 3 | 0.01 | 81 | 3 |
| imazalil | 6.1 | 299/297 | 161.0 | 20 | 159.0 | 24 | 0.004 | 95 | 4 | 0.01 | 97 | 4 |
| imazamethabenz-methyl | 5.5 | 289.2 | 144.0 | 40 | 86.0 | 20 | 0.004 | 97 | 3 | 0.01 | 98 | 3 |
| imazamox | 4.3 | 306.0 | 261.0 | 24 | 192.9 | 24 | 0.008 | 95 | 4 | 0.02 | 98 | 5 |
| imazapyr | 3.9 | 262.2 | 217.0 | 20 | 149.0 | 28 | 0.004 | 93 | 3 | 0.01 | 96 | 4 |
| imazaquin | 5.5 | 312.1 | 267.0 | 24 | 128.0 | 56 | 0.008 | 96 | 3 | 0.02 | 102 | 3 |
| imazethapyr | 5.1 | 290.1 | 245.1 | 20 | 177.0 | 30 | 0.004 | 93 | 5 | 0.01 | 94 | 6 |
| imazosulfuron | 8.0 | 413.1 | 156.0 | 16 | 153.0 | 12 | 0.008 | 96 | 4 | 0.02 | 97 | 4 |
| imidacloprid | 3.8 | 256.1 | 209.1 | 12 | 175.1 | 24 | 0.004 | 102 | 3 | 0.01 | 104 | 2 |
| indoxacarb | 10.4 | 528.0 | 218.0 | 20 | 203.0 | 56 | 0.008 | 98 | 2 | 0.02 | 99 | 2 |
| iodosulfuron-methyl | 7.2 | 508.0 | 167.1 | 24 | 141.0 | 32 | 0.008 | 94 | 5 | 0.02 | 93 | 6 |
| iprovalicarb | 8.7 | 321.2 | 203.1 | 4 | 119.1 | 20 | 0.004 | 98 | 2 | 0.01 | 100 | 1 |
| isofenphos | 10.2 | 346.1 | 244.9 | 10 | 216.9 | 24 | 0.005 | 94 | 5 | 0.01 | 97 | 5 |
| isofenphos-methyl | 9.5 | 332.1 | 273.0 | 4 | 230.9 | 12 | 0.004 | 89 | 8 | 0.01 | 86 | 12 |
| isoprocarb | 6.5 | 194.2 | 137.1 | 6 | 95.0 | 14 | 0.008 | 96 | 3 | 0.02 | 100 | 3 |
| isoprothiolane | 8.1 | 291.1 | 231.0 | 8 | 188.9 | 24 | 0.004 | 95 | 2 | 0.01 | 96 | 2 |
| isoproturon | 6.7 | 207.1 | 165.1 | 12 | 72.1 | 28 | 0.004 | 95 | 3 | 0.01 | 98 | 3 |
| isopyrazam | 10.3 | 360.0 | 320.0 | 20 | 244.0 | 24 | 0.004 | 90 | 2 | 0.01 | 88 | 3 |
| jasmolin-I | 12.5 | 331.2 | 163.1 | 10 | 77.0 | 66 | 0.01 | 95 | 10 | 0.03 | 92 | 3 |
| jasmolin-II | 11.1 | 375.2 | 163.1 | 8 | 77.0 | 78 | 0.01 | 91 | 6 | 0.03 | 96 | 2 |
| kresoxim-methyl | 9.4 | 314.1 | 267.1 | 4 | 222.2 | 20 | 0.004 | 99 | 8 | 0.01 | 103 | 13 |
| lambda-cyhalothrin | 12.1 | 469.1/467.1 | 227.0 | 16 | 225.0 | 16 | 0.004 | 115 | 6 | 0.01 | 114 | 6 |
| lenacil | 6.7 | 235.2 | 153.0 | 12 | 135.8 | 40 | 0.004 | 93 | 2 | 0.01 | 94 | 2 |
| linuron | 7.6 | 249.0 | 182.1 | 16 | 160.0 | 20 | 0.004 | 93 | 2 | 0.01 | 95 | 1 |
| lufenuron | 11.4 | 511.0 | 158.0 | 28 | 141.0 | 60 | 0.008 | 94 | 6 | 0.02 | 95 | 7 |
| malaoxon | 5.5 | 315.0 | 126.9 | 12 | 99.0 | 28 | 0.004 | 93 | 2 | 0.01 | 89 | 2 |
| mandipropamide | 7.9 | 412.1 | 328.1 | 12 | 125.0 | 40 | 0.01 | 97 | 1 | 0.03 | 96 | 2 |
| mecarbam | 8.8 | 330.0 | 227.0 | 4 | 97.1 | 48 | 0.004 | 96 | 4 | 0.01 | 95 | 5 |
| mefenpyr-diethyl | 9.9 | 373.1 | 327.0 | 14 | 160.0 | 36 | 0.004 | 95 | 1 | 0.01 | 95 | 1 |
| mepanipyrim | 8.5 | 224.0 | 106.1 | 28 | 104.0 | 28 | 0.004 | 84 | 2 | 0.01 | 87 | 3 |
| mepanipyrim-2-hydroxypropyl | 6.6 | 244.2 | 226.1 | 16 | 200.1 | 16 | 0.004 | 90 | 4 | 0.01 | 93 | 5 |
| mepronil | 8.2 | 270.1 | 228.0 | 12 | 118.9 | 28 | 0.004 | 94 | 2 | 0.01 | 96 | 2 |
| metaflumizone | 10.4+11.0 | 507.0 | 178.1 | 36 | 116.0 | 56 | 0.008 | 96 | 4 | 0.02 | 98 | 5 |
| metamitron | 4.1 | 203.1 | 175.1 | 20 | 104.0 | 24 | 0.004 | 77 | 5 | 0.01 | 81 | 5 |
| metamitron desamino | 4.1 | 188.2 | 160.1 | 16 | 104.1 | 20 | 0.008 | 85 | 9 | 0.02 | 83 | 12 |
| metazachlor | 6.6 | 278.2 | 210.1 | 8 | 134.0 | 20 | 0.004 | 96 | 3 | 0.01 | 98 | 3 |
| metconazole | 9.9 | 320.1 | 125.1 | 42 | 70.1 | 32 | 0.004 | 92 | 3 | 0.01 | 93 | 3 |
| methamidophos | 2.3 | 141.9 | 125.0 | 12 | 94.1 | 16 | 0.004 | 79 | 4 | 0.01 | 83 | 3 |
| methidathion | 7.0 | 302.9 | 145.0 | 4 | 85.0 | 24 | 0.004 | 95 | 3 | 0.01 | 98 | 4 |
| methiocarb | 7.7 | 226.1 | 169.0 | 8 | 120.9 | 18 | 0.004 | 92 | 2 | 0.01 | 94 | 2 |
| methiocarb-sulfone | 4.1 | 275.1 | 201.0 | 12 | 122.0 | 24 | 0.004 | 104 | 2 | 0.01 | 107 | 2 |
| methiocarb-sulfoxide | 3.9 | 242.0 | 185.1 | 12 | 122.1 | 32 | 0.004 | 102 | 4 | 0.01 | 105 | 3 |
| methomyl | 3.5 | 162.9 | 106.1 | 8 | 88.1 | 6 | 0.01 | 105 | 5 | 0.03 | 96 | 2 |
| methoxyfenozide | 8.3 | 369.2 | 313.1 | 4 | 148.9 | 20 | 0.004 | 102 | 5 | 0.01 | 100 | 3 |
| metobromuron | 6.4 | 259.0 | 170.0 | 20 | 148.0 | 14 | 0.004 | 95 | 2 | 0.01 | 96 | 2 |
| metolachlor | 9.1 | 284.1 | 252.2 | 12 | 176.2 | 28 | 0.004 | 92 | 2 | 0.01 | 93 | 3 |
| metolcarb | 5.0 | 166.1 | 108.9 | 8 | 93.9 | 36 | 0.004 | 96 | 7 | 0.01 | 97 | 9 |
| metominostrobin-E+Z | 6.9+7.1 | 285.1 | 196.1 | 12 | 194.1 | 16 | 0.004 | 100 | 3 | 0.01 | 98 | 3 |
| metosulam | 5.6 | 417.9 | 175.0 | 28 | 140.0 | 52 | 0.004 | 97 | 4 | 0.01 | 98 | 5 |
| metoxuron | 4.8 | 229.0 | 72.0 | 26 | 46.0 | 16 | 0.004 | 98 | 2 | 0.01 | 100 | 1 |
| metrafenone | 10.2 | 409.1 | 226.9 | 12 | 209.1 | 12 | 0.008 | 90 | 1 | 0.02 | 90 | 1 |
| metribuzin | 5.6 | 215.0 | 187.1 | 20 | 84.1 | 20 | 0.008 | 99 | 5 | 0.02 | 98 | 8 |
| metsulfuron-methyl | 5.4 | 382.0 | 199.0 | 24 | 167.1 | 18 | 0.008 | 98 | 2 | 0.02 | 101 | 2 |
| mevinphos | 4.0+4.4 | 225.0 | 193.1 | 4 | 127.0 | 16 | 0.004 | 103 | 6 | 0.01 | 106 | 9 |
| monocrotophos | 3.6 | 224.1 | 193.0 | 4 | 127.0 | 16 | 0.004 | 101 | 5 | 0.01 | 106 | 6 |
| monolinuron | 6.0 | 215.0 | 147.9 | 12 | 126.0 | 16 | 0.004 | 95 | 3 | 0.01 | 97 | 3 |
| monuron | 5.3 | 199.0 | 126.0 | 30 | 72.1 | 18 | 0.008 | 99 | 2 | 0.02 | 104 | 2 |
| myclobutanil | 8.2 | 289.1 | 125.0 | 40 | 70.1 | 20 | 0.004 | 96 | 3 | 0.01 | 98 | 3 |
| napropamide | 8.8 | 271.9 | 171.0 | 20 | 129.0 | 16 | 0.004 | 93 | 3 | 0.01 | 93 | 3 |
| neburon | 9.3 | 275.1 | 114.1 | 16 | 88.1 | 16 | 0.004 | 91 | 3 | 0.01 | 92 | 3 |
| nicosulfuron | 5.3 | 411.2 | 213.1 | 16 | 182.0 | 24 | 0.008 | 90 | 3 | 0.02 | 92 | 3 |
| nitenpyram | 3.4 | 271.1 | 225.2 | 8 | 56.1 | 40 | 0.008 | 71 | 4 | 0.02 | 72 | 4 |
| norflurazon | 6.9 | 306.0 | 286.0 | 28 | 284.0 | 24 | 0.004 | 96 | 3 | 0.01 | 97 | 3 |
| omethoate | 3.2 | 214.1 | 183.0 | 8 | 125.0 | 24 | 0.004 | 88 | 4 | 0.01 | 92 | 4 |
| oxadixyl | 4.7 | 279.1 | 219.1 | 8 | 132.1 | 34 | 0.004 | 101 | 4 | 0.01 | 103 | 5 |
| oxamyl | 3.4 | 237.0 | 90.1 | 4 | 72.1 | 10 | 0.004 | 101 | 6 | 0.01 | 105 | 5 |
| oxamyl oxime | 3.2 | 163.1 | 90.1 | 16 | 72.1 | 12 | 0.004 | 95 | 12 | 0.01 | 91 | 14 |
| oxydemeton-methyl | 3.5 | 247.0 | 169.0 | 14 | 109.1 | 30 | 0.004 | 109 | 4 | 0.01 | 115 | 3 |
| paclobutrazol | 8.0 | 294.1 | 125.0 | 44 | 70.1 | 20 | 0.004 | 96 | 3 | 0.01 | 98 | 3 |
| penconazole | 9.4 | 284.0 | 159.0 | 36 | 70.1 | 16 | 0.004 | 89 | 2 | 0.01 | 90 | 1 |
| pencycuron | 10.2 | 331.1 | 127.0 | 30 | 125.1 | 28 | 0.004 | 89 | 1 | 0.01 | 90 | 1 |
| penflufen | 9.4 | 318.0 | 234.0 | 16 | 141.0 | 36 | 0.004 | 89 | 2 | 0.01 | 89 | 2 |
| penthiopyrad | 9.4 | 360.0 | 276.0 | 12 | 256.0 | 20 | 0.004 | 94 | 2 | 0.01 | 92 | 3 |
| pethoxamid | 8.9 | 296.1 | 131.0 | 20 | 91.0 | 52 | 0.008 | 96 | 2 | 0.02 | 96 | 2 |
| phenmedipham | 7.1 | 318.1 | 168.1 | 12 | 136.0 | 28 | 0.004 | 97 | 2 | 0.01 | 99 | 2 |
| phentoate | 9.3 | 321.0 | 247.0 | 8 | 135.0 | 24 | 0.004 | 93 | 3 | 0.01 | 94 | 4 |
| phorate | 10.0 | 261.0 | 199.0 | 4 | 75.1 | 8 | 0.008 | 88 | 8 | 0.02 | 99 | 13 |
| phorate-sulfone | 6.4 | 310.0 | 171.0 | 12 | 96.9 | 40 | 0.004 | 100 | 4 | 0.01 | 100 | 5 |
| phorate-sulfoxide | 6.3 | 277.0 | 142.8 | 20 | 96.9 | 44 | 0.004 | 97 | 3 | 0.01 | 98 | 3 |
| phosalone | 10.0 | 385.0 | 182.0 | 18 | 110.9 | 40 | 0.004 | 91 | 4 | 0.01 | 92 | 6 |
| phosmet | 7.3 | 317.9 | 160.0 | 20 | 133.0 | 44 | 0.004 | 96 | 3 | 0.01 | 98 | 3 |
| phosphamidon | 4.9 | 300.1 | 226.8 | 12 | 174.1 | 8 | 0.004 | 100 | 4 | 0.01 | 101 | 4 |
| phoxim | 9.9 | 299.1 | 129.1 | 10 | 77.1 | 36 | 0.004 | 93 | 3 | 0.01 | 92 | 3 |
| picloram | 3.6 | 240.9 | 195.0 | 24 | 140.8 | 44 | 0.01 | 84 | 4 | 0.03 | 96 | 2 |
| picolinafen | 11.1 | 377.2 | 359.0 | 20 | 238.0 | 28 | 0.004 | 88 | 2 | 0.01 | 88 | 3 |
| picoxystrobin | 9.1 | 368.2 | 205.0 | 4 | 145.0 | 16 | 0.004 | 96 | 3 | 0.01 | 96 | 2 |
| pinoxaden | 10.1 | 401.3 | 317.2 | 20 | 57.1 | 36 | 0.004 | 96 | 3 | 0.01 | 98 | 3 |
| piperonyl-butoxide | 11.4 | 356.2 | 177.1 | 12 | 119.1 | 36 | 0.004 | 90 | 2 | 0.01 | 90 | 1 |
| pirimicarb | 5.4 | 239.1 | 182.2 | 12 | 72.1 | 24 | 0.004 | 92 | 3 | 0.01 | 94 | 2 |
| pirimiphos-ethyl | 11.3 | 334.1 | 198.0 | 20 | 182.1 | 24 | 0.004 | 87 | 2 | 0.01 | 87 | 3 |
| pirimiphos-methyl | 10.0 | 306.0 | 164.2 | 24 | 108.1 | 32 | 0.004 | 80 | 5 | 0.01 | 81 | 5 |
| prochloraz | 9.8 | 378.0 | 310.0 | 8 | 308.0 | 8 | 0.004 | 93 | 2 | 0.01 | 93 | 3 |
| prochloraz met. BTS 44595 | 9.8 | 327.0 | 129.0 | 20 | 282.0 | 12 | 0.004 | 84 | 4 | 0.01 | 83 | 5 |
| prochloraz met. BTS 44596 | 9.7 | 355.0 | 310.0 | 12 | 308.0 | 12 | 0.004 | 84 | 5 | 0.01 | 84 | 7 |
| prometon | 6.3 | 226.2 | 184.1 | 20 | 142.2 | 24 | 0.004 | 93 | 3 | 0.01 | 95 | 3 |
| prometryn | 8.0 | 242.1 | 200.1 | 20 | 158.0 | 28 | 0.004 | 88 | 2 | 0.01 | 89 | 2 |
| propachlor | 6.7 | 212.1 | 170.0 | 16 | 94.0 | 32 | 0.004 | 95 | 3 | 0.01 | 97 | 3 |
| propamocarb | 3.2 | 189.1 | 102.0 | 20 | 74.2 | 32 | 0.004 | 82 | 3 | 0.01 | 89 | 2 |
| propaquizafop | 11.2 | 444.0 | 371.1 | 12 | 100.1 | 20 | 0.004 | 91 | 2 | 0.01 | 93 | 3 |
| propargite | 11.8 | 368.1 | 231.2 | 8 | 175.2 | 14 | 0.004 | 88 | 3 | 0.01 | 88 | 3 |
| propazine | 7.7 | 230.2 | 188.1 | 16 | 146.0 | 28 | 0.004 | 86 | 2 | 0.01 | 86 | 2 |
| propiconazole | 9.7 | 342.0 | 158.9 | 28 | 69.1 | 20 | 0.008 | 95 | 2 | 0.02 | 98 | 3 |
| propoxur | 5.4 | 210.1 | 168.1 | 4 | 111.1 | 16 | 0.004 | 97 | 4 | 0.01 | 100 | 6 |
| propoxycarbazone | 5.2 | 399.0 | 199.0 | 20 | 116.0 | 28 | 0.02 | 94 | 3 | 0.05 | 96 | 2 |
| propyzamide | 8.1 | 256.0 | 190.0 | 16 | 173.0 | 24 | 0.004 | 93 | 4 | 0.01 | 96 | 5 |
| proquinazid | 12.3 | 372.9 | 331.0 | 12 | 289.0 | 24 | 0.004 | 70 | 3 | 0.01 | 70 | 4 |
| prosulfocarb | 10.7 | 252.1 | 128.2 | 12 | 91.1 | 44 | 0.004 | 84 | 1 | 0.01 | 85 | 1 |
| prothioconazole-desthio | 8.9 | 312.2 | 125.1 | 44 | 70.2 | 24 | 0.008 | 89 | 4 | 0.02 | 89 | 4 |
| pyraclostrobin | 9.9 | 388.2 | 194.1 | 8 | 163.1 | 20 | 0.004 | 93 | 3 | 0.01 | 93 | 3 |
| pyrazophos | 10.2 | 374.0 | 222.2 | 24 | 194.1 | 36 | 0.004 | 94 | 2 | 0.01 | 94 | 2 |
| pyrethrin-I | 12.0 | 329.2 | 161.1 | 7 | 77.0 | 76 | 0.008 | 87 | 4 | 0.02 | 91 | 6 |
| pyrethrin-II | 10.6 | 373.2 | 161.1 | 8 | 77.0 | 74 | 0.008 | 93 | 5 | 0.02 | 95 | 7 |
| pyridaben | 12.5 | 365.1 | 309.1 | 8 | 147.1 | 32 | 0.004 | 79 | 1 | 0.01 | 80 | 1 |
| pyridate | 12.9 | 378.9 | 350.9 | 8 | 206.9 | 24 | 0.004 | 70 | 4 | 0.01 | 70 | 5 |
| pyrifenox | 7.90+8.4 | 297/295 | 93.1 | 20 | 93.1 | 20 | 0.004 | 81 | 6 | 0.01 | 77 | 7 |
| pyrimethanil | 7.2 | 200.2 | 107.0 | 28 | 82.1 | 28 | 0.004 | 78 | 4 | 0.01 | 81 | 5 |
| pyriproxyfen | 11.4 | 322.2 | 185.1 | 24 | 96.0 | 24 | 0.004 | 81 | 2 | 0.01 | 82 | 3 |
| quinclorac | 4.7 | 242.0 | 224.0 | 16 | 161.0 | 44 | 0.008 | 91 | 3 | 0.02 | 92 | 4 |
| quinmerac | 4.3 | 222.1 | 204.1 | 14 | 141.0 | 40 | 0.004 | 85 | 3 | 0.01 | 87 | 3 |
| quinoclamine | 5.2 | 208.0 | 172.0 | 20 | 105.0 | 28 | 0.004 | 91 | 5 | 0.01 | 93 | 7 |
| quinoxyfen | 11.5 | 308.0 | 197.0 | 36 | 162.1 | 56 | 0.004 | 72 | 3 | 0.01 | 73 | 4 |
| quizalofop | 9.0 | 345.0 | 299.1 | 20 | 192.0 | 40 | 0.02 | 92 | 7 | 0.05 | 96 | 2 |
| quizalofop-ethyl | 10.9 | 373.0 | 299.1 | 20 | 271.1 | 24 | 0.004 | 88 | 2 | 0.01 | 88 | 3 |
| resmethrin | 12.6 | 339.2 | 171.1 | 12 | 128.1 | 48 | 0.008 | 73 | 3 | 0.02 | 75 | 4 |
| rimsulfuron | 5.9 | 432.0 | 325.1 | 12 | 182.1 | 24 | 0.008 | 90 | 4 | 0.02 | 94 | 5 |
| rotenone | 9.1 | 395.1 | 213.0 | 24 | 192.1 | 28 | 0.008 | 93 | 3 | 0.02 | 91 | 4 |
| simazine | 5.5 | 202.1 | 132.0 | 20 | 124.1 | 20 | 0.004 | 92 | 4 | 0.01 | 94 | 4 |
| simetryn | 5.9 | 214.1 | 124.1 | 20 | 68.0 | 60 | 0.004 | 89 | 3 | 0.01 | 91 | 2 |
| spinosyn-A | 10.0 | 732.6 | 142.2 | 28 | 98.2 | 52 | 0.008 | 99 | 3 | 0.02 | 102 | 3 |
| spinosyn-D | 10.5 | 746.5 | 142.1 | 36 | 98.5 | 52 | 0.008 | 99 | 4 | 0.02 | 102 | 4 |
| spirodiclofen | 12.3 | 411.1 | 313.0 | 10 | 71.1 | 20 | 0.008 | 87 | 2 | 0.02 | 88 | 3 |
| spiromesifen | 11.9 | 371.2 | 255.1 | 24 | 187.1 | 30 | 0.008 | 89 | 4 | 0.02 | 90 | 4 |
| spirotetramat | 8.7 | 374.2 | 302.2 | 16 | 216.1 | 36 | 0.004 | 98 | 2 | 0.01 | 98 | 3 |
| spirotetramate enol | 6.2 | 302.0 | 216.0 | 28 | 117.0 | 52 | 0.004 | 83 | 14 | 0.01 | 84 | 14 |
| spirotetramate enol glukosid | 3.7 | 464.0 | 270.0 | 40 | 216.0 | 52 | 0.004 | 80 | 11 | 0.01 | 81 | 13 |
| spirotetramate keto hydroxy | 7.0 | 318.0 | 214.0 | 25 | 268.0 | 20 | 0.02 | 94 | 8 | 0.05 | 96 | 2 |
| spirotetramate monohydroxy | 5.4 | 304.0 | 254.0 | 16 | 211.0 | 24 | 0.004 | 87 | 8 | 0.01 | 82 | 10 |
| spiroxamin | 7.6 | 298.3 | 144.0 | 24 | 100.1 | 34 | 0.004 | 97 | 3 | 0.01 | 98 | 3 |
| sulfosulfuron | 7.5 | 470.8 | 261.0 | 16 | 218.0 | 28 | 0.004 | 96 | 3 | 0.01 | 98 | 3 |
| sulfotep | 9.5 | 323.0 | 115.0 | 32 | 96.9 | 56 | 0.004 | 94 | 2 | 0.01 | 94 | 2 |
| tau-fluvalinate | 12.7 | 503.1 | 208.1 | 5 | 181.0 | 5 | 0.004 | 88 | 3 | 0.01 | 89 | 2 |
| tebuconazole | 9.5 | 308.1 | 125.0 | 44 | 70.1 | 26 | 0.004 | 78 | 4 | 0.01 | 75 | 4 |
| tebufenozide | 9.2 | 353.2 | 297.2 | 4 | 133.0 | 20 | 0.004 | 94 | 5 | 0.01 | 93 | 6 |
| tebufenpyrad | 11.1 | 334.1 | 144.9 | 28 | 117.0 | 44 | 0.004 | 85 | 2 | 0.01 | 84 | 2 |
| teflubenzuron | 11.2 | 381.0 | 158.0 | 16 | 141.0 | 48 | 0.02 | 94 | 10 | 0.05 | 96 | 2 |
| tepraloxydim | 5.9+8.6 | 342.1 | 250.1 | 12 | 166.1 | 22 | 0.008 | 95 | 6 | 0.02 | 100 | 6 |
| terbufos | 11.1 | 289.0 | 232.9 | 0 | 103.0 | 6 | 0.004 | 86 | 7 | 0.01 | 89 | 7 |
| terbufos-sulfone | 7.5 | 321.1 | 171.0 | 8 | 96.9 | 44 | 0.004 | 98 | 2 | 0.01 | 100 | 3 |
| terbufos-sulfoxide | 7.6 | 305.1 | 187.0 | 8 | 96.9 | 52 | 0.004 | 99 | 3 | 0.01 | 100 | 3 |
| terbuthylazine | 7.9 | 230.1 | 174.1 | 16 | 96.0 | 28 | 0.004 | 85 | 1 | 0.01 | 85 | 1 |
| terbutryn | 8.2 | 242.2 | 186.1 | 20 | 91.0 | 32 | 0.004 | 87 | 3 | 0.01 | 88 | 3 |
| tetraconazole | 8.6 | 372.0 | 159.0 | 44 | 70.1 | 20 | 0.004 | 98 | 3 | 0.01 | 100 | 3 |
| tetramethrin | 10.7+11.0 | 332.2 | 164.1 | 30 | 135.1 | 18 | 0.008 | 91 | 3 | 0.02 | 89 | 4 |
| thiabendazole | 4.0 | 202.1 | 175.0 | 28 | 131.1 | 36 | 0.004 | 70 | 4 | 0.01 | 70 | 4 |
| thiacloprid | 4.3 | 253.2 | 126.0 | 24 | 90.1 | 44 | 0.004 | 98 | 2 | 0.01 | 99 | 2 |
| thiamethoxam | 3.5 | 292.1 | 211.0 | 10 | 181.1 | 24 | 0.008 | 101 | 3 | 0.02 | 110 | 3 |
| thifensulfuron-methyl | 5.2 | 388.0 | 205.0 | 28 | 167.1 | 14 | 0.008 | 100 | 4 | 0.02 | 103 | 4 |
| thiodicarb | 6.0 | 355.0 | 108.1 | 16 | 88.1 | 16 | 0.004 | 77 | 4 | 0.01 | 83 | 3 |
| thiophanate-methyl | 5.3 | 343.0 | 151.0 | 20 | 93.0 | 56 | 0.004 | 90 | 3 | 0.01 | 91 | 4 |
| tolfenpyrad | 11.2 | 384.0 | 197.0 | 36 | 145.0 | 32 | 0.004 | 79 | 2 | 0.01 | 77 | 3 |
| tolylfluanid | 9.4 | 346.9 | 238.1 | 10 | 137.0 | 26 | 0.008 | 87 | 5 | 0.02 | 88 | 6 |
| triasulfuron | 5.2 | 401.8 | 167.0 | 16 | 141.0 | 22 | 0.004 | 97 | 4 | 0.01 | 96 | 4 |
| triazophos | 8.4 | 314.0 | 162.1 | 16 | 119.1 | 40 | 0.004 | 96 | 2 | 0.01 | 96 | 2 |
| trichlorfon | 4.1 | 259.0 | 109.1 | 18 | 109.1 | 18 | 0.004 | 100 | 4 | 0.01 | 103 | 6 |
| tricyclazole | 4.6 | 190.1 | 163.0 | 24 | 136.0 | 36 | 0.004 | 84 | 2 | 0.01 | 86 | 2 |
| trifloxystrobin | 10.5 | 409.1 | 206.1 | 12 | 186.1 | 20 | 0.004 | 92 | 1 | 0.01 | 90 | 1 |
| triflumuron | 9.9 | 359.0 | 156.0 | 16 | 139.0 | 44 | 0.008 | 94 | 3 | 0.02 | 97 | 3 |
| triforine | 7.0+7.3 | 436.9 | 391.8 | 10 | 389.8 | 10 | 0.008 | 94 | 13 | 0.02 | 84 | 19 |
| trinexapac-ethyl | 6.9 | 253.1 | 185.0 | 10 | 69.1 | 24 | 0.008 | 96 | 3 | 0.02 | 98 | 3 |
| triticonazole | 8.7 | 318.1 | 70.1 | 24 | 125.0 | 24 | 0.008 | 92 | 16 | 0.02 | 92 | 18 |
| vamidothion | 4.0 | 288.1 | 146.0 | 12 | 118.0 | 32 | 0.004 | 101 | 3 | 0.01 | 103 | 3 |
| vamidothion sulfone | 3.5 | 320.0 | 178.0 | 16 | 109.0 | 40 | 0.004 | 95 | 4 | 0.01 | 92 | 4 |
| vamidothion sulfoxid | 3.4 | 304.1 | 200.9 | 8 | 168.9 | 12 | 0.004 | 86 | 14 | 0.01 | 84 | 16 |
| zoxamide | 9.8 | 336.0 | 187.0 | 26 | 159.0 | 48 | 0.004 | 94 | 1 | 0.01 | 95 | 1 |

RT: retention time; LOQ: limit of quantification; REC: recovery; RSD: relative standard deviation for repeatability (mean values obtained from two spiking levels, i.e., 0.008 mg kg-1 and 0.08 mg kg-1 for poppy seed and 0.02 mg kg-1 and 0.2 mg kg-1 for dried poppy capsules)

# S1.	LC–HRMS method for analysis of opium alkaloids

Opium alkaloids in poppy seed and poppy seedpods were analyzed using an Acquity UPLC ultra-high-performance liquid chromatograph (Waters Corporation, Milford, MA, USA) coupled to an Exactive™ (Thermo Fisher Scientific, Waltham, MA, USA) high-resolution orbitrap mass spectrometer. The mass spectrometer, equipped with an electrospray ion source (ESI), was operated in positive (ESI+) ionization mode.

Sample separation was performed using an Atlantis HILIC column (100 mm x 3.0 mm, 3 μm; Waters Corporation, Milford, MA, USA). The column temperature was maintained at 40 °C. The injected sample volume was 3 μL. Milli-Q water containing 50mM ammonium formate (pH 3, adjusted by formic acid) (A) and acetonitrile (B), were used as mobile phases. The mobile phase gradient is summarized in Table S2.

Table S2 UPLC gradient (analysis of opium alkaloids)

| time [min] | flow [ml min-1] | A [%] | B [%] |
| --- | --- | --- | --- |
| 0 | 0.5 | 25 | 75 |
| 2 | 0.5 | 25 | 75 |
| 5 | 0.5 | 35 | 65 |
| 5.1 | 0.5 | 25 | 75 |
| 8 | 0.5 | 25 | 75 |

The MS parameters were set as follows: vaporizer temperature: 250 °C; spray voltage: 3.5 kV; sheath gas: 45 arbitrary units; aux gas: 10 arbitrary units and mass range: m/z 60–1,000. The mass spectrometer was operated at a resolving power of 70,000 full width at half maximum (FWHM, m/z 200), 3 spectra s−1 were recorded. The list of opium alkaloids analyzed together with their exact masses is summarized in Table S3.

Table S3 Opium alkaloids analyzed and selected LC-MS parameters

| analyte | CAS number | elemental composition | exact mass [Da] | exact mass of [M+H]+ ion | RT [min] |
| --- | --- | --- | --- | --- | --- |
| codeine | 76-57-3 | C18H21NO3 | 299.1516 | 300.1600 | 2.4 |
| laudanosine | 2688-77-9 | C21H27NO4 | 357.1935 | 358.2018 | 1.9 |
| morphine | 57-27-2 | C17H19NO3 | 285.1359 | 286.1443 | 2.4 |
| noscapine | 128-62-1 | C22H23NO7 | 413.1469 | 414.1553 | 1.6 |
| oripavine | 467-04-9 | C18H19NO3 | 297.1359 | 298.1443 | 2.0 |
| papaverine | 58-74-2 | C20H21NO4 | 339.1465 | 340.1549 | 1.6 |
| thebaine | 115-37-7 | C19H21NO3 | 311.1516 | 312.1600 | 1.9 |

RT: retention time

The results of method validation for analysis of opium alkaloids in poppy seeds and dried poppy pods are summarized in Table S4.

Table S4 The results of method validation of opium alkaloids in poppy seed and dried poppy pods

|  | poppy seed |  |  | dried poppy pods |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| analyte | LOQ [mg kg-1] | REC [%] | RSDr [%] | LOQ [mg kg-1] | REC [%] | RSDr [%] |
| codeine | 0.01 | 97 | 12 | 0.2 | 98 | 6 |
| laudanosine | 0.01 | 99 | 14 | 0.2 | 100 | 8 |
| morphine | 0.01 | 99 | 7 | 0.2 | 97 | 7 |
| noscapine | 0.01 | 100 | 13 | 0.2 | 99 | 15 |
| oripavine | 0.01 | 99 | 8 | 0.2 | 99 | 12 |
| papaverine | 0.01 | 100 | 15 | 0.2 | 100 | 8 |
| thebaine | 0.01 | 98 | 8 | 0.2 | 99 | 7 |

LOQ: limit of quantification; REC: recovery; RSD: relative standard deviation for repeatability

# S2. 	LC–MS/MS method for analysis of pesticide residues

Pesticide residues in poppy seed and poppy seedpods were analyzed using an Agilent 1290 Infinity II liquid chromatograph coupled to a Triple Quadrupole G6495C mass spectrometer (both Agilent Technologies, Santa Clara, CA, USA). The mass spectrometer, equipped with an electrospray ion source (ESI), was operated in positive (ESI+) ionization mode.

Sample separation was performed using an ACQUITY HSS T3 UPLC reversed-phase column (100 mm × 2.1 mm, 1.8 µm; Waters Corporation, Milford, MA, USA). The column temperature was maintained at 40 °C. The injected sample volume was 2 μL. Milli-Q water (A) and methanol (B), both containing 5 mM ammonium formate and 0.1 % (v/v) formic acid, were used as mobile phases for the separation of targeted analytes. The mobile phase gradient is summarized in Table S4.

Table S5 UHPLC gradient (analysis of pesticide residues)

| time [min] | flow [ml min-1] | A [%] | B [%] |
| --- | --- | --- | --- |
| 0 | 0.2 | 95 | 5 |
| 1 | 0.3 | 50 | 50 |
| 12 | 0.3 | 0 | 100 |
| 14 | 0.4 | 0 | 100 |
| 14.1 | 0.5 | 95 | 5 |
| 15 | 0.5 | 95 | 5 |

The MS parameters were set as follows: the capillary voltage used was 5 kV, the drying gas temperature was 140 °C, the sheath gas temperature was 400 °C, the drying gas flow was 16 L min−1, the sheath gas flow was 12 L min−1 and the nebulizer pressure was 35 psi. The tandem MS analyzer was operated in the dynamic multiple reaction monitoring mode.

Table S6 The results of opium alkaloid analysis in poppy samples (mean value, n=3)

|  |  | morphine | codeine | thebaine | oripavine | noscapine | papaverine | laudanosine | sum of 7 OA | sum of 3 MA | ME |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | [mg kg-1] | [mg kg-1] | [mg kg-1] | [mg kg-1] | [mg kg-1] | [mg kg-1] | [mg kg-1] | [mg kg-1] | [mg kg-1] | [mg kg-1] |
| blue poppy No.1 | Fraction I | 2,272 | 204 | 110 | 11.2 | 81.0 | 29.4 | 9.9 | 2,718 | 2,586 | 2,313 |
|  | Fraction II | 133 | 15.2 | 8.31 | 3.31 | 5.17 | 2.50 | 0.71 | 168 | 156 | 136 |
|  | poppy seed | 9.6 | 1.26 | 0.76 | 0.06 | 0.49 | 0.08 | 0.04 | 12.3 | 11.6 | 9.84 |
| blue poppy No.2 | Fraction I | 2,172 | 236 | 219 | 19.1 | 66.8 | 8.01 | 7.30 | 2,729 | 2,628 | 2,219 |
|  | Fraction II | 360 | 43.0 | 55.1 | 2.73 | 12.0 | 1.23 | 1.51 | 476 | 458 | 369 |
|  | poppy seed | 8.2 | 0.55 | 0.71 | 0.03 | 0.15 | 0.02 | 0.02 | 9.7 | 9.5 | 8.3 |
| blue poppy No.3 | Fraction I | 5,605 | 1,351 | 1,377 | 106 | 258 | 11.8 | 29.8 | 8,739 | 8,333 | 5,875 |
|  | Fraction II | 1,471 | 321 | 239 | 22.7 | 38.5 | 15.2 | 7.92 | 2,115 | 2,031 | 1,535 |
|  | poppy seed | 13.8 | 3.93 | 7.06 | 0.42 | 0.55 | <0.01 | 0.09 | 25.8 | 24.8 | 14.6 |
| blue poppy No.4 | Fraction I | 2,554 | 262 | 162 | 17.6 | 76.1 | 30.7 | 11.8 | 3,113 | 2,977 | 2,607 |
|  | Fraction II | 310 | 26.6 | 15.1 | 1.56 | 8.40 | 5.27 | 1.38 | 368 | 352 | 315 |
|  | poppy seed | 4.50 | 0.47 | 0.56 | 0.06 | 0.19 | 0.08 | 0.02 | 5.86 | 5.52 | 4.59 |
| blue poppy No.5 | Fraction I | 2,612 | 161 | 408 | 68.5 | 3.17 | 5.98 | 3.81 | 3,262 | 3,181 | 2,644 |
|  | Fraction II | 283 | 20.8 | 56.8 | 12.5 | 2.42 | 0.26 | 0.74 | 376 | 361 | 287 |
|  | poppy seed | 28 | 1.3 | 3.55 | 0.78 | 0.15 | 0.02 | 0.05 | 33.8 | 32.8 | 28.3 |
| blue poppy No.6 | Fraction I | 2,388 | 213 | 350 | 16.2 | 85.5 | 10.6 | 7.01 | 3,071 | 2,951 | 2,431 |
|  | Fraction II | 269 | 25.7 | 30.9 | 1.77 | 7.68 | 1.15 | 1.03 | 338 | 326 | 275 |
|  | poppy seed | 19 | 2.60 | 3.12 | 0.18 | 0.78 | 0.12 | 0.10 | 25.9 | 24.7 | 19.5 |
| white poppy No.1 | Fraction I | 2,480 | 105 | 48.4 | 5.27 | 139 | 149 | 13.4 | 2,940 | 2,634 | 2,501 |
|  | Fraction II | 1,050 | 47.1 | 20.6 | 1.85 | 59.6 | 75.2 | 6.80 | 1,262 | 1,118 | 1,060 |
|  | poppy seed | 1.7 | 0.11 | 0.05 | <0.01 | 0.14 | 0.18 | 0.02 | 2.2 | 1.9 | 1.72 |
| white poppy No.2 | Fraction I | 2,456 | 126 | 32.2 | 4.99 | 144 | 132 | 14.2 | 2,910 | 2,615 | 2,482 |
|  | Fraction II | 951 | 50.3 | 13.9 | 2.08 | 41.6 | 71.6 | 5.98 | 1136 | 1015 | 961 |
|  | poppy seed | 2.6 | 0.13 | 0.04 | 0.01 | 0.11 | 0.19 | 0.02 | 3.1 | 2.8 | 2.63 |
| white poppy No.3 | Fraction I | 1,493 | 108 | 52 | 7.0 | 81 | 113 | 10 | 1,863 | 1,653 | 1,514 |
|  | Fraction II | 97 | 11.0 | 10.9 | 0.5 | 16.0 | 14.3 | 1.2 | 151 | 119 | 99 |
|  | poppy seed | 4.96 | 0.37 | 0.22 | 0.02 | 0.49 | 0.40 | 0.05 | 6.50 | 5.54 | 5.03 |

OA: opium alkaloids (sum of seven opium alkaloids), MA: morphinan alkaloids (sum of morphine, codeine and thebaine), ME: morphine equivalent (sum of morphine + 0.2 × codeine)

Table S7 The results of pesticide residue analysis in poppy samples (mean value, n=3)

|  |  | acetamiprid | azoxystrobin | boscalid | cypermethrin | deltamethrin | difenoconazole | fluopyram | kresoxim-methyl | lambda-cyhalothrin | metconazole | piperonyl-butoxide | pirimiphos-methyl | prothioconazole-desthio | pyraclostrobin | tebuconazole |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | result [mg kg-1] | result [mg kg-1] | result [mg kg-1] | result [mg kg-1] | result [mg kg-1] | result [mg kg-1] | result [mg kg-1] | result [mg kg-1] | result [mg kg-1] | result [mg kg-1] | result [mg kg-1] | result [mg kg-1] | result [mg kg-1] | result [mg kg-1] | result [mg kg-1] |
| blue poppy No.1 | Fraction I | 0.065 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.168 | <0.01 | <0.01 | 0.244 | <0.01 | 1.410 |
|  | Fraction II | 0.026 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.053 | <0.01 | <0.01 | 0.060 | <0.01 | 0.386 |
|  | ground poppy seed | 0.019 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.011 | <0.004 | 0.030 |
|  | unground poppy seed | 0.006 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.004 | <0.004 | 0.014 |
| blue poppy No.2 | Fraction I | 0.023 | <0.01 | 0.726 | <0.01 | <0.01 | 0.014 | <0.01 | <0.01 | <0.01 | 0.017 | <0.01 | 0.035 | <0.01 | 1.169 | <0.01 |
|  | Fraction II | 0.019 | <0.01 | 0.513 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.010 | <0.01 | 0.026 | <0.01 | 0.755 | <0.01 |
|  | ground poppy seed | 0.013 | <0.004 | 0.019 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.009 | <0.004 | 0.015 | <0.004 |
|  | unground poppy seed | 0.006 | <0.004 | 0.007 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.003 | <0.004 | 0.011 | <0.004 |
| blue poppy No.3 | Fraction I | 0.797 | 0.020 | 0.065 | <0.01 | <0.01 | 0.010 | <0.01 | 0.354 | 0.064 | <0.01 | <0.01 | <0.01 | <0.01 | 0.023 | 0.059 |
|  | Fraction II | 0.495 | 0.015 | 0.051 | <0.01 | <0.01 | <0.01 | <0.01 | 0.256 | 0.044 | <0.01 | <0.01 | <0.01 | <0.01 | 0.035 | 0.041 |
|  | ground poppy seed | 0.057 | <0.004 | 0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.021 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 |
|  | unground poppy seed | 0.021 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.015 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 |
| blue poppy No.4 | Fraction I | 0.067 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.181 | <0.01 | 0.011 | 0.269 | <0.01 | 1.451 |
|  | Fraction II | 0.039 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.084 | <0.01 | 0.011 | 0.107 | <0.01 | 0.803 |
|  | ground poppy seed | 0.018 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.011 | <0.004 | 0.030 |
|  | unground poppy seed | 0.006 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.004 | <0.004 | 0.014 |
| blue poppy No.5 | Fraction I | 0.069 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.131 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 |
|  | Fraction II | 0.033 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.046 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 |
|  | ground poppy seed | 0.035 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 |
|  | unground poppy seed | 0.017 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 |
| blue poppy No.6 | Fraction I | 0.045 | <0.01 | 0.843 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.019 | <0.01 | 0.249 | <0.01 | 1.312 | 0.010 |
|  | Fraction II | 0.021 | <0.01 | 0.389 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.010 | <0.01 | 0.051 | <0.01 | 0.561 | 0.019 |
|  | ground poppy seed | 0.016 | <0.004 | 0.020 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.019 | <0.004 | 0.015 | <0.004 |
|  | unground poppy seed | 0.006 | <0.004 | 0.010 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.004 | <0.004 | 0.012 | <0.004 |
| white poppy No.1 | Fraction I | 0.062 | <0.01 | 0.015 | <0.01 | 0.118 | <0.01 | 0.141 | 0.298 | <0.01 | <0.01 | 0.080 | <0.01 | 0.014 | <0.01 | <0.01 |
|  | Fraction II | 0.025 | <0.01 | 0.010 | <0.01 | 0.010 | <0.01 | 0.090 | 0.160 | <0.01 | <0.01 | 0.027 | <0.01 | <0.01 | <0.01 | <0.01 |
|  | ground poppy seed | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.016 | 0.020 | <0.004 | <0.004 | 0.006 | <0.004 | <0.004 | <0.004 | <0.004 |
|  | unground poppy seed | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.006 | 0.020 | <0.004 | <0.004 | 0.006 | <0.004 | <0.004 | <0.004 | <0.004 |
| white poppy No.2 | Fraction I | 0.012 | 0.017 | <0.01 | 0.422 | 0.030 | <0.01 | 0.113 | <0.01 | <0.01 | 0.010 | <0.01 | <0.01 | 0.862 | 0.051 | 1.889 |
|  | Fraction II | <0.01 | <0.01 | <0.01 | 0.257 | <0.01 | <0.01 | 0.069 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.586 | 0.021 | 1.876 |
|  | ground poppy seed | <0.004 | <0.004 | <0.004 | 0.007 | <0.004 | <0.004 | 0.015 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.126 | <0.004 | 0.117 |
|  | unground poppy seed | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.023 | <0.004 | 0.032 |
| white poppy No.3 | Fraction I | 0.075 | 1.501 | 0.151 | 0.123 | 0.069 | 3.893 | 0.016 | <0.01 | <0.01 | 0.167 | 0.096 | 0.010 | 0.320 | 0.166 | 1.099 |
|  | Fraction II | 0.012 | 0.168 | <0.01 | <0.01 | 0.020 | 0.119 | <0.01 | <0.01 | <0.01 | 0.019 | 0.018 | <0.01 | 0.150 | <0.01 | 0.181 |
|  | ground poppy seed | 0.004 | 0.019 | <0.004 | <0.004 | <0.004 | 0.010 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.046 | <0.004 | 0.060 |
|  | unground poppy seed | <0.004 | 0.016 | <0.004 | <0.004 | <0.004 | 0.008 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 | 0.017 | <0.004 | 0.041 |
| MRL [mg kg-1] |  | 0.01* | 0.5 | 1.0 | 0.2 | 0.01 | 0.05 | 0.4 | 0.01 | 0.2 | 0.15 | - | 0.5 | 0.09 | 0.2 | 0.2 |

MRL: Maximum Residue Levels set by Regulation (EC) No 396/2005 for poppy seeds (product code: 0401030); * according to Commission Regulation (EU) 2025/1212, the MRL for acetamiprid in poppy seeds was modified from 0.01 mg kg-1 to 0.3 mg kg-1 on August 20, 2025