Supplementary Material

GC–MS Calibration Data and Quantification Parameters

Table S1 - Linear calibration equations, determination coefficients (R²), and working ranges for quantification of methoxypyrazines and volatile compounds in wines from the 2023 and 2024 vintages

| Vintage | Compounds | Linear equation | R2 | Range |
| --- | --- | --- | --- | --- |
| 2023 | EMP 1 | y = 2751.1x – 45.434 | 0.9961 | 9.8 to 312 (ng/L) |
|  | IPMP 1 | y = 608.69x + 12.796 | 0.9863 |  |
|  | SBMP 1 | y = 505.36x + 4.5052 | 0.9847 |  |
|  | IBMP 1 | y = 1103.6x + 8.6296 | 0.9836 |  |
| 2024 | EMP 1 | y = 2914.80x – 63.9630 | 0.9910 |  |
|  | IPMP 1 | y = 403.75x – 32.3970 | 0.9987 |  |
|  | SBMP 1 | y = 305.05x – 14.1080 | 0.9969 |  |
|  | IBMP 1 | y = 964.23x – 50.2400 | 0.9977 |  |
| 2024 | ethyl butyrate 2 | y = 5832.3x + 15.839 | 0.9981 | 18 to 561 (μg/L) |
|  | ethyl isovalerate 2 | y = 2242.4x + 8.8315 | 0.9969 | 4 to 460 (μg/L) |
|  | isoamyl acetate 2 | y = 1715x + 9.042 | 0.9979 | 15 to 467 (μg/L) |
|  | ethyl heptanoate 2 | y = 282.22x + 12.937 | 0.9931 | 4 to 232 (μg/L) |
|  | isobutyl hexanoate 2 | y = 243.13x + 10.249 | 0.9934 | 4 to 228 (μg/L) |
|  | ethyl octanoate 2 | y = 229.39x + 30.447 | 0.9893 | 17 to 271 (μg/L) |

Legend: 1 Concentrations were normalized using pyrazine as the internal standard; 2 Concentrations were normalized using methyl hexanoate as the internal standard. The concentrations of ethyl 2-phenylacetate, 2-phenylethyl acetate, ethyl decanoate, isobutyl acetate, 2-methylbutyl acetate, ethyl hexanoate, and diethyl succinate were normalized using methyl hexanoate as the internal standard and semi-quantified based on the linear calibration curve of ethyl butyrate. The concentrations of isoamyl alcohol, 2-methylbutan-1-ol, hexan-1-ol, and phenylethyl alcohol were normalized using eucalyptol as the internal standard and semi-quantified based on the linear calibration curve of ethyl butyrate.

Supplementary Material

GC–MS Calibration and Analytical Sensitivity Parameters

Table S2. Limits of detection (LOD) and quantification (LOQ) for methoxypyrazines

| Compound | 2023 |  | 2024 |  |
| --- | --- | --- | --- | --- |
|  | LOD (ng/L) | LOQ (ng/L) | LOD (ng/L) | LOQ (ng/L) |
| EMP | 0.127 | 0.424 | <0.001 1 | <0.001 1 |
| IPMP | 0.060 | 0.200 | 0.059 | 0.195 |
| SBMP | 0.035 | 0.116 | 0.058 | 0.192 |
| IBMP | 0.040 | 0.133 | 0.134 | 0.446 |

Legend: 1 Values below 0.001 ng/L indicate concentrations below the minimum quantifiable level under the analytical conditions employed.

Supplementary Material

Monitoring of Alcoholic Fermentation Kinetics

Table S3. Decrease in must density during alcoholic fermentation of Cabernet Sauvignon grapes from the 2023 and 2024 vintages

| Vintage | Date | Must Density (g/mL) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | SF |  |  |  |  | IF |  |  |  |  |
|  |  | A | B | C | Mean | SD | A | B | C | Mean | SD |
| 2023 | 9-May | 1.084 | 1.087 | 1.085 | 1.085 | 0.002 | 1.085 | 1.085 | 1.085 | 1.085 | 0.000 |
|  | 10-May | 1.086 | 1.088 | 1.088 | 1.087 | 0.001 | 1.088 | 1.086 | 1.086 | 1.086 | 0.001 |
|  | 11-May | 1.083 | 1.087 | 1.083 | 1.085 | 0.002 | 1.085 | 1.085 | 1.085 | 1.085 | 0.000 |
|  | 12-May | 1.079 | 1.082 | 1.079 | 1.080 | 0.002 | 1.077 | 1.079 | 1.078 | 1.078 | 0.001 |
|  | 13-May | 1.070 | 1.075 | 1.072 | 1.072 | 0.003 | 1.052 | 1.054 | 1.054 | 1.053 | 0.001 |
|  | 14-May | 1.065 | 1.069 | 1.064 | 1.066 | 0.003 | 1.032 | 1.034 | 1.034 | 1.033 | 0.001 |
|  | 15-May | 1.046 | 1.051 | 1.051 | 1.050 | 0.003 | 1.011 | 1.014 | 1.014 | 1.013 | 0.001 |
|  | 16-May | 1.031 | 1.034 | 1.035 | 1.033 | 0.002 | 1.002 | 1.006 | 1.002 | 1.003 | 0.002 |
|  | 17-May | 1.021 | 1.023 | 1.023 | 1.022 | 0.001 | 0.998 | 0.998 | 0.997 | 0.997 | 0.001 |
|  | 18-May | 1.006 | 1.008 | 1.007 | 1.007 | 0.001 | 0.995 | 0.996 | 0.995 | 0.995 | 0.001 |
|  | 19-May | 1.000 | 1.002 | 1.001 | 1.001 | 0.001 | - | - | - | - | - |
|  | 20-May | 0.995 | 0.995 | 0.995 | 0.995 | 0.000 | - | - | - | - | - |
| 2024 | 19-Mar | 1.077 | 1.080 | 1.082 | 1.080 | 0.003 | 1.080 | 1.082 | 1.082 | 1.082 | 0.001 |
|  | 21-Mar | 1.076 | 1.074 | 1.078 | 1.076 | 0.002 | 1.080 | 1.082 | 1.078 | 1.080 | 0.002 |
|  | 22-Mar | 1.068 | 1.070 | 1.070 | 1.069 | 0.001 | 1.070 | 1.068 | 1.070 | 1.069 | 0.001 |
|  | 23-Mar | 1.060 | 1.063 | 1.063 | 1.062 | 0.002 | 1.059 | 1.051 | 1.052 | 1.054 | 0.005 |
|  | 25-Mar | 1.036 | 1.042 | 1.042 | 1.040 | 0.003 | 1.032 | 1.026 | 1.026 | 1.028 | 0.003 |
|  | 26-Mar | 1.020 | 1.024 | 1.028 | 1.024 | 0.004 | 1.016 | 1.010 | 1.014 | 1.013 | 0.003 |
|  | 27-Mar | 1.012 | 1.016 | 1.020 | 1.016 | 0.004 | 1.010 | 1.004 | 1.002 | 1.005 | 0.004 |
|  | 28-Mar | 1.002 | 1.006 | 1.010 | 1.006 | 0.004 | 1.002 | 0.998 | 0.998 | 0.999 | 0.002 |
|  | 29-Mar | 0.998 | 1.002 | 1.004 | 1.001 | 0.003 | 0.996 | 0.996 | 0.996 | 0.996 | 0.000 |
|  | 30-Mar | 0.998 | 0.998 | 0.998 | 0.998 | 0.000 | - | - | - | - | - |
|  | 31-Mar | 0.996 | 0.996 | 0.996 | 0.996 | 0.000 | - | - | - | - | - |

Legend: SF: spontaneous fermentation; IF: inoculated fermentation. The results (n=3) are expressed in g/mL.

Supplementary Material

Monitoring of Alcoholic Fermentation Kinetics

Table S4. Reduction in reducing sugar concentration during alcoholic fermentation of Cabernet Sauvignon grapes from the 2023 and 2024 vintages

| Vintage | Date | Reducing Sugar Concentration (g/L) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | SF |  |  |  |  | IF |  |  |  |  |
|  |  | A | B | C | Mean | SD | A | B | C | Mean | SD |
| 2023 | 9-May | 206.56 | 204.72 | 189.34 | 200.21 | 9.46 | 209.75 | 225.91 | 205.26 | 213.64 | 10.86 |
|  | 11-May | 203.78 | 199.85 | 169.75 | 191.13 | 18.62 | 201.97 | 220.86 | 192.44 | 205.09 | 14.46 |
|  | 12-May | 168.25 | 159.66 | 157.01 | 161.64 | 5.88 | 153.40 | 184.71 | 187.54 | 175.22 | 18.95 |
|  | 13-May | 157.18 | 165.12 | 143.31 | 155.20 | 11.03 | 118.63 | 119.39 | 127.35 | 121.79 | 4.83 |
|  | 14-May | 125.33 | 148.96 | 144.47 | 139.59 | 12.55 | 61.59 | 83.66 | 70.05 | 71.77 | 11.14 |
|  | 15-May | 94.34 | 114.89 | 106.68 | 105.30 | 10.34 | 37.65 | 48.58 | 39.98 | 42.07 | 5.75 |
|  | 16-May | 56.33 | 77.99 | 73.15 | 69.16 | 11.37 | 12.46 | 18.72 | 11.83 | 14.34 | 3.81 |
|  | 17-May | 54.80 | 54.04 | 58.18 | 55.67 | 2.20 | 3.25 | 3.62 | 2.45 | 3.10 | 0.59 |
|  | 18-May | 22.54 | 29.00 | 24.27 | 25.27 | 3.35 | 1.34 | 1.95 | 1.35 | 1.55 | 0.35 |
|  | 19-May | 5.98 | 7.32 | 5.27 | 6.19 | 1.04 | - | - | - | - | - |
|  | 20-May | 3.05 | 3.93 | 3.01 | 3.33 | 0.52 | - | - | - | - | - |
| 2024 | 19-Mar | 227.15 | 229.42 | 226.93 | 227.83 | 1.38 | 213.12 | 247.81 | 233.12 | 231.35 | 17.42 |
|  | 21-Mar | 202.59 | 233.27 | 219.26 | 218.37 | 15.36 | 218.99 | 224.04 | 227.03 | 223.35 | 4.06 |
|  | 22-Mar | 202.59 | 200.29 | 200.83 | 201.24 | 1.20 | 178.78 | 169.49 | 191.40 | 179.89 | 10.99 |
|  | 23-Mar | 190.01 | 195.92 | 200.83 | 195.59 | 5.42 | 173.15 | 153.12 | 168.87 | 165.05 | 10.55 |
|  | 25-Mar | 79.46 | 91.89 | 104.08 | 91.81 | 12.31 | 73.92 | 59.09 | 51.03 | 61.34 | 11.61 |
|  | 26-Mar | 39.19 | 59.30 | 64.51 | 54.33 | 13.37 | 39.79 | 24.94 | 22.99 | 29.24 | 9.19 |
|  | 27-Mar | 34.17 | 45.96 | 57.40 | 45.84 | 11.61 | 16.79 | 19.37 | 14.81 | 16.99 | 2.29 |
|  | 29-Mar | 6.25 | 12.31 | 23.32 | 13.96 | 8.65 | 4.08 | 3.65 | 3.23 | 3.65 | 0.43 |
|  | 30-Mar | 2.01 | 3.52 | 8.32 | 4.62 | 3.29 | - | - | - | - | - |
|  | 31-Mar | 2.40 | 3.06 | 4.26 | 3.24 | 0.94 | - | - | - | - | - |

Legend: SF: spontaneous fermentation; IF: inoculated fermentation. The results (n=3) are expressed in g/L.

Supplementary Material

Principal Component Analysis (PCA) Results

> # Extract eigenvalues/variances

|  | eigenvalue | variance.percent | cumulative.variance.percent |
| --- | --- | --- | --- |
| Dim.1 | 6.48602123 | 38.1530661 | 38.15307 |
| Dim.2 | 4.17612007 | 24.5654122 | 62.71848 |
| Dim.3 | 2.59964425 | 15.292025 | 78.0105 |
| Dim.4 | 1.78054929 | 10.4738193 | 88.48432 |
| Dim.5 | 0.76116499 | 4.4774411 | 92.96176 |
| Dim.6 | 0.40488735 | 2.3816903 | 95.34345 |
| Dim.7 | 0.30258749 | 1.7799264 | 97.12338 |
| Dim.8 | 0.26558877 | 1.5622869 | 98.68567 |
| Dim.9 | 0.13349813 | 0.7852831 | 99.47095 |
| Dim.10 | 0.06824778 | 0.4014575 | 99.87241 |
| Dim.11 | 0.02169066 | 0.1275921 | 100 |

#Correlations between variables and dimensions - loadings

|  | Dim.1 | Dim.2 | Dim.3 |
| --- | --- | --- | --- |
| ethyl butyrate | 0.794619 | 0.318845 | 0.346466 |
| ethyl isovalerate | 0.418294 | 0.676122 | 0.29194 |
| isoamyl acetate | 0.647478 | 0.368642 | -0.31617 |
| ethyl heptanoate | 0.04606 | 0.394928 | 0.899565 |
| isobutyl hexanoate | 0.1493 | 0.430452 | 0.871532 |
| ethyl octanoate | 0.945492 | -0.06088 | -0.19327 |
| ethyl 2-phenylacetate | 0.236228 | -0.68156 | 0.585831 |
| 2-phenylethyl acetate | 0.382337 | -0.81567 | 0.001504 |
| ethyl decanoate | 0.605368 | -0.69287 | -0.00542 |
| isoamyl alcohol | 0.402821 | 0.822657 | -0.3267 |
| 2-methylbutan-1-ol | 0.889416 | -0.16365 | 0.108362 |
| isobutyl acetate | 0.643672 | -0.4762 | 0.07593 |
| hexan-1-ol | 0.389285 | 0.518462 | -0.10324 |
| 2-methylbutyl acetate | 0.880697 | -0.16187 | -0.07158 |
| ethyl hexanoate | 0.620388 | 0.494973 | -0.22803 |
| phenylethyl alcohol | 0.484738 | -0.23315 | 0.300674 |
| diethyl succinate | 0.92678 | -0.04326 | -0.25024 |

> # Broken Stick test

> bstick(pca_results)

| PC1 | PC2 | PC3 | PC4 | PC5 | PC6 | PC7 | PC8 | PC9 | PC10 | PC11 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4.6671 | 3.121629 | 2.348901 | 1.83375 | 1.447386 | 1.138295 | 0.88072 | 0.65994 | 0.466759 | 0.295041 | 0.140496 |