Table 1 – Image acquisition characteristics of studies using DCE-MRI in the wrist
	Author
	Year 
	Population
	n
	MRI
	Protocol‡
	Voxel (mm)
	Time (rep.)

	Axelsen
	2014
	RA, healthy
	40
	1.0T
	Cor SE 40/12 105x140
	0.5 x 0.5 x 3.0
	10s (20)

	Boesen 
	2012
	RA
	54
	0.2T
	Cor GE 60/6 180x180
	0.7 x 0.7 x 4.0
	10s (30)

	Boesen 
	2011
	RA, PsA, healthy
	54
	0.2T
	Ax SE 100/16 150x150
	0.9 x 1.2 x 5.0
	18s (20)

	Cimmino
	2003
	RA, healthy
	41
	0.2T
	Ax SE 100/16 150x150
	0.9 x 1.2 x 5.0
	18s (20)

	Cimmino
	2005
	RA, PsA, healthy
	102
	0.2T
	Ax SE 100/16 150x150
	0.9 x 1.2 x 5.0
	18s (20)

	Cimmino
	2012
	PsA
	7
	0.2T
	Ax SE 100/16 150x150
	0.9 x 1.2 x 5.0
	18s (20)

	Hodgson
	2007
	RA, healthy
	11
	3.0T
	3D SPGR 4.5/2 204x102
	0.8 x 0.8 x 1.0
	13s (24)

	Huang
	2000
	RA
	42
	1.5T
	Cor SPGR 150/9.1 120x120
	0.5 x 0.5 x 3.0
	42s (9)

	Kalden-Nemeth
	1997
	RA
	53
	1.5T
	Cor GE 0.27/10 200x200
	0.9 x 0.8 x 3.0
	6s (77)

	Malattia
	2010
	JIA
	12
	1.5T
	Cor FFE 6/1.7 
	-
	5s (40)

	Meier
	2014
	RA
	28
	3.0T
	Cor GE 3.83/1.34 185 x 220
	1.0 x 0.86 x 2.5
	2.4s (139)

	Navalho
	2012
	RA
	18
	3.0T
	3D VIBE
	1.0 x 1.0 x 1.1
	28s (8)

	Ostergaard
	1996
	RA
	26
	1.5T
	Ax FLASH 40/12 120x150
	0.5 x 0.6 x 5.0
	10s (30)

	Palosaari
	2004
	RA
	28
	0.23T
	Cor GE 30/10 160x160
	1.3 x 6.3 x 2.0
	69s (4)

	Schwenzer
	2010
	RA, PsA
	45
	3.0T
	FLASH GE 3.91/1.45 
	0.8 x 0.8 x 0.8
	10s (16)

	Tam
	2007
	RA
	19
	1.5T
	---
	--- x --- x 4.0
	10s (20)

	Wojciechowski
	2013
	RA
	46
	0.2T
	Cor GE 60/6 180x180
	0.7 x 0.7 x 5.0
	10s (30)


‡=direction, type of sequence, TR/TE and FOV; Ax=axial; Cor=coronal; EJR=European Journal of Radiology; FLASH=fast low angle shot; FFE=fast field echo; FOV=field of view (mm); GE=gradient-echo; PsA=psoriatic arthritis; RA=rheumatoid arthritis; Rheum=Rheumatology (journal); SE=spin-echo; SPGR=spoiled gradient echo; TE=echo time (ms); TR=repetition time (ms); VIBE=volume-interpolated breath hold examination
