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Supplemental Table Institutional clinical MR enterography protocol at 1.5-T
	Sequence
	Excitation
Flip Angle
	Slice Thickness / Gap (mm)
	Echo Time (ms)
	Repetition Time (ms)
	Number of Signal Averages
	b-values (s/mm2) / Averages
	Fat Suppression Method

	Coronal SSFSE
	90
	5 / 1
	80
	NA
	1
	NA
	NA

	Axial SSFSE
	90
	5 / 1
	80
	NA
	1
	NA
	NA

	Axial SSFSE with fat-saturation
	90
	5 / 1
	80
	NA
	1
	NA
	SPAIR

	Axial diffusion-weighted imaging 
	90
	6 / 1
	Minimum (~62)
	3000
	1
	0 /2, 100 /2, 800 / 4
	SPIR

	Coronal precontrast 3D T1-weighted*
	15
	5#
	Minimum (both echoes)
	Minimum
	1
	NA
	Dixon

	Coronal postcontrast 3D T1-weighted
	15
	5#
	Minimum (both echoes)
	Minimum
	1
	NA
	Dixon

	Axial postcontrast 3D T1-weighted
	15
	5#
	Minimum (both echoes)
	Minimum
	1
	NA
	Dixon


NA=not applicable; SPAIR=spectral adiabatic inversion recovery; SPIR=spectral presaturation with inversion recovery; SSFSE=single-shot fast spin-echo
*3D two-echo radiofrequency spoiled gradient echo Dixon sequence
#reconstructed at 2.5 mm increments


