Online Resource

Endpoint Genotyping of A2063G and A2064G Mutations in Mycoplasma pneumoniae

Hyeonseek Park1, Minhee Kang1*, Sun Ae Yun2, Tae Yeul Kim3,4*, and Hee Jae Huh3,4

1Biomedical Engineering Research Center, Smart Healthcare Research Institute, Samsung Medical Center, Seoul, Republic of Korea

2Research Institute for Future Medicine, Samsung Medical Center, Seoul, Republic of Korea

3Department of Laboratory Medicine and Genetics, Samsung Medical Center, Sungkyunkwan University School of Medicine, Seoul, Republic of Korea

4Department of Medical Device Management and Research, Samsung Advanced Institute for Health Sciences & Technology, Sungkyunkwan University, Seoul, Republic of Korea

*Corresponding authors: Minhee Kang, shineminhee@gmail.com; Tae Yeul Kim, eilpost@skku.edu

Online Resource Fig. 1 Receiver operating characteristic (ROC) analysis and corresponding cutoff values for the (a) ATTO, (b) FAM, and (c) HEX channels.

AUC, area under the curve

Online Resource Table 1 (a) In silico analysis of the primers and probe alignment to Mycoplasma pneumoniae. (b) Binding locations of the forward (F; positions 2016–2036) and reverse (R; positions 2106–2134) primers and of the WT probe (orange box; positions 2050–2069) within the 23S rRNA gene of M. pneumoniae strain M129 (GenBank accession no. U00089; 2,905 bp). The primer pair generates a 119-bp amplicon spanning positions 2016–2134. The expanded duplex shows 8 bp of flanking sequence on either side of positions 2063 and 2064, which are boxed.

| Target | Oligonucleotide | No. of target strains detected | No. of non-target strains detected |
| --- | --- | --- | --- |
| M. pneumoniae | Forward primer | 401/401 | 0 |
|  | Reverse primer | 784/784 | 0 |
|  | WT probe | 91/91 | 0 |

WT, wild-type

Online Resource Table 2 In silico analysis of primer and probe alignment to 24 organisms.

| Organisms | NCBI taxid | Alignment |  |  | Expected cross-reactivity |
| --- | --- | --- | --- | --- | --- |
|  |  | F (bp/bp) | R (bp/bp) | WT P (bp/bp) |  |
| MERS-CoV | 1335626 | 10/21 | 13/29 | 9/20 | None |
| Human coronavirus 229E | 11137 | 10/21 | 13/29 | 9/20 | None |
| Human coronavirus OC43 | 31631 | 9/21 | 11/29 | 9/20 | None |
| Human coronavirus NL63 | 277944 | 8/21 | 11/29 | 9/20 | None |
| Human coronavirus HKU1 | 290028 | 9/21 | 12/29 | 8/20 | None |
| RSV type A | 1439707 | 10/21 | 12/29 | 0/20 | None |
| Influenza A | 197911 | 12/21 | 12/29 | 13/20 | None |
| Influenza B | 197912 | 11/21 | 12/29 | 10/20 | None |
| Human parainfluenza virus 1 | 12730 | 10/21 | 10/29 | 10/20 | None |
| Human parainfluenza virus 2 | 2560525 | 9/21 | 11/29 | 9/20 | None |
| Human parainfluenza virus 3 | 11216 | 10/21 | 11/29 | 9/20 | None |
| Human parainfluenza virus 4 | 2560526 | 11/21 | 12/29 | 10/20 | None |
| Enterovirus D68 | 42789 | 13/21 | 10/29 | 9/20 | None |
| Rhinovirus B14 | 12131 | 11/21 | 12/29 | 10/20 | None |
| Human adenovirus 1 | 10533 | 13/21 | 9/29 | 9/20 | None |
| Human metapneumovirus | 162145 | 11/21 | 13/29 | 10/20 | None |
| Human bocavirus | 329641 | 9/21 | 12/29 | 10/20 | None |
| Mycoplasmoides genitalium | 2097 | 21/21 | 23/29 | 20/20 | None |
| Streptococcus pneumoniae | 1313 | 13/21 | 19/29 | 13/20 | None |
| Haemophilus influenzae | 727 | 12/21 | 18/29 | 12/20 | None |
| Chlamydophila pneumoniae | 83558 | 10/21 | 14/29 | 11/20 | None |
| Legionella pneumophila | 446 | 14/21 | 15/29 | 12/20 | None |
| Bordetella pertussis | 520 | 15/21 | 0/29 | 15/20 | None |
| Bordetella parapertussis | 519 | 14/21 | 12/29 | 12/20 | None |

Values represent the highest-scoring alignment obtained for each oligonucleotide across all available genome sequences of the indicated organism and do not necessarily originate from a single strain. NCBI, National Center for Biotechnology Information; WT, wild-type

Online Resource Table 3 PCR results of 44 clinical specimens using the developed MGB probe-based PCR assay and PowerChek™ Mp-DR Real-time PCR Kit.

| Sample # | MGB probe-based PCR |  |  |  | PowerChek™ Mp-DR real-time PCR kit |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Channel-specific end-point fluorescence intensity (a.u.) |  |  | Interpretation | Channel-specific Ct value |  |  | Interpretation |
|  | ATTO | FAM | HEX |  | ROX | FAM | VIC |  |
| 1 | 0.3 | 0.7 | 0.9 | No genotype assigned | NDa | ND | ND | Negative |
| 2 | 0.3 | 0.7 | 1 | No genotype assigned | ND | ND | ND | Negative |
| 3 | 0.3 | 0.7 | 1.1 | No genotype assigned | ND | ND | ND | Negative |
| 4 | 0.3 | 0.7 | 1 | No genotype assigned | ND | ND | ND | Negative |
| 5 | 1.1 | 3.5 | 2.9 | No genotype assigned | ND | ND | ND | Negative |
| 6 | 0.3 | 0.6 | 0.9 | No genotype assigned | ND | ND | ND | Negative |
| 7 | 0.3 | 0.9 | 1.3 | No genotype assigned | ND | ND | ND | Negative |
| 8 | 0.3 | 0.7 | 1 | No genotype assigned | ND | ND | ND | Negative |
| 9 | 0.2 | 0.5 | 0.8 | No genotype assigned | ND | ND | ND | Negative |
| 10 | 0.2 | 0.7 | 1 | No genotype assigned | ND | ND | ND | Negative |
| 11 | 0.2 | 0.5 | 0.8 | No genotype assigned | ND | ND | ND | Negative |
| 12 | 0.5 | 1.5 | 1.2 | No genotype assigned | ND | ND | ND | Negative |
| 13 | 0.3 | 0.7 | 0.9 | No genotype assigned | ND | ND | ND | Negative |
| 14 | 0.3 | 0.6 | 0.9 | No genotype assigned | ND | ND | ND | Negative |
| 15 | 0.3 | 0.6 | 0.8 | No genotype assigned | ND | ND | ND | Negative |
| 16 | 0.3 | 0.6 | 0.9 | No genotype assigned | ND | ND | ND | Negative |
| 17 | 0.3 | 0.7 | 1 | No genotype assigned | ND | ND | ND | Negative |
| 18 | 0.3 | 0.9 | 1.3 | No genotype assigned | ND | ND | ND | Negative |
| 19 | 0.3 | 0.8 | 1.2 | No genotype assigned | ND | ND | ND | Negative |
| 20 | 0.3 | 0.7 | 1.1 | No genotype assigned | ND | ND | ND | Negative |
| 21 | 0.3 | 0.6 | 1.3 | No genotype assigned | ND | ND | ND | Negative |
| 22 | 0.4 | 0.8 | 1 | No genotype assigned | ND | ND | ND | Negative |
| 23 | 44.7 | 12.3 | 3 | WT | 21.6 | ND | ND | M. pneumoniae |
| 24 | 32.4 | 8.3 | 2.9 | WT | 33.4 | ND | ND | M. pneumoniae |
| 25 | 48 | 12.9 | 3 | WT | 18.6 | ND | ND | M. pneumoniae |
| 26 | 6.3 | 26.3 | 2.1 | A2063G | 33.6 | 33.4 | ND | M. pneumoniae & A2063G |
| 27 | 7.2 | 29 | 2.5 | A2063G | 23.1 | 23.4 | ND | M. pneumoniae & A2063G |
| 28 | 7.3 | 27.1 | 2.5 | A2063G | 29.7 | 30 | ND | M. pneumoniae & A2063G |
| 29 | 6.7 | 20.8 | 2.2 | A2063G | 27.9 | 28.1 | ND | M. pneumoniae & A2063G |
| 30 | 7.1 | 25 | 2.6 | A2063G | 25.4 | 25.7 | ND | M. pneumoniae & A2063G |
| 31 | 6.3 | 22.9 | 2.1 | A2063G | 28.5 | 28.8 | ND | M. pneumoniae & A2063G |
| 32 | 9 | 19.5 | 2.9 | A2063G | 26.5 | 27 | ND | M. pneumoniae & A2063G |
| 33 | 11.1 | 21.2 | 3 | A2063G | 25.8 | 25.4 | ND | M. pneumoniae & A2063G |
| 34 | 9.2 | 18.7 | 2.6 | A2063G | 28.8 | 28.5 | ND | M. pneumoniae & A2063G |
| 35 | 2.3 | 8.5 | 1.3 | A2063G | 34.6 | 34.5 | ND | M. pneumoniae & A2063G |
| 36 | 7.8 | 29.7 | 2.8 | A2063G | 24.8 | 24.9 | ND | M. pneumoniae & A2063G |
| 37 | 3.2 | 10.2 | 2 | A2063G | 33.7 | 34 | ND | M. pneumoniae & A2063G |
| 38 | 9.8 | 16.2 | 2.4 | A2063G | 20.9 | 20.4 | ND | M. pneumoniae & A2063G |
| 39 | 2.4 | 12.2 | 1.6 | A2063G | 36.2 | 37.1 | ND | M. pneumoniae & A2063G |
| 40 | 10.5 | 23.3 | 2.7 | A2063G | 23.4 | 23.7 | ND | M. pneumoniae & A2063G |
| 41 | 6.7 | 23.2 | 2.5 | A2063G | 28.9 | 29.3 | ND | M. pneumoniae & A2063G |
| 42 | 5.6 | 20.9 | 2.5 | A2063G | 30.9 | 31.1 | ND | M. pneumoniae & A2063G |
| 43 | 8.2 | 29.5 | 2.9 | A2063G | 23.2 | 23.2 | ND | M. pneumoniae & A2063G |
| 44 | 6.7 | 23.1 | 3 | A2063G | 29.9 | 30 | ND | M. pneumoniae & A2063G |

ND, not detected; MGB, minor groove binder; PCR, polymerase chain reaction; a.u., arbitrary units; Ct, cycle threshold; MPDR, Mycoplasma pneumoniae drug resistance.

Online Resource Table 4 Endpoint fluorescence intensities and genotype assignments for contrived A2064G specimens prepared by spiking A2064G plasmid DNA into a Mycoplasma pneumoniae-negative nasopharyngeal swab matrix. Five replicates were tested at each concentration.

| Concentration (copies/mL) | Replicate | ATTO (a.u.) | FAM (a.u.) | HEX (a.u.) | Interpretation |
| --- | --- | --- | --- | --- | --- |
| 50 | 1 | 3.6 | 1.9 | 20.4 | A2064G |
|  | 2 | 3.3 | 1.9 | 20.2 | A2064G |
|  | 3 | 3.1 | 1.9 | 21.1 | A2064G |
|  | 4 | 3.5 | 2.0 | 21.8 | A2064G |
|  | 5 | 2.5 | 1.5 | 14.3 | A2064G |
|  | Mean | 3.2 | 1.8 | 19.6 | - |
| 100 | 1 | 3.7 | 2.1 | 22.5 | A2064G |
|  | 2 | 3.7 | 2.0 | 22.6 | A2064G |
|  | 3 | 3.5 | 1.9 | 21.7 | A2064G |
|  | 4 | 3.4 | 1.9 | 20.8 | A2064G |
|  | 5 | 4.0 | 2.1 | 23.1 | A2064G |
|  | Mean | 3.7 | 2.0 | 22.1 | - |
| 200 | 1 | 3.7 | 2.0 | 24.5 | A2064G |
|  | 2 | 3.7 | 2.0 | 22.7 | A2064G |
|  | 3 | 3.8 | 2.1 | 22.7 | A2064G |
|  | 4 | 3.9 | 2.0 | 22.5 | A2064G |
|  | 5 | 3.7 | 1.9 | 19.2 | A2064G |
|  | Mean | 3.8 | 2.0 | 22.3 | - |

Channel-specific fluorescence cutoff values were 6.4 (ATTO), 6.9 (FAM), and 3.6 (HEX). a.u., arbitrary units.

Online Resource Table 5 Sanger sequencing of domain V of the 23S rRNA gene in the 44 clinical specimens and comparison with the MGB probe-based PCR assay. Sequencing was performed using the reverse primer of the assay; the sequences listed here are shown in the sense orientation with 10-bp flanking sequences on either side of position 2063, whereas the electropherograms are displayed as read, in the antisense orientation. Nucleotide positions are numbered according to the Mycoplasma pneumoniae M129 reference sequence (GenBank accession no. U00089).

| Sample # | MGB probe-based PCR | Sanger sequencing |  |
| --- | --- | --- | --- |
|  |  | Genotype | Sequence obtained (5'→3') |
| 1 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 2 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 3 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 4 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 5 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 6 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 7 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 8 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 9 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 10 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 11 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 12 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 13 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 14 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 15 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 16 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 17 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 18 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 19 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 20 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 21 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 22 | No genotype assigned | No M. pneumoniae sequence detected | Not applicable |
| 23 | WT | WT | AACGGGACGGAAAGACCCCGT |
| 24 | WT | WT | AACGGGACGGAAAGACCCCGT |
| 25 | WT | WT | AACGGGACGGAAAGACCCCGT |
| 26 | A2063G | Not analyzed (insufficient nucleic acid) | - |
| 27 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 28 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 29 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 30 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 31 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 32 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 33 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 34 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 35 | A2063G | Not analyzed (insufficient nucleic acid) | - |
| 36 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 37 | A2063G | Not analyzed (insufficient nucleic acid) | - |
| 38 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 39 | A2063G | Not analyzed (insufficient nucleic acid) | - |
| 40 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 41 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 42 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 43 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |
| 44 | A2063G | A2063G | AACGGGACGGGAAGACCCCGT |

Interpretable sequences were obtained for 40 of the 44 specimens. The wild-type and A2063G sequences differ only at position 2063; no other nucleotide difference was observed within the sequenced region. MGB, minor groove binder; PCR, polymerase chain reaction; WT, wild-type.

Online Resource Table 6 Endpoint fluorescence intensities obtained from mixed wild-type and A2063G plasmid templates. Templates were combined at the indicated wild-type-to-A2063G ratios to a final total concentration of 1 × 10⁵ copies/mL and tested in triplicate.

| WT:A2063G ratio | Replicate | ATTO (a.u.) | FAM (a.u.) | HEX (a.u.) | FAM/ATTO ratio |
| --- | --- | --- | --- | --- | --- |
| 1:1 | 1 | 21.6 | 11.7 | 2.0 | - |
|  | 2 | 21.8 | 8.5 | 1.7 | - |
|  | 3 | 28.0 | 10.8 | 2.1 | - |
|  | Mean | 23.8 | 10.3 | 1.9 | 0.43 |
| 3:1 | 1 | 27.2 | 10.0 | 2.3 | - |
|  | 2 | 33.6 | 10.1 | 2.1 | - |
|  | 3 | 29.0 | 9.8 | 2.2 | - |
|  | Mean | 29.9 | 10.0 | 2.2 | 0.33 |
| 1:3 | 1 | 13.3 | 11.7 | 2.1 | - |
|  | 2 | 16.1 | 10.0 | 2.2 | - |
|  | 3 | 18.5 | 11.4 | 2.2 | - |
|  | Mean | 16.0 | 11.0 | 2.2 | 0.69 |

The FAM-to-ATTO fluorescence ratio was calculated from the mean endpoint intensities of each mixture. Because both targets were present, endpoint fluorescence exceeded the cutoff in both the ATTO and FAM channels at every mixing ratio. a.u., arbitrary units; WT, wild-type.

Online Resource Fig. 2 Relative contribution of each detection channel at concentrations approaching the limit of detection. Mean endpoint fluorescence intensities from 20 replicates at (a) 50 copies/mL and (b) 100 copies/mL were normalized to 100% and plotted as stacked bars for each genotype at the optimized probe ratio (1:3.5:3.3). Bars represent the wild-type (orange), A2063G/C/T (green), and A2064G/C/T (purple) detection channels; values within each segment indicate the percentage of total endpoint intensity.