S1. Types of Hip Implant 
product name, (company), main metal component, number of implants
>Internal Fixation, n=8
Prima Hip Screw, (Japan MDM), titanium, n=2
Inter TAN, (Smith&Nephew), titanium, n=2
Unknown, n=4
>Bipolar Hip Arthroplasty n=11
BiCONTCT, (Aesculap), titanium, n=2
GMRS, Stryker, titanium, n=1
Unknown, n=8
>Total Hip Arthroplasty, n=27 from 21 patients (including 6 patients with bilateral implants)
SQRUM/INITIA, (Kyocera), titanium, n=8
SQRUM/Jtaper, (Kyocera), titanium, n=3
R3＋SL PLUS OXINIUM, (Smith&Nephew), titanium, n=2
GS Cup + Optimys, (Nakashima), titanium, n=1
Unknown, n=13
S2. Detailed Distribution of Each Reader’ Rating
	　
	Reader
experience
	DLR2
+MAR
	DLR1
+MAR
	HIR
+MAR
	DLR2 
only
	　
	Inter-rater 
agreement

	femoral artery
	6 yrs
	7/4/28/1/0
	1/10/24/5/0
	2/7/26/5/0
	8/0/13/15/4
	
	

	
	4 yrs
	5/5/10/18/2
	4/4/11/17/4
	3/6/8/20/3
	6/1/2/11/20
	
	

	
	2 yrs
	4/6/22/8/0
	4/3/25/8/0
	2/6/21/11/0
	4/3/7/18/8
	
	

	mean±SD
	
	3.13±0.97
	2.98±0.91
	2.92±0.89
	2.43±1.33
	
	0.27

	bladder
	6 yrs
	4/3/21/11/0
	1/6/22/10/0
	1/5/21/12/0
	4/3/2/23/7
	　
	　

	
	4 yrs
	8/19/12/0/0
	6/21/12/0/0
	8/19/12/0/0
	6/2/11/14/6
	
	

	
	2 yrs
	2/3/29/5/0
	2/2/26/9/0
	1/4/27/7/0
	3/4/1/22/9
	
	

	mean±SD
	
	3.32±0.86
	3.24±0.82
	3.25±0.83
	2.42±1.21
	
	0.21

	rectum
	6 yrs
	4/9/25/2/0
	1/8/27/4/0
	2/7/24/7/0
	5/3/19/12/1
	　
	　

	
	4 yrs
	6/17/15/2/0
	7/19/12/2/0
	5/26/7/2/0
	6/3/16/13/2
	
	

	
	2 yrs
	8/17/14/1/0
	7/12/20/1/0
	9/9/20/2/0
	5/3/23/7/2
	
	

	mean±SD
	
	3.62±0.79
	3.52±0.79
	3.52±0.84
	2.99±1.02
	
	0.28

	uterus/prostate
	6 yrs
	3/4/18/7/0
	0/8/16/8/0
	1/5/17/9/0
	4/3/7/16/2
	　
	　

	
	4 yrs
	6/13/11/2/0
	5/22/3/2/0
	5/17/9/1/0
	6/2/7/9/8
	
	

	
	2 yrs
	4/9/19/1/0
	5/6/18/4/0
	4/8/20/2/0
	5/1/11/8/11
	
	

	mean±SD
	
	3.43±0.85
	3.43±0.87
	3.39±0.83
	2.61±1.30
	
	0.23

	artifact reduction
	6 yrs
	0/7/27/6/0
	0/7/27/6/0
	0/7/28/5/0
	0/5/1/27/7
	　
	　

	
	4 yrs
	0/10/24/6/0
	0/8/26/6/0
	0/10/25/5/0
	0/1/4/12/23
	
	

	
	2 yrs
	0/12/26/2/0
	0/8/32/0/0
	0/7/33/0/0
	0/5/1/25/9
	
	

	mean±SD
	
	3.12±0.59
	3.09±0.53
	3.12±0.52
	1.91±0.86
	
	0.51

	diagnostic usability
	6 yrs
	5/9/15/11/0
	1/10/17/12/0
	2/8/14/16/0
	6/2/0/27/5
	　
	　

	
	4 yrs
	3/7/23/7/0
	1/14/21/4/0
	3/13/20/4/0
	5/2/2/22/9
	
	

	
	2 yrs
	3/9/25/2/1
	3/7/23/7/0
	1/10/22/7/0
	4/3/1/20/12
	
	

	mean±SD
	　
	3.21±0.86
	3.15±0.77
	3.13±0.82
	2.30±1.23
	　
	0.50


Counts for each score (5/4/3/2/1) are presented. Inter-rater agreement among the three readers was assessed using Kendall’s coefficient of concordance (Kendall’s W). Note that the sum of each score does not always equal the total number of images (n = 40) because the target organ was outside the scan range or resected in some patients.
