Supplemental Table 1. MRI acquisition parameters
	Image contrast
	T1-W
	DWI*
	T2-W
	T1-W+ 

	Sequence
	DIXON 3D FLASH
	DW-EPI 
	HASTE
	DIXON 3D FLASH

	Imaging plane
	Axial
	Axial
	Axial
	Coronal

	Number of slices per imaging station
	40
	40
	40
	128

	Acquired Slice Thickness 
(mm)
	10
	5
	5
	10

	Reconstructed Slice Thickness 
(mm)
	5
	5
	5
	2.0  

	Slice gap 
(mm)
	0
	0
	0
	0

	FOV 
(mm)
	500
	500
	500
	500

	Acquired voxels 
(mm x mm)
	2 x 1.6
	3.9 x 3.9
	2.0 x 2.0
	1.9 x.17

	Reconstructed matrix 
	640
	256
	512
	288

	Reconstructed voxels (mm x mm)
	0.8 x 0.8
	2.0 x 2.0
	1.0 x 1.0
	1.7 x 1.7

	Phase-encoding direction
	AP
	AP
	AP
	FH  

	TR 
(ms)
	6.62
	6270
	400  
	6.76

	TE 
(ms)
	TE1 = 2.39, 
TE 2 = 4.77
	67
	92
	TE1 = 2.39, 
TE2 = 4.77

	Flip angle / 
	10
	90
	90; refocusing angle 180
	10

	Number of signal averages
	1
	2 (b50), 5 (b900) 
	1
	1

	Fat suppression
	N/A
	STIR
	None
	N/A

	Acquisition Time 
(per station)
	10s
	3min 22s
	16s
	20s

	*b-values:  50 & 900 s/mm2; + pre and post gadolinium contrast agent
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