Supplemental Material for

Shining the PSMA Spotlight on Peritoneal Spread in Prostate Cancer

European Journal of Nuclear Medicine and Molecular Imaging

Jonathan Kuten1*, Stephanie Chahwan1, Charlie White2, Audrey Mauguen2, Heiko Schöder1, Simone Krebs1,3-5

1Molecular Imaging and Therapy Service, Department of Radiology, Memorial Sloan Kettering Cancer Center, New York, NY

2Department of Epidemiology & Biostatistics, Memorial Sloan Kettering Cancer Center, New York, NY

3Department of Nuclear Medicine, The University of Texas MD Anderson Cancer Center, Houston, TX

4Department of Imaging Physics, The University of Texas MD Anderson Cancer Center, Houston, TX

5Institute of Data Science in Oncology, The University of Texas MD Anderson Cancer Center, Houston, TX

*Corresponding Author (and First Author): Jonathan Kuten, MD, MHA, Molecular Imaging and Therapy Service, Department of Radiology, Memorial Sloan Kettering Cancer Center

1275 York Avenue, New York, NY 10065

Email: kutenj@mskcc.or; Phone: 212-639-7998; Fax: 212-717-3263

Imaging protocols

68Ga-PSMA-11, 18F-DCFPyL:

Radiotracer & uptake. Patients received either ⁶⁸Ga-PSMA-11 ~5 mCi (≈185 MBq) or ¹⁸F-DCFPyL ~9 mCi (≈333 MBq). Imaging commenced ~60 minutes post-injection.

Acquisition. PET was acquired from vertex to mid-/upper thigh with the arms above the head. Bed duration: ~4 min/bed for ⁶⁸Ga-PSMA-11 and ~3 min/bed for ¹⁸F-DCFPyL.

CT for attenuation/anatomic localization. Low-dose helical CT: 120 kVp, ~70 mAs, 3.75-mm slice thickness.

Reconstruction. PET data were corrected for attenuation, scatter, and randoms and reconstructed on a 128 × 128 matrix (transaxial FOV ~70 cm; voxel size ~5.5 × 5.5 × 3.3 mm³) using OSEM (2 iterations, 16 subsets) with time-of-flight and point-spread-function modeling; a Gaussian 6.4-mm FWHM post-filter was applied.

Contrast. No oral or IV contrast was administered for PSMA PET/CT.

18F-FDG (FDG) PET/CT:

Patient prep. Patients fasted ≥6 hours; capillary/serum glucose ≤200 mg/dL prior to injection.

Radiotracer & uptake. ¹⁸F-FDG 12 mCi (≈444 MBq) (range 10–20 mCi / 370–740 MBq), with PET acquisition ~60 minutes post-injection.

Acquisition. PET from skull base to mid-/upper thigh, ~3 min/bed, arms above the head.

CT for attenuation/anatomic localization. Low-dose helical CT: 120 kVp, ~70 mAs, 3.75-mm slice thickness.

Reconstruction. Corrections for attenuation, scatter, and randoms; OSEM (2 iterations, 16 subsets) with time-of-flight and PSF modeling on a 128 × 128 matrix (voxel ~5.5 × 5.5 × 3.3 mm³); Gaussian 6.4-mm FWHM post-filter.

Contrast. Patients received 500 mL diluted oral iohexol (Omnipaque, 9 mg I/mL) ~30 minutes before scanning. No IV contrast was administered.

CT:

Technique. Contrast-enhanced CT of the abdomen and pelvis (with or without the chest) was performed on multi-detector scanners using a rotation time of 0.7 s, tube potential 120 kVp, and automatic tube-current modulation (~120–380 mA). Axial images were reconstructed at 5 mm slice thickness with coronal and sagittal reformations.

Oral contrast. Patients received 500 mL of diluted iohexol oral solution (~9 mg iodine/mL) 30 minutes before scanning.

IV contrast. 100 mL of iopamidol 300 mg I/mL (Isovue-300) was administered at 2.5 mL/s with a 70-second injection-to-scan delay to obtain portal-venous–phase images.

MRI:

Pelvis / Prostate MRI: (used when pelvic disease was the clinical correlate)

Scanner & coil. Exams were performed on 1.5T or 3T systems using a phased-array body coil.

Sequences.

- High-resolution T2-weighted fast spin-echo in axial, sagittal, and coronal-oblique planes aligned to the prostate.

- Diffusion-weighted imaging (DWI) with b = 0/800–1000 s/mm² and synthesized high-b (up to b = 2000 s/mm²); ADC maps generated.

- Pre- and post-contrast 3D T1-weighted Dixon-based spoiled gradient-echo (e.g., DISCO/LAVA) with and without fat suppression.

- Optional fat-suppressed T1 for hemorrhage or nodal evaluation.

Contrast. Gadoterate meglumine (Clariscan; 0.5 mmol/mL) at 0.1 mmol/kg (0.2 mL/kg) IV.
Antiperistaltic agent per institutional routine when not contraindicated.

Abdomen–Pelvis MRI:

Scanner & coil. 1.5T or 3T, phased-array body coil.

Sequences.

- Coronal and axial T2-weighted fast spin-echo (with and without fat suppression).

- Axial T1-weighted in- and opposed-phase (3D Dixon or dual-echo).

- Pre- and post-contrast 3D T1-weighted Dixon-based spoiled gradient-echo (e.g., DISCO/LAVA) for dynamic and portal-venous phases.

- DWI with b = 50 and 800 s/mm² (ADC maps), from diaphragm through pelvis.

Contrast. Gadoterate meglumine (Clariscan; 0.5 mmol/mL) at 0.1 mmol/kg (0.2 mL/kg) IV.

# Supplemental table 1 – prior and current treatments

| Treatment | N = 571 |
| --- | --- |
| Prior Prostatectomy | 38 (67%) |
| Prostate RT | 42 (74%) |
| Brachytherapy | 3 (5.3%) |
| 177Lu-PSMA-617 | 3 (5.3%) |
| Chemotherapy | 14 (25%) |
| PARPi | 3 (5.3%) |
| Cryotherapy | 2 (3.5%) |
| ARSI | 28 (49%) |
| ADT | 46 (81%) |
| Current (at time of PSMA scan) ADT | 37 (65%) |
| ARSI | 18 (32%) |
| PARPi | 0 (0%) |
| Chemotherapy | 7 (12%) |
| 177Lu-PSMA-617 | 1 (1.8%) |
| 1n (%) RT – Radiation Therapy; ADT – Androgen Deprivation Therapy; ARSI - Androgen Receptor Signaling Inhibitors; PARPi – Poly(ADP-ribose) Polymerase Inhibitors |  |