Supplementary Materials and Methods

SPECT/CT Imaging Details
Karolinska University Hospital
System: Discovery 670 Pro, General Electric Medical Systems
Acquisition: 120 projections, 20 sec dwell time, Medium Energy General Purpose, Step and Shoot
Reconstruction: OSEM 6 iterations / 10 subsets, Butterworth (0.4 cutoff frequency, order 5) with attenuation correction, scatter correction and point spread function deconvolution (Xeleris version 4) 

Princess Maxima Center 
System: Symbia Intevo 16, Siemens Healthineers
Acquisition: 120 projections, 20 sec dwell time, Medium Energy
Reconstruction: OSCGM 20 iterations, 8 subsets, Gauss 10 mm, with attenuation correction and scatter correction

