Supplementary Table 1: Baseline characteristics of patient sample. 
	Patient Characteristics 
	FSC
	ERC
	p-valuea

	Bodyweight (kg)
	Median (range)
	84.9 (75.2–95.6)
	83.6 (74.5–97.1)
	0.69

	Age (years)
	Median (range)
	66 (63–70)
	67 (63–72)
	0.70

	Prostate Volume (ml) 
	Median (range)
	48.1 (30.8–79.1)
	45.9 (29.8–78)
	0.71

	PSA (ng/ml)
	Median (range)
	6.4 (4.4–8.4)
	5.9 (4.5–8.48)
	0.61

	FSC = flexible surface coil; ERC = endorectal coil; PSA = prostate specific antigen; a = Mann-Whitney U test






Supplementary Table 2: Count (percentage) of the choice for the generally preferred MRI examination and sequences for each reader.

	
	Technique

	Reader
	FSC
	Either
	ERC

	1
	Entire study
	73 (36.5)
	100 (50)
	27 (13.5)

	
	T2WI
	52 (52)
	38 (38)
	10 (10)

	
	DWI
	21 (21)
	62 (62)
	17 (17)

	2
	Entire study
	50 (25)
	59 (29.5)
	91 (45.5)

	
	T2WI
	34 (34)
	49 (49)
	17 (17)

	
	DWI
	16 (16)
	10 (10)
	74 (74)

	3
	Entire study
	40 (20)
	68 (34)
	92 (46)

	
	T2WI
	26 (26)
	47 (47)
	27 (27)

	
	DWI
	14 (14)
	21 (21)
	65 (65)

	4
	Entire study
	30 (30)
	27 (27)
	43 (43)

	
	T2WI 
	20 (40)
	18 (36)
	12 (24)

	
	DWI 
	10 (20)
	9 (18)
	31 (62)

	5
	Entire study
	24 (24)
	35 (35)
	41 (41)

	
	T2WI
	15 (30)
	22 (44)
	13 (26)

	
	DWI
	9 (18)
	13 (26)
	28 (56)

	6
	Entire study
	45 (45)
	40 (40)
	15 (15)

	
	T2WI
	27 (54)
	22 (44)
	1 (2)

	
	DWI
	18 (36)
	18 (36)
	14 (28)

	All
	Entire study
	262 (29.1)
	329 (36.6)
	309 (34.3)

	
	T2WI
	174 (38.7)
	196 (43.6)
	80 (17.8)

	
	DWI
	88 (19.6)
	133 (29.6)
	229 (50.9)

	FSC = flexible surface coil ; ERC = endorectal coil; T2WI = T2-weighted image; DWI = diffusion-weighted image




















Supplementary Table 3: Pooled Flexible surface coil and endorectal coil quality assessment mean scores.

	
	FSC
	ERC
	p-valuea

	Image Quality
	2,07 ± 0,92
	1,95 ± 0,89
	0.23

	Deleneation
	1,99 ± 0,95
	1,90 ± 0,89
	0.11

	PZ/TZ
	2,01 ± 0,95
	1,77 ± 0,88
	< 0.001

	Distortion
	1,66 ± 0,91
	1,66 ± 0,88
	0.59

	Motion
	1,53 ± 0,78
	1,59 ± 0,74
	< 0.001

	Other Artifacts
	1,49 ± 0,75
	1,65 ± 0,90
	< 0.001


[bookmark: _GoBack]PZ/TZ = differentiation of peripheral zone and transition zone; FSC = flexible surface coil; ERC = endorectal coil; a = Mann-Whitney U test; Lower score indicates better result


