|  | Static 2D MR sequences |  |  | Dynamic 2D MR sequences |
| --- | --- | --- | --- | --- |
|  | T2 TSE axial | T2 TSE sagittal | T2 TSE coronal | T2 TruFi sagittal* |
| Matrix | 260x384 | 227x384 | 189x320 | 189x320 |
| Slices | 45 | 27 | 33 | 1 |
| Slice thickness | 4 mm | 4 mm | 4 mm | 6 mm |
| TR/TE | 6390/73 | 4.62/2.31 | 4330/72 | 4.37/2.19 |
| FA | 150° | 56° | 150° | 65° |

Supplementary Table 1. MRI defecography protocol details.

* performed during rest, squeezing, straining, and defecation.

Abbreviations: MR = magnetic resonance; TSE = turbo spin echo; TruFi = true fase imaging with steady-state free precession; TR = time of repetition; TE = time of echo; FA = flip angle.