Supplementary Table 2. Comparison of qualitative image quality scores for the abdominal portal venous phase CT series between MD-iodine, 55 keV, and 70 keV
	Reader, Parameters, Subgroups (Distribution of scores 1/2/3/4/5 given as percentages)
	MD-iodine
	55 keV
	70 keV
	p value

	Reader 1
	
	
	
	

	
	Lesion conspicuity
	8.0/20.0/34.0/28.0/10.0ab
	0/6.0/4.0/14.0/76.0b
	6.0/4.0/14.0/48.0/28.0
	< 0.001

	
	Image noise 
	0/22.0/42.0/26.0/10.0ab
	0/0/6.0/14.0/80.0
	0/0/2.0/2.0/96.0
	< 0.001

	
	Pancreatic and surrounding structures
	0/14.0/60.0/18.0/8.0ab
	0/0/0/2.0/98.0
	0/0/2.0/10.0/88.0
	< 0.001

	
	Overall image quality 
	0/26.0/40.0/24.0/10.0ab
	0/0/0/4.0/96.0
	0/0/2.0/6.0/92.0
	< 0.001

	Reader 2
	
	
	
	

	
	Lesion conspicuity
	0/12.0/32.0/34.0/22.0a
	0/2.0/6.0/24.0/68.0b
	0/10.0/24.0/60.0/6.0
	< 0.001

	
	Image noise 
	0/4.0/36.0/46.0/14.0b
	0/0/18.0/78.0/4.0b
	0/0/0/2.0/98.0
	< 0.001

	
	Pancreatic and surrounding structures
	0/6.0/14.0/32.0/48.0b
	0/2.0/4.0/28.0/66.0b
	4.0/6.0/48.0/38.0/4.0
	< 0.001

	
	Overall image quality 
	0/10.0/32.0/50.0/8.0a
	0/2.0/4.0/16.0/78.0b
	2.0/8.0/42.0/46.0/2.0
	< 0.001

	Reader 3
	
	
	
	

	
	Lesion conspicuity
	0/4.0/64.0/30.0/2.0ab
	0/0/4.0/58.0/38.0
	0/0/6.0/40.0/54.0
	< 0.001

	
	Image noise 
	0/0/62.0/38.0/0ab
	0/0/8.0/70.0/22.0b
	0/0/0/44.0/56.0
	< 0.001

	
	Pancreatic and surrounding structures
	0/0/56.0/42.0/2.0ab
	0/0/4.0/56.0/40.0
	0/0/4.0/32.0/64.0
	< 0.001

	
	Overall image quality 
	0/0/68.0/32.0/0ab
	0/0/0/64.0/36.0
	0/0/2.0/38.0/60.0
	< 0.001


keV kiloelectron Volt, MD-iodine material density iodine
Post hoc pairwise multiple comparisons procedure with the Dunn-Bonferroni test showed a statistically significant (p <0.05) difference between means when compared with 55 keV (a), and 70 keV (b)
