Automated volumetric MRI quantification of body fat and skeletal muscle in the UK Biobank: technical validation against expert manual segmentations and comparisssson with single-slice techniques

|  | Legend | Page |
| --- | --- | --- |
| Supplementary Methods |  | 2 |
| Supplementary Table 1 | Model configuration and training parameters for ensembled volumetric body segmentation | 5 |
| Supplementary Table 2 | Model configuration and training parameters for fat-water swap detection | 6 |
| Supplementary Table 3 | Model configuration and training parameters for vertebrae segmentation | 7 |
| Supplementary Table 4 | Model configuration and training parameters for abdominal segmentation | 8 |
| Supplementary Table 5 | Characteristics of the overall study population | 9 |
| Supplementary Table 6 | Characteristics of individuals with ground truth manual segmentation | 10 |
| Supplementary Table 7 | Vendor-to-vendor comparisons for volumetric measurements, comparison of VAT and SAT derived by the new and prior methods showing inter-method agreement and variability | 11 |
| Supplementary Table 8 | Mean values for new volumetric vs. single-slice area measurements | 12 |
| Supplementary Figure 1 | Bland-Altman plots showing inter-method variability between the prior volumetric method and manual ground truth for VAT (A) and SAT (B) | 13 |
| Supplementary References |  | 14 |

# Supplementary Methods

### Data pre-processing

For each of the water/fat separated Dixon 3D SPGR volumes, a new set of signal fat fraction (SFF) volumetric images were created. For the SFF volume, the value of each voxel is computed as the fraction of fat signal relative to the sum of the water and fat signals in that voxel, where the fat and water signals are corrected for bias introduced by the difference in T1 relaxation times between fat and water [1]. The correction factor was applied using T1 values of 1042 ms for water (representative of muscle) and 385 ms for fat [2, 3].

For each set of water, fat, and SFF volumetric images, a trilinear resampling was applied to output a new voxel resolution of 2x2x3 mm. The resulting sets of resampled volumetric images were combined to create a respective new whole-body volume, utilizing the real-world coordinates. During the creation of this whole-body volume, fat and water images were processed with N4 [4] bias correction and cross-block intensity normalization but , SFF images were not processed with this additional step that avoids tissue characterization bias.

## New abdominal volumetric analysis

For volumetric analysis, the region from the centre of the T9 vertebra to the top of the lower of the two femoral heads was selected. To automatically identify the region limits, vertebrae and femurs were segmented in the stitched fat volume using a neural network.

### Neural network for identifying T9 to femoral head region limits

TotalSegmentator [5], a nnU-net trained on 1143 examinations (616 MRIs, 527 CTs), was used to segment vertebrae and femur to crop the whole-body stitched volumes between the femoral heads and the T9 vertebrae. The whole-body fat image was used as input and no in-house additional training or model tuning was performed.

### Ensembled volumetric body segmentation

Cropped fat and water volumes were used as input to an ensemble of Unet++ that segmented SAT, muscle tissue, abdominal cavity, and bone. Three separate single-slice neural networks—axial, sagittal, and coronal—were applied independently along each anatomical plane, to segment the cropped volumetric abdominal region between the T9 vertebra and the femoral head regions. These neural networks processed single slices from the corresponding dimension of the volumetric input volume and were later ensembled to generate a final volumetric segmentation.

For each neural network, the fat and water whole-body volumes were sliced along the relevant axis (e.g., axial slices for the axial neural network), and each single slice was individually inferred. The resulting single-slice predictions were then reassembled into a volume that matched the original input shape.

The three resulting volumetric outputs were combined using a per-voxel majority voting scheme. Each voxel was assigned the label predicted by at least two of the three neural networks. In cases where all three neural networks predicted different labels for a voxel, the most frequently occurring label across the outputs was selected.

All three neural networks were developed using the same dataset (Supplementary Table 1) and identical hyperparameters, except for the input image size that was tailored to each network’s respective spatial orientation.

### Neural network for detection of fat-water swaps

A ResNet-based classifier was used to detect fat-water swaps present in the dataset, enabling correction prior to downstream processing and segmentation. The neural network input was a single axial slice and outputs were a binary classification of 1 if the slice corresponded to a fat image and 0 if it corresponded to a water image. The neural network was developed using parameters and datasets shown in Supplementary Table 2. The neural network was applied across all axial slices of the whole-body water volume. If any slice within the volume was identified as a fat image, the volume was flagged as containing a fat-water swap. In such cases, the affected blocks were corrected by swapping the fat and water channels, and the volume were re-stitched accordingly. This ensured consistency and accuracy of subsequent segmentation and analysis workflows.

## New single-slice cross-sectional area analysis

### Neural network for vertebrae segmentation

A Unet++ using SwinUNETR segmented the vertebrae from the stitched whole-body fat and water volumes. It was developed using parameters and datasets shown in Supplementary Table 3 and returned a binary output where vertebrae pixels were classified as 1 and everything else as 0.

### Neural network for two-stage abdominal segmentation

A two-stage U-Net was employed to segment the single axial slice centred at the L3 vertebral level with parameters and datasets shown in Supplementary Table 4. In the first stage, a U-Net model classified each voxel into one of seven classes: subcutaneous adipose tissue (SAT), abdominal cavity, abdominal muscle, right and left back muscles, and right and left psoas muscles. To refine the segmentation of the psoas muscles, a second stage was introduced. Based on the initial predictions, a sub-region of the image was cropped around the psoas areas. This region was then passed to a second U-Net model, which performed fine-grained segmentation to separately delineate the right and left psoas muscles. The final segmentation output was generated by removing the coarse psoas labels from the first-stage output and replacing them with the refined psoas predictions from the second stage.

Supplementary Table 1. Model configuration and training parameters for ensembled volumetric body segmentation

| Parameter | Axial Model | Sagittal Model | Coronal Model |
| --- | --- | --- | --- |
| Base Model | - | - | - |
| Spatial dimension | 2 | 2 | 2 |
| Image Size | 320,256 | 256,90 | 320, 90 |
| Architecture type | BasicUnet++ | BasicUnet++ | BasicUnet++ |
| Number of filters | 8,16,32,64,32,16 | 8,16,32,64,32,16 | 8,16,32,64,32,16 |
| Input channels | 2 | 2 | 2 |
| Output classes | 5 | 5 | 5 |
| Loss Function | Mean of Dice and Cross Entropy | Mean of Dice and Cross Entropy | Mean of Dice and Cross Entropy |
| Epochs | 100 | 100 | 100 |
| Initial learning Rate | 0.001 | 0.001 | 0.001 |
| Batch Size | 4 | 4 | 4 |
| Dataset size | 44 | 44 | 44 |
| Data partition (training, validation, testing) | 33, 8, 3 | 33, 8, 3 | 33, 8, 3 |
| Data Origin | NCT04369807, NCT04114682, NCT05057403, UK Biobank (application 9914 | NCT04369807, NCT04114682, NCT05057403, UK Biobank (application 9914 | NCT04369807, NCT04114682, NCT05057403, UK Biobank (application 9914 |
| Clinical background | Healthy volunteers, type 2 diabetes, diabetic retinopathy, general population | Healthy volunteers, type 2 diabetes, diabetic retinopathy, general population | Healthy volunteers, type 2 diabetes, diabetic retinopathy, general population |

Supplementary Table 2. Model configuration and training parameters for fat-water swap detection

| Parameter | Fat-Water Swap Detection Model |
| --- | --- |
| Base model | Single-slice ImageNet pretrained Resnet34 |
| Spatial dimension | 2 |
| Image size | 256,256 |
| Architecture type | ResNet34 |
| Number of filters | - |
| Input channels | 1 |
| Output classes | 6 |
| Loss function | Binary Cross Entropy |
| Epochs | 2 |
| Initial learning rate | 0.0001 |
| Batch size | 1 |
| Dataset size | 104 |
| Data partition (training, validation, testing) | 60, 44, - |
| Data origin | NCT04369807, UK Biobank (application 9914) |
| Clinical background | Healthy volunteers, general population |

Supplementary Table 3. Model configuration and training parameters for vertebrae segmentation

| Parameter | Vertebrae Segmentation Model |
| --- | --- |
| Base model | - |
| Spatial dimension | 3 |
| Image size | 128,128,128 |
| Architecture type | SwinUNETR |
| Number of filters | 8,16,16,32,32 |
| Input channels | 2 |
| Output classes | 6 |
| Loss function | Mean of Dice and Cross Entropy |
| Epochs | 300 |
| Initial learning rate | 0.001 |
| Batch size | 1 |
| Dataset size | 100 |
| Data partition (training, validation, testing) | 80%, 10%, 10% |
| Data origin | NCT04369807 |
| Clinical background | Healthy volunteers |

Supplementary Table 4. Model configuration and training parameters for abdominal segmentation

| Parameter | Stage 1 Abdominal segmentation | Stage 2 Abdominal segmentation |
| --- | --- | --- |
| Total dataset (n) | 496 | 496 |
| Base model | - | - |
| Spatial dimension | 2 | 2 |
| Image size | 320,256 | 160,160 |
| Architecture type | BasicUnet++ | BasicUnet++ |
| Number of filters | 8,16,16,32,32 | 8,16,16,32,32 |
| Input channels | 2 | 2 |
| Output classes | 8 | 3 |
| Loss function | Mean of Dice and Cross Entropy | Mean of Dice and Cross Entropy |
| Epochs | 250 | 400 |
| Initial learning rate | 0.0001 | 0.0001 |
| Batch size | 8 | 8 |
| Data partition (training, validation, testing) | 85%, 10%, 5% | 85%, 10%, 5% |
| Data origin | NCT04369807, NCT04114682, UK Biobank (application 9914)1 | NCT04369807, NCT04114682, UK Biobank (application 9914)1 |
|  | Healthy volunteers, type 2 diabetes, metabolic dysfunction-associated steatotic liver disease, general population | Healthy volunteers, type 2 diabetes, metabolic dysfunction-associated steatotic liver disease, general population |

1 Two additional commercially sensitive datasets were included.

Supplementary Table 5: Characteristics of the overall study population

| Variable | Overall | Female | Male |
| --- | --- | --- | --- |
| Total (n) | 4905 | 2520 | 2385 |
| Ethnicity (n) |  |  |  |
| White | 4755 | 2447 | 2308 |
| NA |  |  |  |
| Age (years) | 62 ± 8 | 61 ± 7 | 63 ± 8 |
| Weight (kg) | 76 ± 15 | 69 ± 13 | 84 ± 13 |
| Height (cm) | 171 ± 10 | 164 ± 7 | 178 ± 7 |
| Body mass index (kg/m²) | 26 ± 4.3 | 26 ± 4.6 | 27 ± 3.8 |
| Waist circumference (cm) | 88 ± 13 | 82 ± 12 | 94 ± 11 |
| Hip circumference (cm) | 102 ± 8 | 101 ± 9 | 102 ± 7 |
| Waist to hip ratio | 0.87 ± 0.09 | 0.82 ± 0.07 | 0.93 ± 0.06 |
| Hang grip strength - dominant (kg) | 32 ± 10 | 25 ± 6 | 40 ± 9 |
| Walking MET (hours/week) | 19 ± 18 | 20 ± 18 | 18 ± 17 |
| Moderate MET (hours/week) | 17 ± 19 | 17 ± 19 | 17 ± 20 |
| Vigorous MET (hours/week) | 13 ± 19 | 11 ± 17 | 15 ± 20 |
| Total MET (hours/week) | 49 ± 42 | 48 ± 40 | 50 ± 44 |
| Smoking status (n) |  |  |  |
| Never | 3151 | 1681 | 1470 |
| Previous | 1565 | 749 | 816 |
| Current | 152 | 72 | 80 |
| Alcohol status |  |  |  |
| Never | 136 | 88 | 48 |
| Previous | 139 | 65 | 74 |
| Current | 4607 | 2359 | 2248 |
| Townsend deprivation index | 1.9 ± 2.7 | -1.9 ± 2.7 | -2 ± 2.7 |
| Type 2 diabetes (N, %) | 5 | 4 | 8 |
| Obesity (N, %) | 14 | 12 | 16 |

Supplementary Table 6: Characteristics of the ground truth validation cohort

| Variable | Overall | Female | Male |
| --- | --- | --- | --- |
| Total (n) | 100 | 53 | 47 |
| Ethnicity (n) |  |  |  |
| White | 98 | 52 | 46 |
| Other | 2 | 1 | 1 |
| Age (years) | 64 ± 7 | 63 ± 7 | 64 ± 7 |
| Weight (kg) | 73 ± 12 | 66 ± 9 | 81 ± 9 |
| Height (cm) | 168 ± 9 | 162 ± 7 | 175.01 ± 6 |
| Body mass index (kg/m²) | 26 ± 2.9 | 25 ± 3.2 | 26 ± 2.5 |
| Waist circumference (cm) | 85 ± 10.2 | 79 ± 8.6 | 92 ± 7.7 |
| Hip circumference (cm) | 99 ± 6.4 | 99 ± 7.2 | 99 ± 5.6 |
| Waist to hip ratio | 0.86 ± 0.09 | 0.80 ± 0.06 | 0.92 ± 0.05 |
| Hang grip strength - dominant (kg) | 32 ± 11.9 | 24 ± 6.7 | 40 ± 10.8 |
| Walking MET (hours/week) | 12 ± 6.8 | 13 ± 6.4 | 10 ± 7.0 |
| Moderate MET (hours/week) | 10 ± 7.4 | 11 ± 7.7 | 9.6 ± 7.2 |
| Vigorous MET (hours/week) | 9 ± 8.2 | 8 ± 8.2 | 9 ± 8.3 |
| Total MET (hours/week) | 30 ± 17.1 | 32 ± 17.1 | 29 ± 17.1 |
| Smoking status (n) |  |  |  |
| Never | 72 | 44 | 28 |
| Previous | 28 | 9 | 19 |
| Current | 0 | 0 | 0 |
| Alcohol status |  |  |  |
| Never | 2 | 1 | 1 |
| Previous | 5 | 2 | 3 |
| Current | 93 | 50 | 43 |
| Townsend deprivation index | -2.5 ± 2.2 | -2.3 ± 2.5 | -2.7 ± 2.0 |
| Type 2 diabetes (N, %) | 3 | 1 | 2 |
| Obesity (N, %) | 4 | 2 | 2 |

Supplementary Table 7. Vendor-to-vendor comparisons for volumetric measurements: comparison of VAT and SAT derived by the new and prior methods showing inter-method agreement and variability. Abbreviations: CI, confidence interval; CoV, coefficient of variation (%); ICC, intraclass coefficient; L, litres; LoA, limits of agreement; SD, standard deviation

| Volume measurement | N | Mean volume values (L) for new method | Mean volume values (L) for prior method | Bias [95% CI] (L) | Lower LoA (L) | Upper LoA (L) | SD of differences (L) | ICC | CoV (%) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VAT |  |  |  |  |  |  |  |  |  |
| All | 4898 | 3.6 ± 2.3 | 3.6 ± 2.2 | -0.04 [-0.04, -0.03] | -0.42 | 0.34 | 0.19 | 1 | 5.4 |
| 18.5 ≤ BMI < 25 | 1927 | 2.1 ± 1.3 | 2.2 ± 1.2 | -0.08 [-0.09, -0.08] | -0.39 | 0.22 | 0.16 | 0.99 | 7.5 |
| SAT |  |  |  |  |  |  |  |  |  |
| All | 4897 | 6.6 ± 3.2 | 6.7 ± 3.1 | -0.09 [-0.10, -0.09] | -0.60 | 0.41 | 0.26 | 1 | 3.9 |
| 18.5 ≤ BMI < 25 | 1927 | 4.6 ±1.8 | 4.7 ± 1.7 | -0.12 [-0.13, -0.11] | -0.64 | 0.40 | 0.26 | 0.99 | 5.6 |

Supplementary Table 8: Mean values for new volumetric vs. single-slice area measurements

| Measurement | N | Mean volume values (L) for new volumetric method | Mean area values (cm2) for new single-slice area method |
| --- | --- | --- | --- |
| VAT |  |  |  |
| All | 4632 | 3.6 ± 2.3 | 161.2 ± 97.3 |
| 18.5 ≤ BMI < 25 | 1758 | 2.1 ± 1.3 | 129.1 ± 27.1 |
| SAT |  |  |  |
| All | 4632 | 6.6 ± 3.2 | 191.9 ± 90.7 |
| 18.5 ≤ BMI < 25 | 1758 | 4.6 ± 1.8 | 133.7 ± 47.8 |
| SM |  |  |  |
| All | 4632 | 5.7 ± 0.01 | 148.0 ± 34.5 |
| 18.5 ≤ BMI < 25 | 1758 | 5.2 ± 0.01 | 129.1 ± 27.1 |

Supplementary Figure 1: Bland-Altman plots showing inter-method variability between the prior volumetric method and manual ground truth for VAT (A) and SAT (B)

# Supplementary References

1. 	Chemical shift‐based MRI to measure fat fractions in dystrophic skeletal muscle - Triplett - 2014 - Magnetic Resonance in Medicine - Wiley Online Library. https://onlinelibrary.wiley.com/doi/10.1002/mrm.24917. Accessed 21 Nov 2024

2. 	Barral JK, Gudmundson E, Stikov N, et al (2010) A robust methodology for in vivo T1 mapping. Magnetic Resonance in Medicine 64:1057–1067. https://doi.org/10.1002/mrm.22497

3. 	de Bazelaire CMJ, Duhamel GD, Rofsky NM, Alsop DC (2004) MR Imaging Relaxation Times of Abdominal and Pelvic Tissues Measured in Vivo at 3.0 T: Preliminary Results. Radiology 230:652–659. https://doi.org/10.1148/radiol.2303021331

4. 	Tustison NJ, Avants BB, Cook PA, et al (2010) N4ITK: improved N3 bias correction. IEEE Trans Med Imaging 29:1310–1320. https://doi.org/10.1109/TMI.2010.2046908

5. 	D’Antonoli TA, Berger LK, Indrakanti AK, et al (2025) TotalSegmentator MRI: Robust Sequence-independent Segmentation of Multiple Anatomic Structures in MRI. Radiology 314:e241613. https://doi.org/10.1148/radiol.241613