Supplemental material 1. Magnetic resonance imaging protocol of bi-parametric Vesical Imaging Reporting and Data System

|  | FOV (mm) | Acquisition matrix | TR/TE (mS) | Slice thickness (mm) | Slice gap (mm) | Flip Angle (°) | NEX | b values (s/mm2) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| T2WI Axial | 200×200 | 256×384 | 2857/85 | 5.0 | 1.0 | 111 | 1 |  |
| T2WI Sagittal | 200×200 | 256×384 | 2727/84 | 5.0 | 1.0 | 111 | 1 |  |
| T2WI Coronal | 200×200 | 256×384 | 3158/84 | 5.0 | 1.0 | 111 | 1 |  |
| DWI | 350×350 | 192×128 | 5714/53 | 5.0 | 1.0 | 90 | 2 | 0, 1000 |

T2WI, T2-weighted imaging; DWI, diffusion-weighted imaging; FOV, field of view; TR, repetition time; TE, echo time; NEX, Number of Excitations

Supplemental material 2. Cross-tabulation of bi-parametric Vesical Imaging Reporting and Data System categories assigned by the two readers

| Bp VI-RADS |  | Reader 1 |  |  |  |  | Total |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1 | 2 | 3 | 4 | 5 |  |
| Reader 2 | 1 | 2 | 0 | 0 | 1 | 0 | 3 |
|  | 2 | 0 | 22 | 6 | 4 | 0 | 32 |
|  | 3 | 0 | 3 | 10 | 7 | 0 | 20 |
|  | 4 | 0 | 0 | 3 | 11 | 2 | 16 |
|  | 5 | 0 | 0 | 0 | 4 | 7 | 11 |
| Total |  | 2 | 25 | 19 | 27 | 9 | 82 |

Weighted κ = 0.64.

Overall agreement: 52/82 (63.4%).