SUPPLEMENTARY TABLES

SI Table 1 List of compounds and MS/MS acquisition parameters

|  | Precursor ion (m/z) | Product ion (m/z) | Cone voltage (V) | Collision energy (V) |
| --- | --- | --- | --- | --- |
| 5-FU | 128.9 | 41.7 | 27 | 13 |
| FdUr | 245.0 | 155.1 | 27 | 15 |
| FdUMP | 325.0 | 195.0 | 25 | 13 |
| dUr | 227.1 | 184.1 | 27 | 11 |
| CldUr | 261.0 | 171.0 | 29 | 15 |
| dTMP | 321.0 | 195.0 | 25 | 20 |

MS/MS, tandem mass spectrometry; m/z, mass-to-charge ratio; V, volt; 5-FU, 5-flurorouracil; FdUr, 5-fluorodeoxyuridine; FdUMP, 5-fluorodeoxyuridine monophosphate; dUr, deoxyuridine; CldUr, chlorodeoxyuridine; dTMP, deoxythymidine monophosphate

SI Table 2 Gradient elution profile flowa

| Time | Mobile phase |  |
| --- | --- | --- |
| (minutes) | A (%) | B (%) |
| 0 | 100 | 0 |
| 1 | 95 | 5 |
| 2 | 92 | 8 |
| 3 | 30 | 70 |
| 4 | 30 | 70 |
| 4.4 | 10 | 90 |
| 5 | 0 | 100 |
| 6 | 0 | 100 |
| 6.5 | 100 | 0 |
| 10 | 100 | 0 |
| a 0.25 ml/minute |  |  |

SI Table 3 List of analyzed genes

| Gene category | Gene | Gene name | Assay ID |
| --- | --- | --- | --- |
| 5-FU influx | OAT2/SLC22A7 | Organic anion transporter 2/Solute carrier family 22, member 7 | Hs00198527_m1 |
| 5-FU metabolism | TYMP | Thymidine phosphorylase | Hs00157317_m1 |
|  | TK1 | Thymidine kinase 1 | Hs01062125_m1 |
|  | TYMS | Thymidylate synthase | Hs00426586_m1 |
| FdUMP efflux | ABCC5/MRP5 | ATP-binding cassette, subfamily C (CFTR/MRP), member 5 | Hs00981089_m1 |
|  | ABCC11/MRP8 | ATP-binding cassette, subfamily C (CFTR/MRP), member 11 | Hs01090758_m1 |
| House-keeping | ACTB | β-actin | Hs99999903_m1 |
|  | GAPDH | Glyceraldehyde-3-phosphate dehydrogenase | Hs99999905_m1 |

5-FU, 5-flurorouracil; FdUMP, 5-fluorodeoxyuridine monophosphate; ATP, adenosine triphosphate; CFTR, cystic fibrosis transmembrane conductance regulator; MRP, multidrug resistance protein