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CT scan parameters used in the present study. Specimens were scanned either in The Natural History Museum, University of Oslo, Norway, or the Cambridge Biotomography Centre, University of Cambridge, UK.
	Species
	Specimen
	Filter
	kV
	μA
	Angles
	Frames per angle
	mm/pixel

	Neomonachus tropicalis
Caribbean monk seal
	NHMUK 1889.11.5.1
	0.5 mm Cu
	190
	160
	1080
	2
	0.096

	Neomonachus tropicalis
Caribbean monk seal
	UMZC K7801
	-
	140
	95
	1080
	2
	0.100

	Neomonachus schauinslandi
Hawaiian monk seal (juv)
	NHMUK 1958.11.26.1
	0.5 mm Cu
	190
	150
	1080
	2
	0.080

	Monachus monachus
Mediterranean monk seal
	UMZC K7781
	-
	140
	95
	1080
	2
	0.100

	Monachus monachus
Mediterranean monk seal
	NHMO M115
	0.25 mm Sn
	135
	180
	3016
	1
	0.075

	Halichoerus grypus
Grey seal (juv)
	VAM SE1
	-
	130
	125
	1080
	2
	0.057

	Halichoerus grypus
Grey seal (adult)
	NHMO 7367
	1 mm Cu
	175
	300
	3016
	2
	0.060

	Erignathus barbatus
Bearded seal
	ASB, pers. coll.
	0.1 mm Sn
	135
	85
	3016
	2
	0.075

	Cystophora cristata
Hooded seal
	ASB, pers. coll.
	0.25 mm Sn
	145
	150
	3016
	4
	0.075

	Hydrurga leptonyx
[bookmark: _GoBack]Leopard seal
	ASB, pers. coll.
	0.25 mm Sn
	190
	210
	3016
	2
	0.075

	Ommatophoca rossii
Ross seal
	ASB, pers. coll.
	0.25 mm Sn
	130
	150
	3016
	2
	0.075



