[Supplementary Material]

Bringing Antarctica to the lab: application of environmental chambers to study biological response from Antarctic communities to climate change

Maria Monteiro1,2, Alexis Marshall1,2, Charles K. Lee 1,2, Ian R. McDonald1,2, S. Craig Cary1,2*

1 International Centre for Terrestrial Antarctic Research,

2 Te Aka Matuatua - School of Science, University of Waikato, Hamilton, 3240, New Zealand

* Correspondence:

Corresponding Author

caryc@waikato.ac.nz

Keywords: Antarctic terrestrial systems , time-course experiments, manipulative studies, wetness disturbances, microbial resilience.

Methods

Polar Deserts Environmental Chamber - Contherm Global5000 Environmental Chamber

Our environmental chamber, Contherm Global5000 Environmental Chamber (CAT 5400/RHS), is a modification of the Contherm RHS models, which were explicitly designed to emulate the McMurdo Dry Valleys' environmental conditions (Figure S1) (Contherm Scientific Limited, New Zealand). This chamber has been designed to give the widest choice of operating conditions consistent with high reliability and low cost. The normal temperature range inside the chamber can be set to between -10 C and 50 C, with a temporal variation of  0.5 C and a spatial variation of  1 C. Relative humidity (RH) inside the chamber can be displayed between 0% and 100% RH, with a typical control range from 40 to 95% RH. However, the correct temperature must be set to achieve the desired RH (Supplementary material Fig. S1).

This chamber has a permafrost container to simulate permafrost conditions within the soils. Permafrost soil is ubiquitously distributed in the Dry Valleys, mainly in the ice cemented or dried frozen forms (Bockheim et al. 2007). The sublimation of moisture from ice-cemented permafrost contributes to ice loss from the soils to the atmosphere (Fountain et al. 2014). The rate of this physical process depends on the air temperature, relative humidity, wind speed, sediment moisture, solar radiation, and particle surface area (Law and Van Dijk 1994), and it can lead to significant topographic and hydrological changes in the terrestrial systems (Fountain et al. 2014). To simulate this physical process in the chamber's permafrost, we set up RH and temperature to 50% and 5 C, respectively. These are also the RH and temperature conditions typically experienced in the field (Doran et al. 2002). Additionally, three fans were installed in the upper part of the chamber and activated to help reduce the relative humidity inside the chamber. The reduction of relative humidity creates an imbalance between the surface of the ice in the permafrost and the percentage of vapor water inside the chamber, triggering sublimation of the permafrost 37 mm below and creating a gradient in humidity within the overlying soil.

The permafrost container has a cold cooling coil, which can be set to -20 C. To ensure maximum permafrost efficiency, 25 mm polystyrene insulation was installed around the side and under the container before filling the container with autoclaved soil. A permafrost temperature sensing probe is attached to a floating length of wire to position it at the site of interest. A digital thermostat shows the permafrost bin's current temperature, and an LCD on the door shows the information on the current status of the chamber and current settings (Figure S1).

The chamber has been fitted with a LED light sourcing system (FUTURELED, Berlin) which spectrum quality is similar to the one experienced in the MDV but the intensity is about 50% of the experienced in the field as a result of potential cooling issues (Supplementary material Fig. S2, Table S1).

Experimental setup

Inside the permafrost container, autoclaved dry soil, previously collected from the MDVs, was mixed with sterile water until a mud-like consistency was achieved. Four large open cylindric containers (12.5 x 35.5 cm) were placed 10 cm inside the soil mixture. The cooling system was turned on and set to -15°C. Once the soil mixture was frozen, the large open cylindric containers were filled with the same autoclaved dry soil. On top of each cylinder, ten small cylinders (3 cm height) were set and filled with 40 g of dry soil collected 20 m south of Lake Hoare, homogenized (Supplementary material Fig. S1). Before the start of the experiment, the chamber was cleaned with 80% (vol/vol) ethanol. All cylinders and materials used during the experiment were cleaned with 80% (vol/vol) ethanol and sterilized with UV light for 30 min before setup.

References

Bockheim JG, Campbell IB, and McLeod M. 2007. Permafrost distribution and active-layer depths in the McMurdo Dry Valleys, Antarctica. Permafr Periglac Process 18: 217–27.

Doran PT, McKay CP, Clow GD, et al. 2002. Valley floor climate observations from the McMurdo dry valleys, Antarctica, 1986–2000. J Geophys Res Atmos 107: ACL 13-1-ACL 13-12.

Fountain AG, Levy JS, Gooseff MN, and Horn D Van. 2014. The McMurdo Dry Valleys: a landscape on the threshold of change. Geomorphology 225: 25–35.

Law J and Dijk D Van. 1994. Sublimation as a geomorphic process: A review. Permafr Periglac Process 5: 237–49.

Supplementary Figures and Table

Fig. S1 – Set up of PDEC and wetting experiment

a

a

b

b

Fig. S2 – a) Humidity sensor readings (m3/m3) during the experiment. Sensor 1 (S1) was positioned on the top of the fourth core (25 cm from the bottom end), followed by sensor 2 (S2 - 21 cm from the bottom end),  sensor 3 (S3 - 15 cm from the bottom end), sensor 4 (S4 - 11 cm from the bottom end), sensor 5 (S5 - 5 cm from the bottom end) and finally sensor 6 positioned at the bottom of the fourth core (1 cm from the bottom end). On the 21st of November, the chamber had a power failure which affected the permafrost and the humidity content throughout the core. Despite taking weeks to be stabilized, the humidity records at the top of the core were less affected than those recorded at the bottom. Missing points in the temperature and relative humidity panels represent the days when the chamber was not working properly, therefore data couldn’t be displayed. Stars symbolise the days when samples were taken. Samples at T3 were taken before the chamber breakdown  b) Relative measurements of the quality/profile of the light spectra in the Wright Valley, compared to the light spectra from our light sourcing system inside the PDEC.

a

a

b

b

Fig. S3 – Patterns of prokaryotic α-diversity measured using phylogenetic diversity (Faith's Phylogenetic Diversity) across time for each treatment (a) and between the treatments and the control for each time point (b). At T0 all samples were still dry (at that point the experiment hadn’t started), and therefore were denominated as part of the control.

Fig. S4 – Weighted UniFrac distance values representative of each pairwise comparison calculated between a) the control samples at each time point versus the control samples at T0; b) wetting treatment samples versus the control samples at T0; c) wetting/re-drying samples versus the control samples at T0. Plot d) represents the combination of the previous three plots in one plot, to better compare the differences observed in each treatment in relation to the T0 control, for each time point.

Fig. S5 – (a) The log2 fold values for differential abundant ASVs detected using DESeq2 analysis between wetting treatment versus the control (light blue) and wetting/re-drying treatment versus the control (light pink) for each time point. Values on top of each panel show the percentage of ASVs with a positive log-fold change (LFC > 0) or negative log-fold change (LFC < 0). (b) Taxonomic affiliations of each ASV identified in our differential abundance analysis (DESeq2).

Supplementary Tables

| Tuckey's test for the wetting treatment |  |
| --- | --- |
| Comparisions | p-value adjusted |
| T2-T1 | 0.2120 |
| T3-T1 | 0.9181 |
| T4-T1 | <0.001 |
| T5-T1 | <0.001 |
| T3-T2 | 0.5787 |
| T4-T2 | 0.0012 |
| T5-T2 | <0.001 |
| T4-T3 | <0.001 |
| T5-T3 | <0.001 |
| T5-T4 | <0.001 |
| Tuckey's test for the wetting-re-drying treatment |  |
| Comparisions | p-value adjusted |
| T2-T1 | 0.9278 |
| T3-T1 | 0.9983 |
| T4-T1 | 0.1825 |
| T5-T1 | 0.1359 |
| T3-T2 | 0.9848 |
| T4-T2 | 0.0553 |
| T5-T2 | 0.0405 |
| T4-T3 | 0.1202 |
| T5-T3 | 0.0886 |
| T5-T4 | 0.9996 |

Table S1 – Significance of alpha diversity one-way ANOVA and Tukey's post-hoc test for the wetting and wetting/re-drying treatments

| Comparison | Time Point | Significant ASVs | Total | Significant ASVs (%) | LFC > 0 | % LFC > 0 | LFC < 0 | % LFC < 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Wetting Vs Control | T1 | 96 | 285 | 34% | 61 | 64% | 35 | 36% |
| Wetting Vs Control | T2 | 144 | 289 | 50% | 84 | 58% | 60 | 42% |
| Wetting Vs Control | T3 | 116 | 286 | 41% | 68 | 59% | 48 | 41% |
| Wetting Vs Control | T4 | 202 | 273 | 74% | 95 | 47% | 107 | 53% |
| Wetting Vs Control | T5 | 194 | 271 | 72% | 81 | 42% | 113 | 58% |
| Wetting/Re-drying Vs Control | T1 | 105 | 285 | 37% | 62 | 59% | 43 | 41% |
| Wetting/Re-drying Vs Control | T2 | 139 | 289 | 48% | 86 | 62% | 53 | 38% |
| Wetting/Re-drying Vs Control | T3 | 119 | 286 | 42% | 70 | 59% | 49 | 41% |
| Wetting/Re-drying Vs Control | T4 | 54 | 273 | 20% | 29 | 54% | 25 | 46% |
| Wetting/Re-drying Vs Control | T5 | 48 | 271 | 18% | 31 | 65% | 17 | 35% |

Table S2 – Number and percentage of differentially abundant ASVs identified with our DESeq2 analysis between each treatment and the control at each time point. LFC - Log Fold Change.

| ASVs | log2FoldChange | padj | Treatment | TimePoint | domain | phylum | class | family |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ASV_281 | -1.63 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_134 | -1.18 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_30 | -1.09 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_294 | -1.44 | 0.01 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_159 | -1.15 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Acidobacteriota | Acidobacteriae | Unknown |
| ASV_208 | 1.77 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Gammaproteobacteria | Burkholderiaceae |
| ASV_325 | 2.30 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_107 | 1.72 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_73 | 1.80 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_40 | 1.37 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_128 | 1.40 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Acidobacteriota | Vicinamibacteria | Vicinamibacteraceae |
| ASV_22 | 1.06 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_119 | 1.03 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_87 | 1.16 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Chloroflexi | Chloroflexia | AKYG1722 |
| ASV_80 | 1.68 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Chloroflexi | Chloroflexia | AKYG1722 |
| ASV_85 | -0.88 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Chloroflexi | Chloroflexia | Thermobaculaceae |
| ASV_18 | -1.34 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_5 | 0.41 | 0.01 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_195 | 2.03 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_111 | 1.60 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_132 | 1.05 | 0.01 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_206 | -1.73 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_122 | -0.94 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Caulobacteraceae |
| ASV_196 | -1.47 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Caulobacteraceae |
| ASV_144 | -0.99 | 0.01 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_95 | 1.32 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_414 | 2.08 | 0.01 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Beijerinckiaceae |
| ASV_65 | 2.65 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Flavobacteriaceae |
| ASV_81 | 1.63 | 0.01 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Flavobacteriaceae |
| ASV_27 | 1.65 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_231 | 2.41 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_205 | -1.46 | 0.01 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_103 | 1.37 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_146 | 1.79 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_19 | -1.08 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_135 | -1.07 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_125 | -1.41 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_25 | -0.93 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_74 | 1.22 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_1 | -1.02 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_105 | -1.12 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_76 | 1.81 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Sphingobacteriaceae |
| ASV_209 | 1.88 | 0.01 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | NS9 marine group |
| ASV_97 | 1.62 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_94 | 1.77 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_185 | 1.50 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_34 | 1.40 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_35 | 1.76 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_21 | 1.24 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_150 | 1.44 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_82 | 1.23 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_47 | 0.96 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_2 | -0.41 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_234 | 2.42 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_54 | 1.13 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_12 | -0.56 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_211 | -1.32 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_283 | -1.22 | 0.01 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_129 | -1.50 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_10 | -0.71 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_92 | 1.27 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_6 | 0.60 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_238 | -1.62 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_377 | -1.98 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_42 | -0.88 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_115 | -0.90 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_433 | 2.01 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_152 | 1.20 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_13 | -0.53 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_89 | -0.93 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_188 | -1.34 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_33 | -1.31 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_226 | -1.48 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_118 | 1.72 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_133 | 1.33 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_99 | 1.11 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_59 | -0.70 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_130 | 1.38 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_354 | -1.78 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_127 | 2.07 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_180 | 2.21 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Intrasporangiaceae |
| ASV_39 | 1.41 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Intrasporangiaceae |
| ASV_297 | 1.46 | 0.01 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_50 | 1.10 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Nakamurellaceae |
| ASV_16 | 0.61 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_90 | 1.37 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_411 | 2.32 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_131 | 1.65 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_137 | -1.03 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_67 | -0.65 | 0.01 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_279 | -1.52 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_157 | -1.26 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_61 | 1.27 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_56 | -0.81 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_83 | 0.81 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_101 | 1.61 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_181 | -1.10 | 0.01 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_52 | 0.80 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_9 | 0.95 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_108 | 0.91 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_162 | 1.32 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_55 | 1.43 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_28 | 1.58 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_91 | -0.90 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_48 | -1.04 | 0.00 | Wetting/Re-drying_vs_Control | T1 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_364 | 2.09 | 0.01 | Wetting_vs_Control | T1 | Archaea | Crenarchaeota | Nitrososphaeria | Nitrososphaeraceae |
| ASV_281 | -2.02 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_117 | -1.00 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_134 | -0.94 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_324 | 1.75 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_30 | -0.95 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_208 | 1.45 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Gammaproteobacteria | Burkholderiaceae |
| ASV_325 | 2.32 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_107 | 1.53 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_73 | 1.82 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_40 | 1.22 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_128 | 1.50 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Acidobacteriota | Vicinamibacteria | Vicinamibacteraceae |
| ASV_22 | 0.75 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_292 | -1.72 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_87 | 0.98 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Chloroflexi | Chloroflexia | AKYG1722 |
| ASV_80 | 1.71 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Chloroflexi | Chloroflexia | AKYG1722 |
| ASV_18 | -1.23 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_195 | 1.76 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_111 | 1.51 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_206 | -1.91 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_122 | -1.17 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Caulobacteraceae |
| ASV_95 | 0.92 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_228 | 1.37 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_414 | 2.04 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Beijerinckiaceae |
| ASV_351 | 1.86 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Proteobacteria | Alphaproteobacteria | Acetobacteraceae |
| ASV_141 | -1.14 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Planctomycetota | Planctomycetes | Isosphaeraceae |
| ASV_65 | 2.53 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Flavobacteriaceae |
| ASV_81 | 1.53 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Flavobacteriaceae |
| ASV_27 | 1.57 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_231 | 2.16 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_14 | -0.60 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_205 | -1.53 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_103 | 1.10 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_146 | 2.21 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_19 | -0.98 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_135 | -0.96 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_125 | -1.01 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_25 | -1.01 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_74 | 1.11 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_1 | -1.10 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_76 | 1.62 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Sphingobacteriaceae |
| ASV_209 | 1.79 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | NS9 marine group |
| ASV_97 | 1.68 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_94 | 1.97 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_34 | 1.01 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_35 | 1.60 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_21 | 1.18 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_150 | 1.30 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_82 | 1.37 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_47 | 0.83 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_2 | -0.55 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_234 | 2.21 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_54 | 1.04 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_12 | -0.66 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_96 | 1.12 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Sumerlaeota | Sumerlaeia | Sumerlaeaceae |
| ASV_129 | -1.33 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_10 | -0.91 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_201 | -1.14 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_92 | 0.92 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_6 | 0.49 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_238 | -1.29 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_42 | -0.73 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_152 | 1.07 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_84 | -0.69 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_13 | -0.60 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_89 | -0.79 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_188 | -1.67 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_277 | -1.43 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_33 | -1.35 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_118 | 1.67 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_133 | 1.29 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_99 | 0.94 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_130 | 1.07 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_127 | 1.94 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_180 | 1.90 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Intrasporangiaceae |
| ASV_39 | 1.40 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Intrasporangiaceae |
| ASV_50 | 0.92 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Nakamurellaceae |
| ASV_16 | 0.58 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_90 | 0.87 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_131 | 1.73 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_44 | -0.56 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_157 | -1.12 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_61 | 1.33 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_56 | -0.68 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_83 | 0.99 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_101 | 1.50 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_181 | -1.20 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_327 | 1.91 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_52 | 0.71 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_9 | 0.99 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_108 | 0.87 | 0.01 | Wetting_vs_Control | T1 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_162 | 1.23 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_55 | 1.21 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_28 | 1.39 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_91 | -0.91 | 0.00 | Wetting_vs_Control | T1 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
|  | -1.25 | 0.00 | Wetting_vs_Control | T1 | Bacteria | ASV_48 | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_364 | 2.17 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Archaea | Crenarchaeota | Nitrososphaeria | Nitrososphaeraceae |
| ASV_263 | 1.67 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Patescibacteria | Saccharimonadia | LWQ8 |
| ASV_63 | -0.75 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Chloroflexi | Chloroflexia | AKIW781 |
| ASV_274 | -1.55 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_324 | 2.44 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_166 | 1.44 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_212 | 1.17 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_30 | -0.54 | 0.01 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_207 | 3.65 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bacteriovoracaceae |
| ASV_630 | 3.32 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bacteriovoracaceae |
| ASV_472 | 2.00 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bacteriovoracaceae |
| ASV_241 | 1.43 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_77 | 2.26 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_66 | 2.79 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_4 | 2.62 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_113 | 0.81 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Burkholderiaceae |
| ASV_208 | 1.84 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Burkholderiaceae |
| ASV_325 | 2.12 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_107 | 3.46 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_73 | 2.55 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_40 | 2.86 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_304 | 1.85 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Unknown Family_4 |
| ASV_128 | 2.23 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Acidobacteriota | Vicinamibacteria | Vicinamibacteraceae |
| ASV_22 | 1.19 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_87 | 1.13 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Chloroflexi | Chloroflexia | AKYG1722 |
| ASV_80 | 1.88 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Chloroflexi | Chloroflexia | AKYG1722 |
| ASV_319 | -1.73 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Chloroflexi | KD4-96 | Unknown |
| ASV_85 | -1.29 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Chloroflexi | Chloroflexia | Thermobaculaceae |
| ASV_352 | -2.27 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Chloroflexi | TK10 | Unknown |
| ASV_143 | 1.20 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Acidobacteriota | Holophagae | Unknown |
| ASV_18 | -0.56 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_5 | 1.19 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_195 | 1.65 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_522 | 3.51 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_111 | 2.71 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_132 | 0.88 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_26 | 0.84 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_58 | 1.07 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_206 | -1.44 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_95 | 2.05 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_228 | 1.85 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_65 | 3.31 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Flavobacteriaceae |
| ASV_81 | 3.09 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Flavobacteriaceae |
| ASV_27 | 1.80 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_231 | 2.28 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_470 | 1.92 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_326 | 1.29 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Hymenobacteraceae |
| ASV_37 | 0.97 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_217 | -1.67 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_103 | 2.12 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_146 | 2.60 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_19 | -0.98 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_125 | -1.05 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_74 | 2.05 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_194 | 1.38 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_1 | -0.62 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_105 | -1.26 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_142 | -1.01 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_76 | 3.14 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Sphingobacteriaceae |
| ASV_209 | 3.57 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | NS9 marine group |
| ASV_97 | 2.68 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_94 | 2.08 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_185 | 2.17 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_379 | 1.62 | 0.01 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_383 | 1.75 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Hymenobacteraceae |
| ASV_384 | 1.78 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_34 | 1.55 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_392 | 1.82 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_35 | 2.72 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_21 | 2.15 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_82 | 2.34 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_177 | 2.31 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_175 | 1.22 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_47 | 1.42 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_234 | 1.92 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_54 | 1.47 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_214 | -1.32 | 0.01 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_149 | -1.26 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_75 | -0.89 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_385 | 2.38 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Unknown |
| ASV_160 | -2.04 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_12 | -0.64 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_272 | -1.77 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_53 | -0.66 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_96 | 2.07 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Sumerlaeota | Sumerlaeia | Sumerlaeaceae |
| ASV_211 | -2.07 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_129 | -1.75 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_10 | -1.39 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_201 | -2.22 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_92 | 1.85 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_6 | 0.59 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_238 | -2.23 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_42 | -1.52 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_115 | -1.40 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_284 | -2.19 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_13 | -0.48 | 0.01 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_89 | -1.23 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_188 | -1.85 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_8 | -0.48 | 0.01 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_33 | -1.52 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_118 | 1.87 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_133 | 1.65 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_139 | -1.19 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_59 | -0.86 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_170 | -1.26 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_130 | 0.84 | 0.01 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_290 | -2.38 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_72 | -0.73 | 0.01 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_127 | 1.69 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_180 | 1.67 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Intrasporangiaceae |
| ASV_39 | 1.10 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Intrasporangiaceae |
| ASV_3 | -0.55 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Pseudonocardiaceae |
| ASV_50 | 0.80 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Nakamurellaceae |
| ASV_16 | 0.53 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_7 | -0.44 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_330 | -2.26 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_90 | 1.61 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_131 | 1.48 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_44 | -0.70 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_167 | -1.85 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_67 | -1.22 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_157 | -2.22 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_262 | -1.85 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_61 | 1.95 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_56 | -1.89 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_101 | 1.86 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_181 | -1.84 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_78 | -0.91 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_52 | 0.88 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_9 | 1.12 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_204 | 0.94 | 0.01 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_233 | 1.69 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_55 | 1.07 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_203 | 1.43 | 0.01 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Bacteroidota | Kapabacteria | Unknown |
| ASV_28 | 1.47 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_71 | -0.71 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_91 | -1.10 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_48 | -1.05 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_218 | 2.50 | 0.00 | Wetting/Re-drying_vs_Control | T2 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Rubritaleaceae |
| ASV_364 | 1.79 | 0.00 | Wetting_vs_Control | T2 | Archaea | Crenarchaeota | Nitrososphaeria | Nitrososphaeraceae |
| ASV_109 | -0.95 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Chloroflexi | TK10 | Unknown |
| ASV_63 | -0.79 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Chloroflexi | Chloroflexia | AKIW781 |
| ASV_252 | -1.57 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_134 | -1.04 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_274 | -2.39 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_324 | 1.99 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_166 | 1.42 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_212 | 1.58 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_30 | -0.88 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_207 | 3.50 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bacteriovoracaceae |
| ASV_630 | 2.99 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bacteriovoracaceae |
| ASV_241 | 1.62 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_77 | 1.98 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_66 | 2.88 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_4 | 2.68 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_113 | 0.87 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Burkholderiaceae |
| ASV_208 | 1.86 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Burkholderiaceae |
| ASV_325 | 1.87 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_107 | 3.02 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_73 | 2.07 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_40 | 2.65 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_128 | 2.10 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Acidobacteriota | Vicinamibacteria | Vicinamibacteraceae |
| ASV_22 | 1.29 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_119 | 1.27 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_80 | 1.85 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Chloroflexi | Chloroflexia | AKYG1722 |
| ASV_478 | 1.76 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Chloroflexi | Chloroflexia | AKYG1722 |
| ASV_23 | 0.52 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Chloroflexi | KD4-96 | Unknown |
| ASV_319 | -2.23 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Chloroflexi | KD4-96 | Unknown |
| ASV_85 | -1.33 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Chloroflexi | Chloroflexia | Thermobaculaceae |
| ASV_352 | -2.20 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Chloroflexi | TK10 | Unknown |
| ASV_285 | -1.68 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bdellovibrionaceae |
| ASV_143 | 0.91 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Acidobacteriota | Holophagae | Unknown |
| ASV_18 | -0.80 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_5 | 1.24 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_195 | 1.90 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_522 | 3.60 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_111 | 2.61 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_132 | 1.03 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_26 | 0.74 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_58 | 1.14 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_206 | -1.60 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_95 | 2.16 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_228 | 2.24 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_314 | -1.68 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Proteobacteria | Alphaproteobacteria | Beijerinckiaceae |
| ASV_65 | 3.02 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Flavobacteriaceae |
| ASV_81 | 2.85 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Flavobacteriaceae |
| ASV_27 | 1.69 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_231 | 2.19 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_470 | 1.81 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_14 | -0.56 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_205 | -1.18 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_103 | 1.90 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_146 | 2.12 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_19 | -1.14 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_135 | -1.21 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_125 | -1.43 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_74 | 1.89 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_1 | -0.84 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_105 | -1.09 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_142 | -1.24 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_76 | 2.83 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Sphingobacteriaceae |
| ASV_209 | 3.43 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | NS9 marine group |
| ASV_97 | 2.54 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_94 | 1.69 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_185 | 1.90 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_379 | 1.68 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_384 | 2.09 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_34 | 1.70 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_392 | 1.93 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_35 | 2.67 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_21 | 1.99 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_82 | 2.14 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_177 | 2.01 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_175 | 1.37 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_164 | -1.09 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_47 | 1.30 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_234 | 1.76 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_54 | 1.17 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_149 | -0.97 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_242 | -1.27 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Unknown |
| ASV_75 | -1.00 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_385 | 2.42 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Unknown |
| ASV_160 | -1.89 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_12 | -0.97 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_272 | -1.50 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_53 | -0.90 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_96 | 1.84 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Sumerlaeota | Sumerlaeia | Sumerlaeaceae |
| ASV_211 | -1.61 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_129 | -2.42 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_10 | -1.61 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_201 | -1.95 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_92 | 2.10 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_6 | 0.54 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_238 | -2.46 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_42 | -1.77 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_115 | -1.23 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_284 | -2.75 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_152 | 1.07 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_13 | -0.62 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_89 | -1.58 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_188 | -1.66 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_8 | -0.52 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_193 | -1.37 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_33 | -1.26 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_313 | 1.46 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_118 | 1.88 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_133 | 1.90 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_139 | -1.17 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_59 | -0.98 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_64 | -0.75 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_290 | -2.17 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_127 | 1.83 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_180 | 1.98 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Intrasporangiaceae |
| ASV_39 | 1.22 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Intrasporangiaceae |
| ASV_297 | 1.79 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_3 | -0.51 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Pseudonocardiaceae |
| ASV_50 | 1.10 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Nakamurellaceae |
| ASV_16 | 0.81 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_330 | -1.62 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_90 | 1.51 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_131 | 1.43 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_44 | -0.90 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_397 | -1.64 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_167 | -1.88 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_67 | -1.18 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_157 | -2.18 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_262 | -2.25 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_61 | 2.17 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_56 | -1.41 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_83 | 0.71 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_101 | 1.92 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_181 | -1.96 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_78 | -0.71 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_327 | 1.67 | 0.01 | Wetting_vs_Control | T2 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_220 | 1.24 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_52 | 0.93 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_9 | 1.19 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_233 | 1.91 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_55 | 1.14 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_28 | 1.31 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_91 | -1.37 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_48 | -0.90 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_218 | 3.04 | 0.00 | Wetting_vs_Control | T2 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Rubritaleaceae |
| ASV_587 | 5.68 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Patescibacteria | Saccharimonadia | LWQ8 |
| ASV_110 | 0.88 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Cyanobacteria | Sericytochromatia | Unknown |
| ASV_260 | 1.40 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_166 | 1.62 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_207 | 3.81 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bacteriovoracaceae |
| ASV_159 | -1.21 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Acidobacteriota | Acidobacteriae | Unknown |
| ASV_241 | 1.48 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_77 | 2.68 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_24 | 9.32 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_66 | 5.53 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_4 | 8.54 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_208 | 1.22 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Burkholderiaceae |
| ASV_325 | 2.48 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_401 | 2.76 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_107 | 3.75 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_73 | 3.68 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_40 | 4.18 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_304 | 1.92 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Unknown Family_4 |
| ASV_128 | 1.32 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Acidobacteriota | Vicinamibacteria | Vicinamibacteraceae |
| ASV_119 | 1.07 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_319 | -3.18 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Chloroflexi | KD4-96 | Unknown |
| ASV_352 | -2.33 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Chloroflexi | TK10 | Unknown |
| ASV_195 | 1.13 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_32 | -0.54 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_111 | 1.01 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_132 | -0.80 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_26 | 0.51 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_58 | 1.04 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_235 | -1.74 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_206 | -1.61 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_122 | 1.00 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Caulobacteraceae |
| ASV_95 | 1.66 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_228 | 1.42 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_190 | 1.20 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Rhodobacteraceae |
| ASV_457 | 3.92 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Myxococcota | Myxococcia | Unknown |
| ASV_430 | 2.99 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Planctomycetota | Planctomycetes | Isosphaeraceae |
| ASV_419 | 1.78 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Planctomycetota | Planctomycetes | Isosphaeraceae |
| ASV_27 | 0.94 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_62 | 8.77 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | env.OPS 17 |
| ASV_264 | 2.91 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_37 | 2.32 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_205 | -1.40 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_103 | 2.10 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_146 | 1.92 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_19 | -1.06 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_125 | -2.04 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_25 | 0.72 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_74 | 1.43 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_194 | -1.28 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_1 | -0.46 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_105 | -1.73 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_299 | 4.66 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_165 | 5.45 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_142 | -1.63 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_76 | 2.43 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Sphingobacteriaceae |
| ASV_209 | 2.71 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | NS9 marine group |
| ASV_375 | 4.41 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_97 | 2.88 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_94 | 2.67 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_426 | 7.11 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_185 | 1.15 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_21 | 1.16 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_150 | 1.13 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_177 | 1.59 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_443 | 2.16 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_175 | 1.81 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_47 | 1.08 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_182 | 1.30 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_234 | 1.60 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_54 | 1.54 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_258 | 2.57 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_214 | -1.17 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_160 | -1.20 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_343 | 3.67 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Sumerlaeota | Sumerlaeia | Sumerlaeaceae |
| ASV_96 | 2.30 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Sumerlaeota | Sumerlaeia | Sumerlaeaceae |
| ASV_211 | -1.33 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_283 | -1.87 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_129 | -1.48 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_10 | -1.47 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_201 | -1.70 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_238 | -2.33 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_42 | -1.35 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_115 | -1.13 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_284 | -3.68 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_88 | -1.21 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_13 | -0.72 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_89 | -1.16 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_188 | -1.09 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_193 | -1.19 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_33 | -1.26 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_226 | -1.16 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_29 | -1.27 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_118 | 1.00 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_170 | -1.45 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_127 | 1.26 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_39 | 0.92 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Intrasporangiaceae |
| ASV_297 | 1.28 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_3 | -0.58 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Pseudonocardiaceae |
| ASV_16 | 0.57 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_7 | -0.67 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_330 | -1.71 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_90 | 1.56 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_44 | -0.98 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_280 | -1.46 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Unknown | Unknown |
| ASV_167 | -1.83 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_137 | -2.09 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_67 | -1.60 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_279 | -1.44 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_157 | -2.09 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_61 | 2.00 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_56 | -1.26 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_181 | -2.39 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_78 | -1.39 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_289 | -1.79 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_162 | -1.10 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_55 | 0.59 | 0.01 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_203 | 3.52 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Bacteroidota | Kapabacteria | Unknown |
| ASV_28 | 1.16 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_218 | 5.88 | 0.00 | Wetting/Re-drying_vs_Control | T3 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Rubritaleaceae |
| ASV_49 | -0.78 | 0.00 | Wetting_vs_Control | T3 | Archaea | Crenarchaeota | Nitrososphaeria | Nitrososphaeraceae |
| ASV_587 | 5.69 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Patescibacteria | Saccharimonadia | LWQ8 |
| ASV_110 | 0.89 | 0.01 | Wetting_vs_Control | T3 | Bacteria | Cyanobacteria | Sericytochromatia | Unknown |
| ASV_281 | -1.63 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_166 | 1.68 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_212 | 1.19 | 0.01 | Wetting_vs_Control | T3 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_207 | 3.75 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bacteriovoracaceae |
| ASV_241 | 1.60 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_77 | 2.60 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_24 | 9.19 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_66 | 5.45 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_4 | 8.46 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_208 | 1.30 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Burkholderiaceae |
| ASV_325 | 2.19 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_401 | 2.81 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_107 | 3.49 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_73 | 3.44 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_40 | 4.11 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_304 | 1.59 | 0.01 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Gammaproteobacteria | Unknown Family_4 |
| ASV_128 | 1.38 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Acidobacteriota | Vicinamibacteria | Vicinamibacteraceae |
| ASV_119 | 0.81 | 0.01 | Wetting_vs_Control | T3 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_319 | -2.54 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Chloroflexi | KD4-96 | Unknown |
| ASV_352 | -2.35 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Chloroflexi | TK10 | Unknown |
| ASV_106 | 1.10 | 0.01 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_32 | -0.90 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_111 | 1.16 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_248 | -1.43 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_58 | 1.00 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_235 | -1.34 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_206 | -1.69 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_122 | 0.83 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Caulobacteraceae |
| ASV_144 | -1.06 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_95 | 1.90 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_228 | 1.13 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_190 | 1.08 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Proteobacteria | Alphaproteobacteria | Rhodobacteraceae |
| ASV_457 | 4.16 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Myxococcota | Myxococcia | Unknown |
| ASV_430 | 2.90 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Planctomycetota | Planctomycetes | Isosphaeraceae |
| ASV_419 | 1.58 | 0.01 | Wetting_vs_Control | T3 | Bacteria | Planctomycetota | Planctomycetes | Isosphaeraceae |
| ASV_27 | 1.07 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_62 | 8.83 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | env.OPS 17 |
| ASV_264 | 2.66 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_37 | 2.16 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_103 | 1.84 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_146 | 1.65 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_19 | -1.18 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_135 | -1.08 | 0.01 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_125 | -1.64 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_25 | 0.81 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_74 | 1.44 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_105 | -1.17 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_299 | 5.25 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_165 | 6.09 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_142 | -1.85 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_76 | 2.26 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Sphingobacteriaceae |
| ASV_209 | 2.18 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | NS9 marine group |
| ASV_375 | 4.51 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_97 | 2.91 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_94 | 2.16 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_426 | 6.95 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_185 | 1.60 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_21 | 1.01 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_150 | 1.31 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_177 | 1.23 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_175 | 1.77 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_164 | -1.03 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_47 | 0.91 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_182 | 1.34 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_234 | 2.12 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_54 | 1.42 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_258 | 2.98 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_160 | -1.57 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_343 | 3.55 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Sumerlaeota | Sumerlaeia | Sumerlaeaceae |
| ASV_96 | 2.28 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Sumerlaeota | Sumerlaeia | Sumerlaeaceae |
| ASV_211 | -1.76 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_283 | -1.26 | 0.01 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_129 | -1.77 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_10 | -1.32 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_201 | -1.26 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_238 | -2.93 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_42 | -1.48 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_115 | -1.43 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_284 | -2.19 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_88 | -1.47 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_13 | -0.96 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_89 | -0.90 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_188 | -1.50 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_193 | -1.26 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_33 | -1.69 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_226 | -1.21 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_29 | -1.01 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_118 | 0.98 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_335 | -2.03 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_127 | 1.32 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_39 | 0.99 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Intrasporangiaceae |
| ASV_297 | 1.26 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_3 | -0.60 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Pseudonocardiaceae |
| ASV_16 | 0.49 | 0.01 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_7 | -0.66 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_330 | -1.63 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_90 | 1.30 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_44 | -1.18 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_167 | -1.62 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_137 | -2.00 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_67 | -1.59 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_157 | -1.81 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_382 | -1.57 | 0.01 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_61 | 1.83 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_56 | -1.07 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_181 | -2.12 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_78 | -1.35 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_233 | -1.27 | 0.01 | Wetting_vs_Control | T3 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_162 | -1.08 | 0.01 | Wetting_vs_Control | T3 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_55 | 0.70 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_203 | 3.29 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Bacteroidota | Kapabacteria | Unknown |
| ASV_28 | 1.21 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_218 | 5.92 | 0.00 | Wetting_vs_Control | T3 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Rubritaleaceae |
| ASV_263 | 2.40 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Patescibacteria | Saccharimonadia | LWQ8 |
| ASV_110 | -1.00 | 0.01 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Cyanobacteria | Sericytochromatia | Unknown |
| ASV_117 | -1.00 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_77 | 1.39 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_24 | 9.67 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_66 | 5.62 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_4 | 8.53 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_107 | 2.86 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_73 | 2.92 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_40 | 4.14 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_22 | -1.06 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_18 | 0.96 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_26 | 0.63 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_58 | 1.01 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_206 | -1.98 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_122 | 1.18 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Caulobacteraceae |
| ASV_519 | -7.07 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Cyanobacteria | Cyanobacteriia | Phormidesmiaceae |
| ASV_27 | -1.36 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_264 | 3.96 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_37 | 0.98 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_458 | 2.77 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_19 | -0.69 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_135 | -1.63 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_25 | 1.21 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_194 | -2.68 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_299 | 5.29 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_165 | 4.65 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_142 | -1.57 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_76 | 2.30 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Sphingobacteriaceae |
| ASV_97 | 2.09 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_51 | 0.63 | 0.01 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_182 | 1.60 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_79 | 1.39 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_12 | -0.54 | 0.01 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_10 | -1.66 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_6 | -0.62 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_238 | -2.06 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_42 | -1.34 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_115 | -1.47 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_284 | -2.07 | 0.01 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_84 | 0.92 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_193 | -1.71 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_290 | -2.20 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_102 | 1.81 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_16 | 1.50 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_7 | -0.87 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_90 | 1.05 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_44 | -1.96 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_167 | -1.58 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_137 | -1.36 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_67 | -1.61 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_61 | 1.26 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_78 | -2.15 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_203 | 3.62 | 0.00 | Wetting/Re-drying_vs_Control | T4 | Bacteria | Bacteroidota | Kapabacteria | Unknown |
| ASV_49 | -1.44 | 0.00 | Wetting_vs_Control | T4 | Archaea | Crenarchaeota | Nitrososphaeria | Nitrososphaeraceae |
| ASV_109 | -3.22 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Chloroflexi | TK10 | Unknown |
| ASV_263 | 2.27 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Patescibacteria | Saccharimonadia | LWQ8 |
| ASV_361 | -3.12 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Chloroflexi | Chloroflexia | AKIW781 |
| ASV_63 | -0.79 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Chloroflexi | Chloroflexia | AKIW781 |
| ASV_288 | -2.56 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_260 | 3.32 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_117 | -1.40 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_252 | -2.28 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_134 | -3.91 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_274 | -2.41 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_166 | 4.07 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_212 | 2.34 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_30 | -1.99 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_338 | -4.21 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_294 | -2.82 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_207 | 4.67 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bacteriovoracaceae |
| ASV_159 | -3.66 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Acidobacteriae | Unknown |
| ASV_241 | 3.40 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_77 | 3.67 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_24 | 11.61 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_66 | 5.13 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_4 | 7.38 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_113 | 1.63 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Burkholderiaceae |
| ASV_208 | 1.75 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Burkholderiaceae |
| ASV_107 | 5.44 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_73 | 7.09 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_40 | 6.93 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_169 | 1.46 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Vicinamibacteria | Vicinamibacteraceae |
| ASV_128 | 2.88 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Vicinamibacteria | Vicinamibacteraceae |
| ASV_22 | 2.12 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_119 | 2.10 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_87 | 1.08 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Chloroflexi | Chloroflexia | AKYG1722 |
| ASV_80 | 1.53 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Chloroflexi | Chloroflexia | AKYG1722 |
| ASV_23 | 0.86 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Chloroflexi | KD4-96 | Unknown |
| ASV_85 | -2.33 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Chloroflexi | Chloroflexia | Thermobaculaceae |
| ASV_285 | -3.83 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bdellovibrionaceae |
| ASV_143 | 2.32 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Holophagae | Unknown |
| ASV_293 | -3.97 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Holophagae | Unknown |
| ASV_18 | -1.94 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_106 | 2.04 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_5 | 1.27 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_195 | 3.38 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_270 | -2.39 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_111 | 3.18 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_248 | -1.73 | 0.01 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_132 | 1.99 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_26 | 1.15 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_58 | 2.51 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_235 | -1.99 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_206 | -3.15 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_122 | -1.80 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Caulobacteraceae |
| ASV_196 | -1.36 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Caulobacteraceae |
| ASV_222 | -1.97 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_144 | -2.92 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_95 | 2.98 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_228 | 3.15 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_190 | 2.47 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Rhodobacteraceae |
| ASV_314 | -2.24 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Beijerinckiaceae |
| ASV_200 | -2.06 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Beijerinckiaceae |
| ASV_351 | 1.60 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Proteobacteria | Alphaproteobacteria | Acetobacteraceae |
| ASV_271 | -1.86 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Planctomycetota | Planctomycetes | Isosphaeraceae |
| ASV_251 | -2.62 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Planctomycetota | Planctomycetes | Isosphaeraceae |
| ASV_239 | 2.34 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Planctomycetota | Planctomycetes | Isosphaeraceae |
| ASV_65 | 2.36 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Flavobacteriaceae |
| ASV_81 | 1.40 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Flavobacteriaceae |
| ASV_27 | 1.58 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_231 | 1.38 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_349 | -3.99 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Hymenobacteraceae |
| ASV_264 | 6.33 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_37 | 2.55 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_147 | 4.33 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_14 | -2.83 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_205 | -4.47 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_217 | -3.48 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_399 | -4.73 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_344 | -3.33 | 0.01 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_103 | 4.56 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_146 | 4.76 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_219 | -3.11 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_356 | -3.26 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_337 | -3.32 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_250 | -5.83 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_19 | -2.64 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_340 | -3.12 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_135 | -2.26 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_176 | -2.10 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_125 | -2.42 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_45 | 0.80 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_246 | -3.28 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_25 | -2.47 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_74 | 3.30 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_187 | -2.45 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_1 | -2.48 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_105 | -2.88 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_299 | 8.21 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_165 | 8.43 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_76 | 4.59 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Sphingobacteriaceae |
| ASV_209 | 4.93 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | NS9 marine group |
| ASV_97 | 5.51 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_94 | 4.43 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_185 | 3.31 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_34 | 2.18 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_21 | 1.45 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_150 | 2.67 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_82 | 2.11 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_177 | 3.71 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_189 | -3.19 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_266 | -2.88 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_175 | 3.10 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_47 | 2.85 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_306 | -3.58 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Unknown |
| ASV_215 | -2.46 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_2 | -0.58 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_51 | 0.60 | 0.01 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_255 | 1.26 | 0.01 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_234 | 6.22 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_54 | 3.45 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_210 | -3.01 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_258 | 4.56 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_214 | -2.61 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_46 | -2.50 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Unknown |
| ASV_149 | -1.98 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_242 | -1.95 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Unknown |
| ASV_303 | -5.74 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Unknown |
| ASV_75 | -1.92 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_296 | -2.99 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_79 | -2.68 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_121 | -3.66 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Unknown |
| ASV_160 | -2.30 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_12 | -1.24 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_272 | -2.03 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_53 | -2.85 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_343 | 4.66 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Sumerlaeota | Sumerlaeia | Sumerlaeaceae |
| ASV_96 | 4.03 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Sumerlaeota | Sumerlaeia | Sumerlaeaceae |
| ASV_229 | -2.44 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_129 | -4.52 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_10 | -1.45 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_201 | -2.66 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_92 | 2.18 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_6 | 1.40 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_238 | -4.02 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_273 | -2.17 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_42 | -2.95 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_115 | -1.53 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_284 | -5.38 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_152 | 2.34 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_84 | -2.47 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_236 | 1.47 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_13 | -1.77 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_89 | -1.43 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_188 | -2.30 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_193 | -3.75 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_202 | -3.78 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_33 | -1.32 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_230 | 2.20 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_348 | -3.27 | 0.01 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Gaiellaceae |
| ASV_339 | -1.95 | 0.01 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Thermoleophilia | Gaiellaceae |
| ASV_118 | 2.23 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_133 | 2.63 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_139 | -1.73 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_59 | -2.61 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_301 | 2.22 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_127 | 2.14 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_180 | 1.92 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Intrasporangiaceae |
| ASV_39 | 1.96 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Intrasporangiaceae |
| ASV_179 | 1.19 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Pseudonocardiaceae |
| ASV_50 | 1.04 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Nakamurellaceae |
| ASV_16 | 1.12 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_90 | 2.55 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_131 | 1.77 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_322 | 2.63 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Acidimicrobiia | Iamiaceae |
| ASV_280 | -3.66 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Unknown | Unknown |
| ASV_291 | -4.29 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Unknown | Unknown |
| ASV_167 | -3.16 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_137 | -2.45 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_67 | -2.55 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_279 | -3.55 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_157 | -4.23 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_262 | -3.71 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_261 | -3.30 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Propionibacteriaceae |
| ASV_61 | 3.33 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_56 | -3.22 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_101 | 2.25 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_140 | -1.91 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_181 | -6.28 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_78 | -1.75 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_276 | 2.05 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_220 | 1.53 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_52 | 1.39 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_9 | 0.79 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_372 | 1.64 | 0.01 | Wetting_vs_Control | T4 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_55 | 1.71 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_203 | 6.08 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Bacteroidota | Kapabacteria | Unknown |
| ASV_213 | -3.88 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_312 | -2.14 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_28 | 2.82 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_71 | -1.09 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_390 | -3.53 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_91 | -2.38 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_48 | -1.58 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_218 | 6.49 | 0.00 | Wetting_vs_Control | T4 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Rubritaleaceae |
| ASV_263 | 2.72 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Patescibacteria | Saccharimonadia | LWQ8 |
| ASV_117 | -0.84 | 0.01 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_166 | 2.33 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_207 | 1.93 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bacteriovoracaceae |
| ASV_24 | 9.92 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_66 | 3.83 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_4 | 8.40 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_73 | 1.94 | 0.01 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_40 | 3.52 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_304 | 3.78 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Unknown Family_4 |
| ASV_285 | -1.53 | 0.01 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bdellovibrionaceae |
| ASV_216 | 1.80 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_111 | 1.40 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_248 | -1.38 | 0.01 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_58 | 0.86 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_95 | 1.09 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_65 | 1.56 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Flavobacteriaceae |
| ASV_37 | 1.51 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_147 | 4.11 | 0.01 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_458 | 3.55 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_344 | 1.57 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_340 | 1.50 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_25 | 1.54 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_194 | -2.75 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_299 | 5.22 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_165 | 4.21 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_142 | -3.23 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_76 | 2.03 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Sphingobacteriaceae |
| ASV_21 | -0.98 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_98 | 1.50 | 0.01 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Gemmatimonadota | Longimicrobia | Longimicrobiaceae |
| ASV_150 | -3.02 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_182 | 1.17 | 0.01 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_79 | 1.42 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_10 | -0.75 | 0.01 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_92 | 1.32 | 0.01 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_188 | -1.06 | 0.01 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_29 | -0.75 | 0.01 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_170 | -1.74 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_290 | -2.45 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_16 | 0.77 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_7 | -0.69 | 0.01 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_330 | -2.68 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_243 | -1.71 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_157 | -1.06 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_61 | 2.14 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_101 | 1.25 | 0.01 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_181 | -1.08 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_203 | 4.51 | 0.00 | Wetting/Re-drying_vs_Control | T5 | Bacteria | Bacteroidota | Kapabacteria | Unknown |
| ASV_49 | -2.43 | 0.00 | Wetting_vs_Control | T5 | Archaea | Crenarchaeota | Nitrososphaeria | Nitrososphaeraceae |
| ASV_109 | -4.01 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Chloroflexi | TK10 | Unknown |
| ASV_311 | -5.55 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Patescibacteria | Saccharimonadia | LWQ8 |
| ASV_361 | -3.82 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Chloroflexi | Chloroflexia | AKIW781 |
| ASV_63 | -0.98 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Chloroflexi | Chloroflexia | AKIW781 |
| ASV_281 | -5.30 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_117 | -4.28 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_252 | -2.39 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_274 | -4.21 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_166 | 5.30 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_212 | 6.59 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Abditibacteriota | Abditibacteria | Abditibacteriaceae |
| ASV_207 | 3.87 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bacteriovoracaceae |
| ASV_159 | -3.08 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Acidobacteriae | Unknown |
| ASV_241 | 5.30 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_77 | 5.10 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_24 | 12.31 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Comamonadaceae |
| ASV_66 | 4.82 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_4 | 7.09 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Oxalobacteraceae |
| ASV_113 | 1.61 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Burkholderiaceae |
| ASV_73 | 7.43 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_40 | 9.22 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Gammaproteobacteria | Xanthomonadaceae |
| ASV_169 | 1.65 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Vicinamibacteria | Vicinamibacteraceae |
| ASV_128 | 4.31 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Vicinamibacteria | Vicinamibacteraceae |
| ASV_22 | 1.21 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_119 | 1.22 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Chloroflexi | Chloroflexia | JG30-KF-CM45 |
| ASV_80 | 1.85 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Chloroflexi | Chloroflexia | AKYG1722 |
| ASV_23 | 0.95 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Chloroflexi | KD4-96 | Unknown |
| ASV_319 | -4.29 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Chloroflexi | KD4-96 | Unknown |
| ASV_85 | -3.85 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Chloroflexi | Chloroflexia | Thermobaculaceae |
| ASV_269 | -3.04 | 0.01 | Wetting_vs_Control | T5 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bdellovibrionaceae |
| ASV_285 | -5.00 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bdellovibrionota | Bdellovibrionia | Bdellovibrionaceae |
| ASV_18 | -3.88 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_106 | 7.41 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_5 | 3.08 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_195 | 6.04 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_366 | 3.81 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_111 | 3.65 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_26 | -1.02 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_58 | 2.57 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_235 | -4.45 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_206 | -4.86 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Sphingomonadaceae |
| ASV_122 | -2.00 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Caulobacteraceae |
| ASV_196 | -1.91 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Caulobacteraceae |
| ASV_222 | -4.03 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_144 | -1.57 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_95 | 1.52 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Unknown |
| ASV_190 | 2.53 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Rhodobacteraceae |
| ASV_314 | -4.16 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Beijerinckiaceae |
| ASV_200 | -3.96 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Proteobacteria | Alphaproteobacteria | Beijerinckiaceae |
| ASV_497 | 8.81 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Myxococcota | Polyangia | Polyangiaceae |
| ASV_27 | 1.04 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_286 | -5.34 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Hymenobacteraceae |
| ASV_191 | -2.18 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Hymenobacteraceae |
| ASV_328 | -4.29 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Hymenobacteraceae |
| ASV_376 | 9.96 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_264 | 7.25 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_37 | 1.89 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_147 | 12.13 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_458 | 3.83 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_14 | -3.13 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_205 | -6.66 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_217 | -5.34 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_17 | 1.52 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_103 | 7.05 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_146 | 8.16 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_219 | -6.26 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_356 | -4.61 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_337 | -5.25 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_250 | -4.80 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_19 | -3.38 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_340 | -3.90 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_135 | -3.20 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_176 | -3.01 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_125 | -4.07 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_45 | 1.62 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_246 | -3.99 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_25 | -1.92 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_74 | 4.32 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_237 | -2.65 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_187 | -6.87 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_1 | -3.40 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_105 | -5.28 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_299 | 8.24 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_165 | 9.82 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_142 | -1.81 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Chitinophagaceae |
| ASV_76 | 4.57 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Sphingobacteriaceae |
| ASV_209 | 6.15 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | NS9 marine group |
| ASV_97 | 5.58 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_94 | 7.93 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_185 | 1.45 | 0.01 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Cyclobacteriaceae |
| ASV_34 | 1.34 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Unknown |
| ASV_639 | 8.75 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Hymenobacteraceae |
| ASV_136 | -5.04 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | Hymenobacteraceae |
| ASV_35 | 2.43 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_21 | 2.41 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Bacteroidia | MWH-CFBk5 |
| ASV_98 | 8.84 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Gemmatimonadota | Longimicrobia | Longimicrobiaceae |
| ASV_150 | 4.72 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_82 | 3.07 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_177 | 4.79 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_189 | -3.21 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_266 | -5.29 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_164 | -2.20 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_47 | 3.74 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Planctomycetota | Phycisphaerae | WD2101 soil group |
| ASV_306 | -2.08 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Unknown |
| ASV_2 | -0.43 | 0.01 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_51 | 1.87 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_68 | -1.40 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_182 | 3.55 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_342 | 7.67 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_234 | 8.43 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_54 | 3.12 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_210 | -2.17 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_258 | 5.74 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_214 | -2.90 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_46 | -1.63 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Unknown |
| ASV_149 | -1.99 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_242 | -2.58 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Unknown |
| ASV_257 | 1.52 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Unknown |
| ASV_75 | -2.17 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_296 | -2.03 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_79 | -2.23 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Pyrinomonadaceae |
| ASV_121 | -2.14 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Unknown |
| ASV_160 | -2.21 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_12 | -2.70 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_53 | -3.25 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Acidobacteriota | Blastocatellia | Blastocatellaceae |
| ASV_343 | 7.58 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Sumerlaeota | Sumerlaeia | Sumerlaeaceae |
| ASV_96 | 4.19 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Sumerlaeota | Sumerlaeia | Sumerlaeaceae |
| ASV_283 | -5.02 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_229 | -2.68 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_129 | -4.12 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_10 | -3.64 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_238 | -5.65 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_273 | -2.08 | 0.01 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_42 | -3.97 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_115 | -2.47 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_284 | -5.77 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_152 | 2.22 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_84 | -2.50 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_13 | -1.81 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_89 | -2.38 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_188 | -3.25 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_8 | -0.68 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_193 | -4.20 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Solirubrobacteraceae |
| ASV_277 | -5.44 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_202 | -2.08 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Unknown |
| ASV_33 | -1.68 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_230 | 1.45 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_226 | -2.68 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | 67-14 |
| ASV_348 | -4.91 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Thermoleophilia | Gaiellaceae |
| ASV_118 | 2.56 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_133 | 3.20 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_139 | -2.66 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_59 | -2.65 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_305 | -3.13 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_124 | -1.73 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Rubrobacteria | Rubrobacteriaceae |
| ASV_179 | 1.23 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Pseudonocardiaceae |
| ASV_16 | 1.09 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_7 | -1.46 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_90 | 1.37 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Acidimicrobiia | Ilumatobacteraceae |
| ASV_131 | 1.54 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_247 | -5.78 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Acidimicrobiia | Iamiaceae |
| ASV_322 | 3.76 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Acidimicrobiia | Iamiaceae |
| ASV_44 | -1.23 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_280 | -4.58 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Unknown | Unknown |
| ASV_291 | -5.01 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Unknown | Unknown |
| ASV_167 | -3.63 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_137 | -4.75 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_67 | -3.93 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Acidimicrobiia | Unknown |
| ASV_279 | -5.57 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_157 | -5.95 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_262 | -6.18 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_373 | -4.18 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_261 | -5.99 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Propionibacteriaceae |
| ASV_61 | 4.02 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_56 | -3.59 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_101 | 1.29 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_140 | -2.36 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Nocardioidaceae |
| ASV_181 | -6.98 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_78 | -2.12 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Actinobacteriota | Actinobacteria | Unknown |
| ASV_220 | 2.01 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_108 | -3.02 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_161 | -2.53 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_240 | -4.35 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_86 | -0.93 | 0.01 | Wetting_vs_Control | T5 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_55 | 1.12 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Deinococcota | Deinococci | Trueperaceae |
| ASV_203 | 5.87 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Bacteroidota | Kapabacteria | Unknown |
| ASV_490 | 6.79 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Opitutaceae |
| ASV_28 | 3.98 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_172 | 1.69 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_71 | -0.80 | 0.01 | Wetting_vs_Control | T5 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_91 | -2.19 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_48 | -2.20 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_609 | 8.23 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Chthoniobacteraceae |
| ASV_218 | 6.00 | 0.00 | Wetting_vs_Control | T5 | Bacteria | Verrucomicrobiota | Verrucomicrobiae | Rubritaleaceae |

Table S3 – Taxonomic assignments of the differentially abundant ASVs identified with our DESeq2 analysis at each time point.