Table 1. Acquisition times for a 64-MDCT with 370 ms rotation time, number of cycles used and theoretical scores for every HR used in this study. AT=acquisition time; MS= the amount of movement of the imaging target

Heart rate [bpm]
Acquisition time [ms]
Segments
Theoretical score based upon AT 

(g = 0)
Theoretical score based upon MS 

(g = 1)

0
185
1
7
7

50
185
1
2
6

60
185
1
1
5

70
117
2
5
4

80
175
2
3
3

90
112
2
6
2

100
140
2
4
1

