Supplementary Materials

Table S1.  Scanning protocols and failed analyses report per site. The failure rates are reported in numbers and percentage over the total number of acquired scans per cohort (ADC, n = 492 and LMC, n = 206).

Acronyms: COR, coronal; FFE, fast field echo; FSPGR, fast spoiled gradient echo; MPRAGE, magnetization prepared rapid acquisition gradient echo; TFE, turbo field echo; SAG, sagittal. Sites LMC: CA, NoordWest Ziekenhuis Groep, Alkmaar; CL, Medisch Centrum Leeuwarden, Leeuwarden; CZ, Catharina Hospital, Eindhoven; EZ, Elisabeth-TweeSteden Ziekenhuis, Tilburg; JB, Jeroen Bosch Hospital, 's-Hertogenbosch; KG, Spaarne Gasthuis, Haarlem; LA, Medisch Centrum Leeuwarden, Leeuwarden; TE, Tergooi Hospital, Blaricum.

| Site | Manufacturer | Model | Field strength | Series description | Pixel size (mm2) | Slice thickness | N | Failed QC FSL SIENAX | Failed QC FSL FIRST | Failed QC FreeSurfer |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ADC |  |  |  |  |  |  |  |  |  |  |  |
|  | Siemens | Avanto | 1.5 T | MPRAGE COR | 1.00 × 1.00 | 1.5 mm | 11 | 3 (0.6%) | 0 (0.0%) | 0 (0.0%) |
|  | Siemens | Sonata | 1.5 T | MPRAGE COR | 1.00 × 1.00 | 1.5 mm | 34 | 1 (0.2%) | 0 (0.0%) | 0 (0.0%) |
|  | Siemens | Vision | 1.5 T | MPRAGE COR | 0.98 × 1.98 | 1.5 mm | 2 | 1 (0.2%) | 0 (0.0%) | 0 (0.0%) |
|  | GE | SignaHDxt | 1.5 T | FSPGR SAG | 0.98 × 1.98 | 1.5 mm | 18 | 0 (0.0%) | 0 (0.0%) | 0 (0.0%) |
|  | GE | SignaHDxt | 3 T | FSPGR SAG | 0.98 × 1.98 | 1.5 mm | 418 | 15 (3.1%) | 30 (6.1) | 10 (2.0%) |
|  | Philips | Ingenuity PET/MR | 3 T | TFE SAG | 1.00 × 1.00 | 1.0 mm | 7 | 0 (0.0%) | 0 (0.0%) | 1 (0.2%) |
|  | Toshiba | Titan | 3 T | FFE SAG | 1.00 × 1.00 | 1.0 mm | 2 | 0 (0.0%) | 0 (0.0%) | 0 (0.0%) |
| Total | - | - | - | - | - | - | 492 | 20 (4.1%) | 30 (6.1%) | (2.2%) |

| Site | Manufacturer | Model | Field strength | Series description | Pixel size (mm2) | Slice thickness | N | Failed QC FSL SIENAX | Failed QC FSL FIRST | Failed QC FreeSurfer |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LMC |  |  |  |  |  |  |  |  |  |  |
| CA | Siemens | Avanto | 1.5 T | T1 MPR COR | 0.98 × 0.98 | 1 mm |  |  |  |  |
|  | Siemens | Avanto | 1.5 T | T1 MPR COR | 0.49 × 0.49 | 1 mm |  |  |  |  |
|  | Siemens | Espree | 1.5 T | T1 MPR COR | 0.98 × 0.98 | 1 mm |  |  |  |  |
|  | Siemens | Espree | 1.5 T | T1 MPR COR | 0.49 × 0.49 | 1 mm |  |  |  |  |
|  | Siemens | Symphony | 1.5 T | T1 3D MPR COR | 0.51 × 0.51 | 1.1 mm |  |  |  |  |
|  | Siemens | Symphony | 1.5 T | T1 3D MPR COR | 1.17 × 1.17 | 1.2 mm |  |  |  |  |
|  | Siemens | Symphony | 1.5 T | T1 3D MPR COR | 0.86 × 0.86 | 3 mm |  |  |  |  |
| Subtotal | - | - | - | - | - | - | 50 | 13 (6.3%) | 11 (5.3%) | 2 (1.0%) |
| CL | Philips | Achieva | 1.5 T | T1W 3D FFE | 0.90 × 0.90 | 1.6 mm |  |  |  |  |
|  | Philips | Achieva | 1.5 T | T1W 3D TFE | 1.00 × 1.00 | 1.2 mm |  |  |  |  |
|  | Philips | Achieva | 3 T | T1W 3D TFE | 0.94 × 0.94 | 1 mm |  |  |  |  |
|  | Philips | Intera | 1.5 T | T1W 3D TFE | 1.00 × 1.00 | 1.2 mm |  |  |  |  |
|  | Philips | Intera | 1.5 T | T1W 3D TFE SAG | 1.00 × 1.00 | 3 mm |  |  |  |  |
|  | Philips | Intera | 1.5 T | T1W 3D TFE COR | 1.00 × 1.00 | 3 mm |  |  |  |  |
| Subtotal | - | - | - | - | - | - | 23 | 3 (1.5%) | 4 (1.9%) | 3 (1.5%) |
| CZ | Philips | Ingenia | 1.5 T | T1W 3D TFE | 0.90 × 0.90 | 2.8 mm | 9 | 8 (3.8%) | 2 (1.0%) | 8 (3.8%) |
| EZ | Philips | Achieva | 3 T | T1W 3D TFE | 1.00 × 1.00 | 1 mm |  |  |  |  |
|  | Philips | Intera | 1.5 T | T1w 3d FFE | 0.80 × 0.80 | 1.6 mm |  |  |  |  |
| Subtotal | - | - | - | - | - | - | 26 | 7 (3.4%) | 2 (1.0%) | 2 (1.0%) |
| JB | Siemens | Espree | 1.5 T | COR T1 TIR | 0.45 × 0.45 | 4 mm | 21 | 2 (1.0%) | 0 (0.0%) | 1 (0.5%) |
| KG | Philips | Achieva | 1.5 T | 3D T1 FFE | 0.47 × 0.47 | 2 mm |  |  |  |  |
|  | Philips | Achieva | 1.5 T | 3D T1 FFE | 0.47 × 0.47 | 2 mm |  |  |  |  |
|  | Philips | Achieva dStream | 1.5 T | 3D T1 TFE | 0.57 × 0.57 | 2 mm |  |  |  |  |
|  | Philips | Achieva dStream | 1.5 T | MPR sag test | 0.57 × 0.57 | 2 mm |  |  |  |  |
|  | Philips | Achieva dStream | 1.5 T | 3D T1 FFE sag | 0.63 × 0.63 | 1.4 mm |  |  |  |  |
| Subtotal | - | - | - | - | - | - | 68 | 27 (13.1%) | 17 (8.3%) | 9 (4.3%) |
| LA | Siemens | Avanto | 1.5 T | T1 MPR SAG P2 ISO | 0.98 × 0.98 | 1 mm |  |  |  |  |
|  | GE | Signa HDxt | 1.5 T | SAG T1 3D FSPGR | 0.47 × 0.47 | 1.6 mm |  |  |  |  |
|  | GE | Signa HDxt | 1.5 T | COR 2 mm | 0.47 × 0.47 | 2 mm |  |  |  |  |
| Subtotal | - | - | - | - | - | - | 3 | 2 (1.0%) | 2 (1.0%) | 2 (1.0%) |
| TE | Siemens | Aera | 1.5 T | T1 FL3D SAG ISO | 0.98 × 0.98 | 1 mm |  |  |  |  |
|  | Siemens | Aera | 1.5 T | T1 TIR COR | 0.72 × 0.72 | 4 mm |  |  |  |  |
|  | Siemens | Avanto | 1.5 T | T1 TIR COR | 0.45 × 0.45 | 2 mm |  |  |  |  |
| Subtotal | - | - | - | - | - | - | 6 | 5 (2.4%) | 5 (2.4%) | 4 (1.9%) |
| Total | - | - | - | - | - | - | 206 | 67 (32.5%) | 43 (20.9) | 31 (15.0%) |

Table S2.  Ability of visual reads, FSL, and FreeSurfer (FS) to distinguish CN vs AD and CN vs MCI based on non-normalized GMV and HCV outcomes. Area under the curve (AUC) of ROC curves is reported with 95% confidence interval. P-values are obtained through DeLong method when comparing FSL vs FS and with bootstrap test for two correlated ROC curves when comparing visual reads against FSL or FS (boot number = 2000).

| Non-Normalised GMV |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ADC | GCA AUC (95% CI) | FSL AUC (95% CI) | FreeSurfer (FS) AUC (95% CI) | GCA vs FSL p-value | GCA vs FS p-value | FSL vs FS p-value |
| CN vs AD | 0.84 (0.80 – 0.88) | 0.78 (0.72 – 0.83) | 0.71 (0.65 – 0.77) | *0.014 | *<0.001 | *<0.001 |
| CN vs MCI | 0.64 (0.59 – 0.69) | 0.61 (0.55 – 0.67) | 0.61 (0.56 – 0.67) | 0.342 | 0.464 | 0.955 |
| LMC | GCA AUC (95% CI) | FSL AUC (95% CI) | FreeSurfer (FS) AUC (95% CI) | GCA vs FSL p-value | GCA vs FS p-value | FSL vs FS p-value |
| CN vs AD | 0.66 (0.57 – 0.76) | 0.80 (0.70 – 0.89) | 0.75 (0.65 – 0.85) | 0.139 | 0.220 | *0.006 |
| CN vs MCI | 0.63 (0.52 – 0.73) | 0.61 (0.47 – 0.74) | 0.62 (0.49 – 0.74) | 0.145 | 0.397 | 0.346 |
| Non-Normalised HCV |  |  |  |  |  |  |
| ADC | MTA AUC (95% CI) | FSL AUC (95% CI) | FreeSurfer (FS) AUC (95% CI) | MTA vs FSL p-value | MTA vs FS p-value | FSL vs FS p-value |
| CN vs AD | 0.85 (0.80 – 0.89) | 0.83 (0.78 – 0.89) | 0.82 (0.76 – 0.87) | 0.714 | 0.424 | 0.821 |
| CN vs MCI | 0.65 (0.60 – 0.70) | 0.69 (0.64 – 0.74) | 0.68 (0.63 – 0.73) | 0.208 | 0.165 | 0.934 |
| LMC | MTA AUC (95% CI) | FSL AUC (95% CI) | FreeSurfer (FS) AUC (95% CI) | MTA vs FSL p-value | MTA vs FS p-value | FSL vs FS p-value |
| CN vs AD | 0.70 (0.61 – 0.80) | 0.76 (0.66 – 0.87) | 0.83 (0.75 -0.92) | 0.182 | *0.007 | 0.336 |
| CN vs MCI | 0.59 (0.49 – 0.70) | 0.60 (0.47 – 0.72) | 0.69 (0.57 – 0.81) | 0.549 | 0.147 | 0.098 |