# Table S1. The parameters of each MR systems

| Scanner | Magnetic Field Strength [T] | Repetition Time [ms] | Echo Time [ms] | Flip Angle [degree] | Slice Thickness [mm] | Field of View [mm] | Acceleration Factor |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TrioTim | 3.0 | 3.0 | 1.23 | 14 | 3.0 | 322x429 | 2 |
| Prisma1* | 3.0 | 3.36 | 1.17 | 13 | 2.5 | 296x379 | 4 |
| Prisma2* | 3.0 | 3.36 | 1.17 | 13 | 2.5 | 296x379 | 4 |
| Vida | 3.0 | 3.37 | 1.19 | 13 | 2.5 | 296x379 | 4 |
| Avanto | 1.5 | 4.05 | 1.86 | 15 | 3.0 | 275x400 | 2 |
| Avanto-fit | 1.5 | 3.3 | 1.2 | 13 | 2.5 | 296x379 | 4 |

* Two of the same models.

Table S2. The slope of linear regression of ICG-PDR by harmonized HUI using ALBI-LP

| MR scanner | Slope (95% CIs) |
| --- | --- |
| Avanto | -0.171 (-0.189, -0.153) |
| Avanto Fit | -0.172 (-0.193, -0.151) |
| Vida | -0.176 (-0.189, -0.157) |
| Prisma1 | -0.173 (-0.182, -0.163) |
| Prisma2 | -0.174 (-0.190, -0.159) |
| Trio Tim* | -0.173 (-0.181, -0.165) |

ICG-PDR, indocyanine green plasma disappearance rate; ALBI-LP, albumin-bilirubin linear predictor; HUI, hepatocellular uptake index. *Reference magnetic resonance scanner.