Appendix. Kruskal-Wallis differences in acoustic parameters across devices (ACC, CM1, CM2, Headset) comparing two subjects.
	Parameter
	Subjects

	
	Female
	
	Male

	
	Device
	
	Device

	
	Accelerometer
	Alomejor
	DrFeify
	Headset
	
	Accelerometer
	Alomejor
	DrFeify
	Headset

	fomean_speech (Hz)
	245.14
	246.11
	244.60
	245.24
	
	142.22
	142.80
	142.57
	143.12

	foSD_speech (Hz)
	39.40
	39.67
	39.82
	39.45
	
	17.29
	17.32
	16.95
	17.22

	 CPPSmean_speech (dB) 
	7.24
	6.94
	7.50
	7.66
	
	7.99
	7.70
	7.50
	7.70

	CPPSSD_speech (dB)
	5.02
	5.16
	5.22
	5.53
	
	5.89
	6.23
	5.99
	6.25

	LHRmean_speech (dB) *¥ 
	36.75
	39.30
	33.95
	33.46
	
	35.23
	40.21
	33.39
	34.32

	LHRSD_speech (dB) *¥
	11.94
	14.97
	13.53
	11.81
	
	10.05
	13.32
	10.41
	11.94

	fomean_vowel (Hz)
	236.79
	236.65
	236.72
	236.69
	
	141.30
	123.02
	141.30
	141.28

	foSD_vowel (Hz)
	4.04
	3.32
	3.53
	3.52
	
	3.91
	8.45
	4.18
	3.99

	fokurtosis_vowel (Hz)
	36.96
	32.66
	42.03
	36.93
	
	42.71
	26.63
	60.35
	42.01

	foskewness_vowel (Hz)
	1.93
	1.08
	2.92
	1.86
	
	3.73
	1.74
	5.16
	3.67

	Jitter (Hz) ¥
	0.00
	0.00
	0.00
	0.00
	
	0.01
	0.01
	0.01
	0.01

	Shimmer (dB) ¥
	0.23
	0.28
	0.13
	0.21
	
	0.41
	0.71
	0.32
	0.48

	NHR (dB) ¥
	0.01
	0.01
	0.00
	0.01
	
	0.03
	0.07
	0.01
	0.04

	HNR (dB) ¥
	25.59
	28.13
	35.15
	25.68
	
	20.48
	19.56
	26.18
	19.27

	CPPsmean_vowel (dB)
	11.63
	11.42
	12.27
	13.17
	
	14.41
	14.64
	14.10
	15.03

	CPPsSD_vowel  (dB)
	1.70
	1.58
	1.52
	1.59
	
	1.42
	1.25
	1.37
	1.61

	LHRmean_vowel (dB) *¥
	44.21
	47.83
	44.36
	41.50
	
	44.38
	48.44
	40.12
	41.64

	LHRSD_vowel (dB) *¥
	6.06
	7.89
	6.94
	4.00
	 
	7.07
	9.15
	6.95
	4.84


CPPS, Cepstral Peak Prominence Smoothed; dB, Decibels, sound intensity unit; HNR, Harmonics-to-Noise Ratio; Hz, Hertz, unit of frequency cycles per second; LHR, Low-to-High Ratio; NHR, Noise-to-Harmonics Ratio; SD, Standard Deviation.
* Significant differences (p < 0.05) for the male subject.
¥ Significant differences (p < 0.05) for the female subject.
