## Contents
Online resource 5
Temporal evolution of a post-caldera, mildly peralkaline magmatic system: Furnas volcano, São Miguel, Azores
A. J. Jeffery, R. Gertisser, B. O'Driscoll, J. M. Pacheco, S. Whitley, A. Pimentel, S. Self
Contributions to Mineralogy and Petrology
This document provides the standard and repeat analyses of each the methods employed in this study:
|  | Page 1: | WD-XRF
|  | Page 2: | ED-XRF
|  | Page 3: | ICP-AES
|  | Page 4: | ICP-MS
|  | Page 5: | EMPA

## WD-XRF
Wavelength Dispersive X-ray fluoresence spectroscopy analyses
Major element analysis
Standard: |  |  | WS-E | Standard: |  |  | OUG94 | Standard: |  |  | GSP-2 | Standard: |  |  | W2a | Standard: |  |  | AC-E
No. analyses: |  |  | 14 | No. analyses: |  |  | 14 | No. analyses: |  |  | 2 | No. analyses: |  |  | 2 | No. analyses: |  |  | 2
| Expected | Avg | Stdev |  | Expected | Avg | Stdev |  | Expected | Avg | Stdev |  | Expected | Avg | Stdev |  | Expected | Avg | Stdev
SiO2 | 51.1 | 51.1107 | 0.14497 | SiO2 | 69.945 | 69.9132 | 0.074554 | SiO2 | 66.6 | 66.17 | 0.084853 | SiO2 | 52.68 | 52.005 | 0.06364 | SiO2 | 70.35 | 69.925 | 0.0070711
TiO2 | 2.4 | 2.4088 | 0.0085576 | TiO2 | 0.314 | 0.31866 | 0.0034591 | TiO2 | 0.66 | 0.66 | 0 | TiO2 | 1.06 | 1.04 | 0 | TiO2 | 0.11 | 0.1 | 0
Al2O3 | 13.78 | 13.8839 | 0.04992 | Al2O3 | 14.658 | 14.6295 | 0.035016 | Al2O3 | 14.9 | 14.965 | 0.021213 | Al2O3 | 15.45 | 15.285 | 0.10607 | Al2O3 | 14.7 | 14.83 | 0.084853
Fe2O3 | 13.15 | 13.1728 | 0.018369 | Fe2O3 | 3.051 | 3.05 | 0.0074878 | Fe2O3 | 4.9 | 4.91 | 0 | Fe2O3 | 10.83 | 10.83 | 0 | Fe2O3 | 2.53 | 2.46 | 0
MnO | 0.17112 | 0.17126 | 0.0021019 | MnO | 0.075 | 0.077046 | 0.0011318 | MnO | 0.032 | 0.04 | 0 | MnO | 0.167 | 0.16 | 0 | MnO | 0.058 | 0.06 | 0
MgO | 5.55 | 5.5752 | 0.034493 | MgO | 1.04 | 1.0372 | 0.0087948 | MgO | 0.96 | 1.005 | 0.0070711 | MgO | 6.37 | 6.29 | 0.014142 | MgO | 0.03 | 0.035 | 0.0070711
CaO | 8.95 | 8.9763 | 0.033828 | CaO | 1.34 | 1.3681 | 0.0044148 | CaO | 2.1 | 2.02 | 0 | CaO | 10.86 | 10.625 | 0.0070711 | CaO | 0.34 | 0.365 | 0.0070711
Na2O | 2.47 | 2.4304 | 0.022905 | Na2O | 4.6 | 4.6037 | 0.032501 | Na2O | 2.78 | 3.62 | 0.042426 | Na2O | 2.2 | 2.565 | 0.0070711 | Na2O | 6.54 | 6.775 | 0.035355
K2O | 1 | 0.99423 | 0.0074289 | K2O | 2.961 | 2.9646 | 0.021534 | K2O | 5.38 | 5.43 | 0 | K2O | 0.626 | 0.645 | 0.0070711 | K2O | 4.49 | 4.47 | 0
P2O5 | 0.30198 | 0.29954 | 0.0056761 | P2O5 | 0.165 | 0.16586 | 0.0029149 | P2O5 | 0.29 | 0.33 | 0 | P2O5 | 0.14 | 0.15 | 0 | P2O5 | 0.014 | 0.04 | 0
LOI | 0.85 | 0.85 | 2.3043e-16 | LOI | 1.97 | 1.97 | 4.6085e-16 | LOI |  |  |  | LOI |  |  |  | LOI
Total | 99.7231 | 99.8732 | 0.25766 | Total | 100.119 | 100.0979 | 0.11152 | Total | 98.602 | 99.15 | 0.15556 | Total | 100.383 | 99.595 | 0.20506 | Total | 99.162 | 99.06 | 0.14142
ppm |  |  |  | ppm
Ba | 338 | 352.8643 | 12.7722 | Ba | 357 | 379.3286 | 8.7386
Cr | 99 | 102.55 | 2.7416 | Cr | 35 | 32.6571 | 1.972
Ni | 55 | 48.0571 | 2.4961 | Ni | 17 | 16.7 | 1.7755
S% | 0.05 | 0.05191 | 0.0027065 | S% | 0.01 | 0.00071143 | 0.0018478
Trace element analysis
Standard: |  |  | BHVO-1 | Standard: |  |  | QLO-1 | Standard: |  |  | DNC-1 | Standard: |  |  | W-2 | Standard: |  |  | AGV-2 | Standard: |  |  | BCR-2 | Standard: |  |  | SDO-1 | Standard: |  |  | Mess-2 | Standard: |  |  | STSD-2 | Standard: |  |  | W2a
No. analyses: |  |  | 12 | No. analyses: |  |  | 12 | No. analyses: |  |  | 12 | No. analyses: |  |  | 12 | No. analyses: |  |  | 6 | No. analyses: |  |  | 6 | No. analyses: |  |  | 2 | No. analyses: |  |  | 2 | No. analyses: |  |  | 2 | No. analyses: |  |  | 2
| Expected | Avg | Stdev |  | Expected | Avg | Stdev |  | Expected | Avg | Stdev |  | Expected | Avg | Stdev |  | Expected | Avg | Stdev |  | Expected | Avg | Stdev |  | Expected | Avg | Stdev |  | Expected | Avg | Stdev |  | Expected | Avg | Stdev |  | Expected | Avg | Stdev
Rb | 11 | 9.4333 | 0.60803 | Rb | 74 | 72.5417 | 0.76807 | Rb | 4.5 | 3.8667 | 0.38218 | Rb | 20 | 20.4167 | 0.45892 | Rb | 69 | 69.1833 | 0.40702 | Rb | 48 | 49.3833 | 0.83287 | Rb | 126 | 129.5 | 0.70711 | Rb | n/a | 141.5 | 0.70711 | Rb | 104 | 99 | 0 | Rb | 21 | 22 | 0
Sr | 403 | 403.6917 | 2.407 | Sr | 336 | 331.4917 | 2.1903 | Sr | 145 | 146.325 | 1.0074 | Sr | 194 | 198.8 | 1.6398 | Sr | 658 | 657.7667 | 1.9755 | Sr | 346 | 351.5667 | 1.9242 | Sr | 75.1 | 71.5 | 0.70711 | Sr | 125 | 130 | 1.4142 | Sr | 400 | 410 | 0 | Sr | 190 | 188.5 | 0.70711
Y | 27.6 | 27.6667 | 0.528 | Y | 24 | 24.0167 | 0.8343 | Y | 18 | 18.1583 | 0.39418 | Y | 24 | 22.5333 | 0.59747 | Y | 20 | 19.6667 | 0.41312 | Y | 37 | 37.2833 | 0.51153 | Y | 40.6 | 38.5 | 0.70711 | Y | n/a | 25 | 0 | Y | 37 | 35.5 | 0.70711 | Y | 23 | 21 | 0
Zr | 179 | 178.0417 | 1.4394 | Zr | 185 | 188.825 | 1.3067 | Zr | 41 | 38.8417 | 0.54682 | Zr | 94 | 94.1417 | 0.82402 | Zr | 230 | 239.6833 | 1.9773 | Zr | 188 | 193.3 | 0.85088 | Zr | 165 | 161.5 | 0.70711 | Zr | n/a | 139.5 | 0.70711 | Zr | 185 | 181 | 0 | Zr | 100 | 92.5 | 0.70711
Nb | 19 | 18.225 | 0.49566 | Nb | 10.3 | 10.0833 | 0.53058 | Nb | 3 | 1.975 | 0.50834 | Nb | 7.9 | 7.3167 | 0.67262 | Nb | 15 | 12.9833 | 0.46655 | Nb | - |  |  | Nb | 36.6 | 15 | 0 | Nb | n/a | 16.5 | 0.70711 | Nb | 20 | 20.5 | 0.70711 | Nb | 7.9 | 10 | 0
Ba | 139 | 143.65 | 4.8898 | Ba | 1370 | 1388.1417 | 18.0807 | Ba | 114 | 107.1583 | 4.134 | Ba | 182 | 180.775 | 6.7665 | Ba | 1140 | 1141.4333 | 17.139 | Ba | 683 | 708.6333 | 13.7254 | Ba | 397 | 391 | 2.8284 | Ba | n/a | 1026.5 | 2.1213 | Ba | 540 | 523 | 2.8284 | Ba | 170 | 134 | 1.4142
Sc | 31.8 | 33.525 | 1.6783 | Sc | 8.9 | 8.1583 | 1.179 | Sc | 31 | 30.6667 | 1.8002 | Sc | 35 | 36.0917 | 1.85 | Sc | 13 | 15.5333 | 2.2385 | Sc | 33 | 34.75 | 1.5515 | Sc | 13.2 | 12.5 | 0.70711 | Sc | n/a | 14 | 0 | Sc | 16 | 14 | 1.4142 | Sc | 36 | 33 | 0
V | 317 | 317.6333 | 5.3544 | V | 54 | 48.5083 | 3.033 | V | 148 | 147.2 | 2.4728 | V | 262 | 266.175 | 2.9002 | V | 120 | 121.65 | 2.4255 | V | 416 | 426.4 | 9.6978 | V | 160 | 174.5 | 0.70711 | V | 252 | 246.5 | 2.1213 | V | 101 | 104.5 | 2.1213 | V | 260 | 266.5 | 0.70711
Cr | 289 | 290.4917 | 1.708 | Cr | 3.2 | 4.8167 | 1.6225 | Cr | 285 | 281.05 | 5.2372 | Cr | 93 | 94.1833 | 2.0701 | Cr | 17 | 17.7833 | 0.51153 | Cr | 18 | 19.5167 | 0.89088 | Cr | 66.4 | 48.5 | 2.1213 | Cr | 106 | 92 | 1.4142 | Cr | 116 | 100.5 | 2.1213 | Cr | 92 | 63.5 | 0.70711
Co | 45 | 43.025 | 3.7613 | Co | 7.2 | 7.5167 | 1.3776 | Co | 54.7 | 55.225 | 2.4466 | Co | 44 | 41.7083 | 2.9435 | Co | 16 | 15.5333 | 0.75277 | Co | 37 | 33.05 | 1.6826 | Co |  |  |  | Co |  |  |  | Co |  |  |  | Co
Ni | 121 | 120.7583 | 1.8995 | Ni | 5.8 | 4.5667 | 1.0456 | Ni | 247 | 241.8 | 1.7404 | Ni | 70 | 68.3917 | 1.9603 | Ni | 19 | 20.6667 | 1.2356 | Ni | - |  |  | Ni | 99.5 | 89 | 1.4142 | Ni | 49.3 | 47 | 0 | Ni | 53 | 57 | 0 | Ni | 70 | 66.5 | 0.70711
Cu | 136 | 136.5583 | 1.7891 | Cu | 29 | 26.3167 | 1.2981 | Cu | 96 | 86.8167 | 1.1938 | Cu | 103 | 102.9917 | 1.0799 | Cu | 53 | 51.7 | 1.3711 | Cu | 19 | 21.4 | 1.6959 | Cu | 60.2 | 61.5 | 0.70711 | Cu | 39.3 | 43.5 | 0.70711 | Cu | 47 | 45 | 1.4142 | Cu | 110 | 116.5 | 2.1213
Zn | 105 | 104.7333 | 2.7344 | Zn | 61 | 59.8083 | 1.5294 | Zn | 66 | 64.325 | 1.0074 | Zn | 77 | 76.95 | 0.99955 | Zn | 86 | 87.7167 | 1.0284 | Zn | 127 | 127.45 | 1.7513 | Zn | 64.1 | 58 | 0 | Zn | 172 | 144.5 | 2.1213 | Zn | 246 | 236 | 1.4142 | Zn | 80 | 73.5 | 0.70711
Ga | 21 | 21.525 | 1.2144 | Ga | 17 | 15.7667 | 0.67465 | Ga | 15 | 14.1083 | 0.91 | Ga | 20 | 18.15 | 0.96153 | Ga | 20 | 18.2167 | 0.80602 | Ga | 23 | 21.2833 | 1.3497 | Ga |  |  |  | Ga |  |  |  | Ga |  |  |  | Ga
La |  |  |  | La |  |  |  | La |  |  |  | La |  |  |  | La |  |  |  | La |  |  |  | La | 38.5 | 46 | 4.2426 | La | n/a | 48 | 4.2426 | La | 59 | 56.5 | 0.70711 | La | 10 | 6.5 | 4.9497
Ce |  |  |  | Ce |  |  |  | Ce |  |  |  | Ce |  |  |  | Ce |  |  |  | Ce |  |  |  | Ce | 79.3 | 84.5 | 0.70711 | Ce | n/a | 108.5 | 2.1213 | Ce | 93 | 120 | 1.4142 | Ce | 23 | 43.5 | 4.9497
S | 102 | 87.9833 | 20.7295 | S | 30 | 51.55 | 3.4805 | S |  |  |  | S |  |  |  | S | - |  |  | S | - |  |  | S |  |  |  | S |  |  |  | S |  |  |  | S
TiO2 wt. % | 2.71 | 2.7338 | 0.017967 | TiO2 wt. % | 0.624 | 0.65171 | 0.013453 | TiO2 wt. % | 0.48 | 0.47614 | 0.0040929 | TiO2 wt. % | 1.06 | 1.0839 | 0.0054947 | TiO2 wt. % | 1.05 | 1.1239 | 0.0074931 | TiO2 wt. % | 2.26 | 2.371 | 0.010259 | TiO2 wt. % |  |  |  | TiO2 wt. % |  |  |  | TiO2 wt. % |  |  |  | TiO2 wt. %
Fe2O3 wt. % | 12.23 | 12.3386 | 0.055297 | Fe2O3 wt. % | 4.35 | 4.0063 | 0.048887 | Fe2O3 wt. % | 9.93 | 9.7585 | 0.039399 | Fe2O3 wt. % | 10.74 | 10.5252 | 0.03102 | Fe2O3 wt. % | 6.69 | 6.4018 | 0.021472 | Fe2O3 wt. % | 13.8 | 13.6061 | 0.068329 | Fe2O3 wt. % |  |  |  | Fe2O3 wt. % |  |  |  | Fe2O3 wt. % |  |  |  | Fe2O3 wt. %

## ED-XRF
Energy Dispersive X-ray fluoresence spectroscopy analyses
Callibration standard analyses
Expected values | [5 empty] | Measured values
Sample | Rb | Sr | Zr | Nb |  | Rb | Sr | Zr | Nb
ace-1 | 61.54 |  | 174.55 | 89.77 |  | 152 |  | 780 | 110
agv-1 | 26.43 | 472.01 | 46.32 | 9.46 |  | 67 | 662 | 225 | 15
an-g |  | 53.44 | 2.22 |  |  |  | 76 | 15
bcr-1 | 18.7 | 233.33 | 37.93 | 8.38 |  | 47.2 | 330 | 190 | 14
t-1 | 19.19 | 979.7 | 54.13 | 86.5 |  | 47 |  | 265 | 100
agv-1 | 3.27 | 277.96 | 34.76 | 14.3 |  | 11 | 403 | 179 | 19
g-2 |  | 75.41 | 2.92 |  |  |  | 108 | 22
glo-1 | 18.95 | 951.1 | 53.61 | 85.35 |  | 47 |  | 250 | 98
ac-e |  | 102.52 | 7.31 |  |  |  | 145 | 41
ma-n | 28.32 | 278.32 | 23.29 | 4.58 |  | 73 | 400 | 125 | 8
g-1 | 87.68 | 184.88 | 43.73 | 15.98 |  | 215 | 249 | 201 | 20.4
g-2 | 68.66 | 347.34 | 64.78 | 9.99 |  | 170 | 478 | 300 | 13
ga | 69.84 | 217.64 | 28.37 | 9.96 |  | 175 | 310 | 150 | 12
gh | 159.61 | 5.55 | 34.63 | 71.38 |  | 390 | 10 | 150 | 85
gs-n | 77.46 | 421.8 | 45.78 | 18.02 |  | 185 | 570 | 235 | 21
gsp-1 | 104.85 | 170.65 | 111.24 | 20.91 |  | 254 | 234 | 530 | 26
jg-1 | 72.51 | 133.39 | 21.98 | 7.83 |  | 181 | 184 | 108 | 12.6
ma-n | 1546.37 | 67.79 | 3.68 | 153.11 |  |  | 84 | 27 | 173
mrg-1 | 2.51 | 188.42 | 22.1 | 20.13 |  | 8.5 | 266 | 108 | 20
nim-d |  | 1.58 |  |  |  |  | 3
nim-g | 131.42 | 6.81 | 57.8 | 41.34 |  | 325 | 10 | 300 | 53
nim-n |  | 183.09 | 2.28 |  |  |  | 260 | 14
nim-p |  | 23.2 | 2.64 |  |  |  | 32 | 15
nim-s | 214.49 | 44.61 | 2.84 |  |  | 530 | 62 | 20
ph-8 | 31.21 | 39.21 | 66.95 | 29.05 |  | 67.1 | 76 | 320
qlo-1 | 28.34 | 238.53 | 37.99 | 6.58 |  | 74 | 336 | 185 | 10.3
rgm-1 | 61.67 | 74.85 | 46.84 | 6.27 |  | 149 | 108 | 219 | 8.9
stm-1 | 48.17 | 516.07 | 269.75 | 210.37 |  | 118 | 700 | 1210 | 268
sy-1 | 29.26 | 140.62 | 667.34 | 80.63 |  |  | 286 | 2978
sy-2 | 85.68 | 193.43 | 58.2 | 18.12 |  | 217 | 271 | 280
sy-3 | 79.51 | 224.72 | 65.56 | 178.45 |  | 206 | 302 | 320
t-1 | 11.6 | 271.53 | 32.13 | 10.43 |  | 34 | 408 | 140 | 12
w-1 | 9.05 | 131.42 | 18.88 | 5.54 |  | 21.4 | 187 | 100 | 8
w-2 | 7.92 | 133.35 | 18.71 | 5.27 |  | 20 | 194 | 94 | 7.9
Secondary standard analyses
Expected values | [5 empty] | Measured values |  |  |  |  | Percentage difference
Sample | Rb | Sr | Zr | Nb |  | Rb | Sr | Zr | Nb |  | Rb | Sr | Zr | Nb
S053 | 146 | 359 | 815 | 117 |  | 144.4103 | 350.4127 | 782.336 | 118.1602 |  | 1.0888 | 2.392 | 4.0079 | 1
S035 | 267 | bdl | 1733 | 238 |  | 253.9514 | bdl | 1724.7672 | 247.9557 |  | 4.8871 |  | 0.47506 | 4
S037 | 205 | bdl | 1275 | 233 |  | 192.4489 | bdl | 1207.806 | 237.2952 |  | 6.1225 |  | 5.2701 | 2
S008 | 221 | bdl | 1424 | 256 |  | 208.9996 | bdl | 1329.8218 | 258.7533 |  | 5.43 |  | 6.6136 | 1
S023 | 173 | bdl | 1021 | 187 |  | 165.9776 | bdl | 963.8229 | 184.4328 |  | 4.0592 |  | 5.6001 | 1.3728
T005 | 133 | bdl | 1043 | 176 |  | 124.3657 | bdl | 978.7527 | 174.0505 |  | 6.492 |  | 6.1599 | 1.1077
T002 | 94 | 24 | 714 | 121 |  | 86.2668 | 22.6844 | 668.0476 | 119.6665 |  | 8.2268 | 5.4816 | 6.4359 | 1.1021
T010 | 94 | 18 | 674 | 121 |  | 87.5037 | 15.9359 | 632.3523 | 117.29 |  | 6.9109 | 11.4672 | 6.1792 | 3.0662
T050 | 45 | 142 | 971 | 173 |  | 44.0859 | 135.4967 | 911.7388 | 168.6373 |  | 2.0314 | 4.5798 | 6.1031 | 2.5218
T014 | 19 | 580 | 243 | 53 |  | 17.8125 | 527.6862 | 219.327 | 51.5634 |  | 6.2502 | 9.0196 | 9.742 | 2.7105
T037 | 73 | 16 | 491 | 88 |  | 66.302 | 12.3607 | 457.9606 | 85.843 |  | 9.1754 | 22.7455 | 6.729 | 2.4511
T036 | 102 | bdl | 693 | 118 |  | 92.5259 | bdl | 642.0785 | 113.9652 |  | 9.2884 |  | 7.348 | 3.4193
T035 | 93 | 12 | 664 | 113 |  | 83.7681 | 10.0881 | 613.7265 | 110.1604 |  | 9.9268 | 15.9323 | 7.5713 | 2.5129
T035 | 102 | bdl | 686 | 118 |  | 94.1834 | bdl | 641.9326 | 115.6456 |  | 7.6633 |  | 6.4238 | 1.9953
T031 | 89 | 36 | 678 | 115 |  | 85.3514 | 31.9134 | 643.0998 | 111.7327 |  | 4.0995 | 11.3517 | 5.1475 | 2.8411
T013 | 192 | bdl | 2258 | 354 |  | 177.2835 | bdl | 2111.1316 | 350.3575 |  | 7.6648 |  | 6.5044 | 1.0289
T026 | 93 | 26 | 706 | 119 |  | 86.8605 | 22.4073 | 663.6708 | 117.9501 |  | 6.6016 | 13.8182 | 5.9956 | 0.88227
T025 | 100 | 20 | 772 | 129 |  | 89.854 | 17.8482 | 728.2531 | 125.6198 |  | 10.146 | 10.7589 | 5.6667 | 2.6203
T028 | 94 | 23 | 701 | 118 |  | 87.9243 | 19.8575 | 652.1938 | 115.2615 |  | 6.4635 | 13.663 | 6.9624 | 2.3208
T029 | 99 | 22 | 762 | 127 |  | 93.5897 | 19.4557 | 714.7822 | 126.448 |  | 5.465 | 11.5652 | 6.1966 | 0.43466
T024 | 135 | bdl | 1073 | 180 |  | 129.7589 | bdl | 1006.6184 | 175.0347 |  | 3.8823 |  | 6.1865 | 2.7585
T011 | 174 | bdl | 1550 | 255 |  | 160.708 | bdl | 1452.5184 | 247.5428 |  | 7.6391 |  | 6.2891 | 2.9244
T003 | 89 | 36 | 666 | 113 |  | 82.8775 | 32.925 | 623.2096 | 111.4927 |  | 6.8793 | 8.5418 | 6.425 | 1.3339
Repeat analyses
| Sample: | S092
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | Avg | Stdev
Nb | 247.27 | 245.23 | 243 | 241.63 | 239.41 | 241.65 | 245.98 | 241.62 | 239.63 | 241.26 | 241.49 | 241.62 | 243.41 | 245.48 | 245.71 | 242.58 | 246.23 | 244.82 | 244.35 | 240.87 | 243.162 | 2.3234
Zr | 317.64 | 311.54 | 311.5 | 312.69 | 310.67 | 311.18 | 310.19 | 309.12 | 309.15 | 312.5 | 311.21 | 310.2 | 311.27 | 312.87 | 311.28 | 310.95 | 313.39 | 311.7 | 312.72 | 310.55 | 311.616 | 1.8296
Rb | 97.07 | 95.13 | 91.89 | 93.9 | 94.78 | 95.14 | 94.55 | 95.2 | 94.7 | 95.34 | 94.21 | 94.2 | 94.47 | 95.32 | 94.84 | 93.27 | 94.7 | 95.39 | 94.54 | 94.3 | 94.647 | 0.99518
| Sample: | STM-1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | Avg | Stdev
Nb | 208.55 | 211.1 | 210.9 | 212.08 | 215.07 | 211.95 | 207.58 | 211.71 | 208.89 | 211.53 | 210.65 | 208.81 | 208.53 | 211.69 | 210.81 | 212.38 | 212.27 | 209.09 | 210.3 | 210.99 | 210.744 | 1.7691
Zr | 268.74 | 272.44 | 272.68 | 269.29 | 272.34 | 271.08 | 272.63 | 273.36 | 270.36 | 268.89 | 270.99 | 273.35 | 270.12 | 272.59 | 271.57 | 272.84 | 273.19 | 271.11 | 272.46 | 270.78 | 271.5405 | 1.4779
Rb | 47.87 | 48.42 | 49.31 | 48.9 | 47.49 | 46.94 | 47.91 | 49.17 | 48.5 | 48.19 | 47.48 | 47.52 | 47.47 | 49.37 | 48.15 | 48 | 48 | 47.84 | 48.73 | 46.99 | 48.1125 | 0.71719
Sr | 513.93 | 513.16 | 514.16 | 518.98 | 517.5 | 519.51 | 526.48 | 515.68 | 518.3 | 514.89 | 517.79 | 517.42 | 510.16 | 516.51 | 516.66 | 521.08 | 520.55 | 518.28 | 520.16 | 517.99 | 517.4595 | 3.4491

## ICP-AES
ICP-AES analyses
Standard: |  |  |  |  | SO-18
No. analyses: |  |  |  |  | 2
| Expected | 1 | 2 | Avg | Stdev
SiO2 | 58.47 | 58.33 | 58.55 | 58.44 | 0.15556
TiO2 | 0.69 | 0.69 | 0.69 | 0.69 | 0
Al2O3 | 14.23 | 14.11 | 14.07 | 14.09 | 0.028284
Fe2O3 | 7.67 | 7.53 | 7.45 | 7.49 | 0.056569
MnO | 0.39 | 0.39 | 0.39 | 0.39 | 0
MgO | 3.35 | 3.36 | 3.32 | 3.34 | 0.028284
CaO | 6.42 | 6.31 | 6.32 | 6.315 | 0.0070711
Na2O | 3.71 | 3.62 | 3.6 | 3.61 | 0.014142
K2O | 2.17 | 2.12 | 2.1 | 2.11 | 0.014142
P2O5 | 0.83 | 0.8 | 0.78 | 0.79 | 0.014142
Cr2O3 | 0.55 | 0.541 | 0.539 | 0.54 | 0.0014142
LOI |  | 1.9 | 1.9 | 1.9 | 0
Total | 98.48 | 99.701 | 99.709 | 99.705 | 0.31961
Ni | 44 | 51 | 47 | 49 | 2.8284
Sc | 25 | 24 | 23 | 23.5 | 0.70711

## ICP-MS
ICP-MS analyses
Standard analyses
| Standard: | AGV-1 |  |  | Standard: | BCR-2 |  |  | Standard: |  | BHVO-1 |  | Standard: |  | BHVO-2 |  | Standard: | BIR-1 |  | Standard: |  |  | RGM-1 |  | Standard: | WS-E |  | Standard: | JB2 |  | Standard: | JB3 | Standard: |  |  | SO-18 | Standard: |  | DS9 | Standard: |  | OREAS45EA
[33 empty] | No. analyses: |  |  | 5 | No. analyses: |  | 1 | No. analyses: |  | 1
| Expected | Measured |  |  | Expected | Measured |  |  | Expected | Measured | Measured |  | Expected | Measured | Measured |  | Expected | Measured |  | Expected | Measured | Measured | Measured |  | Expected | Measured |  | Expected | Measured |  | Expected | Measured |  | Expected | Avg | Stdev |  | Expected | Measured |  | Expected | Measured
Li | 12 | 10.8473 |  | Li | 9 | 9.6703 |  | Li | 4.6 | 4.9124 | 5.1587 | Li | 5 | 4.8449 | 4.9015 | Li | 3.6 | 3.1536 | Li | 57 | 65.6251 | 66.658 | 67.6295 | Li | 13.6 | 13.8982 | Li | 7.78 | 8.8075 | Li | 7.21 | 8.5409 | Li |  |  |  | Li |  |  | Li
Sc | 12 | 12.4684 |  | Sc | 33 | 34.7252 |  | Sc | 31.8 | 34.4962 | 34.4235 | Sc | 32 | 34.5312 | 33.6687 | Sc | 44 | 44.1521 | Sc | 4.4 | 5.2859 | 5.0928 | 5.2744 | Sc | 28 | 28.8922 | Sc | 53.5 | 56.8335 | Sc | 33.8 | 42.9908 | Sc |  |  |  | Sc |  |  | Sc
Ti | 6295 | 6426.9783 |  | Ti | 13548 | 14195.3415 |  | Ti | 16246 | 17322.2914 | 17543.7242 | Ti | 16366 | 17367.1018 | 16837.7388 | Ti | 5755 | 5954.1767 | Ti | 1619 | 1727.1374 | 1663.5398 | 1723.6322 | Ti | 14388 | 14481.2494 | Ti | 7134 | 7406.6085 | Ti | 8633 | 8951.9412 | Ti |  |  |  | Ti |  |  | Ti
V | 120 | 120.1796 |  | V | 416 | 428.5135 |  | V | 317 | 326.1675 | 332.3968 | V | 11 | 329.9735 | 323.6182 | V | 310 | 329.0998 | V | 13 | 12.2618 | 11.8826 | 12.0718 | V | 340 | 330.9382 | V | 575 | 599.4738 | V | 372 | 398.0781 | V | 200 | 197.8 | 6.8337 | V |  |  | V
Cr | 10 | 9.002 |  | Cr | 18 | 16.8733 |  | Cr |  | 297.4795 | 297.7303 | Cr | 280 | 301.5459 | 293.7545 | Cr | 370 | 405.6884 | Cr | 3.7 | 2.1321 | 2.0316 | 2.0016 | Cr | 99 | 94.8331 | Cr | 28.1 | 27.6889 | Cr | 58.1 | 61.5558 | Cr |  |  |  | Cr |  |  | Cr
Co | 15 | 15.7797 |  | Co | 37 | 39.4556 |  | Co | 45 | 47.3288 | 47.9614 | Co | 45 | 47.3933 | 45.7814 | Co | 52 | 55.1645 | Co | 2 | 2.2922 | 2.1977 | 2.203 | Co | 44 | 45.5447 | Co | 38 | 39.2032 | Co | 34.3 | 37.4453 | Co | 26.2 | 26.52 | 0.70498 | Co |  |  | Co
Ni | 16 | 15.9967 |  | Ni |  | 13.1599 |  | Ni |  | 121.3268 | 120.5864 | Ni | 119 | 122.927 | 119.1881 | Ni | 170 | 172.469 | Ni |  | 1.7782 | 1.6812 | 1.7386 | Ni | 55 | 146.787 | Ni | 16.6 | 15.0445 | Ni | 36.2 | 40.5882 | Ni |  |  |  | Ni | 40.3 | 39.6 | Ni | 357 | 351.3
Cu | 60 | 60.0521 |  | Cu | 19 | 21.4738 |  | Cu | 136 | 144.2833 | 143.12 | Cu | 127 | 134.9544 | 131.1872 | Cu |  | 125.7466 | Cu | 12 | 14.1308 | 13.6266 | 13.8935 | Cu | 65 | 66.3641 | Cu | 225 | 231.2826 | Cu | 194 | 195.3517 | Cu |  |  |  | Cu | 108 | 114.7 | Cu | 709 | 640.4
Zn | 88 | 88.8341 |  | Zn | 127 | 136.64 |  | Zn | 105 | 108.3706 | 109.5371 | Zn | 103 | 106.9125 | 104.6857 | Zn | 70 | 71.7884 | Zn | 32 | 36.2952 | 34.5938 | 34.8508 | Zn | 117 | 116.9123 | Zn | 108 | 109.6678 | Zn | 100 | 106.8626 | Zn |  |  |  | Zn | 317 | 309 | Zn | 30.6 | 29
Rb | 67 | 65.4236 |  | Rb | 48 | 47.6661 |  | Rb | 11 | 9.5582 | 10.2067 | Rb | 9.8 | 9.8142 | 9.7909 | Rb |  | 0.20019 | Rb | 150 | 152.3483 | 154.115 | 156.1031 | Rb | 25 | 25.3535 | Rb | 7.37 | 6.5178 | Rb | 15.1 | 15.7355 | Rb | 28.7 | 27.84 | 0.89051 | Rb |  |  | Rb
Sr | 660 | 645.9427 |  | Sr | 346 | 342.8432 |  | Sr | 403 | 397.399 | 422.2016 | Sr | 389 | 405.2363 | 405.4491 | Sr | 110 | 108.5793 | Sr | 110 | 108.6173 | 109.2104 | 108.8594 | Sr | 410 | 398.1249 | Sr | 178 | 183.9868 | Sr | 4.3 | 4.25 | Sr | 407.4 | 412.96 | 12.2832 | Sr |  |  | Sr
Y | 20 | 19.88 |  | Y | 37 | 37.41 |  | Y | 28 | 27.28 | 29.16 | Y | 26 | 27.54 | 27.72 | Y | 16 | 16 | Y | 25 | 25 | 25.32 | 25.33 | Y | 30.4 | 31.53 | Y | 24.9 | 25.06 | Y | 26.9 | 29.84 | Y | 31 | 30.44 | 0.43932 | Y |  |  | Y
Zr | 227 | 238.5 |  | Zr | 188 | 199.5 |  | Zr | 179 | 181.5 | 192.6 | Zr | 172 | 183 | 184.3 | Zr | 18 | 15.06 | Zr | 220 | 249 | 249.5 | 249.6 | Zr | 195 | 208.9 | Zr | 51.2 | 51.16 | Zr | 97.8 | 99.4 | Zr | 280 | 289.66 | 4.0016 | Zr |  |  | Zr
Nb | 15 | 14.27 |  | Nb |  | 12.98 |  | Nb | 19 | 19.04 | 20.33 | Nb | 18 | 19.15 | 19.3 | Nb | 0.6 | 0.5219 | Nb | 8.9 | 9.202 | 9.257 | 9.268 | Nb | 18 | 18.15 | Nb | 1.58 | 0.5191 | Nb | 2.47 | 1.994 | Nb | 21.3 | 19.02 | 0.43818 | Nb |  |  | Nb
Mo | 2.7 | 2.023 |  | Mo | 248 | 255.3 |  | Mo |  | 1.012 | 1.108 | Mo |  | 3.23 | 3.255 | Mo |  | 0.0865 | Mo | 2.3 | 2.549 | 2.6 | 2.542 | Mo | 3.7 | 3.083 | Mo | 1.08 | 1.88 | Mo | 1.09 | 1.103 | Mo |  |  |  | Mo | 12.84 | 12.2 | Mo | 1.78 | 1.6
Sn | 4.2 | 4.419 |  | Sn |  | 2.261 |  | Sn |  | 2.043 | 2.082 | Sn | 1.9 | 1.805 | 1.813 | Sn |  | 0.7468 | Sn | 4.1 | 4.419 | 4.382 | 4.413 | Sn | 18 | 30.45 | Sn | 0.95 | 0.6 | Sn | 0.94 | 0.9782 | Sn | 15 | 13.8 | 1.0954 | Sn |  |  | Sn
Sb | 4.3 | 4.418 |  | Sb |  | 0.3546 |  | Sb |  | 0.1861 | 0.1835 | Sb |  | 0.1154 | 0.1131 | Sb | 0.58 | 0.579 | Sb | 1.3 | 1.38 | 1.339 | 1.308 | Sb | 0.08 | 0.0969 | Sb | 0.25 | 0.2492 | Sb | 0.12 | 0.1206 | Sb |  |  |  | Sb | 4.94 | 5.2 | Sb | 0.64 | 0.4
Cs | 1.3 | 1.3129 |  | Cs | 1.1 | 1.2134 |  | Cs | 0.13 | 0.10165 | 0.10993 | Cs |  | 0.10674 | 0.10966 | Cs |  | 0.0052258 | Cs | 9.6 | 10.7699 | 11.0285 | 11.1502 | Cs | 0.5 | 0.48294 | Cs | 0.85 | 0.85156 | Cs | 0.94 | 1.0784 | Cs | 7.1 | 6.8 | 0.1 | Cs |  |  | Cs
Ba | 1230 | 1158.2135 |  | Ba | 683 | 652.3691 |  | Ba | 139 | 134.2983 | 144.802 | Ba | 130 | 130.8853 | 133.5171 | Ba | 7 | 6.3079 | Ba | 810 | 806.6167 | 841.8536 | 860.5068 | Ba | 338 | 326.641 | Ba | 222 | 220.213 | Ba | 245 | 241.6261 | Ba | 514 | 498.4 | 7.1274 | Ba |  |  | Ba
La | 38 | 37.6843 |  | La | 25 | 25.1988 |  | La | 16 | 16.0369 | 16.2243 | La | 15 | 15.7065 | 15.608 | La | 0.63 | 0.60383 | La | 24 | 23.6829 | 23.574 | 24.4701 | La | 27 | 26.9798 | La | 2.35 | 2.2994 | La | 8.81 | 9.2824 | La | 12.3 | 12.62 | 0.32711 | La |  |  | La
Ce | 67 | 66.4385 |  | Ce | 53 | 52.123 |  | Ce | 39 | 37.6446 | 40.1427 | Ce | 38 | 37.4734 | 38.3795 | Ce | 1.9 | 1.885 | Ce | 47 | 45.6107 | 47.0111 | 47.6166 | Ce | 61 | 57.7209 | Ce | 6.76 | 6.6105 | Ce | 21.5 | 22.5025 | Ce | 27.1 | 27.36 | 0.60663 | Ce |  |  | Ce
Pr | 7.6 | 8.3938 |  | Pr | 6.8 | 6.8088 |  | Pr | 18 | 5.4133 | 5.6686 | Pr |  | 5.412 | 5.4368 | Pr |  | 0.37083 | Pr |  | 5.3167 | 5.3988 | 5.511 | Pr | 7.8 | 7.8589 | Pr | 1.01 | 1.1585 | Pr | 3.11 | 3.4393 | Pr | 3.45 | 3.316 | 0.10114 | Pr |  |  | Pr
Nd | 33 | 31.135 |  | Nd | 28 | 28.395 |  | Nd | 25 | 24.89 | 25.475 | Nd | 25 | 24.675 | 24.435 | Nd | 2.5 | 2.373 | Nd | 19 | 19.225 | 19.205 | 19.755 | Nd | 33 | 32.79 | Nd | 6.63 | 6.3655 | Nd | 15.6 | 16.65 | Nd | 14 | 13.34 | 0.74027 | Nd |  |  | Nd
Sm | 5.9 | 5.693 |  | Sm | 6.7 | 6.552 |  | Sm | 6.2 | 6.2055 | 6.366 | Sm | 6.2 | 6.1915 | 6.0845 | Sm | 1.1 | 1.0995 | Sm | 4.3 | 3.9955 | 3.979 | 4.0455 | Sm | 8.8 | 8.59 | Sm | 2.31 | 2.2955 | Sm | 4.27 | 4.5595 | Sm | 3 | 2.808 | 0.16069 | Sm |  |  | Sm
Eu | 1.6 | 1.5835 |  | Eu | 2 | 1.9045 |  | Eu | 2.06 | 2.0275 | 2.0985 | Eu |  | 2.017 | 2.0095 | Eu | 0.55 | 0.49905 | Eu | 0.66 | 0.6351 | 0.64135 | 0.6733 | Eu | 2.25 | 2.116 | Eu | 0.86 | 0.81585 | Eu | 1.32 | 1.36 | Eu | 0.89 | 0.88 | 0.04899 | Eu |  |  | Eu
Gd | 5 | 4.8165 |  | Gd | 6.8 | 6.809 |  | Gd | 6.4 | 6.374 | 6.6525 | Gd | 6.3 | 6.338 | 6.4135 | Gd | 1.8 | 1.8365 | Gd | 3.7 | 3.7705 | 3.7855 | 3.8895 | Gd | 7.2 | 7.1455 | Gd | 3.28 | 3.222 | Gd | 4.67 | 4.998 | Gd | 2.93 | 2.992 | 0.18417 | Gd |  |  | Gd
Tb | 0.7 | 0.6692 |  | Tb | 1.07 | 1.091 |  | Tb | 0.96 | 0.9909 | 1.03 | Tb | 0.9 | 0.9847 | 0.9854 | Tb |  | 0.3722 | Tb |  | 0.6277 | 0.6321 | 0.6345 | Tb | 1.1 | 1.107 | Tb | 0.6 | 0.6056 | Tb | 0.73 | 0.8314 | Tb | 0.53 | 0.468 | 0.014832 | Tb |  |  | Tb
Dy | 3.6 | 3.4115 |  | Dy |  | 6.2003 |  | Dy | 5.2 | 5.2543 | 5.477 | Dy |  | 5.1775 | 5.262 | Dy |  | 2.4825 | Dy | 4.1 | 3.6375 | 3.645 | 3.7343 | Dy | 6 | 5.8788 | Dy | 3.73 | 3.8855 | Dy | 4.54 | 4.795 | Dy | 3 | 3.284 | 0.18105 | Dy |  |  | Dy
Ho |  | 0.6618 |  | Ho | 1.33 | 1.29 |  | Ho | 0.99 | 1.003 | 1.045 | Ho | 1.04 | 0.9862 | 1.008 | Ho |  | 0.5685 | Ho |  | 0.7787 | 0.7823 | 0.8043 | Ho | 1.2 | 1.147 | Ho | 0.75 | 0.8709 | Ho | 0.8 | 1.014 | Ho | 0.62 | 0.606 | 0.026077 | Ho |  |  | Ho
Er | 1.7 | 1.802 |  | Er |  | 3.6687 |  | Er | 2.42 | 2.599 | 2.7183 | Er |  | 2.5633 | 2.6213 | Er |  | 1.7017 | Er |  | 2.3753 | 2.3853 | 2.4467 | Er | 3 | 3.038 | Er | 2.6 | 2.6133 | Er | 2.49 | 2.921 | Er | 1.84 | 1.77 | 0.1044 | Er |  |  | Er
Yb | 1.72 | 1.5719 |  | Yb | 3.5 | 3.2936 |  | Yb | 2 | 2.0147 | 2.0641 | Yb | 2 | 1.9716 | 1.9928 | Yb | 1.7 | 1.6142 | Yb |  | 2.5238 | 2.4958 | 2.5386 | Yb | 2.5 | 2.4443 | Yb | 2.62 | 2.5217 | Yb | 2.55 | 2.6799 | Yb | 1.79 | 1.796 | 0.11929 | Yb |  |  | Yb
Lu | 0.27 | 0.24359 |  | Lu | 0.51 | 0.5057 |  | Lu | 0.29 | 0.28973 | 0.29672 | Lu | 0.28 | 0.28175 | 0.28521 | Lu | 0.26 | 0.2494 | Lu | 0.4 | 0.40379 | 0.40354 | 0.41033 | Lu | 0.37 | 0.35894 | Lu | 0.4 | 0.39749 | Lu | 0.39 | 0.41735 | Lu | 0.27 | 0.268 | 0.0083666 | Lu |  |  | Lu
Hf | 5.1 | 4.8977 |  | Hf | 4.8 | 4.7717 |  | Hf | 4.4 | 4.312 | 4.4457 | Hf | 4.1 | 4.2503 | 4.2257 | Hf | 0.6 | 0.53853 | Hf |  | 5.9357 | 5.9113 | 5.9267 | Hf | 5.3 | 4.969 | Hf | 1.49 | 1.4227 | Hf | 2.67 | 2.647 | Hf | 9.8 | 9.56 | 0.71274 | Hf |  |  | Hf
Ta | 0.9 | 0.8733 |  | Ta |  | 0.7976 |  | Ta | 1.2 | 1.219 | 1.25 | Ta | 1.4 | 1.191 | 1.202 | Ta |  | 0.0392 | Ta | 0.95 | 0.9675 | 0.9688 | 0.9752 | Ta | 1.16 | 1.135 | Ta | 0.13 | 0.0403 | Ta | 0.15 | 0.1421 | Ta | 7.4 | 6.9 | 0.37417 | Ta |  |  | Ta
Pb | 36 | 35.59 |  | Pb | 11 | 10.4 |  | Pb | 2.6 | 2.1865 | 2.3005 | Pb |  | 1.8515 | 1.942 | Pb | 3 | 3.2725 | Pb | 24 | 24.465 | 24.575 | 25.295 | Pb | 13.8 | 13.085 | Pb | 5.36 | 5.1625 | Pb | 5.58 | 5.145 | Pb |  |  |  | Pb | 126 | 125.3 | Pb | 14.3 | 13.8
Th | 6.5 | 6.495 |  | Th | 6.2 | 6.2172 |  | Th | 1.1 | 1.3178 | 1.3764 | Th | 1.2 | 1.2874 | 1.321 | Th |  | 0.030507 | Th | 15 | 16.9094 | 17.1015 | 16.1058 | Th | 3 | 3.0805 | Th | 0.35 | 0.26978 | Th | 1.27 | 1.4903 | Th | 9.9 | 10.02 | 0.45497 | Th |  |  | Th
U | 1.92 | 1.8597 |  | U | 1.69 | 1.6658 |  | U |  | 0.42481 | 0.44205 | U |  | 0.41812 | 0.42637 | U |  | 0.0095396 | U | 5.8 | 5.7815 | 5.7862 | 5.8794 | U | 0.65 | 0.62616 | U | 0.18 | 0.15271 | U | 0.48 | 0.47734 | U | 16.4 | 15.94 | 0.34351 | U |  |  | U
[33 empty] | Be |  | 1.6667 | 0.57735 | Be |  |  | Be
[33 empty] | Ga | 17.6 | 17.1 | 1 | Ga |  |  | Ga
Repeat analyses | [32 empty] | W | 14.8 | 13.78 | 0.53572 | W |  |  | W
[33 empty] | Tm | 0.27 | 0.26 | 0.01 | Tm |  |  | Tm
| Standard: | BHVO-1 | [30 empty] | As |  |  |  | As | 25.5 | 25.4 | As | 11.4 | 10.1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | Avg | Stdev | [21 empty] | Cd |  |  |  | Cd | 1.4 | 2.3 | Cd | 0.03 | <0.1
Li | 4.8086 | 4.7856 | 4.7607 | 4.9364 | 4.8528 | 4.7687 | 4.7667 | 4.7677 | 4.861 | 4.812 | 0.059962 | [21 empty] | Bi |  |  |  | Bi | 6.32 | 6 | Bi | 0.23 | 0.2
Sc | 33.7533 | 32.8123 | 32.7952 | 34.0505 | 33.2977 | 32.7753 | 33.0494 | 33.4293 | 33.4555 | 33.2687 | 0.45162 | [21 empty] | Ag |  |  |  | Ag | 1.83 | 1.7 | Ag | 0.311 | 0.3
Ti | 17073.629 | 16579.9864 | 16408.874 | 16942.0806 | 16684.7386 | 16529.5776 | 16582.6749 | 16716.017 | 16961.7576 | 16719.9262 | 225.167 | [21 empty] | Au |  |  |  | Au | 118 | 109.4 | Au | 53 | 60.5
V | 321.1046 | 316.5704 | 315.9811 | 323.7697 | 318.881 | 315.4343 | 315.7301 | 317.506 | 322.4591 | 318.604 | 3.1305 | [21 empty] | Hg |  |  |  | Hg | 0.2 | 0.2 | Hg | 0.34 | 0.02
Cr | 293.3282 | 288.2351 | 286.411 | 297.226 | 292.5429 | 287.862 | 286.4012 | 290.0289 | 294.2322 | 290.6964 | 3.8214 | [21 empty] | Tl |  |  |  | Tl | 5.3 | 5 | Tl | 0.072 | <0.1
Co | 46.5695 | 45.5442 | 45.0449 | 45.8041 | 45.2397 | 45.681 | 45.3672 | 46.0312 | 46.0095 | 45.699 | 0.46756 | [21 empty] | Se |  |  |  | Se | 5.2 | 4.7 | Se | 2.09 | 0.9
Ni | 120.4242 | 117.7849 | 116.9978 | 119.6298 | 119.0299 | 117.5992 | 117.2309 | 118.888 | 119.867 | 118.6057 | 1.2434
Cu | 131.713 | 129.6387 | 128.7034 | 131.185 | 131.2098 | 129.8197 | 128.4666 | 130.4539 | 131.4836 | 130.2971 | 1.2047
Zn | 102.9484 | 101.019 | 100.908 | 103.4667 | 102.5551 | 101.5587 | 101.0598 | 101.5291 | 102.9471 | 101.9991 | 0.98178
Rb | 9.6567 | 9.6515 | 9.6482 | 9.9358 | 9.7812 | 9.6573 | 9.6152 | 9.6296 | 9.6922 | 9.6964 | 0.10188
Sr | 398.7148 | 397.7266 | 397.8882 | 410.8354 | 405.3693 | 400.3299 | 396.1605 | 397.6409 | 400.3913 | 400.5619 | 4.6803
Y | 27.32 | 27.25 | 27.2 | 28.19 | 27.83 | 27.45 | 27.26 | 27.28 | 27.43 | 27.4678 | 0.33052
Zr | 179.6 | 180.4 | 182.1 | 185.5 | 183 | 181.3 | 179.8 | 180.4 | 181 | 181.4556 | 1.8642
Nb | 18.93 | 18.91 | 18.87 | 19.5 | 19.14 | 18.93 | 19 | 18.95 | 18.98 | 19.0233 | 0.19442
Mo |  | 3.205 | 3.211 | 3.258 | 3.238 | 3.207 | 3.154 | 3.191 | 3.147 | 3.2014 | 0.037785
Sn | 1.764 | 1.759 | 1.77 | 1.816 | 1.783 | 1.772 | 1.77 | 1.768 | 1.776 | 1.7753 | 0.016696
Sb | 0.1148 | 0.115 | 0.1134 | 0.1127 | 0.1155 | 0.1087 | 0.1107 | 0.1077 | 0.1122 | 0.1123 | 0.0027803
Cs | 0.10754 | 0.1069 | 0.10876 | 0.11187 | 0.10868 | 0.10916 | 0.10819 | 0.10731 | 0.10811 | 0.1085 | 0.0014596
Ba | 130.2427 | 131.5087 | 132.2048 | 136.9411 | 133.663 | 131.5557 | 131.3252 | 131.3068 | 131.9583 | 132.3007 | 1.9645
La | 15.3698 | 15.3702 | 15.0727 | 15.2427 | 15.3419 | 15.2548 | 15.2463 | 15.2667 | 15.3537 | 15.2799 | 0.094723
Ce | 37.7737 | 37.6607 | 37.3291 | 37.3381 | 38.0796 | 37.6362 | 37.5334 | 37.8366 | 37.4692 | 37.6285 | 0.24428
Pr | 5.358 | 5.333 | 5.2988 | 5.3591 | 5.375 | 5.3244 | 5.3246 | 5.3677 | 5.3278 | 5.3409 | 0.025121
Nd | 24.24 | 24.025 | 23.795 | 24.06 | 24.03 | 23.805 | 23.95 | 24.205 | 24.27 | 24.0422 | 0.1747
Sm | 6.0965 | 6.0475 | 6.007 | 6.0495 | 6.031 | 5.9505 | 5.965 | 6.0155 | 6.0385 | 6.0223 | 0.044634
Eu | 1.9865 | 1.9735 | 1.9655 | 1.99 | 1.982 | 1.963 | 1.9685 | 1.977 | 1.974 | 1.9756 | 0.0092684
Gd | 6.255 | 6.2395 | 6.2185 | 6.3275 | 6.3115 | 6.2575 | 6.276 | 6.3145 | 6.2955 | 6.2773 | 0.037387
Tb | 0.9704 | 0.9656 | 0.9666 | 0.9817 | 0.9779 | 0.9599 | 0.9591 | 0.9632 | 0.9632 | 0.96751 | 0.0078097
Dy | 5.1327 | 5.1117 | 5.1335 | 5.2215 | 5.1993 | 5.1395 | 5.1733 | 5.1837 | 5.1585 | 5.1615 | 0.035772
Ho | 0.9779 | 0.9737 | 0.98 | 1.001 | 0.9997 | 0.9838 | 0.9863 | 0.9874 | 0.9876 | 0.98638 | 0.0091771
Er | 2.5343 | 2.526 | 2.5367 | 2.5893 | 2.5873 | 2.554 | 2.5717 | 2.5683 | 2.5483 | 2.5573 | 0.023131
Yb | 1.9488 | 1.9421 | 1.9361 | 1.9753 | 1.9868 | 1.9489 | 1.9555 | 1.9558 | 1.9358 | 1.9539 | 0.017264
Lu | 0.27939 | 0.27817 | 0.28063 | 0.28434 | 0.28479 | 0.27996 | 0.28218 | 0.28049 | 0.27804 | 0.28089 | 0.0024401
Hf | 4.1497 | 4.1737 | 4.1997 | 4.2467 | 4.2047 | 4.186 | 4.162 | 4.1347 | 4.1123 | 4.1744 | 0.040479
Ta | 1.16 | 1.188 | 1.177 | 1.186 | 1.208 | 1.204 | 1.179 | 1.201 | 1.157 | 1.1844 | 0.018242
Pb | 1.826 | 1.8225 | 1.8345 | 1.854 | 1.858 | 1.8505 | 1.857 | 1.864 | 1.865 | 1.8479 | 0.016143
Th | 1.2759 | 1.272 | 1.2829 | 1.3065 | 1.3015 | 1.2975 | 1.2877 | 1.2799 | 1.2701 | 1.286 | 0.013199
U | 0.41008 | 0.4103 | 0.4136 | 0.42092 | 0.41837 | 0.41819 | 0.41381 | 0.4111 | 0.41094 | 0.41415 | 0.0040521

## EMPA
Electron microprobe analyses
Calibration standards
Standard: |  |  | Albite | Standard: |  |  | Sanidine | Standard: |  |  | Anorthite | Standard: |  |  | Wollastonite | Standard: |  |  | TiO2 | Standard: |  |  | Rhodonite | Standard: |  |  | Haematite | Standard: |  |  | Olivine | Standard: |  |  | Apatite | Standard: |  |  | NaCl | Standard: |  |  | ZnS | Standard: |  |  | Al2O3 | Standard: |  |  | Celsian | Standard: |  |  | SrTiO3 | Standard: |  |  | Cr2O3 | Standard: |  |  | NiO | Standard: |  |  | MgO | Standard: |  |  | V | Standard: |  |  | Gahnite | Standard: |  |  | Celestine
No. analyses: |  |  | 46 | No. analyses: |  |  | 49 | No. analyses: |  |  | 47 | No. analyses: |  |  | 27 | No. analyses: |  |  | 31 | No. analyses: |  |  | 20 | No. analyses: |  |  | 58 | No. analyses: |  |  | 29 | No. analyses: |  |  | 23 | No. analyses: |  |  | 21 | No. analyses: |  |  | 20 | No. analyses: |  |  | 13 | No. analyses: |  |  | 16 | No. analyses: |  |  | 11 | No. analyses: |  |  | 11 | No. analyses: |  |  | 4 | No. analyses: |  |  | 6 | No. analyses: |  |  | 4 | No. analyses: |  |  | 4 | No. analyses: |  |  | 3
| Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev |  | Expected | Average | Stdev
SiO2 | 68.67 | 68.3083 | 0.29672 | SiO2 | 64.7 | 64.3614 | 0.41741 | SiO2 | 44 | 43.8183 | 0.34252 | SiO2 | 51.51 | 51.8663 | 0.27444 | TiO2 | 100 | 99.9481 | 0.74671 | SiO2 | 46.27 | 47.6985 | 0.27312 | FeO | 89.98 | 89.7781 | 0.47363 | SiO2 | 40.81 | 40.6872 | 0.26959 | CaO | 55.6 | 54.217 | 0.52265 | Na2O | 39.34 | 56.5419 | 0.40295 | S | 32.9 | 30.41 | 1.1677 | Al2O3 | 100 | 101.35 | 0.88759 | SiO2 | 33.77 | 33.7356 | 0.20471 | SrO | 56.46 | 55.9618 | 0.56455 | Cr2O3 | 100 | 99.7718 | 0.49697 | NiO | 100 | 100.4725 | 0.56636 | MgO | 100 | 99.555 | 0.94889 | V2O3 | 100 | 148.355 | 0.42509 | Al2O3 | 55.32 | 55.41 | 0.42856 | SrO | 56.41 | 56.4867 | 0.23756
Al2O3 | 19.5 | 19.5267 | 0.12437 | Al2O3 | 18.6 | 18.6951 | 0.14752 | Al2O3 | 36.03 | 35.4104 | 0.26679 | FeO | 0.35 | 0.36 | 0.03 | Total | 100 | 99.9481 | 0.74671 | FeO | 1.02 | 0.96586 | 0.037429 | Total | 89.98 | 89.7781 | 0.47363 | FeO | 9.55 | 9.3838 | 0.11146 | P2O5 | 42.23 | 40.0661 | 0.54857 | Cl | 60.66 | 60.5129 | 0.47142 | Total | 32.9 | 30.41 | 1.1677 | Total | 100 | 101.35 | 0.88759 | Al2O3 | 27.46 | 28.7088 | 0.17746 | Total | 56.46 | 55.9618 | 0.56455 | Total | 100 | 99.7718 | 0.49697 | Total | 100 | 100.4725 | 0.56636 | Total | 100 | 99.555 | 0.94889 | Total | 100 | 148.355 | 0.42509 | FeO | 1.97 | 1.9075 | 0.043493 | Total | 56.41 | 56.4867 | 0.23756
Na2O | 11.74 | 11.7213 | 0.1149 | Na2O | 1.65 | 1.6641 | 0.046319 | CaO | 19.09 | 19.1202 | 0.28335 | CaO | 47.74 | 47.7315 | 0.36393 |  |  |  |  | MnO | 43.49 | 42.2425 | 0.40407 |  |  |  |  | MgO | 49.42 | 49.0807 | 0.22061 | F | 3.77 | 4.594 | 0.17488 | Total | 100 | 117.0548 | 0.59397 | [8 empty] | BaO | 39.25 | 38.9287 | 0.53949 | [20 empty] | MnO | 0.34 | 0.34575 | 0.021514
K2O | 0.11 | 0.12633 | 0.019117 | K2O | 14.24 | 14.1661 | 0.17974 | Na2O | 0.53 | 0.54132 | 0.028579 | Total | 99.6 | 99.9578 | 0.45326 |  |  |  |  | MgO | 1.63 | 1.8655 | 0.036487 |  |  |  |  | Total | 99.78 | 99.1517 | 0.41931 | Total | 101.6 | 98.877 | 1.9844 | [12 empty] | Total | 100.48 | 101.3731 | 0.65369 | [20 empty] | ZnO | 42.5 | 42.72 | 0.56261
Total | 100.02 | 99.6826 | 0.38307 | Total | 99.19 | 98.8867 | 0.56292 | K2O | 0.03 | 0.0076043 | 0.0085931 | [8 empty] | CaO | 7.28 | 7.2347 | 0.10176 | [48 empty] | Total | 100.13 | 100.3833 | 0.94687
[8 empty] | Total | 99.68 | 98.8979 | 0.71801 | [8 empty] | Total | 99.69 | 100.007 | 3.2848
Secondary standards
Standard: |  |  | KN-18 | Standard: |  |  | KE-12 | Standard: |  |  | VG-2 - glass
No. analyses: |  |  | 24 | No. analyses: |  |  | 23 | No. analyses: |  |  | 5
| Accepted | Average | Stdev |  | Accepted | Average | Stdev |  | Expected | Average | Stdev
SiO2 | 74.6 | 74.8333 | 0.50054 | SiO2 | 70.3 | 70.4643 | 0.44508 | SiO2 | 50.81 | 50.5 | 0.18601
TiO2 | 0.18 | 0.18009 | 0.016169 | TiO2 | 0.33 | 0.29699 | 0.014155 | TiO2 | 1.85 | 1.904 | 0.030496
Al2O3 | 10.53 | 10.7008 | 0.10396 | Al2O3 | 7.62 | 7.7004 | 0.10607 | Al2O3 | 14.06 | 13.826 | 0.07733
FeO | 3.45 | 3.5158 | 0.06324 | FeO | 8.3635 | 8.4091 | 0.11421 | FeO | 11.84 | 11.626 | 0.16103
MnO | 0.06 | 0.060147 | 0.018593 | MnO | 0.26 | 0.27375 | 0.023472 | MnO | 0.22 | 0.1918 | 0.03049
MgO | 0.01 | 0.00938 | 0.007511 | MgO | 0.02 | 0.022013 | 0.0083498 | MgO | 6.95 | 6.64 | 0.27731
CaO | 0.15 | 0.11648 | 0.059739 | CaO | 0.35 | 0.36678 | 0.0192 | CaO | 11.12 | 11.044 | 0.41241
Na2O | 5.68 | 5.3187 | 0.11156 | Na2O | 7.28 | 6.9957 | 0.12855 | Na2O | 2.62 | 2.592 | 0.074632
K2O | 4.39 | 4.3883 | 0.074639 | K2O | 4.27 | 4.1883 | 0.084727 | K2O | 0.19 | 0.1737 | 0.015161
Cl | 0.37 | 0.32721 | 0.0050961 | P2O5 | 0.02 | 0.014283 | 0.011818 | P2O5 | 0.2 | 0.19873 | 0.033256
F | 0.64 | 0.62971 | 0.038542 | Cl | 0.33 | 0.3182 | 0.0081605 | Total | 99.66 | 98.6565 | 0.2659
Total | 100.06 | 100.08 | 0.63331 | F | 0.42 | 0.39268 | 0.014131
|  |  |  | Total | 99.5635 | 99.4425 | 0.77039