Table ESM_2: Software parameter values introduced in the three informatics tools: LRmix Studio v.2.1.3, EuroForMix v.3.4.0, and STRmixTM v.2.7. a Dropout is directly estimated through the peak height distribution. b Per locus, specified by the software considering the default conditions (i.e. disregarding the population size).

| Values Parameters | LRmix Studio | EuroForMix | STRmixTM |
| --- | --- | --- | --- |
| Coancestry Coefficient | 0.01 |  |  |
| Drop-in frequency | 0.05 |  |  |
| Drop-in parameters’ distribution | N/A | Lambda (λ): 0.01 | Gamma (ɣ): (0.1,0.1) |
| Drop-in cap | N/A | N/A | 100 |
| Dropout | 0.1 | a | a |
| Minimum allele frequency | 0.001 | 0.001 | b |
| Threshold detection | N/A | 100 | 100 |
| Stutters | Without | With | With |