	Supplementary Table 1: The interdevice differences of the spherical equivalent are expressed as the median (interquartile range).

	Device
	Subjective refraction
	TOPCON KR-800
	Retinomax K-plus 3
	Retinomax K-plus Screeen

	Noncycloplegia OD

	Retinoscopy
	0.19 (0.75)
	0.06 (0.53)
	0.25 (0.63)
	0.56 (0.75)

	Subjective refraction
	-
	-0.13 (0.41)
	0.13 (0.75)
	0.19 (0.91)

	TOPCON KR-800
	-
	-
	0.13 (0.53)
	0.44 (0.91)

	Retinomax K-plus 3
	-
	-
	-
	-0.38 (0.63)

	Noncycloplegia OS

	Retinoscopy
	0.13 (0.53)
	0.00 (0.53)
	0.25 (0.63)
	0.38 (1.00)

	Subjective refraction
	-
	-0.06 (0.25)
	0.00 (0.66)
	0.19 (1.03)

	TOPCON KR-800
	-
	-
	0.06 (0.50)
	0.25 (0.91)

	Retinomax K-plus 3
	-
	-
	-
	0.19 (0.75)

	Cycloplegia 0.5% OD

	Retinoscopy
	0.00 (0.28)
	0.00 (0.41)
	0.00 (0.25)
	0.00 (0.38)

	Subjective refraction
	-
	0.00 (0.25)
	-0.13 (0.28)
	-0.06 (0.38)

	TOPCON KR-800
	-
	-
	0.00 (0.38)
	0.00 (0.25)

	Retinomax K-plus 3
	-
	-
	-
	0.00 (0.19)

	Cycloplegia 1.0% OS

	Retinoscopy
	0.06 (0.63)
	0.00 (0.50)
	0.00 (0.53)
	0.00 (0.54)

	Subjective refraction
	-
	-0.13 (0.50)
	-0.25 (0.38)
	-0.13 (0.50)

	TOPCON KR-800
	-
	-
	-0.13 (0.28)
	0.00 (0.38)

	Retinomax K-plus 3
	-
	-
	-
	0.13 (0.28)


OD = right eye; OS = left eye

