Cleaved caspase-3 is present in the majority of glial cells in the intact rat spinal cord during postnatal life

Holota R.1, Dečmanová V.1, Alexovič Matiašová A.1*, Košuth J.1, Slovinská L.2,3, Pačut L.1, Tomori Z.4, Daxnerová Z.1, Ševc J.1

1- Institute of Biology and Ecology, Faculty of Science, P. J. Šafárik University in Košice, Šrobárova 2, 04154 Košice, Slovak Republic

2- Associated Tissue Bank, Faculty of Medicine,P. J. Šafárik University in Košice and L. Pasteur University Hospital, Tr. SNP 1, 04011 Košice, Slovak Republic

3- Department of Regenerative Medicine and Cell Therapy, Institute of Neurobiology, Biomedical Research Center, Slovak Academy of Sciences, Šoltésovej 4, 04001 Košice, Slovak Republic

4 - Institute of Experimental Physics, Slovak Academy of Sciences, Watsonova 47, 04001 Košice, Slovak Republic

* Correspondence: anna.alexovic.matiasova@upjs.sk; +421 55 234 1184 Institute of Biology and Ecology, Faculty of Science, P. J. Šafárik University in Košice, Šrobárova 2, 04154 Košice, Slovak Republic

Supplementary material

Supplemental Fig. 1 Fluorescence intensity analysis of cC3+ nuclei applied to evaluate of cC3 signal in the spinal cord cells and detection of apoptotic cells using the TUNEL assay and cPARP immunolabeling. To filter potential nonspecific anti-cleaved caspase-3 antibody reported by manufacturer, signal in the spinal cord of rats, relative fluorescence intensity was evaluated on 50 regions without apparent signal (i.e., background signal), 50 nuclei with apparently low intensity signal (i.e., background signal of cell nuclei), and 50 nuclei with apparently high intensity signal (i.e., positive cells). The measured values are expressed as a percentage of brightness density (0% = brightness value 0, 100% = brightness value 255) (a). Based on the results of densitometry analysis, in all microscopy analyses we considered only nuclei with relative fluorescence intensity ≥ 19.4% to be cC3+ nuclei. Anything below this intensity was considered either background nuclear or background intercellular signal. The statistical comparison confirmed differences between cells considered positive and nuclear and intracellular background signal (one-way ANOVA). Representative microphotograph of a Z-stack of spinal cord (b) shows highlighted cC3+ nuclei (full arrowhead) with a detailed microphotograph of selected positive nuclei (1, arrowhead) and background nuclear signal (2, empty arrowhead).

Supplemental Table 1 Objectives used in the study

| IncuCyteTM ZOOM | Nikon Imaging Japan Inc, Tokyo, Japan | PLAN FLUOR 10.0x0.03 DRY |
| --- | --- | --- |
|  |  | ELWD PLAN FLUOR 20.0x0.45 DRY |
| Leica TCS SP5X confocal system | Leica Microsystems, Mannheim, Germany | HC PLAN APO 10.0x0.40 DRY |
|  |  | HCX APO U-V-I 40.0x0.75 DRY UV |
|  |  | HCX PL APO CS 100.0x1.40 OIL |
| Leica Thunder Imager DMi8 microscope |  | HC PL APO 40x 0.95 CORA DRY |

Supplemental Table 2 Parameters of identification of positive cells using the IncuCyteTM ZOOM system. During analysis using IncuCyte ZOOM 2016B, the fluorescence intensity of cC3+ cells along with signal for cPARP+ cells and phenotypic markers was determined with uniform analysis routines prepared by build-in analysis job masks. Because samples had to be submitted to antigen retrieval prior to staining with the anti-cPARP antibody, the routine for phenotype identification was modified specifically due to possible signal changes caused by citrate buffer exposition.

| Marker | Channel | Threshold Parameters |  |
| --- | --- | --- | --- |
| Thresholding parameters for live cell analysis |  |  |  |
| Incucyte® Caspase-3/7 Dye for Apoptosis | Green | Thresholding | Adaptive, GCU threshold: 0,9000 |
|  |  | Edge split and sensitivity | ON, -18 |
|  |  | Filters | Maximal area: 1000 µm2 |
| Incucyte® Annexin V Dye for Apoptosis | Red | Thresholding | Top-Hat, Radius 100µm, GCU threshold: 1,000 |
|  |  | Edge split and sensitivity | ON, -30 |
|  |  | Filters | No additional filters |
| Thresholding parameters for fixed cell analysis without antigen retrieval |  |  |  |
| Anti-cleaved caspase-3 staining | Green | Thresholding | Top-Hat, Radius 100µm, GCU threshold: 0,5000 |
|  |  | Edge split and sensitivity | ON, -18 |
|  |  | Filters | Maximal area: 1000 µm2 |
| Anti-CC-1 staining | Red | Thresholding | Top-Hat, Radius 100µm, GCU threshold: 0,5000 |
|  |  | Edge split and sensitivity | ON, -28 |
|  |  | Filters | Minimal area: 15 µm2 Maximal area: 1000 µm2 |
| Anti-TUJ1 staining | Red | Thresholding | Top-Hat, Radius 100µm, GCU threshold: 0,4000 |
|  |  | Edge split and sensitivity | ON, -58 |
|  |  | Filters | Minimal area: 20 µm2 |
| Thresholding parameters for fixed cell analysis with antigen retrieval |  |  |  |
| Anti-cPARP staining | Green | Thresholding | Top-Hat Radius 100µm, GCU threshold: 0,34000 |
|  |  | Edge split and sensitivity | ON, -18 |
|  |  | Filters | Minimal area: 35 µm2 , Minimal area: 1500 µm2 |
| Anti-CC-1 staining | Red | Thresholding | Adaptive, GCU threshold: 0,1800 |
|  |  | Edge split and sensitivity | ON, -28 |
|  |  | Filters | Minimal area: 15 µm2 Maximal area: 1000 µm2 |
| Anti-TUJ1 staining | Red | Thresholding | Top-Hat, Radius 100µm, GCU threshold: 0,4000 |
|  |  | Edge split and sensitivity | ON, -58 |
|  |  | Filters | Minimal area: 20 µm2 |

Supplemental Table 3 Nucleotide sequences of primers used for dPCR

| Gene (alias) (GenBank Ref.seq.) | Primer Sequence | Product length |
| --- | --- | --- |
| Birc1 (NAIP6) (XM_008760697) | GGAAACATCAGAAAAGTTTGCCCA | 175 bp |
|  | CACACTGTCATCATCCAATGTCTC |  |
| Birc2 (rIAP1) (NM_021752) | AAAATGCTGACCCTCCAGTTGT | 144 bp |
|  | GGATCTGTCGCTGAACCGTC |  |
| Birc3 (IAP1) (NM_023987) | TGGCAAAGCAATGGGGTATCA | 110 bp |
|  | CATGGTGAGACGACAGGGAG |  |
| Birc4 (XIAP) (NM_022231) | GGAAGCCAAGTGAAGACCCTT | 143 bp |
|  | TTCAGCAGTTCTTACCACAGAT |  |
| Birc5 (Survivin) (NM_022274) | CATCCACTGCCCTACCGAGA | 156 bp |
|  | TCTTCCACCTGCTTCTTGACT |  |
| Birc6 (NM_001170596) | AAACCACTGGGGGTCATAGC | 151 bp |
|  | TGGACAGAAACCAACACTTGC |  |
| Birc7 (NM_001305210) | AGGATCTCCGCTTAGCCTCC | 142 bp |
|  | CAGCTCTGTAGACCCCCGTA |  |
| Eef1a1 (NM_175838) | TGCTGGAGCCAAGTGCTAAT | 181 bp |
|  | GTGCCAATGCCGCCAATTTT |  |
| Gapdh (NM_017008) (Bangaru et al. 2012) | AGACAGCCGCATCTTCTTGT | 142 bp |