Suppl. Fig. 3 Chromatograms showing prunasin and sambunigrin peaks in (a) Sambucus nigra flower-bud extracts, (b) open flower (pre-anthesis stage) extracts, (c) senescing flower extracts and (d) mature leaf extracts

LC-MS using an LTQ Orbitrap XL system (Thermo Scientific, MA, USA). Chromatography was performed with a 150 mm × 3 mm (i.d.), 3 μm, Luna C18(2) column (Phenomenex) using a 400 μL min-1 mobile phase gradient mixed from H2O/MeOH/CH3CN + 1% HCOOH of 90:0:10 to 50:40:10 in 20 min. Concentrated aqueous ammonia was infused post column at 0.1 µL/min to augment ionisation. Quantification was performed on the ammoniated molecule at m/z 313.1394 (± 5ppm) extracted from a positive ion MS1 scan of m/z 125-600 at 30k resolution; low resolution ion trap MS2 data on m/z 313 were acquired simultaneously for confirmation. Standard curves were obtained from prunasin (Sigma-Aldrich Inc., UK) and sambunigrin (Toronto Research Chemicals Inc., Canada) which eluted at 10.1 min and 10.6 min respectively, under these conditions.

(a)

(b)

(c)

(d)