[bookmark: _GoBack]Suppl. table 1: Methods used for tissue internal proficiency testing; OFA: Oncomine Focus Assay, FFPE: formalin-fixed paraffin-embedded tissue
	
	Participant

	
	Lead
	Panel 1
	Panel 2
	Panel 3
	Panel 4

	DNA 
extraction
	Maxwell RSC DNA FFPE Kit  (Promega)
	Maxwell RSC DNA FFPE Kit  (Promega)
	QIAamp DSP DNA FFPE Tissue Kit (Qiagen)
	Maxwell RSC DNA FFPE Kit 
(Promega)
	GeneRead DNA FFPE Kit
(Qiagen)

	DNA
quantification
	Fluorometric
	qPCR
	Fluorometric
	Spectro-photometric
	Fluorometric

	Method
	Ion S5 
(Themo Fisher Scientific)
	MiSeq/ NextSeq (Illumina)
	Allele specific PCR
Rotor-Gene Q (Qiagen)
&
Illumina
	PCR & Sanger-Sequencing
(Genetic Analyzer, Thermo Fisher Scientific)
	Ion S5/PGM (Thermo FisherScientific) &
PyroMark (Qiagen)

	Assay
	OFA (ThermoFisher Scientific)
	GeneRead Custom Panel (Qiagen)
	therascreen PIK3CA RGQ PCR Kit (Qiagen)
&
TruSight Tumor15 Panel (Illumina)
	Customized
	OFA 
(Thermo Fisher Scientific)

	Split
	1, 2
	1
	1, 2
	1
	2



