Suppl. table 1: Methods used for tissue internal proficiency testing; OFA: Oncomine Focus Assay, FFPE: formalin-fixed paraffin-embedded tissue

|  | Participant |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Lead | Panel 1 | Panel 2 | Panel 3 | Panel 4 |
| DNA extraction | Maxwell RSC DNA FFPE Kit (Promega) | Maxwell RSC DNA FFPE Kit (Promega) | QIAamp DSP DNA FFPE Tissue Kit (Qiagen) | Maxwell RSC DNA FFPE Kit (Promega) | GeneRead DNA FFPE Kit (Qiagen) |
| DNA quantification | Fluorometric | qPCR | Fluorometric | Spectro-photometric | Fluorometric |
| Method | Ion S5 (Themo Fisher Scientific) | MiSeq/ NextSeq (Illumina) | Allele specific PCR Rotor-Gene Q (Qiagen) & Illumina | PCR & Sanger-Sequencing (Genetic Analyzer, Thermo Fisher Scientific) | Ion S5/PGM (Thermo FisherScientific) & PyroMark (Qiagen) |
| Assay | OFA (ThermoFisher Scientific) | GeneRead Custom Panel (Qiagen) | therascreen PIK3CA RGQ PCR Kit (Qiagen) & TruSight Tumor15 Panel (Illumina) | Customized | OFA (Thermo Fisher Scientific) |
| Split | 1, 2 | 1 | 1, 2 | 1 | 2 |