Suppl. table 2: Methods used for liquid biopsy internal proficiency testing; OBcfDNA: Oncomine Breast cfDNA Assay, CLv2: Colon and Lung Version 2 Panel

|  | Participants |  |  |
| --- | --- | --- | --- |
|  | Lead | Panel 1 | Panel 2 |
| DNA extraction | Maxwell ccfDNA Kit (Promega) | QIAamp DSP Circulating NA Kit (Qiagen) | Maxwell ccfDNA Kit (Promega) |
| DNA quantification | Fluorometric (Quantus, Promega) | Fluorometric | Not performed |
| Method | Ion S5 (Thermo Fisher Scientific) | Rotor-Gene Q (Qiagen) | MiSeq/NextSeq (Illumina) |
| Assay | OBcfDNA & CLv2 (Thermo Fisher Scientific) | therascreen PIK3CA RGQ PCR Kit (Qiagen) | AVENIO ctDNA targeted Kit (Roche) in combination with Illumina baits |