Fate of Cryptosporidium and Giardia through conventional and compact drinking water treatment plants

Ahmed S. Moussa1, Ameen A. Ashour2, Mohammad I. Soliman2, Hoda A. Taha2, Ahmad Z. Al-Herrawy3, Mahmoud Gad*3

1Reference  laboratory, Drinking Water and Wastewater Holding Company, Egypt.

2Zoology Department, Faculty of Science, Ain Shams University, Cairo, Egypt.

3Environmental Parasitology Laboratory, Water Pollution Research Department, National Research Centre, 12622 Dokki, Giza, Egypt.

*Corresponding author: mi.saleh@nrc.sci.eg or mahmoudafw@gmail.com; Tel.: +20-1061132911

Clarifiers basin

Filters basin

Product tank

Pre -chlorination

Post chlorination

ALUM

Figure S1. Diagrammatic view of operational steps of a conventional drinking water  treatment plant.

Clarification tank

Raw water

Chlorine

Alum

Filtration tank

Post chlorination

Product tank

Figure S2. Diagrammatic view of operational steps of a compact unit.

Table S1. Total occurrence of Giardia cysts and Cryptosporidium oocysts by IFA and qPCR techniques

| Parasite | IFA |  |  | qPCR |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Raw water | Treated water | Total | Raw water | Treated water | Total |
| Giardia | 9/48 18.75% | 2/48 4.17% | 11/96 11.46% | 9/48 18.75% | 3/48 6.25% | 12/96 12.5% |
| Cryptosporidium | 14/48 29.17% | 4/48 8.33% | 18/96 18.75% | 16/48 33.33% | 4/48 8.33% | 20/96 20.83% |

Table S2. The qPCR Log10 values in inlets and outlets of different DWTPs and CUs, in different seasons.

| Inlet samples |  | Outlet samples |  | season | Station |  |
| --- | --- | --- | --- | --- | --- | --- |
| qPCR_Giard | qPCR_Crypt | qPCR_Giard | qPCR_Crypt |  |  |  |
| 0 | 0 | 0 | 0 | winter | Imbaba |  |
| 2.6 | 2.4 | 0 | 0 | winter | Imbaba |  |
| 0 | 0 | 0 | 0 | winter | Imbaba |  |
| 0 | 0 | 0 | 0 | spring | Imbaba |  |
| 0 | 0 | 0 | 0 | spring | Imbaba |  |
| 2.0 | 2.5 | 0 | 0 | spring | Imbaba |  |
| 2.2 | 2.5 | 0 | 0 | summer | Imbaba |  |
| 0 | 0 | 0 | 0 | summer | Imbaba |  |
| 0 | 0 | 0 | 0 | summer | Imbaba |  |
| 0 | 0 | 0 | 0 | autumn | Imbaba |  |
| 0 | 0 | 0 | 0 | autumn | Imbaba |  |
| 2.1 | 0 | 0 | 0 | autumn | Imbaba |  |
| 0 | 2.4 | 0 | 0 | winter | Shubra Alkheyma |  |
| 0 | 0 | 0 | 0 | winter | Shubra Alkheyma |  |
| 0 | 0 | 0 | 0 | winter | Shubra Alkheyma |  |
| 0 | 0 | 0 | 0 | spring | Shubra Alkheyma |  |
| 0 | 0 | 0 | 0 | spring | Shubra Alkheyma |  |
| 0 | 2.2 | 0 | 0 | spring | Shubra Alkheyma |  |
| 0 | 0 | 0 | 0 | summer | Shubra Alkheyma |  |
| 2.1 | 2.3 | 0 | 0 | summer | Shubra Alkheyma |  |
| 0 | 0 | 0 | 0 | summer | Shubra Alkheyma |  |
| 0 | 0 | 0 | 0 | autumn | Shubra Alkheyma |  |
| 0 | 2.4 | 0 | 0 | autumn | Shubra Alkheyma |  |
| 0 | 2.3 | 0 | 0 | autumn | Shubra Alkheyma |  |
| 0 | 1.3 | 0 | 0 | winter | Mansheyat Alqanater |  |
| 2.1 | 0 | 1.2 | 0 | winter | Mansheyat Alqanater |  |
| 0 | 0 | 1.1 | 0 | winter | Mansheyat Alqanater |  |
| 0 | 0 | 0 | 0 | spring | Mansheyat Alqanater |  |
| 0 | 0 | 0 | 0 | spring | Mansheyat Alqanater |  |
| 0 | 0 | 0 | 0 | spring | Mansheyat Alqanater |  |
| 0 | 0 | 0 | 0 | summer | Mansheyat Alqanater |  |
| 0 | 2.2 | 0 | 2.0 | summer | Mansheyat Alqanater |  |
| 0 | 0 | 0 | 0 | summer | Mansheyat Alqanater |  |
| 0 | 0 | 0 | 0 | autumn | Mansheyat Alqanater |  |
| 0 | 2.7 | 0 | 1.3 | autumn | Mansheyat Alqanater |  |
| 1.2 | 0 | 0 | 0 | autumn | Mansheyat Alqanater |  |
| 0 | 2.2 | 0 | 0 | winter | Niklah |  |
| 0 | 0 | 0 | 0 | winter | Niklah |  |
| 2.2 | 2.5 | 1.1 | 0 | winter | Niklah |  |
| 0 | 0 | 0 | 0 | spring | Niklah |  |
| 0 | 0 | 0 | 0 | spring | Niklah |  |
| 0 | 0 | 0 | 0 | spring | Niklah |  |
| 0 | 0 | 0 | 0 | summer | Niklah |  |
| 1.4 | 1.7 | 0 | 0 | summer | Niklah |  |
| 0 | 2.2 | 0 | 1.2 | summer | Niklah |  |
| 0 | 2.4 | 0 | 1.3 | autumn | Niklah |  |
| 0 | 0 | 0 | 0 | autumn | Niklah |  |
| 0 | 0 | 0 | 0 | autumn | Niklah |  |

Table S3. 18S rRNA amplicon sequencing and qPCR for the randomly selected 8 samples of DWTPs and CUs (inlets and outlets)

| Station | Stage | 18S amplicon sequencing (no. of reads for Cryptosporidium) | qPCR for Cryptosporidium (log10) | 18S amplicon sequencing (no. of reads for Giardia) | qPCR for Giardia) (log10) |
| --- | --- | --- | --- | --- | --- |
| Mansheyat Alqanater | Inlet | 43 | 2.7 | -ve | -ve |
|  | Outlet | -ve | 1.3 | -ve | -ve |
| Niklah | Inlet | -ve | -ve | -ve | -ve |
|  | Outlet | -ve | -ve | -ve | -ve |
| Imbaba | Inlet | -ve | -ve | -ve | -ve |
|  | Outlet | -ve | -ve | -ve | -ve |
| Shubra Alkheyma | Inlet | -ve | -ve | -ve | -ve |
|  | Outlet | -ve | -ve | -ve | -ve |