# Supplementary figures

Supplementary figure 1 demonstrates the process of extracorporeal lactate sampling at 2 cm intervals, at and distal to the point at which the mesentery was prepared prior to determinative ICGFA for a sigmoid resection for diverticular disease (panel a).  The bowel was incised using a blade (b) to expose the muscularis propria and induce bleeding. Tissue lactate concentration was measured at these intervals using a handheld lactate analyser (c).

Supplementary figure 2 illustrates squeeze factor s distribution as calculated by Formula 1. Fitted curves were subdivided in relation to the 75th percentile (marked here with a vertical red dotted line). Pixels with curves within 25% of the 75th percentile (and better) were labelled as green, those out with that group but within 75% of the 75th percentile orange. The remaining pixels with the lowest squeeze factors (lower quartile) and curves which did not meet fit criteria by Formula 2 were labelled red.

Supplementary figure 3: For a right hemicolectomy this compound figure shows reference assessment of the caecum(large) and ileum (small bowel) with ROI annotation on the white light image (a, and a still image from the corresponding ICGFA: b) for the creation of a reference profile. Following the determinative extracorporeal ICGFA assessment, annotated ROI (c, white light image) are converted into time series from the angiogram (representative still ICGFA image: d). The reference profile is scaled and shifted to match the curves and an optimal ROI transection recommendation is made on the bar graphs showing scale factor versus ROI for small (left) and large (right) bowel (inverted red triangle). These recommendations are illustrated via red circles on the white light determinative image (c). T denotes time at the start (0) and at the end of the detected curve.