Appendix B: Carbon footprint for the different trocars per hospital setting

|  | Hospital A | Hospital B | Hospital C |
| --- | --- | --- | --- |
| D1 | 1.74 | 1.74 | 1.72 |
| D2 | 1.37 | 1.38 | 1.36 |
| H1 | 1.08 | 0.64 | 1.25 |
| H2 | 1.33 | 0.88 | 1.50 |
| R1 | 0.78 | 0.33 | 0.94 |

Table: Carbon footprint (kg CO2-eq) of four trocars used for one laparoscopic cholecystectomy.

Abbreviations: D1 = disposable trocar, brand 1; D2 = disposable trocar, brand 2; H1 = hybrid trocar, brand 1; H2 = hybrid trocar, brand 2; R1 = reusable trocar, brand 1